DATA FLOW CATALOGUE: DTC

Version 15.4 Dated: 28 April 2026

1.1	Data Flow Index

| Flow Ref | Flow Name | From | To |
| --- | --- | --- | --- |
| D0001 | Request Metering System Investigation | ADSA | AMEM |
|  |  | ADSA | Supplier |
|  |  | AMVLP | HHDC |
|  |  | AMVLP | MOP |
|  |  | Distributor | ADSA |
|  |  | Distributor | HHDC |
|  |  | Distributor | NHHDC |
|  |  | Distributor | SDSA |
|  |  | Distributor | Supplier |
|  |  | HHDC | AMVLP |
|  |  | HHDC | MOP |
|  |  | HHDC | Supplier |
|  |  | MRS | NHHDC |
|  |  | MRS | SDSA |
|  |  | NHHDC | MOP |
|  |  | NHHDC | Supplier |
|  |  | SDSA | SMEM |
|  |  | SDSA | Supplier |
|  |  | Supplier | ADSA |
|  |  | Supplier | AMEM |
|  |  | Supplier | HHDC |
|  |  | Supplier | MOP |
|  |  | Supplier | SMEM |
| D0002 | Fault Resolution Report or Request for Decision on Further Action | ADSA | Distributor |
|  |  | ADSA | Supplier |
|  |  | AMEM | ADSA |
|  |  | AMEM | AMEM |
|  |  | AMEM | Supplier |
|  |  | CMRC | Supplier |
|  |  | HHDC | AMVLP |
|  |  | HHDC | Distributor |
|  |  | HHDC | Supplier |
|  |  | MOP | AMVLP |
|  |  | MOP | HHDC |
|  |  | MOP | MOP |
|  |  | MOP | NHHDC |
|  |  | MOP | Supplier |
|  |  | SIP | Supplier |
|  |  | SMEM | SDSA |
|  |  | SMEM | SMEM |
|  |  | SMEM | Supplier |
|  |  | Supplier | ADSA |
|  |  | Supplier | CMRC |
|  |  | Supplier | SDSA |
|  |  | Supplier | SIP |
| D0003 | Half Hourly Advances | ADSA | AMEM |
|  |  | ADSA | Distributor |
|  |  | ADSA | Supplier |
|  |  | Distributor | Supplier |
|  |  | HHDC | Distributor |
|  |  | HHDC | MOP |
|  |  | HHDC | Supplier |
|  |  | Supplier | ADSA |
|  |  | Supplier | HHDC |
| D0004 | Notification of Failure to Obtain Reading | ADSA | Supplier |
|  |  | HHDC | Supplier |
|  |  | MRS | NHHDC |
|  |  | MRS | SDSA |
|  |  | NHHDC | Supplier |
|  |  | SDSA | Supplier |
| D0005 | Instruction on Action | ADSA | AMEM |
|  |  | ADSA | Supplier |
|  |  | AMEM | ADSA |
|  |  | AMEM | Supplier |
|  |  | AMVLP | HHDC |
|  |  | AMVLP | MOP |
|  |  | Distributor | ADSA |
|  |  | Distributor | AMEM |
|  |  | Distributor | HHDC |
|  |  | HHDC | MOP |
|  |  | MOP | AMVLP |
|  |  | MOP | HHDC |
|  |  | SDSA | SMEM |
|  |  | SMEM | SDSA |
|  |  | SMEM | Supplier |
|  |  | Supplier | ADSA |
|  |  | Supplier | AMEM |
|  |  | Supplier | HHDC |
|  |  | Supplier | MOP |
|  |  | Supplier | NHHDC |
|  |  | Supplier | SDSA |
|  |  | Supplier | SMEM |
| D0008 | Meter Advance Reconciliation Report | ADSA | Distributor |
|  |  | ADSA | Supplier |
|  |  | HHDC | AMVLP |
|  |  | HHDC | Distributor |
|  |  | HHDC | MOP |
|  |  | HHDC | Supplier |
| D0010 | Meter Readings | ADSA | ADSA |
|  |  | ADSA | AMEM |
|  |  | ADSA | Distributor |
|  |  | ADSA | Supplier |
|  |  | AMEM | ADSA |
|  |  | AMEM | AMEM |
|  |  | AMEM | Distributor |
|  |  | AMEM | Supplier |
|  |  | Distributor | ADSA |
|  |  | Distributor | NHHDC |
|  |  | Distributor | SDSA |
|  |  | HHDC | Distributor |
|  |  | HHDC | HHDC |
|  |  | HHDC | Supplier |
|  |  | MOP | AMVLP |
|  |  | MOP | Distributor |
|  |  | MOP | HHDC |
|  |  | MOP | MOP |
|  |  | MOP | NHHDC |
|  |  | MOP | Supplier |
|  |  | MRS | NHHDC |
|  |  | NHHDC | Distributor |
|  |  | NHHDC | NHHDC |
|  |  | NHHDC | Supplier |
|  |  | SDSA | Distributor |
|  |  | SDSA | SDSA |
|  |  | SDSA | Supplier |
|  |  | SMEM | Distributor |
|  |  | SMEM | SDSA |
|  |  | SMEM | SMEM |
|  |  | SMEM | Supplier |
|  |  | Supplier | ADSA |
|  |  | Supplier | AMEM |
|  |  | Supplier | Distributor |
|  |  | Supplier | NHHDC |
|  |  | Supplier | SDSA |
|  |  | Supplier | SMEM |
|  |  | Supplier | Supplier |
| D0011 | Agreement of Contractual Terms | HHDA | Supplier |
|  |  | HHDC | AMVLP |
|  |  | HHDC | Supplier |
|  |  | MA | Supplier |
|  |  | MOP | AMVLP |
|  |  | MOP | Supplier |
|  |  | NHHDA | Supplier |
|  |  | NHHDC | Supplier |
| D0012 | Confirmation of the Inclusion of the Metering Point in the Reading Schedules | HHDC | Distributor |
|  |  | HHDC | Supplier |
|  |  | NHHDC | Distributor |
|  |  | NHHDC | Supplier |
|  |  | SDSA | Supplier |
| D0018 | Daily Profile Data Report | SVAA | NHHDC |
|  |  | SVAA | Supplier |
| D0019 | Metering System EAC/AA Data | NHHDC | NHHDA |
|  |  | NHHDC | Supplier |
| D0022 | Estimated Half Hourly Data Report | HHDC | AMVLP |
|  |  | HHDC | Distributor |
|  |  | HHDC | Supplier |
| D0023 | Failed Instructions | HHDA | MPAS Agent |
|  |  | NHHDA | MPAS Agent |
|  |  | NHHDA | NHHDC |
| D0028 | Standing Profile Data Report | SVAA | NHHDC |
|  |  | SVAA | Supplier |
| D0029 | Standard Settlement Configuration Report | SVAA | NHHDC |
|  |  | SVAA | Supplier |
| D0030 | Aggregated DUoS Report | SVAA | Distributor |
|  |  | SVAA | Supplier |
| D0036 | Validated Half Hourly Advances for Inclusion in Aggregated Supplier Matrix | HHDC | ADSA |
|  |  | HHDC | Distributor |
|  |  | HHDC | ESNA |
|  |  | HHDC | HHDA |
|  |  | HHDC | HHDC |
|  |  | HHDC | Supplier |
|  |  | Supplier | ESNA |
| D0039 | Daily Profile Coefficient File | SVAA | NHHDC |
| D0040 | Aggregated Half Hour Data File | HHDA | Supplier |
|  |  | HHDA | SVAA |
| D0041 | Supplier Purchase Matrix Data File | NHHDA | Supplier |
|  |  | NHHDA | SVAA |
| D0043 | Supplier Deemed Take Report | SVAA | Supplier |
| D0051 | Affirmation of Half Hour Data Retrieval Method and Associated Details | ADSA | Supplier |
|  |  | HHDC | Supplier |
| D0052 | Affirmation of Metering System Settlement Details | Supplier | NHHDC |
|  |  | UMSO | NHHDC |
|  |  | UMSO | Supplier |
| D0071 | Customer Own Reading or Supplier Estimated Reading on Change of Supplier | Supplier | NHHDC |
| D0072 | Instruction to Obtain Change of Supplier Reading | Supplier | NHHDC |
| D0079 | Supplier Purchase Report | SVAA | Supplier |
| D0081 | Supplier Half Hourly Demand Report | SVAA | Supplier |
| D0082 | Supplier - Supplier Purchase Matrix Report | SVAA | Supplier |
| D0086 | Notification of Change of Supplier Readings | NHHDC | Distributor |
|  |  | NHHDC | NHHDC |
|  |  | NHHDC | Supplier |
| D0089 | Notification from MPAS of Changed Metering Point Details | MPAS | Supplier |
| D0095 | Non Half Hourly Data Aggregation Exception Report | NHHDA | Supplier |
| D0125 | Confirmation of Disconnection of Supply | Distributor | Supplier |
| D0126 | Asset Condition Report Response / Clearance | SFIC | AMEM |
|  |  | SFIC | MOP |
|  |  | SFIC | SIP |
|  |  | SFIC | SMEM |
|  |  | SFIC | Supplier |
| D0131 | Metering Point Address Details | Supplier | HHDC |
|  |  | Supplier | MOP |
|  |  | Supplier | NHHDC |
| D0132 | Details of Disconnection of Supply | Supplier | Distributor |
| D0134 | Request to Change Energisation Status | AMVLP | AMEM |
|  |  | AMVLP | MOP |
|  |  | Supplier | AMEM |
|  |  | Supplier | Distributor |
|  |  | Supplier | MOP |
|  |  | Supplier | SMEM |
| D0135 | Asset Condition Report | ADSA | SFIC |
|  |  | AMEM | SFIC |
|  |  | CMRC | SFIC |
|  |  | HHDC | SFIC |
|  |  | MOP | SFIC |
|  |  | MRS | NHHDC |
|  |  | MRS | SDSA |
|  |  | NHHDC | SFIC |
|  |  | SDSA | SFIC |
|  |  | SIP | SFIC |
|  |  | SMEM | SFIC |
|  |  | Supplier | SFIC |
| D0136 | Report to Supplier of Possible Irregularity | ADSA | Supplier |
|  |  | AMEM | Supplier |
|  |  | CMRC | Supplier |
|  |  | Distributor | Supplier |
|  |  | HHDC | Supplier |
|  |  | MOP | Supplier |
|  |  | MRS | NHHDC |
|  |  | MRS | SDSA |
|  |  | NHHDC | Supplier |
|  |  | PPMIP | Supplier |
|  |  | SDSA | Supplier |
|  |  | SIP | Supplier |
|  |  | SMEM | Supplier |
| D0139 | Confirmation or Rejection of Energisation Status Change | AMEM | AMVLP |
|  |  | AMEM | Supplier |
|  |  | CMRC | Distributor |
|  |  | CMRC | Supplier |
|  |  | Distributor | AMEM |
|  |  | Distributor | MOP |
|  |  | Distributor | SMEM |
|  |  | Distributor | Supplier |
|  |  | MOP | AMVLP |
|  |  | MOP | Distributor |
|  |  | MOP | HHDC |
|  |  | MOP | NHHDC |
|  |  | MOP | Supplier |
|  |  | SIP | Supplier |
|  |  | SMEM | Supplier |
| D0142 | Request for Installation or Change to a Metering System Functionality or the Removal of All Meters | AMVLP | AMEM |
|  |  | AMVLP | MOP |
|  |  | Supplier | AMEM |
|  |  | Supplier | MOP |
|  |  | Supplier | SMEM |
| D0148 | Notification of Change to Other Parties | AMVLP | HHDC |
|  |  | AMVLP | MOP |
|  |  | Supplier | HHDC |
|  |  | Supplier | MA |
|  |  | Supplier | MOP |
|  |  | Supplier | NHHDC |
| D0149 | Notification of Mapping Details | MOP | Distributor |
|  |  | MOP | MOP |
|  |  | MOP | NHHDC |
|  |  | MOP | SMEM |
|  |  | MOP | Supplier |
|  |  | SMEM | Distributor |
|  |  | SMEM | MOP |
|  |  | SMEM | SDSA |
|  |  | SMEM | SMEM |
|  |  | SMEM | Supplier |
| D0150 | Traditional Meter Technical Details | Distributor | MOP |
|  |  | MOP | Distributor |
|  |  | MOP | MOP |
|  |  | MOP | NHHDC |
|  |  | MOP | SMEM |
|  |  | MOP | Supplier |
|  |  | SMEM | Distributor |
|  |  | SMEM | MOP |
|  |  | SMEM | SDSA |
|  |  | SMEM | SMEM |
|  |  | SMEM | Supplier |
| D0151 | Termination of Appointment or Contract by Supplier | AMVLP | HHDC |
|  |  | AMVLP | MOP |
|  |  | Supplier | HHDA |
|  |  | Supplier | HHDC |
|  |  | Supplier | MA |
|  |  | Supplier | MOP |
|  |  | Supplier | NHHDA |
|  |  | Supplier | NHHDC |
| D0152 | Metering System EAC/AA Historical Data | NHHDC | NHHDC |
| D0153 | Notification of Data Aggregator Appointment and Terms | Supplier | HHDA |
|  |  | Supplier | NHHDA |
| D0155 | Notification of Meter Operator or Data Collector Appointment and Terms | AMVLP | HHDC |
|  |  | AMVLP | MOP |
|  |  | Supplier | HHDC |
|  |  | Supplier | MA |
|  |  | Supplier | MOP |
|  |  | Supplier | NHHDC |
| D0164 | Notification of New or Changed Interruption of Supply | Distributor | ADSA |
|  |  | Distributor | HHDC |
|  |  | Distributor | Supplier |
| D0166 | Distribution System Enquiry | Supplier | SFIC |
| D0167 | Response to Distribution System Enquiry | SFIC | Supplier |
| D0170 | Request for Metering System Related Details | ADSA | ADSA |
|  |  | ADSA | AMEM |
|  |  | AMEM | AMEM |
|  |  | AMEM | AMVLP |
|  |  | AMEM | Distributor |
|  |  | AMEM | MOP |
|  |  | AMVLP | AMEM |
|  |  | AMVLP | MOP |
|  |  | HHDC | HHDC |
|  |  | MOP | AMVLP |
|  |  | MOP | Distributor |
|  |  | MOP | MOP |
|  |  | MPAS | HHDC |
|  |  | MPAS | MA |
|  |  | MPAS | MOP |
|  |  | MPAS | NHHDC |
|  |  | MPAS | Supplier |
|  |  | NHHDC | MOP |
|  |  | NHHDC | NHHDC |
|  |  | NHHDC | Supplier |
|  |  | SDSA | SDSA |
|  |  | SDSA | SMEM |
|  |  | SDSA | Supplier |
|  |  | SMEM | Distributor |
|  |  | SMEM | MOP |
|  |  | SMEM | SMEM |
|  |  | Supplier | ADSA |
|  |  | Supplier | HHDC |
|  |  | Supplier | MOP |
|  |  | Supplier | NHHDC |
|  |  | Supplier | SDSA |
|  |  | Supplier | SMEM |
| D0171 | Notification of Distributor Changes to Metering Point Details | MPAS | Supplier |
| D0172 | Confirmation of Changes | MPAS | DCC |
|  |  | MPAS | Supplier |
| D0173 | Token Transaction Data | PPMIP | Supplier |
| D0174 | Issue Identity Card for Token Meter Customer | Supplier | PPMIP |
| D0179 | Confirmation of Energisation/De-Energisation of Prepayment Meter | Distributor | Supplier |
|  |  | MOP | Supplier |
|  |  | SMEM | Supplier |
| D0188 | Key Transaction Details | PPMIP | Supplier |
| D0189 | Adjust Key Meter Debt/Recovery Rate at Specific Locations | Supplier | PPMIP |
| D0190 | Issue Customer Key | Supplier | MOP |
|  |  | Supplier | PPMIP |
|  |  | Supplier | SMEM |
| D0191 | Request Special Visit to Read/Reset Key Meter | Supplier | MOP |
|  |  | Supplier | SMEM |
| D0192 | Readings and Settings from a Token or Key Meter | MOP | Supplier |
|  |  | SMEM | Supplier |
| D0193 | Confirmation of Key Meter Installation | MOP | Supplier |
|  |  | SMEM | Supplier |
| D0194 | Request for Installation of Key Meter | Supplier | MOP |
|  |  | Supplier | SMEM |
| D0203 | Rejection of Changes to Metering Point Details | MPAS | Supplier |
| D0204 | Selective or Full Refresh of MPAS Details | MPAS | Supplier |
| D0205 | Update Registration Details | Supplier | MPAS |
| D0209 | Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator | MPAS | HHDA |
|  |  | MPAS | NHHDA |
| D0213 | Advice from MPAS of Changed Metering Point Details | MPAS | Supplier |
| D0214 | Confirmation of Proving Tests | AMEM | ADSA |
|  |  | AMEM | Distributor |
|  |  | AMEM | Supplier |
|  |  | MOP | Distributor |
|  |  | MOP | HHDC |
|  |  | MOP | Supplier |
| D0215 | Provision of Site Technical Details | Distributor | AMEM |
|  |  | Distributor | MOP |
|  |  | Distributor | SMEM |
|  |  | Distributor | Supplier |
| D0217 | Confirmation of the Registration of a Metering Point | MPAS | Supplier |
| D0221 | Notification of Failure to Install or Energise Metering System | AMEM | AMVLP |
|  |  | AMEM | Supplier |
|  |  | MOP | AMVLP |
|  |  | MOP | Supplier |
|  |  | SMEM | Supplier |
| D0222 | Change in Customer Details | AMEM | Supplier |
|  |  | MOP | Supplier |
|  |  | MRS | NHHDC |
|  |  | MRS | SDSA |
|  |  | NHHDC | Supplier |
|  |  | SDSA | Supplier |
|  |  | SMEM | Supplier |
| D0223 | Request to Install Check Meter or Carry Out Accuracy Tests | Supplier | AMEM |
|  |  | Supplier | MOP |
|  |  | Supplier | SMEM |
| D0224 | Notification of Programme for Re-Certification Meter Changes | AMEM | Supplier |
|  |  | MOP | Supplier |
|  |  | SMEM | Supplier |
| D0225 | Priority Services Details | Distributor | Supplier |
|  |  | Supplier | ADSA |
|  |  | Supplier | AMEM |
|  |  | Supplier | Distributor |
|  |  | Supplier | MOP |
|  |  | Supplier | NHHDC |
|  |  | Supplier | SDSA |
|  |  | Supplier | SMEM |
| D0227 | BSCCo Market Domain Data File | MDDA | NHHDA |
|  |  | MDDA | NHHDC |
| D0235 | Half Hourly Aggregation Exception Report | HHDA | HHDC |
|  |  | HHDA | Supplier |
| D0236 | Revenue Protection Service Statistical Report | RPS | Supplier |
| D0237 | Notification by Revenue Protection Service of Possible Irregularity | RPS | Supplier |
| D0238 | Request and Information for Revenue Protection Investigation | Supplier | RPS |
| D0239 | Revenue Protection Report on Action Taken | RPS | AMEM |
|  |  | RPS | MOP |
|  |  | RPS | SMEM |
|  |  | RPS | Supplier |
| D0242 | Supercustomer DUoS Daily Statement | Distributor | Supplier |
| D0260 | Notification from MPAS of Old Supplier Registration Details | MPAS | Supplier |
| D0261 | Rejection of Agent Appointment | HHDA | Supplier |
|  |  | HHDC | AMVLP |
|  |  | HHDC | Supplier |
|  |  | MA | Supplier |
|  |  | MOP | AMVLP |
|  |  | MOP | Supplier |
|  |  | NHHDA | Supplier |
|  |  | NHHDC | Supplier |
| D0262 | Rejection of Disconnection | Distributor | Supplier |
| D0265 | Line Loss Factor Data File | Distributor | HHDA |
|  |  | Distributor | Supplier |
|  |  | Distributor | SVAA |
| D0266 | Supplier Settlement Header Report | SVAA | Supplier |
| D0268 | Advanced Meter Technical Details | AMEM | ADSA |
|  |  | AMEM | AMEM |
|  |  | AMEM | AMVLP |
|  |  | AMEM | Distributor |
|  |  | AMEM | MOP |
|  |  | AMEM | Supplier |
|  |  | AMVLP | MOP |
|  |  | MOP | AMEM |
|  |  | MOP | AMVLP |
|  |  | MOP | Distributor |
|  |  | MOP | HHDC |
|  |  | MOP | MOP |
|  |  | MOP | Supplier |
|  |  | Supplier | MOP |
| D0269 | Market Domain Data Complete Set | MDDA | Distributor |
|  |  | MDDA | GRS Operator |
|  |  | MDDA | HHDA |
|  |  | MDDA | HHDC |
|  |  | MDDA | MOP |
|  |  | MDDA | MPAS Agent |
|  |  | MDDA | NHHDA |
|  |  | MDDA | NHHDC |
|  |  | MDDA | Supplier |
|  |  | SVAA | Distributor |
|  |  | SVAA | Grid Operator |
|  |  | SVAA | HHDA |
|  |  | SVAA | HHDC |
|  |  | SVAA | MOP |
|  |  | SVAA | MPAS Agent |
|  |  | SVAA | NHHDA |
|  |  | SVAA | NHHDC |
|  |  | SVAA | Supplier |
|  |  | SVAA | SVAA |
| D0269 | Market Domain Data Complete Set | MDDA | Distributor |
|  |  | MDDA | GRS Operator |
|  |  | MDDA | HHDA |
|  |  | MDDA | HHDC |
|  |  | MDDA | MOP |
|  |  | MDDA | MPAS Agent |
|  |  | MDDA | NHHDA |
|  |  | MDDA | NHHDC |
|  |  | MDDA | Supplier |
|  |  | SVAA | Distributor |
|  |  | SVAA | Grid Operator |
|  |  | SVAA | HHDA |
|  |  | SVAA | HHDC |
|  |  | SVAA | MOP |
|  |  | SVAA | MPAS Agent |
|  |  | SVAA | NHHDA |
|  |  | SVAA | NHHDC |
|  |  | SVAA | Supplier |
|  |  | SVAA | SVAA |
| D0270 | Market Domain Data Incremental Set | MDDA | Distributor |
|  |  | MDDA | GRS Operator |
|  |  | MDDA | HHDA |
|  |  | MDDA | HHDC |
|  |  | MDDA | MOP |
|  |  | MDDA | MPAS Agent |
|  |  | MDDA | NHHDA |
|  |  | MDDA | NHHDC |
|  |  | MDDA | Supplier |
|  |  | SVAA | Distributor |
|  |  | SVAA | Grid Operator |
|  |  | SVAA | HHDA |
|  |  | SVAA | HHDC |
|  |  | SVAA | MOP |
|  |  | SVAA | MPAS Agent |
|  |  | SVAA | NHHDA |
|  |  | SVAA | NHHDC |
|  |  | SVAA | Supplier |
|  |  | SVAA | SVAA |
| D0270 | Market Domain Data Incremental Set | MDDA | Distributor |
|  |  | MDDA | GRS Operator |
|  |  | MDDA | HHDA |
|  |  | MDDA | HHDC |
|  |  | MDDA | MOP |
|  |  | MDDA | MPAS Agent |
|  |  | MDDA | NHHDA |
|  |  | MDDA | NHHDC |
|  |  | MDDA | Supplier |
|  |  | SVAA | Distributor |
|  |  | SVAA | Grid Operator |
|  |  | SVAA | HHDA |
|  |  | SVAA | HHDC |
|  |  | SVAA | MOP |
|  |  | SVAA | MPAS Agent |
|  |  | SVAA | NHHDA |
|  |  | SVAA | NHHDC |
|  |  | SVAA | Supplier |
|  |  | SVAA | SVAA |
| D0275 | Validated Half Hourly Advances | ADSA | Supplier |
|  |  | HHDC | Distributor |
|  |  | HHDC | ESNA |
|  |  | HHDC | Supplier |
|  |  | SDSA | Supplier |
|  |  | Supplier | ADSA |
|  |  | Supplier | ESNA |
|  |  | Supplier | SDSA |
| D0276 | GSP Group Consumption Totals Report | SVAA | Supplier |
| D0277 | Teleswitch Contact Interval Data File | Teleswitch Agent | SVAA |
| D0278 | Teleswitch Market Domain Data File | MDDA | SVAA |
| D0278 | Teleswitch Market Domain Data File | MDDA | SVAA |
| D0279 | Teleswitch Contact Interval Data Report File | SVAA | Supplier |
| D0280 | Teleswitch Contact to Register Mapping File | MDDA | Supplier |
| D0286 | Data Aggregation and Settlements Timetable File | MDDA | NHHDA |
|  |  | MDDA | SVAA |
| D0287 | Annually Recalculated Researched Consumption | SVAA | MDDA |
| D0289 | Notification of MC/EAC/PC | Supplier | HHDC |
|  |  | Supplier | MOP |
| D0290 | Instruction to Read Meter | NHHDC | MRS |
|  |  | SDSA | MRS |
| D0291 | Notification of Register Readings on Change of Measurement Class coincident with Change of Supplier | MOP | MOP |
| D0294 | Confirmation of BM Unit Allocation | HHDA | Supplier |
|  |  | SVAA | Supplier |
| D0295 | Rejection of BM Unit Allocation | HHDA | Supplier |
|  |  | SVAA | Supplier |
| D0296 | Supplier BM Unit Report | SVAA | Supplier |
| D0297 | Notification of BM Unit Allocation | Supplier | HHDA |
|  |  | Supplier | SVAA |
| D0298 | BM Unit Aggregated Half Hour Data File | HHDA | Supplier |
|  |  | HHDA | SVAA |
| D0299 | Stage 2 BM Unit Registration Data File | MDDA | HHDA |
|  |  | MDDA | Supplier |
| D0300 | Disputed Readings or Missing Readings on Change of Supplier | NHHDC | Supplier |
|  |  | Supplier | NHHDC |
|  |  | Supplier | Supplier |
| D0301 | Erroneous Transfer Communication | Supplier | Supplier |
| D0302 | Notification of Customer Details | AMVLP | ADSA |
|  |  | AMVLP | AMEM |
|  |  | AMVLP | HHDC |
|  |  | AMVLP | MOP |
|  |  | Supplier | ADSA |
|  |  | Supplier | AMEM |
|  |  | Supplier | Distributor |
|  |  | Supplier | HHDC |
|  |  | Supplier | MOP |
|  |  | Supplier | NHHDC |
|  |  | Supplier | SDSA |
|  |  | Supplier | SMEM |
| D0303 | Notification of Meter Operator, Supplier and Metering Assets installed / removed by the MOP to the MAP | AMEM | MAP |
|  |  | MOP | MAP |
|  |  | SMEM | MAP |
| D0304 | Notification of Meter Asset Provider | MAP | AMEM |
|  |  | MAP | MOP |
|  |  | MAP | SMEM |
|  |  | MOP | Distributor |
|  |  | MOP | MPAS |
|  |  | MOP | Supplier |
|  |  | MPAS | MOP |
| D0306 | Request for Debt Information | Supplier | Supplier |
| D0307 | Debt Information | Supplier | Supplier |
| D0308 | Confirmation of Customer Debt Transfer | Supplier | Supplier |
| D0309 | Confirmation of Debt Assigned | Supplier | Supplier |
| D0310 | Notification of Failure to load or receive Metering System Settlement Details | NHHDC | Supplier |
|  |  | NHHDC | UMSO |
| D0311 | Notification of Old Supplier Information | Supplier | NHHDC |
|  |  | Supplier | Supplier |
| D0312 | Notification of Meter Information to MPAS | MOP | MPAS |
|  |  | MPAS | MOP |
|  |  | MPAS | Supplier |
| D0313 | Auxiliary Meter Technical Details | MOP | Distributor |
|  |  | MOP | MOP |
|  |  | MOP | NHHDC |
|  |  | MOP | Supplier |
| D0314 | Non Half Hourly Embedded Network DUoS Report | SVAA | Distributor |
| D0315 | Embedded Network Supercustomer DUoS Daily Statement | Distributor | Distributor |
| D0317 | Create New Green Deal Plan | GD Provider | GDCC |
| D0318 | Response from GDCC to Distributor | GDCC | Distributor |
| D0319 | Request for Initial Green Deal Licensee Validation | GDCC | GD Licensee |
| D0320 | GD Provider Response to GDCC | GD Provider | GDCC |
| D0321 | GD Provider Update to Plan Information | GD Provider | GDCC |
| D0322 | GD Provider Update to Charging Information | GD Provider | GDCC |
| D0323 | GD Provider Advice of Pending Green Deal | GD Provider | GDCC |
| D0324 | Advise Green Deal Active at MPAN | GDCC | MPAS |
| D0325 | Green Deal Plan Information for Green Deal Licensee | GDCC | GD Licensee |
| D0326 | Green Deal Licensee Update to Bill Payer Details | GD Licensee | GDCC |
| D0327 | Request Green Deal Plan End Date Amendment | Distributor | GDCC |
| D0328 | Provide Remittance Details | GD Licensee | GDCC |
|  |  | GDCC | GD Remittance Processor |
| D0329 | Response to Green Deal Remittance Details | GD Remittance Processor | GDCC |
|  |  | GDCC | GD Licensee |
| D0331 | Update Green Deal Market Data | GDCC | GD Licensee |
|  |  | GDCC | GD Provider |
|  |  | GDCC | GD Remittance Processor |
| D0332 | Green Deal Licensee Request for Information | GD Licensee | GDCC |
| D0333 | Change of Green Deal Provider | GD Provider | GDCC |
| D0334 | Request for New Green Deal MPAN Core | GDCC | GD Licensee |
| D0335 | New Green Deal Plan MPAN Core | GD Licensee | GDCC |
| D0336 | Request to Advise Bill Payer of Pending Green Deal | GDCC | GD Licensee |
| D0337 | Green Deal End Date Amendment Request to GD Provider | GDCC | GD Provider |
| D0338 | Update to Bill Payer Details | GDCC | GD Provider |
| D0339 | Reject Initial Plan Request | GDCC | GD Provider |
| D0340 | MPAS Response to GDCC | MPAS | GDCC |
| D0341 | GD Licensee Response to GDCC | GD Licensee | GDCC |
| D0342 | Notice of Collection Cessation | GD Licensee | GDCC |
|  |  | GDCC | GD Remittance Processor |
| D0343 | Response from GDCC to GD Licensee | GDCC | GD Licensee |
| D0344 | Response from GDCC to GD Provider | GDCC | GD Provider |
| D0345 | Green Deal Licensee Notification of Erroneous Registration | GD Licensee | GDCC |
| D0346 | Notification of Erroneous Registration Status | GDCC | GD Provider |
|  |  | GDCC | GD Remittance Processor |
| D0347 | GD Remittance Processor Response to GDCC | GD Remittance Processor | GDCC |
| D0350 | Notification of DCC Services at Metering Point | DCC | MPAS |
| D0351 | Rejection of Update to DCC Service Flag | MPAS | DCC |
| D0352 | Notification of Physical Disconnections | Distributor | Supplier |
| D0354 | Metering System Reporting Notification | Supplier | HHDA |
|  |  | Supplier | SVAA |
|  |  | SVAA | HHDA |
| D0355 | Metering System Reporting Confirmation | HHDA | CFD Settlement Services Provider |
|  |  | HHDA | CM Settlement Services Provider |
|  |  | HHDA | Supplier |
|  |  | HHDA | SVAA |
|  |  | SVAA | Supplier |
| D0356 | Metering System Reporting Rejection | HHDA | Supplier |
|  |  | HHDA | SVAA |
|  |  | SVAA | Supplier |
| D0357 | Half Hourly Metered Data for EMR | HHDA | CFD Settlement Services Provider |
|  |  | HHDA | CM Settlement Services Provider |
|  |  | HHDA | Supplier |
|  |  | SVAA | CFD Settlement Services Provider |
|  |  | SVAA | CM Settlement Services Provider |
| D0362 | CFD Supplier Invoice Backing Data | CFD Settlement Services Provider | Supplier |
| D0363 | CFD Supplier Credit Cover Report | CFD Settlement Services Provider | Supplier |
| D0364 | CM Supplier Invoice Backing Data | CM Settlement Services Provider | Supplier |
| D0365 | CFD Generator Invoice Backing Data | CFD Settlement Services Provider | CFD Generator |
| D0366 | CM Capacity Provider Invoice Backing Data | CM Settlement Services Provider | Capacity Provider |
| D0367 | Smart Meter Configuration Details | Supplier | MOP |
| D0368 | Notification of Agreed or Cancelled Appointment With Customer | SFIC | AMEM |
|  |  | SFIC | MOP |
|  |  | SFIC | SMEM |
|  |  | SFIC | Supplier |
| D0369 | Aggregated Disconnected DUoS Report | SVAA | Distributor |
|  |  | SVAA | Supplier |
| D0370 | Supplier Half Hourly Demand Disconnection Report | SVAA | Supplier |
| D0371 | Supplier - Supplier Disconnection Matrix Report | SVAA | Supplier |
| D0372 | Aggregated Embedded Network Disconnected DUoS Report | SVAA | Distributor |
| D0373 | GSP Group Demand Disconnection Totals Report | SVAA | Supplier |
| D0374 | Supplier BM Unit Demand Disconnection Report | SVAA | Supplier |
| D0375 | Disconnected MSIDs and Estimated Half Hourly Demand Disconnection Volumes | HHDC | Distributor |
|  |  | HHDC | HHDA |
|  |  | HHDC | Supplier |
|  |  | SVAA | HHDA |
|  |  | SVAA | HHDC |
|  |  | SVAA | NHHDA |
|  |  | SVAA | NHHDC |
| D0376 | Suppliers Demand Disconnection Volume Data File | HHDA | Supplier |
|  |  | HHDA | SVAA |
| D0377 | Disconnection Purchase Matrix Data File | NHHDA | Supplier |
|  |  | NHHDA | SVAA |
| D0378 | BM Unit Aggregated Half Hour Demand Disconnection Data File | HHDA | Supplier |
|  |  | HHDA | SVAA |
| D0379 | Half Hourly Advances UTC | ADSA | Supplier |
|  |  | HHDC | Supplier |
|  |  | MA | HHDC |
|  |  | SDSA | Supplier |
|  |  | Supplier | ADSA |
|  |  | Supplier | HHDC |
|  |  | Supplier | SDSA |
| D0380 | Half Hourly Advances for Inclusion in Aggregated Supplier Matrix | HHDC | HHDA |
|  |  | HHDC | Supplier |
|  |  | Supplier | HHDC |
| D0381 | Metering Point Address Update | Distributor | Supplier |
|  |  | Supplier | Distributor |
| D0382 | Rejection Response for Request to LDSO for Site Technical Details | Distributor | AMEM |
|  |  | Distributor | MOP |
|  |  | Distributor | SMEM |
| D0383 | Notification of Commissioning Information | AMEM | AMEM |
|  |  | AMEM | MOP |
|  |  | AMVLP | AMEM |
|  |  | AMVLP | MOP |
|  |  | Distributor | AMEM |
|  |  | Distributor | MOP |
|  |  | MOP | AMEM |
|  |  | MOP | MOP |
| D0384 | Notification of Commissioning Status | AMEM | AMEM |
|  |  | AMEM | AMVLP |
|  |  | AMEM | MOP |
|  |  | AMEM | Supplier |
|  |  | AMVLP | AMEM |
|  |  | AMVLP | MOP |
|  |  | Distributor | Supplier |
|  |  | MOP | AMEM |
|  |  | MOP | AMVLP |
|  |  | MOP | MOP |
|  |  | MOP | Supplier |
|  |  | Supplier | AMEM |
|  |  | Supplier | Distributor |
|  |  | Supplier | MOP |
| D0385 | Metering System Half Hourly Metered Data | HHDA | SVAA |
| D0386 | Manage Metering Point Relationships | MPAS | Supplier |
|  |  | Supplier | MPAS |
| D0387 | Metering System Half Hourly Volume Adjustments | SVAA | Supplier |
| D0388 | UMS Inventory | UMSO | MA |
|  |  | UMSO | UMSDSA |
| D0389 | UMS Response | MA | UMSO |
|  |  | UMSDSA | UMSO |
| D0390 | Asset Metering System Half Hourly Metered Data | HHDC | AMVLP |
|  |  | HHDC | Supplier |
|  |  | HHDC | SVAA |
| D0391 | Metered Volume History Request | SVAA | HHDA |
| D0392 | Invalid Metered Volume History Request | HHDA | SVAA |
| D0393 | Metered Volume History Acceptance | HHDA | SVAA |
| D0394 | Notification of agreed or cancelled appointment to move a customer electricity meter during a service alteration | Distributor | AMEM |
|  |  | Distributor | MOP |
|  |  | Distributor | SMEM |
|  |  | Distributor | Supplier |
|  |  | Supplier | Distributor |
| D0395 | Confirmation that an electricity meter has been moved during a service alteration | Distributor | AMEM |
|  |  | Distributor | MOP |
|  |  | Distributor | SMEM |
|  |  | Distributor | Supplier |
| D0396 | SIP Event Completed | SIP | Supplier |
| D0397 | MHHS - Supplier Half Hourly Demand Report | SVAA | Supplier |
| D0398 | MHHS - Supplier Settlement Header Report | SVAA | Supplier |
| D0399 | MHHS - GSP Group Consumption Totals Report | SVAA | Supplier |
| D0400 | MHHS - Supplier BM Unit Report | SVAA | Supplier |
| D0401 | MHHS - Aggregated Disconnected DUoS Report | SVAA | Distributor |
|  |  | SVAA | Supplier |
| D0402 | MHHS - Supplier Half Hourly Demand Disconnection Report | SVAA | Supplier |
| D0403 | MHHS - GSP Group Demand Disconnection Totals Report | SVAA | Supplier |
| D0404 | MHHS - Supplier BM Unit Demand Disconnection Report | SVAA | Supplier |

| Flow Reference: | D0001 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request Metering System Investigation |
| --- | --- |
| Flow Description: | Investigation into suspected metering fault due to possible MAR discrepancies, invalid meter readings, timing device or meter or communications fault. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | AMEM | 15.4 |
| ADSA | Supplier | 15.4 |
| AMVLP | HHDC | 15.4 |
| AMVLP | MOP | 15.4 |
| Distributor | ADSA | 15.4 |
| Distributor | HHDC | 15.4 |
| Distributor | NHHDC | 15.4 |
| Distributor | SDSA | 15.4 |
| Distributor | Supplier | 15.4 |
| HHDC | AMVLP | 15.4 |
| HHDC | MOP | 15.4 |
| HHDC | Supplier | 15.4 |
| MRS | NHHDC | 15.4 |
| MRS | SDSA | 15.4 |
| NHHDC | MOP | 15.4 |
| NHHDC | Supplier | 15.4 |
| SDSA | SMEM | 15.4 |
| SDSA | Supplier | 15.4 |
| Supplier | ADSA | 15.4 |
| Supplier | AMEM | 15.4 |
| Supplier | HHDC | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0174 | Appointment Date |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J0004 | Meter Id |
| J0010 | Meter Register Id |
| J0173 | Reason for Request |
| J1012 | Date Fault Suspected/Detected |
| J0012 | Additional Information |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 001 | Metering Points for Investigation | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
| 002 | Meters to be Investigated | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
| 003 | Meter Registers to be Investigated | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0173 | Reason for Request | CHAR(100) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1012 | Date Fault Suspected/Detected | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 759 | Site Visit Information | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | Sufficient information to identify the nature of the fault must be given. This flow only to be used where the metering point is currently energised.Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0002 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Fault Resolution Report or Request for Decision on Further Action |
| --- | --- |
| Flow Description: | Fault Investigation has been carried out and a report on an action taken is being made or a request for a decision on next course of action. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | Distributor | 15.4 |
| ADSA | Supplier | 15.4 |
| AMEM | ADSA | 15.4 |
| AMEM | AMEM | 15.4 |
| AMEM | Supplier | 15.4 |
| CMRC | Supplier | 15.4 |
| HHDC | AMVLP | 15.4 |
| HHDC | Distributor | 15.4 |
| HHDC | Supplier | 15.4 |
| MOP | AMVLP | 15.4 |
| MOP | HHDC | 15.4 |
| MOP | MOP | 15.4 |
| MOP | NHHDC | 15.4 |
| MOP | Supplier | 15.4 |
| SIP | Supplier | 15.4 |
| SMEM | SDSA | 15.4 |
| SMEM | SMEM | 15.4 |
| SMEM | Supplier | 15.4 |
| Supplier | ADSA | 15.4 |
| Supplier | CMRC | 15.4 |
| Supplier | SDSA | 15.4 |
| Supplier | SIP | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0173 | Reason for Request |
| J1012 | Date Fault Suspected/Detected |
| J0004 | Meter Id |
| J0012 | Additional Information |
| J0010 | Meter Register Id |
| J0014 | Date of Action |
| J0008 | Nature of Maintenance |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 004 | Metering Points Inspected | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0173 | Reason for Request | CHAR(100) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1012 | Date Fault Suspected/Detected | DATE(0) |
| 005 | Meter Detail per MPAN Core | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 006 | Meter Registers Inspected | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0014 | Date of Action | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0008 | Nature of Maintenance | CHAR(200) |
| 760 | Site Visit Information | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0003 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Half Hourly Advances |
| --- | --- |
| Flow Description: | Half hourly data from half hourly meters. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | AMEM | 15.4 |
| ADSA | Distributor | 15.4 |
| ADSA | Supplier | 15.4 |
| Distributor | Supplier | 15.4 |
| HHDC | Distributor | 15.4 |
| HHDC | MOP | 15.4 |
| HHDC | Supplier | 15.4 |
| Supplier | ADSA | 15.4 |
| Supplier | HHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0004 | Meter Id |
| J1019 | Reading Date & Time in UTC |
| J0171 | Reading Type |
| J0010 | Meter Register Id |
| J0103 | Measurement Quantity Id |
| J0018 | Date (Midnight to Midnight UTC) |
| J0019 | Meter Period Number |
| J0020 | Actual/Estimated Indicator |
| J0021 | Meter Period Value |
| J0378 | Meter Period Tag |
| J0707 | Meter Period Flag |
| J0709 | Meter Period Status |
| J0708 | Meter Period Reason Code |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 007 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
| 008 | Meter Ids | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
| 009 | Reading Dates/Types | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1019 | Reading Date & Time in UTC | DATETIME(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0171 | Reading Type | CHAR(1) |
| 010 | Meter Registers | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| 011 | Dates for HH Data | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0018 | Date (Midnight to Midnight UTC) | DATE(0) |
| 012 | HH Advances | 48 |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0019 | Meter Period Number | CHAR(2) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0021 | Meter Period Value | NUM(8) |
|  |  |  |  |  |  |  |  |  |  | O |  | J0378 | Meter Period Tag | CHAR(16) |
|  |  |  |  |  |  |  |  |  |  | O |  | J0707 | Meter Period Flag | BOOLEAN(0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J0709 | Meter Period Status | BOOLEAN(0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J0708 | Meter Period Reason Code | CHAR(2) |
| 013 | Site Visit Information | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | This flow is for notification of validated half-hourly advances and includes optional data items for any site visit check information.Where site visit information details apply at meter level it is anticipated that this will be detailed at MPAN Core level in the Additional Information field. Flow occurrence between Distributor and Supplier and Supplier to DC have been included to cover the Unmetered Supply Requirements. |
| --- | --- |

| Flow Reference: | D0004 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Failure to Obtain Reading |
| --- | --- |
| Flow Description: | A report identifying meter reading systems where readings could not be obtained. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | Supplier | 15.4 |
| HHDC | Supplier | 15.4 |
| MRS | NHHDC | 15.4 |
| MRS | SDSA | 15.4 |
| NHHDC | Supplier | 15.4 |
| SDSA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0004 | Meter Id |
| J0171 | Reading Type |
| J0016 | Reading Date & Time |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 014 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
| 015 | Attempted Reading Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0171 | Reading Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |
| 016 | Site Visit Information | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | Reading date & time is that date and time at which the last attempt was made to read the meter.For routine readings where no access is obtained these will still be passed to the Supplier (for billing the customer) to estimate and the EAC used by the DC for Settlement. No access means that the Agent was unable to gain sight of the meter. |
| --- | --- |

| Flow Reference: | D0005 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Instruction on Action |
| --- | --- |
| Flow Description: | Request for action on metering systems. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | AMEM | 15.4 |
| ADSA | Supplier | 15.4 |
| AMEM | ADSA | 15.4 |
| AMEM | Supplier | 15.4 |
| AMVLP | HHDC | 15.4 |
| AMVLP | MOP | 15.4 |
| Distributor | ADSA | 15.4 |
| Distributor | AMEM | 15.4 |
| Distributor | HHDC | 15.4 |
| HHDC | MOP | 15.4 |
| MOP | AMVLP | 15.4 |
| MOP | HHDC | 15.4 |
| SDSA | SMEM | 15.4 |
| SMEM | SDSA | 15.4 |
| SMEM | Supplier | 15.4 |
| Supplier | ADSA | 15.4 |
| Supplier | AMEM | 15.4 |
| Supplier | HHDC | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | NHHDC | 15.4 |
| Supplier | SDSA | 15.4 |
| Supplier | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0173 | Reason for Request |
| J0174 | Appointment Date |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J0004 | Meter Id |
| J0012 | Additional Information |
| J0007 | Requested Action Code |
| J0028 | Date Action Required By |
| J0088 | Effective to Settlement Date {MACDC} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 017 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0173 | Reason for Request | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
| 018 | Meters | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 019 | Requested Actions | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0007 | Requested Action Code | CHAR(2) |
| 020 | Action Required By | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0028 | Date Action Required By | DATE(0) |
| 021 | Settlement Date | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0088 | Effective to Settlement Date {MACDC} | DATE(0) |

| Notes: | Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0008 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Meter Advance Reconciliation Report |
| --- | --- |
| Flow Description: | Cumulative reading from HH Meters (MIST/MOST) for performing meter advance reconciliation. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | Distributor | 15.4 |
| ADSA | Supplier | 15.4 |
| HHDC | AMVLP | 15.4 |
| HHDC | Distributor | 15.4 |
| HHDC | MOP | 15.4 |
| HHDC | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0041 | MAR Status |
| J0004 | Meter Id |
| J0171 | Reading Type |
| J0272 | Total Period Metered Consumption |
| J0273 | MAR Percentage Difference |
| J0010 | Meter Register Id |
| J1019 | Reading Date & Time in UTC |
| J0040 | Register Reading |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 022 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0041 | MAR Status | CHAR(1) |
| 023 | Meter Consumption Summary | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0171 | Reading Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0272 | Total Period Metered Consumption | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0273 | MAR Percentage Difference | NUM(5) |
| 024 | Register Readings | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1019 | Reading Date & Time in UTC | DATETIME(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |
| 025 | Site Visit Information | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | This flow reports on the results of Meter Advance Reconciliation (MAR) for half-hourly meters, and includes the MAR reading and sum of half-hourly advances for the MAR period.Where an AMVLP (Asset Metering Virtual Lead Party) is involved and for the Electricity MEM the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0010 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Meter Readings |
| --- | --- |
| Flow Description: | Cumulative readings and maximum demand readings. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | ADSA | 15.4 |
| ADSA | AMEM | 15.4 |
| ADSA | Distributor | 15.4 |
| ADSA | Supplier | 15.4 |
| AMEM | ADSA | 15.4 |
| AMEM | AMEM | 15.4 |
| AMEM | Distributor | 15.4 |
| AMEM | Supplier | 15.4 |
| Distributor | ADSA | 15.4 |
| Distributor | NHHDC | 15.4 |
| Distributor | SDSA | 15.4 |
| HHDC | Distributor | 15.4 |
| HHDC | HHDC | 15.4 |
| HHDC | Supplier | 15.4 |
| MOP | AMVLP | 15.4 |
| MOP | Distributor | 15.4 |
| MOP | HHDC | 15.4 |
| MOP | MOP | 15.4 |
| MOP | NHHDC | 15.4 |
| MOP | Supplier | 15.4 |
| MRS | NHHDC | 15.4 |
| NHHDC | Distributor | 15.4 |
| NHHDC | NHHDC | 15.4 |
| NHHDC | Supplier | 15.4 |
| SDSA | Distributor | 15.4 |
| SDSA | SDSA | 15.4 |
| SDSA | Supplier | 15.4 |
| SMEM | Distributor | 15.4 |
| SMEM | SDSA | 15.4 |
| SMEM | SMEM | 15.4 |
| SMEM | Supplier | 15.4 |
| Supplier | ADSA | 15.4 |
| Supplier | AMEM | 15.4 |
| Supplier | Distributor | 15.4 |
| Supplier | NHHDC | 15.4 |
| Supplier | SDSA | 15.4 |
| Supplier | SMEM | 15.4 |
| Supplier | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0022 | BSC Validation Status |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |
| J0004 | Meter Id |
| J0171 | Reading Type |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |
| J0010 | Meter Register Id |
| J0016 | Reading Date & Time |
| J0040 | Register Reading |
| J0044 | MD Reset Date & Time |
| J1013 | Number of MD Resets |
| J0045 | Meter Reading Flag |
| J1888 | Reading Method |
| J0332 | Meter Reading Reason Code |
| J0047 | Meter Reading Status |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 026 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0022 | BSC Validation Status | CHAR(1) |
| 027 | Site Visit Information | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 028 | Meter/Reading Types | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0171 | Reading Type | CHAR(1) |
| 029 | Site Visit Information | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 030 | Register Readings | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0044 | MD Reset Date & Time | DATETIME(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1013 | Number of MD Resets | NUM(3) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0045 | Meter Reading Flag | BOOLEAN(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1888 | Reading Method | CHAR(1) |
| 032 | Meter Reading Validation Result | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0332 | Meter Reading Reason Code | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0047 | Meter Reading Status | BOOLEAN(0) |
| 033 | Site Visit Information | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | NHH - This flow is for notification of validated/invalid non half-hourly meter readings and includes optional fields for any site visit check information. In Change of Supplier processes this flow can be used to communicate candidate Change of Supplier readings. In particular, the Supplier to Supplier instance is used to communicate unvalidated readings taken directly from smart meters. Additional processing rules for DDC enrolled smart meters are contained in Annex C. It is also required to pass any remotely taken reads to NHHDCs for use in the Change of Supplier process. For all other cases Supplier must utilise D0071 to send candidate reads to NHHDC. For the avoidance of doubt NHHDC will always confirm a Change of Supplier reading using D0086.HH - The instances of the D0010 from MOP to Supplier and MOP to Distributor should only be used when the meter is Half-Hourly and the reading is either "initial" and/or "final".The instance of the D0010 from Supplier to Distributor should only be used where readings are taken (or sourced) by the Supplier from smart meters.The flow D0086 must always reflect this current flow. Where confirming a reading received on a D0071 where "Reading Type" has been populated with the value O (Old Suppliers estimated CoS Reading) the NHHDC should populate the data item (Reading Type) with D to signify that the reading has been Deemed or Estimated and is in line with meter reading history.Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0011 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Agreement of Contractual Terms |
| --- | --- |
| Flow Description: | Acknowledgement of appointment and terms or renewal of contractual terms. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| HHDA | Supplier | 15.4 |
| HHDC | AMVLP | 15.4 |
| HHDC | Supplier | 15.4 |
| MA | Supplier | 15.4 |
| MOP | AMVLP | 15.4 |
| MOP | Supplier | 15.4 |
| NHHDA | Supplier | 15.4 |
| NHHDC | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0048 | Contract Reference |
| J0049 | Effective from Settlement Date {REGI} |
| J0219 | Effective from Date {DCA} |
| J0210 | Effective from Date {MOA} |
| J0334 | Effective from Settlement Date {DAA} |
| J0274 | Service Reference |
| J0275 | Service Level Reference |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 034 | Contract Terms Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0048 | Contract Reference | CHAR(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
| 035 | DC Effective Date | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0219 | Effective from Date {DCA} | DATE(0) |
| 036 | MOP Effective Date | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0210 | Effective from Date {MOA} | DATE(0) |
| 037 | DA Effective Date | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0334 | Effective from Settlement Date {DAA} | DATE(0) |
| 038 | Agreed Service Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0274 | Service Reference | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0275 | Service Level Reference | CHAR(4) |

| Notes: | See Rejection of Agent appointment flow (D0261).Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0012 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Confirmation of the Inclusion of the Metering Point in the Reading Schedules |
| --- | --- |
| Flow Description: | Acknowledge that a specified metering point is included in a reading schedule quoting the dates applicable. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| HHDC | Distributor | 15.4 |
| HHDC | Supplier | 15.4 |
| NHHDC | Distributor | 15.4 |
| NHHDC | Supplier | 15.4 |
| SDSA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0369 | Meter Reading Schedule Date |
| J0277 | Regular Reading Cycle |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 039 | Reading Schedule Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0369 | Meter Reading Schedule Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0277 | Regular Reading Cycle | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0018 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Daily Profile Data Report |
| --- | --- |
| Flow Description: | Details of the daily profile production process. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | NHHDC | 15.4 |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J1090 | Report Parameters |
| J1091 | Profile Production Date |
| J1092 | Profile Production Time |
| J0066 | GSP Group Id |
| J0062 | Actual Noon Temperature |
| J0068 | Noon Effective Temperature |
| J0077 | Time of Sunset |
| J0875 | Sunset Variable |
| J0071 | Profile Class Id |
| J0072 | Profile Id |
| J0069 | Period Profile Coefficient Value (Settlement Period 01) |
| J1362 | Period Profile Coefficient Value (Settlement Period 02) |
| J1363 | Period Profile Coefficient Value (Settlement Period 03) |
| J1364 | Period Profile Coefficient Value (Settlement Period 04) |
| J1365 | Period Profile Coefficient Value (Settlement Period 05) |
| J1366 | Period Profile Coefficient Value (Settlement Period 06) |
| J1367 | Period Profile Coefficient Value (Settlement Period 07) |
| J1368 | Period Profile Coefficient Value (Settlement Period 08) |
| J1369 | Period Profile Coefficient Value (Settlement Period 09) |
| J1370 | Period Profile Coefficient Value (Settlement Period 10) |
| J1371 | Period Profile Coefficient Value (Settlement Period 11) |
| J1372 | Period Profile Coefficient Value (Settlement Period 12) |
| J1373 | Period Profile Coefficient Value (Settlement Period 13) |
| J1374 | Period Profile Coefficient Value (Settlement Period 14) |
| J1375 | Period Profile Coefficient Value (Settlement Period 15) |
| J1376 | Period Profile Coefficient Value (Settlement Period 16) |
| J1377 | Period Profile Coefficient Value (Settlement Period 17) |
| J1378 | Period Profile Coefficient Value (Settlement Period 18) |
| J1379 | Period Profile Coefficient Value (Settlement Period 19) |
| J1380 | Period Profile Coefficient Value (Settlement Period 20) |
| J1381 | Period Profile Coefficient Value (Settlement Period 21) |
| J1382 | Period Profile Coefficient Value (Settlement Period 22) |
| J1383 | Period Profile Coefficient Value (Settlement Period 23) |
| J1384 | Period Profile Coefficient Value (Settlement Period 24) |
| J1385 | Period Profile Coefficient Value (Settlement Period 25) |
| J1386 | Period Profile Coefficient Value (Settlement Period 26) |
| J1387 | Period Profile Coefficient Value (Settlement Period 27) |
| J1388 | Period Profile Coefficient Value (Settlement Period 28) |
| J1389 | Period Profile Coefficient Value (Settlement Period 29) |
| J1390 | Period Profile Coefficient Value (Settlement Period 30) |
| J1391 | Period Profile Coefficient Value (Settlement Period 31) |
| J1392 | Period Profile Coefficient Value (Settlement Period 32) |
| J1393 | Period Profile Coefficient Value (Settlement Period 33) |
| J1394 | Period Profile Coefficient Value (Settlement Period 34) |
| J1395 | Period Profile Coefficient Value (Settlement Period 35) |
| J1396 | Period Profile Coefficient Value (Settlement Period 36) |
| J1397 | Period Profile Coefficient Value (Settlement Period 37) |
| J1398 | Period Profile Coefficient Value (Settlement Period 38) |
| J1399 | Period Profile Coefficient Value (Settlement Period 39) |
| J1400 | Period Profile Coefficient Value (Settlement Period 40) |
| J1401 | Period Profile Coefficient Value (Settlement Period 41) |
| J1402 | Period Profile Coefficient Value (Settlement Period 42) |
| J1403 | Period Profile Coefficient Value (Settlement Period 43) |
| J1404 | Period Profile Coefficient Value (Settlement Period 44) |
| J1405 | Period Profile Coefficient Value (Settlement Period 45) |
| J1406 | Period Profile Coefficient Value (Settlement Period 46) |
| J1407 | Period Profile Coefficient Value (Settlement Period 47) |
| J1408 | Period Profile Coefficient Value (Settlement Period 48) |
| J1409 | Period Profile Coefficient Value (Settlement Period 49) |
| J1410 | Period Profile Coefficient Value (Settlement Period 50) |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0876 | Low Register Profile Coefficient (Settlement Period 01) |
| J0877 | Normal Register Profile Coefficient (Settlement Period 01) |
| J1460 | Low Register Profile Coefficient (Settlement Period 02) |
| J1509 | Normal Register Profile Coefficient (Settlement Period 02) |
| J1461 | Low Register Profile Coefficient (Settlement Period 03) |
| J1510 | Normal Register Profile Coefficient (Settlement Period 03) |
| J1462 | Low Register Profile Coefficient (Settlement Period 04) |
| J1511 | Normal Register Profile Coefficient (Settlement Period 04) |
| J1463 | Low Register Profile Coefficient (Settlement Period 05) |
| J1512 | Normal Register Profile Coefficient (Settlement Period 05) |
| J1464 | Low Register Profile Coefficient (Settlement Period 06) |
| J1513 | Normal Register Profile Coefficient (Settlement Period 06) |
| J1465 | Low Register Profile Coefficient (Settlement Period 07) |
| J1514 | Normal Register Profile Coefficient (Settlement Period 07) |
| J1466 | Low Register Profile Coefficient (Settlement Period 08) |
| J1515 | Normal Register Profile Coefficient (Settlement Period 08) |
| J1467 | Low Register Profile Coefficient (Settlement Period 09) |
| J1516 | Normal Register Profile Coefficient (Settlement Period 09) |
| J1468 | Low Register Profile Coefficient (Settlement Period 10) |
| J1517 | Normal Register Profile Coefficient (Settlement Period 10) |
| J1469 | Low Register Profile Coefficient (Settlement Period 11) |
| J1518 | Normal Register Profile Coefficient (Settlement Period 11) |
| J1470 | Low Register Profile Coefficient (Settlement Period 12) |
| J1519 | Normal Register Profile Coefficient (Settlement Period 12) |
| J1471 | Low Register Profile Coefficient (Settlement Period 13) |
| J1520 | Normal Register Profile Coefficient (Settlement Period 13) |
| J1472 | Low Register Profile Coefficient (Settlement Period 14) |
| J1521 | Normal Register Profile Coefficient (Settlement Period 14) |
| J1473 | Low Register Profile Coefficient (Settlement Period 15) |
| J1522 | Normal Register Profile Coefficient (Settlement Period 15) |
| J1474 | Low Register Profile Coefficient (Settlement Period 16) |
| J1523 | Normal Register Profile Coefficient (Settlement Period 16) |
| J1475 | Low Register Profile Coefficient (Settlement Period 17) |
| J1524 | Normal Register Profile Coefficient (Settlement Period 17) |
| J1476 | Low Register Profile Coefficient (Settlement Period 18) |
| J1525 | Normal Register Profile Coefficient (Settlement Period 18) |
| J1477 | Low Register Profile Coefficient (Settlement Period 19) |
| J1526 | Normal Register Profile Coefficient (Settlement Period 19) |
| J1478 | Low Register Profile Coefficient (Settlement Period 20) |
| J1527 | Normal Register Profile Coefficient (Settlement Period 20) |
| J1479 | Low Register Profile Coefficient (Settlement Period 21) |
| J1528 | Normal Register Profile Coefficient (Settlement Period 21) |
| J1480 | Low Register Profile Coefficient (Settlement Period 22) |
| J1529 | Normal Register Profile Coefficient (Settlement Period 22) |
| J1481 | Low Register Profile Coefficient (Settlement Period 23) |
| J1530 | Normal Register Profile Coefficient (Settlement Period 23) |
| J1482 | Low Register Profile Coefficient (Settlement Period 24) |
| J1531 | Normal Register Profile Coefficient (Settlement Period 24) |
| J1483 | Low Register Profile Coefficient (Settlement Period 25) |
| J1532 | Normal Register Profile Coefficient (Settlement Period 25) |
| J1484 | Low Register Profile Coefficient (Settlement Period 26) |
| J1533 | Normal Register Profile Coefficient (Settlement Period 26) |
| J1485 | Low Register Profile Coefficient (Settlement Period 27) |
| J1534 | Normal Register Profile Coefficient (Settlement Period 27) |
| J1486 | Low Register Profile Coefficient (Settlement Period 28) |
| J1535 | Normal Register Profile Coefficient (Settlement Period 28) |
| J1487 | Low Register Profile Coefficient (Settlement Period 29) |
| J1536 | Normal Register Profile Coefficient (Settlement Period 29) |
| J1488 | Low Register Profile Coefficient (Settlement Period 30) |
| J1537 | Normal Register Profile Coefficient (Settlement Period 30) |
| J1489 | Low Register Profile Coefficient (Settlement Period 31) |
| J1538 | Normal Register Profile Coefficient (Settlement Period 31) |
| J1490 | Low Register Profile Coefficient (Settlement Period 32) |
| J1539 | Normal Register Profile Coefficient (Settlement Period 32) |
| J1491 | Low Register Profile Coefficient (Settlement Period 33) |
| J1540 | Normal Register Profile Coefficient (Settlement Period 33) |
| J1492 | Low Register Profile Coefficient (Settlement Period 34) |
| J1541 | Normal Register Profile Coefficient (Settlement Period 34) |
| J1493 | Low Register Profile Coefficient (Settlement Period 35) |
| J1542 | Normal Register Profile Coefficient (Settlement Period 35) |
| J1494 | Low Register Profile Coefficient (Settlement Period 36) |
| J1543 | Normal Register Profile Coefficient (Settlement Period 36) |
| J1495 | Low Register Profile Coefficient (Settlement Period 37) |
| J1544 | Normal Register Profile Coefficient (Settlement Period 37) |
| J1496 | Low Register Profile Coefficient (Settlement Period 38) |
| J1545 | Normal Register Profile Coefficient (Settlement Period 38) |
| J1497 | Low Register Profile Coefficient (Settlement Period 39) |
| J1546 | Normal Register Profile Coefficient (Settlement Period 39) |
| J1498 | Low Register Profile Coefficient (Settlement Period 40) |
| J1547 | Normal Register Profile Coefficient (Settlement Period 40) |
| J1499 | Low Register Profile Coefficient (Settlement Period 41) |
| J1548 | Normal Register Profile Coefficient (Settlement Period 41) |
| J1500 | Low Register Profile Coefficient (Settlement Period 42) |
| J1549 | Normal Register Profile Coefficient (Settlement Period 42) |
| J1501 | Low Register Profile Coefficient (Settlement Period 43) |
| J1550 | Normal Register Profile Coefficient (Settlement Period 43) |
| J1502 | Low Register Profile Coefficient (Settlement Period 44) |
| J1551 | Normal Register Profile Coefficient (Settlement Period 44) |
| J1503 | Low Register Profile Coefficient (Settlement Period 45) |
| J1552 | Normal Register Profile Coefficient (Settlement Period 45) |
| J1504 | Low Register Profile Coefficient (Settlement Period 46) |
| J1553 | Normal Register Profile Coefficient (Settlement Period 46) |
| J1505 | Low Register Profile Coefficient (Settlement Period 47) |
| J1554 | Normal Register Profile Coefficient (Settlement Period 47) |
| J1506 | Low Register Profile Coefficient (Settlement Period 48) |
| J1555 | Normal Register Profile Coefficient (Settlement Period 48) |
| J1507 | Low Register Profile Coefficient (Settlement Period 49) |
| J1556 | Normal Register Profile Coefficient (Settlement Period 49) |
| J1508 | Low Register Profile Coefficient (Settlement Period 50) |
| J1557 | Normal Register Profile Coefficient (Settlement Period 50) |
| J0078 | Time Pattern Regime |
| J0069 | Period Profile Coefficient Value (Settlement Period 01) |
| J0070 | Period Register on State Indicator (Settlement Period 01) |
| J1362 | Period Profile Coefficient Value (Settlement Period 02) |
| J1411 | Period Register on State Indicator (Settlement Period 02) |
| J1363 | Period Profile Coefficient Value (Settlement Period 03) |
| J1412 | Period Register on State Indicator (Settlement Period 03) |
| J1364 | Period Profile Coefficient Value (Settlement Period 04) |
| J1413 | Period Register on State Indicator (Settlement Period 04) |
| J1365 | Period Profile Coefficient Value (Settlement Period 05) |
| J1414 | Period Register on State Indicator (Settlement Period 05) |
| J1366 | Period Profile Coefficient Value (Settlement Period 06) |
| J1415 | Period Register on State Indicator (Settlement Period 06) |
| J1367 | Period Profile Coefficient Value (Settlement Period 07) |
| J1416 | Period Register on State Indicator (Settlement Period 07) |
| J1368 | Period Profile Coefficient Value (Settlement Period 08) |
| J1417 | Period Register on State Indicator (Settlement Period 08) |
| J1369 | Period Profile Coefficient Value (Settlement Period 09) |
| J1418 | Period Register on State Indicator (Settlement Period 09) |
| J1370 | Period Profile Coefficient Value (Settlement Period 10) |
| J1419 | Period Register on State Indicator (Settlement Period 10) |
| J1371 | Period Profile Coefficient Value (Settlement Period 11) |
| J1420 | Period Register on State Indicator (Settlement Period 11) |
| J1372 | Period Profile Coefficient Value (Settlement Period 12) |
| J1421 | Period Register on State Indicator (Settlement Period 12) |
| J1373 | Period Profile Coefficient Value (Settlement Period 13) |
| J1422 | Period Register on State Indicator (Settlement Period 13) |
| J1374 | Period Profile Coefficient Value (Settlement Period 14) |
| J1423 | Period Register on State Indicator (Settlement Period 14) |
| J1375 | Period Profile Coefficient Value (Settlement Period 15) |
| J1424 | Period Register on State Indicator (Settlement Period 15) |
| J1376 | Period Profile Coefficient Value (Settlement Period 16) |
| J1425 | Period Register on State Indicator (Settlement Period 16) |
| J1377 | Period Profile Coefficient Value (Settlement Period 17) |
| J1426 | Period Register on State Indicator (Settlement Period 17) |
| J1378 | Period Profile Coefficient Value (Settlement Period 18) |
| J1427 | Period Register on State Indicator (Settlement Period 18) |
| J1379 | Period Profile Coefficient Value (Settlement Period 19) |
| J1428 | Period Register on State Indicator (Settlement Period 19) |
| J1380 | Period Profile Coefficient Value (Settlement Period 20) |
| J1429 | Period Register on State Indicator (Settlement Period 20) |
| J1381 | Period Profile Coefficient Value (Settlement Period 21) |
| J1430 | Period Register on State Indicator (Settlement Period 21) |
| J1382 | Period Profile Coefficient Value (Settlement Period 22) |
| J1431 | Period Register on State Indicator (Settlement Period 22) |
| J1383 | Period Profile Coefficient Value (Settlement Period 23) |
| J1432 | Period Register on State Indicator (Settlement Period 23) |
| J1384 | Period Profile Coefficient Value (Settlement Period 24) |
| J1433 | Period Register on State Indicator (Settlement Period 24) |
| J1385 | Period Profile Coefficient Value (Settlement Period 25) |
| J1434 | Period Register on State Indicator (Settlement Period 25) |
| J1386 | Period Profile Coefficient Value (Settlement Period 26) |
| J1435 | Period Register on State Indicator (Settlement Period 26) |
| J1387 | Period Profile Coefficient Value (Settlement Period 27) |
| J1436 | Period Register on State Indicator (Settlement Period 27) |
| J1388 | Period Profile Coefficient Value (Settlement Period 28) |
| J1437 | Period Register on State Indicator (Settlement Period 28) |
| J1389 | Period Profile Coefficient Value (Settlement Period 29) |
| J1438 | Period Register on State Indicator (Settlement Period 29) |
| J1390 | Period Profile Coefficient Value (Settlement Period 30) |
| J1439 | Period Register on State Indicator (Settlement Period 30) |
| J1391 | Period Profile Coefficient Value (Settlement Period 31) |
| J1440 | Period Register on State Indicator (Settlement Period 31) |
| J1392 | Period Profile Coefficient Value (Settlement Period 32) |
| J1441 | Period Register on State Indicator (Settlement Period 32) |
| J1393 | Period Profile Coefficient Value (Settlement Period 33) |
| J1442 | Period Register on State Indicator (Settlement Period 33) |
| J1394 | Period Profile Coefficient Value (Settlement Period 34) |
| J1443 | Period Register on State Indicator (Settlement Period 34) |
| J1395 | Period Profile Coefficient Value (Settlement Period 35) |
| J1444 | Period Register on State Indicator (Settlement Period 35) |
| J1396 | Period Profile Coefficient Value (Settlement Period 36) |
| J1445 | Period Register on State Indicator (Settlement Period 36) |
| J1397 | Period Profile Coefficient Value (Settlement Period 37) |
| J1446 | Period Register on State Indicator (Settlement Period 37) |
| J1398 | Period Profile Coefficient Value (Settlement Period 38) |
| J1447 | Period Register on State Indicator (Settlement Period 38) |
| J1399 | Period Profile Coefficient Value (Settlement Period 39) |
| J1448 | Period Register on State Indicator (Settlement Period 39) |
| J1400 | Period Profile Coefficient Value (Settlement Period 40) |
| J1449 | Period Register on State Indicator (Settlement Period 40) |
| J1401 | Period Profile Coefficient Value (Settlement Period 41) |
| J1450 | Period Register on State Indicator (Settlement Period 41) |
| J1402 | Period Profile Coefficient Value (Settlement Period 42) |
| J1451 | Period Register on State Indicator (Settlement Period 42) |
| J1403 | Period Profile Coefficient Value (Settlement Period 43) |
| J1452 | Period Register on State Indicator (Settlement Period 43) |
| J1404 | Period Profile Coefficient Value (Settlement Period 44) |
| J1453 | Period Register on State Indicator (Settlement Period 44) |
| J1405 | Period Profile Coefficient Value (Settlement Period 45) |
| J1454 | Period Register on State Indicator (Settlement Period 45) |
| J1406 | Period Profile Coefficient Value (Settlement Period 46) |
| J1455 | Period Register on State Indicator (Settlement Period 46) |
| J1407 | Period Profile Coefficient Value (Settlement Period 47) |
| J1456 | Period Register on State Indicator (Settlement Period 47) |
| J1408 | Period Profile Coefficient Value (Settlement Period 48) |
| J1457 | Period Register on State Indicator (Settlement Period 48) |
| J1409 | Period Profile Coefficient Value (Settlement Period 49) |
| J1458 | Period Register on State Indicator (Settlement Period 49) |
| J1410 | Period Profile Coefficient Value (Settlement Period 50) |
| J1459 | Period Register on State Indicator (Settlement Period 50) |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| RDT |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR | Daily Profile Data Report Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1091 | Profile Production Date | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1092 | Profile Production Time | (0) |
| GSP | GSP Group | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0062 | Actual Noon Temperature | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0068 | Noon Effective Temperature | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0077 | Time of Sunset | TIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0875 | Sunset Variable | CHAR(5) |
| PCL | Profile Class Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
| PFL | Profile Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0072 | Profile Id | NUM(2) |
| BPP | Basic Period Profile Coefficients | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0069 | Period Profile Coefficient Value (Settlement Period 01) | NUM(14) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1362 | Period Profile Coefficient Value (Settlement Period 02) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1363 | Period Profile Coefficient Value (Settlement Period 03) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1364 | Period Profile Coefficient Value (Settlement Period 04) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1365 | Period Profile Coefficient Value (Settlement Period 05) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1366 | Period Profile Coefficient Value (Settlement Period 06) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1367 | Period Profile Coefficient Value (Settlement Period 07) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1368 | Period Profile Coefficient Value (Settlement Period 08) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1369 | Period Profile Coefficient Value (Settlement Period 09) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1370 | Period Profile Coefficient Value (Settlement Period 10) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1371 | Period Profile Coefficient Value (Settlement Period 11) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1372 | Period Profile Coefficient Value (Settlement Period 12) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1373 | Period Profile Coefficient Value (Settlement Period 13) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1374 | Period Profile Coefficient Value (Settlement Period 14) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1375 | Period Profile Coefficient Value (Settlement Period 15) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1376 | Period Profile Coefficient Value (Settlement Period 16) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1377 | Period Profile Coefficient Value (Settlement Period 17) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1378 | Period Profile Coefficient Value (Settlement Period 18) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1379 | Period Profile Coefficient Value (Settlement Period 19) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1380 | Period Profile Coefficient Value (Settlement Period 20) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1381 | Period Profile Coefficient Value (Settlement Period 21) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1382 | Period Profile Coefficient Value (Settlement Period 22) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1383 | Period Profile Coefficient Value (Settlement Period 23) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1384 | Period Profile Coefficient Value (Settlement Period 24) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1385 | Period Profile Coefficient Value (Settlement Period 25) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1386 | Period Profile Coefficient Value (Settlement Period 26) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1387 | Period Profile Coefficient Value (Settlement Period 27) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1388 | Period Profile Coefficient Value (Settlement Period 28) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1389 | Period Profile Coefficient Value (Settlement Period 29) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1390 | Period Profile Coefficient Value (Settlement Period 30) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1391 | Period Profile Coefficient Value (Settlement Period 31) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1392 | Period Profile Coefficient Value (Settlement Period 32) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1393 | Period Profile Coefficient Value (Settlement Period 33) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1394 | Period Profile Coefficient Value (Settlement Period 34) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1395 | Period Profile Coefficient Value (Settlement Period 35) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1396 | Period Profile Coefficient Value (Settlement Period 36) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1397 | Period Profile Coefficient Value (Settlement Period 37) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1398 | Period Profile Coefficient Value (Settlement Period 38) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1399 | Period Profile Coefficient Value (Settlement Period 39) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1400 | Period Profile Coefficient Value (Settlement Period 40) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1401 | Period Profile Coefficient Value (Settlement Period 41) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1402 | Period Profile Coefficient Value (Settlement Period 42) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1403 | Period Profile Coefficient Value (Settlement Period 43) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1404 | Period Profile Coefficient Value (Settlement Period 44) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1405 | Period Profile Coefficient Value (Settlement Period 45) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1406 | Period Profile Coefficient Value (Settlement Period 46) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1407 | Period Profile Coefficient Value (Settlement Period 47) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1408 | Period Profile Coefficient Value (Settlement Period 48) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1409 | Period Profile Coefficient Value (Settlement Period 49) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1410 | Period Profile Coefficient Value (Settlement Period 50) | (0) |
| SSC | Standard Settlement Configuration Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
| CPP | Combined Period Profile Coefficients | 0-1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0876 | Low Register Profile Coefficient (Settlement Period 01) | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0877 | Normal Register Profile Coefficient (Settlement Period 01) | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1460 | Low Register Profile Coefficient (Settlement Period 02) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1509 | Normal Register Profile Coefficient (Settlement Period 02) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1461 | Low Register Profile Coefficient (Settlement Period 03) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1510 | Normal Register Profile Coefficient (Settlement Period 03) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1462 | Low Register Profile Coefficient (Settlement Period 04) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1511 | Normal Register Profile Coefficient (Settlement Period 04) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1463 | Low Register Profile Coefficient (Settlement Period 05) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1512 | Normal Register Profile Coefficient (Settlement Period 05) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1464 | Low Register Profile Coefficient (Settlement Period 06) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1513 | Normal Register Profile Coefficient (Settlement Period 06) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1465 | Low Register Profile Coefficient (Settlement Period 07) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1514 | Normal Register Profile Coefficient (Settlement Period 07) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1466 | Low Register Profile Coefficient (Settlement Period 08) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1515 | Normal Register Profile Coefficient (Settlement Period 08) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1467 | Low Register Profile Coefficient (Settlement Period 09) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1516 | Normal Register Profile Coefficient (Settlement Period 09) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1468 | Low Register Profile Coefficient (Settlement Period 10) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1517 | Normal Register Profile Coefficient (Settlement Period 10) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1469 | Low Register Profile Coefficient (Settlement Period 11) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1518 | Normal Register Profile Coefficient (Settlement Period 11) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1470 | Low Register Profile Coefficient (Settlement Period 12) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1519 | Normal Register Profile Coefficient (Settlement Period 12) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1471 | Low Register Profile Coefficient (Settlement Period 13) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1520 | Normal Register Profile Coefficient (Settlement Period 13) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1472 | Low Register Profile Coefficient (Settlement Period 14) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1521 | Normal Register Profile Coefficient (Settlement Period 14) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1473 | Low Register Profile Coefficient (Settlement Period 15) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1522 | Normal Register Profile Coefficient (Settlement Period 15) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1474 | Low Register Profile Coefficient (Settlement Period 16) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1523 | Normal Register Profile Coefficient (Settlement Period 16) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1475 | Low Register Profile Coefficient (Settlement Period 17) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1524 | Normal Register Profile Coefficient (Settlement Period 17) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1476 | Low Register Profile Coefficient (Settlement Period 18) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1525 | Normal Register Profile Coefficient (Settlement Period 18) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1477 | Low Register Profile Coefficient (Settlement Period 19) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1526 | Normal Register Profile Coefficient (Settlement Period 19) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1478 | Low Register Profile Coefficient (Settlement Period 20) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1527 | Normal Register Profile Coefficient (Settlement Period 20) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1479 | Low Register Profile Coefficient (Settlement Period 21) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1528 | Normal Register Profile Coefficient (Settlement Period 21) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1480 | Low Register Profile Coefficient (Settlement Period 22) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1529 | Normal Register Profile Coefficient (Settlement Period 22) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1481 | Low Register Profile Coefficient (Settlement Period 23) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1530 | Normal Register Profile Coefficient (Settlement Period 23) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1482 | Low Register Profile Coefficient (Settlement Period 24) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1531 | Normal Register Profile Coefficient (Settlement Period 24) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1483 | Low Register Profile Coefficient (Settlement Period 25) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1532 | Normal Register Profile Coefficient (Settlement Period 25) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1484 | Low Register Profile Coefficient (Settlement Period 26) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1533 | Normal Register Profile Coefficient (Settlement Period 26) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1485 | Low Register Profile Coefficient (Settlement Period 27) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1534 | Normal Register Profile Coefficient (Settlement Period 27) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1486 | Low Register Profile Coefficient (Settlement Period 28) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1535 | Normal Register Profile Coefficient (Settlement Period 28) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1487 | Low Register Profile Coefficient (Settlement Period 29) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1536 | Normal Register Profile Coefficient (Settlement Period 29) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1488 | Low Register Profile Coefficient (Settlement Period 30) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1537 | Normal Register Profile Coefficient (Settlement Period 30) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1489 | Low Register Profile Coefficient (Settlement Period 31) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1538 | Normal Register Profile Coefficient (Settlement Period 31) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1490 | Low Register Profile Coefficient (Settlement Period 32) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1539 | Normal Register Profile Coefficient (Settlement Period 32) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1491 | Low Register Profile Coefficient (Settlement Period 33) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1540 | Normal Register Profile Coefficient (Settlement Period 33) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1492 | Low Register Profile Coefficient (Settlement Period 34) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1541 | Normal Register Profile Coefficient (Settlement Period 34) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1493 | Low Register Profile Coefficient (Settlement Period 35) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1542 | Normal Register Profile Coefficient (Settlement Period 35) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1494 | Low Register Profile Coefficient (Settlement Period 36) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1543 | Normal Register Profile Coefficient (Settlement Period 36) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1495 | Low Register Profile Coefficient (Settlement Period 37) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1544 | Normal Register Profile Coefficient (Settlement Period 37) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1496 | Low Register Profile Coefficient (Settlement Period 38) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1545 | Normal Register Profile Coefficient (Settlement Period 38) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1497 | Low Register Profile Coefficient (Settlement Period 39) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1546 | Normal Register Profile Coefficient (Settlement Period 39) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1498 | Low Register Profile Coefficient (Settlement Period 40) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1547 | Normal Register Profile Coefficient (Settlement Period 40) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1499 | Low Register Profile Coefficient (Settlement Period 41) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1548 | Normal Register Profile Coefficient (Settlement Period 41) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1500 | Low Register Profile Coefficient (Settlement Period 42) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1549 | Normal Register Profile Coefficient (Settlement Period 42) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1501 | Low Register Profile Coefficient (Settlement Period 43) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1550 | Normal Register Profile Coefficient (Settlement Period 43) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1502 | Low Register Profile Coefficient (Settlement Period 44) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1551 | Normal Register Profile Coefficient (Settlement Period 44) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1503 | Low Register Profile Coefficient (Settlement Period 45) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1552 | Normal Register Profile Coefficient (Settlement Period 45) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1504 | Low Register Profile Coefficient (Settlement Period 46) | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1553 | Normal Register Profile Coefficient (Settlement Period 46) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1505 | Low Register Profile Coefficient (Settlement Period 47) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1554 | Normal Register Profile Coefficient (Settlement Period 47) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1506 | Low Register Profile Coefficient (Settlement Period 48) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1555 | Normal Register Profile Coefficient (Settlement Period 48) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1507 | Low Register Profile Coefficient (Settlement Period 49) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1556 | Normal Register Profile Coefficient (Settlement Period 49) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1508 | Low Register Profile Coefficient (Settlement Period 50) | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1557 | Normal Register Profile Coefficient (Settlement Period 50) | (0) |
| VMR | Valid Measurement Requirement | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0078 | Time Pattern Regime | (0) |
| PPC | Period Profile Coefficients | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0069 | Period Profile Coefficient Value (Settlement Period 01) | NUM(14) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0070 | Period Register on State Indicator (Settlement Period 01) | BOOLEAN(0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1362 | Period Profile Coefficient Value (Settlement Period 02) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1411 | Period Register on State Indicator (Settlement Period 02) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1363 | Period Profile Coefficient Value (Settlement Period 03) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1412 | Period Register on State Indicator (Settlement Period 03) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1364 | Period Profile Coefficient Value (Settlement Period 04) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1413 | Period Register on State Indicator (Settlement Period 04) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1365 | Period Profile Coefficient Value (Settlement Period 05) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1414 | Period Register on State Indicator (Settlement Period 05) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1366 | Period Profile Coefficient Value (Settlement Period 06) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1415 | Period Register on State Indicator (Settlement Period 06) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1367 | Period Profile Coefficient Value (Settlement Period 07) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1416 | Period Register on State Indicator (Settlement Period 07) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1368 | Period Profile Coefficient Value (Settlement Period 08) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1417 | Period Register on State Indicator (Settlement Period 08) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1369 | Period Profile Coefficient Value (Settlement Period 09) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1418 | Period Register on State Indicator (Settlement Period 09) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1370 | Period Profile Coefficient Value (Settlement Period 10) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1419 | Period Register on State Indicator (Settlement Period 10) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1371 | Period Profile Coefficient Value (Settlement Period 11) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1420 | Period Register on State Indicator (Settlement Period 11) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1372 | Period Profile Coefficient Value (Settlement Period 12) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1421 | Period Register on State Indicator (Settlement Period 12) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1373 | Period Profile Coefficient Value (Settlement Period 13) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1422 | Period Register on State Indicator (Settlement Period 13) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1374 | Period Profile Coefficient Value (Settlement Period 14) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1423 | Period Register on State Indicator (Settlement Period 14) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1375 | Period Profile Coefficient Value (Settlement Period 15) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1424 | Period Register on State Indicator (Settlement Period 15) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1376 | Period Profile Coefficient Value (Settlement Period 16) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1425 | Period Register on State Indicator (Settlement Period 16) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1377 | Period Profile Coefficient Value (Settlement Period 17) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1426 | Period Register on State Indicator (Settlement Period 17) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1378 | Period Profile Coefficient Value (Settlement Period 18) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1427 | Period Register on State Indicator (Settlement Period 18) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1379 | Period Profile Coefficient Value (Settlement Period 19) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1428 | Period Register on State Indicator (Settlement Period 19) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1380 | Period Profile Coefficient Value (Settlement Period 20) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1429 | Period Register on State Indicator (Settlement Period 20) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1381 | Period Profile Coefficient Value (Settlement Period 21) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1430 | Period Register on State Indicator (Settlement Period 21) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1382 | Period Profile Coefficient Value (Settlement Period 22) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1431 | Period Register on State Indicator (Settlement Period 22) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1383 | Period Profile Coefficient Value (Settlement Period 23) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1432 | Period Register on State Indicator (Settlement Period 23) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1384 | Period Profile Coefficient Value (Settlement Period 24) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1433 | Period Register on State Indicator (Settlement Period 24) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1385 | Period Profile Coefficient Value (Settlement Period 25) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1434 | Period Register on State Indicator (Settlement Period 25) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1386 | Period Profile Coefficient Value (Settlement Period 26) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1435 | Period Register on State Indicator (Settlement Period 26) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1387 | Period Profile Coefficient Value (Settlement Period 27) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1436 | Period Register on State Indicator (Settlement Period 27) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1388 | Period Profile Coefficient Value (Settlement Period 28) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1437 | Period Register on State Indicator (Settlement Period 28) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1389 | Period Profile Coefficient Value (Settlement Period 29) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1438 | Period Register on State Indicator (Settlement Period 29) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1390 | Period Profile Coefficient Value (Settlement Period 30) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1439 | Period Register on State Indicator (Settlement Period 30) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1391 | Period Profile Coefficient Value (Settlement Period 31) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1440 | Period Register on State Indicator (Settlement Period 31) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1392 | Period Profile Coefficient Value (Settlement Period 32) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1441 | Period Register on State Indicator (Settlement Period 32) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1393 | Period Profile Coefficient Value (Settlement Period 33) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1442 | Period Register on State Indicator (Settlement Period 33) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1394 | Period Profile Coefficient Value (Settlement Period 34) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1443 | Period Register on State Indicator (Settlement Period 34) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1395 | Period Profile Coefficient Value (Settlement Period 35) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1444 | Period Register on State Indicator (Settlement Period 35) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1396 | Period Profile Coefficient Value (Settlement Period 36) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1445 | Period Register on State Indicator (Settlement Period 36) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1397 | Period Profile Coefficient Value (Settlement Period 37) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1446 | Period Register on State Indicator (Settlement Period 37) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1398 | Period Profile Coefficient Value (Settlement Period 38) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1447 | Period Register on State Indicator (Settlement Period 38) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1399 | Period Profile Coefficient Value (Settlement Period 39) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1448 | Period Register on State Indicator (Settlement Period 39) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1400 | Period Profile Coefficient Value (Settlement Period 40) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1449 | Period Register on State Indicator (Settlement Period 40) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1401 | Period Profile Coefficient Value (Settlement Period 41) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1450 | Period Register on State Indicator (Settlement Period 41) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1402 | Period Profile Coefficient Value (Settlement Period 42) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1451 | Period Register on State Indicator (Settlement Period 42) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1403 | Period Profile Coefficient Value (Settlement Period 43) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1452 | Period Register on State Indicator (Settlement Period 43) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1404 | Period Profile Coefficient Value (Settlement Period 44) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1453 | Period Register on State Indicator (Settlement Period 44) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1405 | Period Profile Coefficient Value (Settlement Period 45) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1454 | Period Register on State Indicator (Settlement Period 45) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1406 | Period Profile Coefficient Value (Settlement Period 46) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1455 | Period Register on State Indicator (Settlement Period 46) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1407 | Period Profile Coefficient Value (Settlement Period 47) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1456 | Period Register on State Indicator (Settlement Period 47) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1408 | Period Profile Coefficient Value (Settlement Period 48) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1457 | Period Register on State Indicator (Settlement Period 48) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1409 | Period Profile Coefficient Value (Settlement Period 49) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1458 | Period Register on State Indicator (Settlement Period 49) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1410 | Period Profile Coefficient Value (Settlement Period 50) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1459 | Period Register on State Indicator (Settlement Period 50) | (0) |

| Notes: | * Only 1 settlement days data is included in this flow.* Only the GSP groups in which the Supplier and NHHDC are operating are included.* Will be sent to NHHDCs in relation to Settlement Dates affected by a Demand Control Event. |
| --- | --- |

| Flow Reference: | D0019 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Metering System EAC/AA Data |
| --- | --- |
| Flow Description: | Details of the annualised advance and estimated annual consumption calculated by the Data Collector for a metering system. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| NHHDC | NHHDA | 15.4 |
| NHHDC | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J1109 | Type Code |
| J0083 | Metering System Id |
| J1094 | Market Role |
| J1095 | Participant Id |
| J0328 | Significant Date |
| J1096 | Effective from Settlement Date |
| J1097 | Effective to Settlement Date |
| J0078 | Time Pattern Regime |
| J0079 | Annualised Advance |
| J1096 | Effective from Settlement Date |
| J0078 | Time Pattern Regime |
| J0081 | Estimated Annual Consumption |
| J1096 | Effective from Settlement Date |
| J0084 | Supplier Id |
| J1096 | Effective from Settlement Date |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J1096 | Effective from Settlement Date |
| J0082 | Measurement Class Id |
| J1096 | Effective from Settlement Date |
| J0066 | GSP Group Id |
| J1096 | Effective from Settlement Date |
| J1099 | Energisation Status Id |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPI | Instruction File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| ZIN | Instruction Header | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1109 | Type Code | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0083 | Metering System Id | (0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1094 | Market Role | (0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1095 | Participant Id | (0) |
| ISD | Significant Date | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0328 | Significant Date | DATE(0) |
| AAH | Annualised Advance Set Header | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1097 | Effective to Settlement Date | DATE(0) |
| AAD | Annualised Advance Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0079 | Annualised Advance | NUM(14) |
| EAH | Estimated Annual Consumption Header | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
| EAD | Estimated Annual Consumption Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0081 | Estimated Annual Consumption | NUM(14) |
| REG | Registration Details (DC) | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
| PSC | Profile Class/Standard Settlement Configuration | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
| IMC | Measurement Class (DC) | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
| GSP | GSP Group (DC) | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| IES | Energisation Status (DC) | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1099 | Energisation Status Id | (0) |

| Notes: | This flow includes Unmetered Supply requirements. |
| --- | --- |

| Flow Reference: | D0022 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Estimated Half Hourly Data Report |
| --- | --- |
| Flow Description: | A report listing the dates over a period for which HH data has been estimated including the total consumption estimated. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| HHDC | AMVLP | 15.4 |
| HHDC | Distributor | 15.4 |
| HHDC | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0100 | Estimation Reason Code |
| J0012 | Additional Information |
| J0018 | Date (Midnight to Midnight UTC) |
| J0102 | Number of Periods Estimated |
| J0103 | Measurement Quantity Id |
| J0281 | Total kWh (and kVArh) of Estimated Periods |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 062 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0100 | Estimation Reason Code | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 063 | Dates for Which HH Data Estimated | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0018 | Date (Midnight to Midnight UTC) | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0102 | Number of Periods Estimated | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0281 | Total kWh (and kVArh) of Estimated Periods | NUM(12) |

| Notes: | This is a report (by MSID) showing dates for which meter period data has been estimated and includes total consumption estimated and number of half-hour periods affected.Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0023 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Failed Instructions |
| --- | --- |
| Flow Description: | Details of failures reported by the Data Aggregator to the source of the data. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDA | MPAS Agent | 15.4 |
| NHHDA | MPAS Agent | 15.4 |
| NHHDA | NHHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0083 | Metering System Id |
| J0328 | Significant Date |
| J1100 | Instruction Sequence Number |
| J1361 | Instruction Failure Reason Code |
| J1101 | Failure Reason Additional Data |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MSH | Metering System Header | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0083 | Metering System Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0328 | Significant Date | DATE(0) |
| INH | Instruction Header | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1100 | Instruction Sequence Number | NUM(12) |
| INR | Instructions Reasons for Failure | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1361 | Instruction Failure Reason Code | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1101 | Failure Reason Additional Data | CHAR(80) |

| Notes: | All MS Failure Details will relate to MPAN Core except where a Refresh fails, then this will refer to Distributor Id.Additional Failure Detail must be related to Rejection Reason Code. |
| --- | --- |

| Flow Reference: | D0028 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Standing Profile Data Report |
| --- | --- |
| Flow Description: | A standing profile data report for one or all GSP Group containing data valid for a day. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | NHHDC | 15.4 |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J1090 | Report Parameters |
| J1191 | Report Paramaters (GSP Groups) |
| J0128 | Season Id |
| J0127 | Day Type Id |
| J1091 | Profile Production Date |
| J1092 | Profile Production Time |
| J0071 | Profile Class Id |
| J0122 | Profile Class Description |
| J0123 | Switched Load Profile Class Ind |
| J0072 | Profile Id |
| J0124 | Profile Description |
| J0878 | Profile Settlement Periods |
| J0066 | GSP Group Id |
| J0129 | Group Average Annual Consumption |
| J1102 | Period Id |
| J0433 | Regression Coefficient |
| J0433 | Regression Coefficient |
| J0433 | Regression Coefficient |
| J0433 | Regression Coefficient |
| J0433 | Regression Coefficient |
| J0433 | Regression Coefficient |
| J0433 | Regression Coefficient |
| J0433 | Regression Coefficient |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| RDT |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1191 | Report Paramaters (GSP Groups) | CHAR(39) |
| HDR | Standing Profile Data Report Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0128 | Season Id | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1091 | Profile Production Date | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1092 | Profile Production Time | (0) |
| PCD | Profile Class Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0122 | Profile Class Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0123 | Switched Load Profile Class Ind | BOOLEAN(0) |
| PFD | Profile Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0072 | Profile Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0124 | Profile Description | CHAR(50) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0878 | Profile Settlement Periods | NUM(2) |
| GAA | Group Average Annual Consumption | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0129 | Group Average Annual Consumption | NUM(12) |
| RGC | Regression Coefficient | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1102 | Period Id | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0433 | Regression Coefficient | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0433 | Regression Coefficient | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0433 | Regression Coefficient | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0433 | Regression Coefficient | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0433 | Regression Coefficient | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0433 | Regression Coefficient | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0433 | Regression Coefficient | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0433 | Regression Coefficient | NUM(12) |

| Notes: | This Flow is only available upon request from the SVAA Helpdesk.Due to changes in the field length (from 39 to 42) for J1191 Report Paramaters (GSP Groups), this Flow will not be transmitted using the DTN, and participants should agree an alternative method with SVAA at the time of requesting the Flow. |
| --- | --- |

| Flow Reference: | D0029 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Standard Settlement Configuration Report |
| --- | --- |
| Flow Description: | Details of the Valid Settlement Configuration Profile Classes, Valid Measurement Profile Class, Clock Intervals, Teleswitch Intervals. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | NHHDC | 15.4 |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J1090 | Report Parameters |
| J1091 | Profile Production Date |
| J1092 | Profile Production Time |
| J0071 | Profile Class Id |
| J0122 | Profile Class Description |
| J0123 | Switched Load Profile Class Ind |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0075 | Standard Settlement Configuration Desc |
| J0078 | Time Pattern Regime |
| J0132 | Switched Load Indicator |
| J0744 | GMT Indicator |
| J1104 | GSP Group |
| J0133 | Average Fraction of Yearly Consumption |
| J0726 | Day of the Week Id |
| J0289 | Start Day |
| J0290 | Start Month |
| J0142 | Start Time |
| J0287 | End Day |
| J0288 | End Month |
| J0143 | End Time |
| J0135 | Tele-Switch User Id |
| J0136 | Tele-Switch Group Id |
| J0137 | Tele-Switch Switch Id |
| J0142 | Start Time |
| J0143 | End Time |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| RDT |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| RUN | Profile Production Run Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1091 | Profile Production Date | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1092 | Profile Production Time | (0) |
| SSC | Standard Settlement Configuration Profile Class | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0122 | Profile Class Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0123 | Switched Load Profile Class Ind | BOOLEAN(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0075 | Standard Settlement Configuration Desc | CHAR(50) |
| VMR | Valid Measurement Requirement Profile Class | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0132 | Switched Load Indicator | BOOLEAN(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0744 | GMT Indicator | CHAR(1) |
| AFY | Average Fraction of Yearly Consumption | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1104 | GSP Group | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0133 | Average Fraction of Yearly Consumption | NUM(7) |
| CKI | Clock Intervals | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0726 | Day of the Week Id | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0289 | Start Day | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0290 | Start Month | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0142 | Start Time | TIME(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0287 | End Day | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0288 | End Month | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0143 | End Time | TIME(0) |
| TSW | Tele-Switch Intervals | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0137 | Tele-Switch Switch Id | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0142 | Start Time | TIME(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0143 | End Time | TIME(0) |

| Notes: | This report is produced for a day and contains the details of SSC that were valid for that day only, therefore effective from/to dates are not required. |
| --- | --- |

| Flow Reference: | D0030 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Aggregated DUoS Report |
| --- | --- |
| Flow Description: | A report of profiled SPM data by settlement class summed over Data Aggregator and Distributor. The Distributor will receive one report per Supplier. The report also includes domain data. In part one where the information is sent to the Distributor it will contain all Suppliers, whereas where the information is sent to the Supplier it will contain only data pertaining to that Supplier. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Distributor | 15.4 |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0244 | BSC Trading Party Id |
| J0189 | Distributor Id |
| J0323 | Distributor Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1103 | Profile Class |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0078 | Time Pattern Regime |
| J1296 | SPM Total All EACs |
| J1195 | SPM Total Annualised Advance Report Value |
| J0150 | SPM Total EAC MSID Count |
| J0153 | SPM Total AA MSID Count |
| J0190 | SPM Default EAC MSID Count |
| J1292 | Profiled SPM Consumption (Settlement Period 01) |
| J1312 | Profiled SPM Consumption (Settlement Period 02) |
| J1313 | Profiled SPM Consumption (Settlement Period 03) |
| J1314 | Profiled SPM Consumption (Settlement Period 04) |
| J1315 | Profiled SPM Consumption (Settlement Period 05) |
| J1316 | Profiled SPM Consumption (Settlement Period 06) |
| J1317 | Profiled SPM Consumption (Settlement Period 07) |
| J1318 | Profiled SPM Consumption (Settlement Period 08) |
| J1319 | Profiled SPM Consumption (Settlement Period 09) |
| J1320 | Profiled SPM Consumption (Settlement Period 10) |
| J1321 | Profiled SPM Consumption (Settlement Period 11) |
| J1322 | Profiled SPM Consumption (Settlement Period 12) |
| J1323 | Profiled SPM Consumption (Settlement Period 13) |
| J1324 | Profiled SPM Consumption (Settlement Period 14) |
| J1325 | Profiled SPM Consumption (Settlement Period 15) |
| J1326 | Profiled SPM Consumption (Settlement Period 16) |
| J1327 | Profiled SPM Consumption (Settlement Period 17) |
| J1328 | Profiled SPM Consumption (Settlement Period 18) |
| J1329 | Profiled SPM Consumption (Settlement Period 19) |
| J1330 | Profiled SPM Consumption (Settlement Period 20) |
| J1331 | Profiled SPM Consumption (Settlement Period 21) |
| J1332 | Profiled SPM Consumption (Settlement Period 22) |
| J1333 | Profiled SPM Consumption (Settlement Period 23) |
| J1334 | Profiled SPM Consumption (Settlement Period 24) |
| J1335 | Profiled SPM Consumption (Settlement Period 25) |
| J1336 | Profiled SPM Consumption (Settlement Period 26) |
| J1337 | Profiled SPM Consumption (Settlement Period 27) |
| J1338 | Profiled SPM Consumption (Settlement Period 28) |
| J1339 | Profiled SPM Consumption (Settlement Period 29) |
| J1340 | Profiled SPM Consumption (Settlement Period 30) |
| J1341 | Profiled SPM Consumption (Settlement Period 31) |
| J1342 | Profiled SPM Consumption (Settlement Period 32) |
| J1343 | Profiled SPM Consumption (Settlement Period 33) |
| J1344 | Profiled SPM Consumption (Settlement Period 34) |
| J1345 | Profiled SPM Consumption (Settlement Period 35) |
| J1346 | Profiled SPM Consumption (Settlement Period 36) |
| J1347 | Profiled SPM Consumption (Settlement Period 37) |
| J1348 | Profiled SPM Consumption (Settlement Period 38) |
| J1349 | Profiled SPM Consumption (Settlement Period 39) |
| J1350 | Profiled SPM Consumption (Settlement Period 40) |
| J1351 | Profiled SPM Consumption (Settlement Period 41) |
| J1352 | Profiled SPM Consumption (Settlement Period 42) |
| J1353 | Profiled SPM Consumption (Settlement Period 43) |
| J1354 | Profiled SPM Consumption (Settlement Period 44) |
| J1355 | Profiled SPM Consumption (Settlement Period 45) |
| J1356 | Profiled SPM Consumption (Settlement Period 46) |
| J1357 | Profiled SPM Consumption (Settlement Period 47) |
| J1358 | Profiled SPM Consumption (Settlement Period 48) |
| J1359 | Profiled SPM Consumption (Settlement Period 49) |
| J1360 | Profiled SPM Consumption (Settlement Period 50) |
| J0885 | Daily Profiled SPM Total EAC |
| J0884 | Daily Profiled SPM Total Annualised Advance |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0244 | BSC Trading Party Id |
| J0189 | Distributor Id |
| J0323 | Distributor Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1103 | Profile Class |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0078 | Time Pattern Regime |
| J1296 | SPM Total All EACs |
| J1195 | SPM Total Annualised Advance Report Value |
| J0150 | SPM Total EAC MSID Count |
| J0153 | SPM Total AA MSID Count |
| J0190 | SPM Default EAC MSID Count |
| J1292 | Profiled SPM Consumption (Settlement Period 01) |
| J1312 | Profiled SPM Consumption (Settlement Period 02) |
| J1313 | Profiled SPM Consumption (Settlement Period 03) |
| J1314 | Profiled SPM Consumption (Settlement Period 04) |
| J1315 | Profiled SPM Consumption (Settlement Period 05) |
| J1316 | Profiled SPM Consumption (Settlement Period 06) |
| J1317 | Profiled SPM Consumption (Settlement Period 07) |
| J1318 | Profiled SPM Consumption (Settlement Period 08) |
| J1319 | Profiled SPM Consumption (Settlement Period 09) |
| J1320 | Profiled SPM Consumption (Settlement Period 10) |
| J1321 | Profiled SPM Consumption (Settlement Period 11) |
| J1322 | Profiled SPM Consumption (Settlement Period 12) |
| J1323 | Profiled SPM Consumption (Settlement Period 13) |
| J1324 | Profiled SPM Consumption (Settlement Period 14) |
| J1325 | Profiled SPM Consumption (Settlement Period 15) |
| J1326 | Profiled SPM Consumption (Settlement Period 16) |
| J1327 | Profiled SPM Consumption (Settlement Period 17) |
| J1328 | Profiled SPM Consumption (Settlement Period 18) |
| J1329 | Profiled SPM Consumption (Settlement Period 19) |
| J1330 | Profiled SPM Consumption (Settlement Period 20) |
| J1331 | Profiled SPM Consumption (Settlement Period 21) |
| J1332 | Profiled SPM Consumption (Settlement Period 22) |
| J1333 | Profiled SPM Consumption (Settlement Period 23) |
| J1334 | Profiled SPM Consumption (Settlement Period 24) |
| J1335 | Profiled SPM Consumption (Settlement Period 25) |
| J1336 | Profiled SPM Consumption (Settlement Period 26) |
| J1337 | Profiled SPM Consumption (Settlement Period 27) |
| J1338 | Profiled SPM Consumption (Settlement Period 28) |
| J1339 | Profiled SPM Consumption (Settlement Period 29) |
| J1340 | Profiled SPM Consumption (Settlement Period 30) |
| J1341 | Profiled SPM Consumption (Settlement Period 31) |
| J1342 | Profiled SPM Consumption (Settlement Period 32) |
| J1343 | Profiled SPM Consumption (Settlement Period 33) |
| J1344 | Profiled SPM Consumption (Settlement Period 34) |
| J1345 | Profiled SPM Consumption (Settlement Period 35) |
| J1346 | Profiled SPM Consumption (Settlement Period 36) |
| J1347 | Profiled SPM Consumption (Settlement Period 37) |
| J1348 | Profiled SPM Consumption (Settlement Period 38) |
| J1349 | Profiled SPM Consumption (Settlement Period 39) |
| J1350 | Profiled SPM Consumption (Settlement Period 40) |
| J1351 | Profiled SPM Consumption (Settlement Period 41) |
| J1352 | Profiled SPM Consumption (Settlement Period 42) |
| J1353 | Profiled SPM Consumption (Settlement Period 43) |
| J1354 | Profiled SPM Consumption (Settlement Period 44) |
| J1355 | Profiled SPM Consumption (Settlement Period 45) |
| J1356 | Profiled SPM Consumption (Settlement Period 46) |
| J1357 | Profiled SPM Consumption (Settlement Period 47) |
| J1358 | Profiled SPM Consumption (Settlement Period 48) |
| J1359 | Profiled SPM Consumption (Settlement Period 49) |
| J1360 | Profiled SPM Consumption (Settlement Period 50) |
| J0885 | Daily Profiled SPM Total EAC |
| J0884 | Daily Profiled SPM Total Annualised Advance |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0160 | Consumption Component Class Id |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0165 | GSP Group Correction Scaling Factor |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J0166 | GSP Group Correction Factor |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0244 | BSC Trading Party Id |
| J0160 | Consumption Component Class Id |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0165 | GSP Group Correction Scaling Factor |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J0166 | GSP Group Correction Factor |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| RDT |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| SUP |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| DIS |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0323 | Distributor Name | CHAR(40) |
| GP1 |  | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| VMR |  | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1103 | Profile Class | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1296 | SPM Total All EACs | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1195 | SPM Total Annualised Advance Report Value | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0150 | SPM Total EAC MSID Count | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0153 | SPM Total AA MSID Count | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0190 | SPM Default EAC MSID Count | NUM(8) |
| SPX |  | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1292 | Profiled SPM Consumption (Settlement Period 01) | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1312 | Profiled SPM Consumption (Settlement Period 02) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1313 | Profiled SPM Consumption (Settlement Period 03) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1314 | Profiled SPM Consumption (Settlement Period 04) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1315 | Profiled SPM Consumption (Settlement Period 05) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1316 | Profiled SPM Consumption (Settlement Period 06) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1317 | Profiled SPM Consumption (Settlement Period 07) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1318 | Profiled SPM Consumption (Settlement Period 08) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1319 | Profiled SPM Consumption (Settlement Period 09) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1320 | Profiled SPM Consumption (Settlement Period 10) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1321 | Profiled SPM Consumption (Settlement Period 11) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1322 | Profiled SPM Consumption (Settlement Period 12) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1323 | Profiled SPM Consumption (Settlement Period 13) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1324 | Profiled SPM Consumption (Settlement Period 14) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1325 | Profiled SPM Consumption (Settlement Period 15) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1326 | Profiled SPM Consumption (Settlement Period 16) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1327 | Profiled SPM Consumption (Settlement Period 17) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1328 | Profiled SPM Consumption (Settlement Period 18) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1329 | Profiled SPM Consumption (Settlement Period 19) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1330 | Profiled SPM Consumption (Settlement Period 20) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1331 | Profiled SPM Consumption (Settlement Period 21) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1332 | Profiled SPM Consumption (Settlement Period 22) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1333 | Profiled SPM Consumption (Settlement Period 23) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1334 | Profiled SPM Consumption (Settlement Period 24) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1335 | Profiled SPM Consumption (Settlement Period 25) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1336 | Profiled SPM Consumption (Settlement Period 26) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1337 | Profiled SPM Consumption (Settlement Period 27) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1338 | Profiled SPM Consumption (Settlement Period 28) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1339 | Profiled SPM Consumption (Settlement Period 29) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1340 | Profiled SPM Consumption (Settlement Period 30) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1341 | Profiled SPM Consumption (Settlement Period 31) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1342 | Profiled SPM Consumption (Settlement Period 32) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1343 | Profiled SPM Consumption (Settlement Period 33) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1344 | Profiled SPM Consumption (Settlement Period 34) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1345 | Profiled SPM Consumption (Settlement Period 35) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1346 | Profiled SPM Consumption (Settlement Period 36) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1347 | Profiled SPM Consumption (Settlement Period 37) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1348 | Profiled SPM Consumption (Settlement Period 38) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1349 | Profiled SPM Consumption (Settlement Period 39) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1350 | Profiled SPM Consumption (Settlement Period 40) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1351 | Profiled SPM Consumption (Settlement Period 41) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1352 | Profiled SPM Consumption (Settlement Period 42) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1353 | Profiled SPM Consumption (Settlement Period 43) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1354 | Profiled SPM Consumption (Settlement Period 44) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1355 | Profiled SPM Consumption (Settlement Period 45) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1356 | Profiled SPM Consumption (Settlement Period 46) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1357 | Profiled SPM Consumption (Settlement Period 47) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1358 | Profiled SPM Consumption (Settlement Period 48) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1359 | Profiled SPM Consumption (Settlement Period 49) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1360 | Profiled SPM Consumption (Settlement Period 50) | (0) |
| TOT |  | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0885 | Daily Profiled SPM Total EAC | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0884 | Daily Profiled SPM Total Annualised Advance | NUM(13) |
| SUP |  | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| DIS |  | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0323 | Distributor Name | CHAR(40) |
| GP1 |  | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| VMR |  | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1103 | Profile Class | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1296 | SPM Total All EACs | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1195 | SPM Total Annualised Advance Report Value | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0150 | SPM Total EAC MSID Count | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0153 | SPM Total AA MSID Count | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0190 | SPM Default EAC MSID Count | NUM(8) |
| SPX |  | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1292 | Profiled SPM Consumption (Settlement Period 01) | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1312 | Profiled SPM Consumption (Settlement Period 02) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1313 | Profiled SPM Consumption (Settlement Period 03) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1314 | Profiled SPM Consumption (Settlement Period 04) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1315 | Profiled SPM Consumption (Settlement Period 05) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1316 | Profiled SPM Consumption (Settlement Period 06) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1317 | Profiled SPM Consumption (Settlement Period 07) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1318 | Profiled SPM Consumption (Settlement Period 08) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1319 | Profiled SPM Consumption (Settlement Period 09) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1320 | Profiled SPM Consumption (Settlement Period 10) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1321 | Profiled SPM Consumption (Settlement Period 11) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1322 | Profiled SPM Consumption (Settlement Period 12) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1323 | Profiled SPM Consumption (Settlement Period 13) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1324 | Profiled SPM Consumption (Settlement Period 14) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1325 | Profiled SPM Consumption (Settlement Period 15) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1326 | Profiled SPM Consumption (Settlement Period 16) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1327 | Profiled SPM Consumption (Settlement Period 17) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1328 | Profiled SPM Consumption (Settlement Period 18) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1329 | Profiled SPM Consumption (Settlement Period 19) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1330 | Profiled SPM Consumption (Settlement Period 20) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1331 | Profiled SPM Consumption (Settlement Period 21) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1332 | Profiled SPM Consumption (Settlement Period 22) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1333 | Profiled SPM Consumption (Settlement Period 23) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1334 | Profiled SPM Consumption (Settlement Period 24) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1335 | Profiled SPM Consumption (Settlement Period 25) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1336 | Profiled SPM Consumption (Settlement Period 26) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1337 | Profiled SPM Consumption (Settlement Period 27) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1338 | Profiled SPM Consumption (Settlement Period 28) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1339 | Profiled SPM Consumption (Settlement Period 29) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1340 | Profiled SPM Consumption (Settlement Period 30) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1341 | Profiled SPM Consumption (Settlement Period 31) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1342 | Profiled SPM Consumption (Settlement Period 32) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1343 | Profiled SPM Consumption (Settlement Period 33) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1344 | Profiled SPM Consumption (Settlement Period 34) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1345 | Profiled SPM Consumption (Settlement Period 35) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1346 | Profiled SPM Consumption (Settlement Period 36) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1347 | Profiled SPM Consumption (Settlement Period 37) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1348 | Profiled SPM Consumption (Settlement Period 38) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1349 | Profiled SPM Consumption (Settlement Period 39) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1350 | Profiled SPM Consumption (Settlement Period 40) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1351 | Profiled SPM Consumption (Settlement Period 41) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1352 | Profiled SPM Consumption (Settlement Period 42) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1353 | Profiled SPM Consumption (Settlement Period 43) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1354 | Profiled SPM Consumption (Settlement Period 44) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1355 | Profiled SPM Consumption (Settlement Period 45) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1356 | Profiled SPM Consumption (Settlement Period 46) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1357 | Profiled SPM Consumption (Settlement Period 47) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1358 | Profiled SPM Consumption (Settlement Period 48) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1359 | Profiled SPM Consumption (Settlement Period 49) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1360 | Profiled SPM Consumption (Settlement Period 50) | (0) |
| TOT |  | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0885 | Daily Profiled SPM Total EAC | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0884 | Daily Profiled SPM Total Annualised Advance | NUM(13) |
| HD2 |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| SU2 |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
| CCC |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
| SP2 |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0166 | GSP Group Correction Factor | NUM(18) |
| SUP |  | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| CCC |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
| SP2 |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0166 | GSP Group Correction Factor | NUM(18) |

| Notes: | Settlement Period Id in Part III is not shown in the Logical Design - Function Definition but is shown in the Logical Design User Interface. It is left in this flow.Logical Design defines Part 1 as one I/O structure and Parts II and III as another thus implying that these are two different flows. |
| --- | --- |

| Flow Reference: | D0036 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Validated Half Hourly Advances for Inclusion in Aggregated Supplier Matrix |
| --- | --- |
| Flow Description: | Half Hourly consumption values for use in Supplier and Distributor billing and for submission to HHDA. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| HHDC | ADSA | 15.4 |
| HHDC | Distributor | 15.4 |
| HHDC | ESNA | 15.4 |
| HHDC | HHDA | 15.4 |
| HHDC | HHDC | 15.4 |
| HHDC | Supplier | 15.4 |
| Supplier | ESNA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0103 | Measurement Quantity Id |
| J0084 | Supplier Id |
| J0073 | Settlement Date |
| J0020 | Actual/Estimated Indicator |
| J0177 | Period Metered Consumption |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 101 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 102 | Settlement Date | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
| 103 | HH Periods | 46, 48, 50 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0177 | Period Metered Consumption | NUM(7) |

| Notes: | This flow includes unmetered supply requirements. |
| --- | --- |

| Flow Reference: | D0039 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Daily Profile Coefficient File |
| --- | --- |
| Flow Description: | The collection of daily profile weights calculated for a particular day used in the EAC/AA calculations. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | NHHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J0066 | GSP Group Id |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0078 | Time Pattern Regime |
| J0184 | Daily Profile Coefficient |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| GSP | GSP Group | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| PCI | Profile Class | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
| SCI | Standard Settlement Configuration | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
| DPC | Daily Profile Coefficient | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0184 | Daily Profile Coefficient | NUM(14) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0040 |
| --- | --- |
| Flow Version: | 003 | Status: Operational |

| Flow Name: | Aggregated Half Hour Data File |
| --- | --- |
| Flow Description: | Aggregated line loss adjusted HH consumption figures by Supplier and GSP Group. Where this flow is intended for the Supplier, the set of Suppliers will be limited to that Supplier only. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDA | Supplier | 15.4 |
| HHDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J0084 | Supplier Id |
| J0160 | Consumption Component Class Id |
| J0074 | Settlement Period Id |
| J0241 | Data Aggregator HH MSID Count |
| J0185 | Aggregated Supplier Consumption |
| J0186 | Aggregated Supplier Line Loss |
| J0084 | Supplier Id |
| J0160 | Consumption Component Class Id |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0074 | Settlement Period Id |
| J0241 | Data Aggregator HH MSID Count |
| J0185 | Aggregated Supplier Consumption |
| J0186 | Aggregated Supplier Line Loss |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| SUP | Supplier | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| CCC | Consumption Component Class | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
| SET | Settlement Period/Data Aggregator HH MSID Count | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0241 | Data Aggregator HH MSID Count | NUM(10) |
| ASC | Aggregated Supplier Consumption | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0185 | Aggregated Supplier Consumption | NUM(14) |
| ASL | Aggregated Supplier Line Loss | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0186 | Aggregated Supplier Line Loss | NUM(14) |
| 24J | Supplier ID | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 25J | Consumption Component Class | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
| 26J | Line Loss Factor Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
| 27J | Settlement Period/Data Aggregator HH MSID Count | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0241 | Data Aggregator HH MSID Count | NUM(10) |
| 28J | Aggregated Supplier Consumption | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0185 | Aggregated Supplier Consumption | NUM(14) |
| 29J | Aggregated Supplier Line Loss | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0186 | Aggregated Supplier Line Loss | NUM(14) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0041 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Supplier Purchase Matrix Data File |
| --- | --- |
| Flow Description: | Details of NHH Consumption per Supplier aggregated per GSP Group by profile class, line loss factor class and measurement requirement. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| NHHDA | Supplier | 15.4 |
| NHHDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J0084 | Supplier Id |
| J0071 | Profile Class Id |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0078 | Time Pattern Regime |
| J0190 | SPM Default EAC MSID Count |
| J0191 | SPM Default Unmetered MSID Count |
| J0153 | SPM Total AA MSID Count |
| J0148 | SPM Total Annualised Advance |
| J0149 | SPM Total EAC |
| J0150 | SPM Total EAC MSID Count |
| J0151 | SPM Total Unmetered Consumption |
| J0152 | SPM Total Unmetered MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| SUP | Supplier Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| SPM | Supplier Purchase Matrix Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0190 | SPM Default EAC MSID Count | NUM(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0191 | SPM Default Unmetered MSID Count | NUM(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0153 | SPM Total AA MSID Count | NUM(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0148 | SPM Total Annualised Advance | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0149 | SPM Total EAC | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0150 | SPM Total EAC MSID Count | NUM(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0151 | SPM Total Unmetered Consumption | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0152 | SPM Total Unmetered MSID Count | NUM(8) |

| Notes: | If the details are sent to the Supplier then only details relevant to that Supplier will be included. |
| --- | --- |

| Flow Reference: | D0043 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Supplier Deemed Take Report |
| --- | --- |
| Flow Description: | A report for each Supplier, containing details of the deemed take calculations, including GSP Group correction and NPG spill processing. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J0194 | Period Supplier Deemed Take |
| J0198 | Unadjusted Supplier Deemed Take |
| J1113 | Supplier Pre-Spill Adjusted Take (Supplier Period Weighted Consumption) |
| J0296 | Total Period NPG Spill |
| J0295 | Total Period Weighted Consumption |
| J0166 | GSP Group Correction Factor |
| J0887 | CCC Aggregated Supplier Consumption |
| J0888 | CCC Aggregated Supplier Line Loss |
| J0889 | CCC Corrected Supplier Consumption |
| J0890 | CCC Corrected Supplier Line Loss |
| J0891 | Daily Supplier Deemed Take |
| J0892 | Daily Unadjusted Supplier Deemed Take |
| J1114 | Daily Supplier Pre-Spill Adjusted Take |
| J0894 | Daily CCC Aggregated Supplier Consumption |
| J0895 | Daily CCC Aggregated Supplier Line Loss |
| J0896 | Daily CCC Corrected Supplier Consumption |
| J0897 | Daily CCC Corrected Supplier Line Loss |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| RDT |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
| GSP |  | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| SPX |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0194 | Period Supplier Deemed Take | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0198 | Unadjusted Supplier Deemed Take | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1113 | Supplier Pre-Spill Adjusted Take (Supplier Period Weighted Consumption) | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0296 | Total Period NPG Spill | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0295 | Total Period Weighted Consumption | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0166 | GSP Group Correction Factor | NUM(18) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0887 | CCC Aggregated Supplier Consumption | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0888 | CCC Aggregated Supplier Line Loss | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0889 | CCC Corrected Supplier Consumption | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0890 | CCC Corrected Supplier Line Loss | NUM(13) |
| TOT |  | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0891 | Daily Supplier Deemed Take | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0892 | Daily Unadjusted Supplier Deemed Take | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1114 | Daily Supplier Pre-Spill Adjusted Take | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0894 | Daily CCC Aggregated Supplier Consumption | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0895 | Daily CCC Aggregated Supplier Line Loss | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0896 | Daily CCC Corrected Supplier Consumption | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0897 | Daily CCC Corrected Supplier Line Loss | NUM(13) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0051 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Affirmation of Half Hour Data Retrieval Method and Associated Details |
| --- | --- |
| Flow Description: | Establish the retrieval method and settlement details to be applied at a specified metering point. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | Supplier | 15.4 |
| HHDC | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0098 | Retrieval Method |
| J0722 | Retrieval Method Effective Date |
| J0049 | Effective from Settlement Date {REGI} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 120 | Retrieval Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0098 | Retrieval Method | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0722 | Retrieval Method Effective Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0052 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Affirmation of Metering System Settlement Details |
| --- | --- |
| Flow Description: | Establish the settlement details and EAC applied for a specified metering point and unmetered supply. Used for new metering points, change in settlement details or change in Profile Class. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | NHHDC | 15.4 |
| UMSO | NHHDC | 15.4 |
| UMSO | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0049 | Effective from Settlement Date {REGI} |
| J0071 | Profile Class Id |
| J0092 | Effective from Settlement Date {MSPCDC} |
| J0082 | Measurement Class Id |
| J0094 | Effective from Settlement Date {MSMCDC} |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0300 | Effective from Settlement Date {SCON} |
| J0066 | GSP Group Id |
| J0093 | Effective from Settlement Date {MSGGDC} |
| J0078 | Time Pattern Regime |
| J0081 | Estimated Annual Consumption |
| J0090 | Effective from Settlement Date {EACDC} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121 | MPAN Cores with Settlement Dates | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0092 | Effective from Settlement Date {MSPCDC} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0094 | Effective from Settlement Date {MSMCDC} | DATE(0) |
| 122 | Settlement Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0300 | Effective from Settlement Date {SCON} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0093 | Effective from Settlement Date {MSGGDC} | DATE(0) |
| 124 | Time Pattern Regime | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0081 | Estimated Annual Consumption | NUM(14) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0090 | Effective from Settlement Date {EACDC} | DATE(0) |

| Notes: | This flow includes unmetered supply requirements. |
| --- | --- |

| Flow Reference: | D0071 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Customer Own Reading or Supplier Estimated Reading on Change of Supplier |
| --- | --- |
| Flow Description: | On change of Supplier the customer has provided their own reading or the Old Supplier has provided an estimate of the Change of Supplier read which the New Supplier passes to NHHDC. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | NHHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0016 | Reading Date & Time |
| J0171 | Reading Type |
| J0004 | Meter Id |
| J0010 | Meter Register Id |
| J0040 | Register Reading |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 147 | Change of Supplier Meter Reading Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0171 | Reading Type | CHAR(1) |
| 148 | Meter Detail per MPAN Core | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
| 149 | Meter Register Detail per Meter | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0072 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Instruction to Obtain Change of Supplier Reading |
| --- | --- |
| Flow Description: | On change of Supplier, the NHHDC is requested to provide an actual or deemed reading.Where the read is being used in place of a Routine Read or that used for a CoS or CoT, reading type X should be used. Where the reading is being used to change an SSC then reading types F and I should be used as per their current convention, and where sent by the Supplier would indicate a site visit has not been made. All other read types should be used as per current processing rules. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | NHHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0049 | Effective from Settlement Date {REGI} |
| J0171 | Reading Type |
| J0173 | Reason for Request |
| J0174 | Appointment Date |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 150 | MPANs & Effective Estimate Dates | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0171 | Reading Type | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0173 | Reason for Request | CHAR(100) |
| 28B | Appointments | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0079 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Supplier Purchase Report |
| --- | --- |
| Flow Description: | Suppliers deemed take (MWh) and purchases (£) by half hour, day and GSP Group with relevant variables per half hour. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0244 | BSC Trading Party Id |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J0249 | GSP Group Take |
| J0194 | Period Supplier Deemed Take |
| J0250 | Period Supplier Purchase Total |
| J0251 | Pool Selling Price |
| J0252 | Transmission Loss Multiplier |
| J0253 | Transmission Losses Reconciliation Multiplier |
| J0899 | Daily GSP Group Take |
| J0891 | Daily Supplier Deemed Take |
| J0243 | Daily Supplier Purchase Total |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| RDT |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| GSP |  | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| SPX |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0249 | GSP Group Take | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0194 | Period Supplier Deemed Take | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0250 | Period Supplier Purchase Total | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0251 | Pool Selling Price | NUM(11) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0252 | Transmission Loss Multiplier | NUM(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0253 | Transmission Losses Reconciliation Multiplier | NUM(8) |
| TOT |  | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0899 | Daily GSP Group Take | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0891 | Daily Supplier Deemed Take | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0243 | Daily Supplier Purchase Total | NUM(14) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0081 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Supplier Half Hourly Demand Report |
| --- | --- |
| Flow Description: | Report for each Supplier containing details of all the half hourly demand for a Supplier by Consumption Component Class. This will include the profiled and actual demand. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0160 | Consumption Component Class Id |
| J0165 | GSP Group Correction Scaling Factor |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J1200 | Aggregated Supplier Consumption Report Value |
| J1201 | Aggregated Supplier Line Loss Report Value |
| J0193 | Corrected Supplier Consumption |
| J0256 | Corrected Supplier Line Loss |
| J0894 | Daily CCC Aggregated Supplier Consumption |
| J0895 | Daily CCC Aggregated Supplier Line Loss |
| J0896 | Daily CCC Corrected Supplier Consumption |
| J0897 | Daily CCC Corrected Supplier Line Loss |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0183 | Data Aggregator Id |
| J0271 | Data Aggregator Name |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0160 | Consumption Component Class Id |
| J0162 | Consumption Component Indicator |
| J0163 | Data Aggregation Type |
| J0103 | Measurement Quantity Id |
| J0164 | Metered/Unmetered Indicator |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J1200 | Aggregated Supplier Consumption Report Value |
| J1201 | Aggregated Supplier Line Loss Report Value |
| J0241 | Data Aggregator HH MSID Count |
| J0900 | Daily DA Aggregated Supplier Consumption |
| J0901 | Daily DA Aggregated Supplier Line Loss |
| J1120 | Daily DA HH MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| RDT |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
| GSP |  | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| CCC |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| SPX |  | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1200 | Aggregated Supplier Consumption Report Value | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1201 | Aggregated Supplier Line Loss Report Value | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0193 | Corrected Supplier Consumption | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0256 | Corrected Supplier Line Loss | NUM(13) |
| TOT |  | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J0894 | Daily CCC Aggregated Supplier Consumption | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0895 | Daily CCC Aggregated Supplier Line Loss | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0896 | Daily CCC Corrected Supplier Consumption | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0897 | Daily CCC Corrected Supplier Line Loss | NUM(13) |
| HD2 |  | 0-1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
| GP2 |  | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| DA2 |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0271 | Data Aggregator Name | CHAR(40) |
| CC2 |  | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
| SP2 |  | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1200 | Aggregated Supplier Consumption Report Value | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1201 | Aggregated Supplier Line Loss Report Value | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0241 | Data Aggregator HH MSID Count | NUM(10) |
| TO2 |  | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J0900 | Daily DA Aggregated Supplier Consumption | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0901 | Daily DA Aggregated Supplier Line Loss | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1120 | Daily DA HH MSID Count | NUM(10) |

| Notes: | Part 1 contains both the HH and profiled NHH demand data. Part 2 contains the HH demand data only. |
| --- | --- |

| Flow Reference: | D0082 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Supplier - Supplier Purchase Matrix Report |
| --- | --- |
| Flow Description: | A report for each Supplier per GSP Group containing the details of the Supplier Purchase Matrix rows used in the calculation of a settlement run. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0183 | Data Aggregator Id |
| J0271 | Data Aggregator Name |
| J0163 | Data Aggregation Type |
| J0259 | Data Aggregation Run Number |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0147 | Line Loss Factor Class Id |
| J0189 | Distributor Id |
| J0078 | Time Pattern Regime |
| J1196 | SPM Total EAC Report Value |
| J0150 | SPM Total EAC MSID Count |
| J1195 | SPM Total Annualised Advance Report Value |
| J0153 | SPM Total AA MSID Count |
| J1198 | SPM Total Unmetered Consumption Report Value |
| J0152 | SPM Total Unmetered MSID Count |
| J0190 | SPM Default EAC MSID Count |
| J0191 | SPM Default Unmetered MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| RDT |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| SUP |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
| GSP |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| DA |  | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0271 | Data Aggregator Name | CHAR(40) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0259 | Data Aggregation Run Number | NUM(7) |
| CON |  | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1196 | SPM Total EAC Report Value | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0150 | SPM Total EAC MSID Count | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1195 | SPM Total Annualised Advance Report Value | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0153 | SPM Total AA MSID Count | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1198 | SPM Total Unmetered Consumption Report Value | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0152 | SPM Total Unmetered MSID Count | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0190 | SPM Default EAC MSID Count | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0191 | SPM Default Unmetered MSID Count | NUM(8) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0086 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Notification of Change of Supplier Readings |
| --- | --- |
| Flow Description: | Transfer change of supplier readings that have passed validations, failed validations and that are deemed readings. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| NHHDC | Distributor | 15.4 |
| NHHDC | NHHDC | 15.4 |
| NHHDC | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0022 | BSC Validation Status |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |
| J0004 | Meter Id |
| J0171 | Reading Type |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |
| J0010 | Meter Register Id |
| J0016 | Reading Date & Time |
| J0040 | Register Reading |
| J0044 | MD Reset Date & Time |
| J1013 | Number of MD Resets |
| J0045 | Meter Reading Flag |
| J1888 | Reading Method |
| J0332 | Meter Reading Reason Code |
| J0047 | Meter Reading Status |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 196 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0022 | BSC Validation Status | CHAR(1) |
| 765 | Site Visit Information | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 197 | Meter/Reading Types | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0171 | Reading Type | CHAR(1) |
| 766 | Site Visit Information | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 198 | Register Readings | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0044 | MD Reset Date & Time | DATETIME(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1013 | Number of MD Resets | NUM(3) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0045 | Meter Reading Flag | BOOLEAN(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1888 | Reading Method | CHAR(1) |
| 07A | Meter Reading Validation Result | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0332 | Meter Reading Reason Code | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0047 | Meter Reading Status | BOOLEAN(0) |
| 199 | Site Visit Information | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | The structure of this data flow must always match the structure of flow D0010.Where confirming a reading received on a D0071, where "Reading Type" has been populated with the value 'O' (Old Supplier's Estimated CoS Reading), the NHHDC should populate the data item "Reading Type" with 'D' to signify that the reading has been Deemed or Estimated and is in line with meter reading history. |
| --- | --- |

| Flow Reference: | D0089 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Notification from MPAS of Changed Metering Point Details |
| --- | --- |
| Flow Description: | Advise Old or New Supplier of change to metering point details if any have become effective between an objection being raised or removed |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MPAS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0723 | Instruction Type |
| J0003 | MPAN Core |
| J0821 | Deemed Received Date |
| J0924 | Effective from Settlement Date {REGI} for New Supplier |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J1840 | Metering Point Unique Property Reference Number (UPRN) |
| J0147 | Line Loss Factor Class Id |
| J0658 | Effective from Settlement Date {MSLLFC} |
| J0066 | GSP Group Id |
| J0306 | Effective from Settlement Date {MSGG} |
| J0080 | Energisation Status |
| J0082 | Measurement Class Id |
| J0220 | Meter Timeswitch Code |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J1839 | SMETS Version |
| J1833 | DCC Service Flag |
| J1834 | Effective from Date {DCCF} |
| J1837 | Smart Metering System Operator Id |
| J1838 | Effective from Date {SMSO} |
| J1835 | In Home Display (IHD) Install Status |
| J1836 | Effective from Date {IHDI} |
| J2245 | Related MPAN Indicator |
| J2243 | Primary MPAN |
| J2244 | Secondary MPAN |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 743 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 201 | Metering Point Change Data | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0723 | Instruction Type | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0821 | Deemed Received Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0924 | Effective from Settlement Date {REGI} for New Supplier | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  |  | N |  |  |  |  |  | J1840 | Metering Point Unique Property Reference Number (UPRN) | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0658 | Effective from Settlement Date {MSLLFC} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0306 | Effective from Settlement Date {MSGG} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1839 | SMETS Version | CHAR(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1833 | DCC Service Flag | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1834 | Effective from Date {DCCF} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1837 | Smart Metering System Operator Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1838 | Effective from Date {SMSO} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1835 | In Home Display (IHD) Install Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1836 | Effective from Date {IHDI} | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2245 | Related MPAN Indicator | CHAR(1) |
| 23M | Related MPANs | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2243 | Primary MPAN | INT(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2244 | Secondary MPAN | INT(13) |

| Notes: | Each optional data item becomes mandatory if there has been a change to that individual item. Though each address line in this flow is optional, when an address is to be updated using this flow the entire address must be included in the flow. An update to an individual line within an address will require the entire address to be sent. The Metering Point Address Lines 1-9 and Metering Point Postcode will be in Standard Address Format (SAF). |
| --- | --- |

| Flow Reference: | D0095 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Non Half Hourly Data Aggregation Exception Report |
| --- | --- |
| Flow Description: | Details of exceptions raised by the NHHDA pertaining to one Supplier. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| NHHDA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0084 | Supplier Id |
| J0205 | Data Collector Id |
| J1133 | From Settlement Date |
| J1134 | To Settlement Date |
| J1135 | Count of Metering Systems with at least 1 exception of type 01 |
| J1137 | Count of Metering Systems with at least 1 exception of type 02 |
| J1138 | Count of Metering Systems with at least 1 exception of type 03 |
| J1139 | Count of Metering Systems with at least 1 exception of type 04 |
| J1140 | Count of Metering Systems with at least 1 exception of type 05 |
| J1141 | Count of Metering Systems with at least 1 exception of type 06 |
| J1142 | Count of Metering Systems with at least 1 exception of type 07 |
| J1143 | Count of Metering Systems with at least 1 exception of type 08 |
| J1144 | Count of Metering Systems with at least 1 exception of type 09 |
| J1145 | Count of Metering Systems with at least 1 exception of type 10 |
| J1146 | Count of Metering Systems with at least 1 exception of type 11 |
| J1147 | Count of Metering Systems with at least 1 exception of type 12 |
| J1148 | Count of Metering Systems with at least 1 exception of type 13 |
| J1149 | Count of Metering Systems with at least 1 exception of type 14 |
| J1311 | Count of Metering Systems with at least 1 exception |
| J0111 | MPAS Agent Id |
| J0083 | Metering System Id |
| J1150 | Registration Effective from Settlement Date |
| J1151 | Data Aggregator Appointment Effective from Settlement Date |
| J1150 | Registration Effective from Settlement Date |
| J1151 | Data Aggregator Appointment Effective from Settlement Date |
| J1152 | First Settlement Date with no data |
| J1153 | AA Effective from Settlement Date |
| J1154 | EAC Effective from Settlement Date |
| J1153 | AA Effective from Settlement Date |
| J1152 | First Settlement Date with no data |
| J1155 | Effective from Settlement Date for AA from specified Data Collector |
| J1156 | Other Data Collector Id |
| J1157 | Effective from Settlement Date for AA from other Data Collector |
| J1158 | Supplier Id (DC) |
| J1167 | Effective from Settlement Date of last MPAS data |
| J1219 | Effective from Settlement Date of last Data Collector data |
| J1160 | Measurement Class Id (MPAS) |
| J1161 | Measurement Class Id (DC) |
| J1167 | Effective from Settlement Date of last MPAS data |
| J1159 | Effective from Settlement Date of last DC data |
| J1162 | GSP Group Id (MPAS) |
| J1163 | GSP Group Id (DC) |
| J1167 | Effective from Settlement Date of last MPAS data |
| J1159 | Effective from Settlement Date of last DC data |
| J1164 | Profile Class Id (MPAS) |
| J1166 | Profile Class Id (DC) |
| J1167 | Effective from Settlement Date of last MPAS data |
| J1159 | Effective from Settlement Date of last DC data |
| J1168 | Energisation Status (MPAS) |
| J1169 | Energisation Status (DC) |
| J1167 | Effective from Settlement Date of last MPAS data |
| J1159 | Effective from Settlement Date of last DC data |
| J1170 | SSC Id (MPAS) |
| J1171 | SSC Id (DC) |
| J1167 | Effective from Settlement Date of last MPAS data |
| J1159 | Effective from Settlement Date of last DC data |
| J1172 | Supplier Id (MPAS) |
| J1167 | Effective from Settlement Date of last MPAS data |
| J1159 | Effective from Settlement Date of last DC data |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EXH | Exception Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1133 | From Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1134 | To Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1135 | Count of Metering Systems with at least 1 exception of type 01 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1137 | Count of Metering Systems with at least 1 exception of type 02 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1138 | Count of Metering Systems with at least 1 exception of type 03 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1139 | Count of Metering Systems with at least 1 exception of type 04 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1140 | Count of Metering Systems with at least 1 exception of type 05 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1141 | Count of Metering Systems with at least 1 exception of type 06 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1142 | Count of Metering Systems with at least 1 exception of type 07 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1143 | Count of Metering Systems with at least 1 exception of type 08 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1144 | Count of Metering Systems with at least 1 exception of type 09 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1145 | Count of Metering Systems with at least 1 exception of type 10 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1146 | Count of Metering Systems with at least 1 exception of type 11 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1147 | Count of Metering Systems with at least 1 exception of type 12 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1148 | Count of Metering Systems with at least 1 exception of type 13 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1149 | Count of Metering Systems with at least 1 exception of type 14 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1311 | Count of Metering Systems with at least 1 exception | (0) |
| EXP | MPAS Agent Identifier | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0111 | MPAS Agent Id | (0) |
| EXM | Metering System Identifier | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0083 | Metering System Id | (0) |
| E01 | Exception Details (no EAC or AA for appointed DC) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1150 | Registration Effective from Settlement Date | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1151 | Data Aggregator Appointment Effective from Settlement Date | (0) |
| E02 | Exception Details (missing subsequent consumption data) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1150 | Registration Effective from Settlement Date | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1151 | Data Aggregator Appointment Effective from Settlement Date | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1152 | First Settlement Date with no data | DATE(0) |
| E03 | Exception Details (AA with no DAA appointment) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1153 | AA Effective from Settlement Date | (0) |
| E04 | Exception Details (EAC with no DAA appointment) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1154 | EAC Effective from Settlement Date | DATE(0) |
| E05 | Exception Details (non zero AA when de-energised) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1153 | AA Effective from Settlement Date | (0) |
| E06 | Exception Details (missing preceding consumption data) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1152 | First Settlement Date with no data | DATE(0) |
| E07 | Exception Details (overlapping MAPs) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1155 | Effective from Settlement Date for AA from specified Data Collector | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1156 | Other Data Collector Id | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1157 | Effective from Settlement Date for AA from other Data Collector | DATE(0) |
| E08 | Exception Details (Supplier incorrect) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1158 | Supplier Id (DC) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1167 | Effective from Settlement Date of last MPAS data | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1219 | Effective from Settlement Date of last Data Collector data | (0) |
| E09 | Exception Details (Measurement Class incorrect) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1160 | Measurement Class Id (MPAS) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1161 | Measurement Class Id (DC) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1167 | Effective from Settlement Date of last MPAS data | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1159 | Effective from Settlement Date of last DC data | DATE(0) |
| E10 | Exception Details (GSP Group incorrect) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1162 | GSP Group Id (MPAS) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1163 | GSP Group Id (DC) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1167 | Effective from Settlement Date of last MPAS data | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1159 | Effective from Settlement Date of last DC data | DATE(0) |
| E11 | Exception Details (Profile Class incorrect) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1164 | Profile Class Id (MPAS) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1166 | Profile Class Id (DC) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1167 | Effective from Settlement Date of last MPAS data | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1159 | Effective from Settlement Date of last DC data | DATE(0) |
| E12 | Exception Details (Energisation Status incorrect) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1168 | Energisation Status (MPAS) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1169 | Energisation Status (DC) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1167 | Effective from Settlement Date of last MPAS data | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1159 | Effective from Settlement Date of last DC data | DATE(0) |
| E13 | Exception Details (Standard Settlement Configuration incorrect) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1170 | SSC Id (MPAS) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1171 | SSC Id (DC) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1167 | Effective from Settlement Date of last MPAS data | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1159 | Effective from Settlement Date of last DC data | DATE(0) |
| E14 | Exception Details (no Registration) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1172 | Supplier Id (MPAS) | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1167 | Effective from Settlement Date of last MPAS data | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1159 | Effective from Settlement Date of last DC data | DATE(0) |

| Notes: | NHHDA URS states that this flow may contain multiple MPAS Agents, however Logica I/O structure constrains this to 1 flow per MPAS Agent. No such constraint is assumed here. |
| --- | --- |

| Flow Reference: | D0125 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Confirmation of Disconnection of Supply |
| --- | --- |
| Flow Description: | Confirmation is being given of disconnection of supply to a premises. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0014 | Date of Action |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 249 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0014 | Date of Action | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0126 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Asset Condition Report Response / Clearance |
| --- | --- |
| Flow Description: | The System Fault Information Centre is informing the Supplier and MOP of the outcome of an investigation into a report of a Category A report by telephone, or a Category B report by a D0135 flow |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| SFIC | AMEM | 15.4 |
| SFIC | MOP | 15.4 |
| SFIC | SIP | 15.4 |
| SFIC | SMEM | 15.4 |
| SFIC | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0008 | Nature of Maintenance |
| J0012 | Additional Information |
| J1825 | Asset Condition Report Date |
| J1824 | Asset Condition Code |
| J1823 | Asset Condition Clearance Code |
| J1822 | Asset Condition Clearance Date |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 250 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0008 | Nature of Maintenance | CHAR(200) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 61H | Asset Condition Response | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1825 | Asset Condition Report Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1824 | Asset Condition Code | CHAR(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1823 | Asset Condition Clearance Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1822 | Asset Condition Clearance Date | DATE(8) |

| Notes: | This flow shall be sent for all Urgent Actions reported, i.e. Category A and B issues. The Distribution Business will send the D0126 to the Supplier and Meter Operator registered within MPAS on the day the flow is sent. This may not be the Supplier or Meter Operator reporting the issue. Where Asset Condition Clearance Code (J1823) is populated with D (Disputed  no defect identified that prevents meter installation), R (Resolved  defect cleared but Asset Condition Category less serious than reported) or U (Unable to Resolve), the Distribution Business must provide an explaination of why the code has been used within Additional Information (J0012).The Distribution Business will send the D0126 to the Supplier and Meter Operator registered within MPAS on the day the flow is sent. This may not be the Supplier or Meter Operator reporting the issue.Where Asset Condition Clearance Code (J1823) is populated with D (Disputed  no defect identified that prevents meter installation), R (Resolved  defect cleared but Asset Condition Category less serious than reported) or U (Unable to Resolve), the Distribution Business must provide an explaination of why the code has been used within Additional Information (J0012). |
| --- | --- |

| Flow Reference: | D0131 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Metering Point Address Details |
| --- | --- |
| Flow Description: | The Supplier will inform agents of change to Metering Point Address details. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | HHDC | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | NHHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0012 | Additional Information |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J1676 | Address Key |
| J1675 | Unique Property Reference Number |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 253 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 71C | Metering Point Address | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  |  | N |  |  |  |  |  | J1676 | Address Key | CHAR(17) |
|  |  |  |  |  |  | N |  |  |  |  |  | J1675 | Unique Property Reference Number | CHAR(12) |

| Notes: | An update to an individual line within an address will require the entire address to be sent. The Data Item Address Key is included in this flow for possible future facilitation of address maintenance. |
| --- | --- |

| Flow Reference: | D0132 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Details of Disconnection of Supply |
| --- | --- |
| Flow Description: | Where the supply is no longer required a request is made for disconnection of the supply. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | Distributor | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1648 | Disconnection Type |
| J0012 | Additional Information |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0174 | Appointment Date |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J0080 | Energisation Status |
| J0489 | Contact Name |
| J0419 | Meter Location |
| J0375 | Customer Name |
| J1046 | Mailing Address Line 1 |
| J1047 | Mailing Address Line 2 |
| J1048 | Mailing Address Line 3 |
| J1049 | Mailing Address Line 4 |
| J1050 | Mailing Address Line 5 |
| J1051 | Mailing Address Line 6 |
| J1052 | Mailing Address Line 7 |
| J1053 | Mailing Address Line 8 |
| J1054 | Mailing Address Line 9 |
| J0566 | Mailing Address Postcode |
| J1845 | Customer Preferred Contact Method |
| J1844 | Customer Preferred Contact Details |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 254 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1648 | Disconnection Type | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0489 | Contact Name | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1046 | Mailing Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1047 | Mailing Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1048 | Mailing Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1049 | Mailing Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1050 | Mailing Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1051 | Mailing Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1052 | Mailing Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1053 | Mailing Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1054 | Mailing Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0566 | Mailing Address Postcode | (0) |
| 00I | Additional Request Information | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1845 | Customer Preferred Contact Method | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1844 | Customer Preferred Contact Details | CHAR(255) |

| Notes: | Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items. |
| --- | --- |

| Flow Reference: | D0134 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request to Change Energisation Status |
| --- | --- |
| Flow Description: | A request for the energisation status of a metering point to be changed. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMVLP | AMEM | 15.4 |
| AMVLP | MOP | 15.4 |
| Supplier | AMEM | 15.4 |
| Supplier | Distributor | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0080 | Energisation Status |
| J0673 | Requested Energisation Status |
| J0174 | Appointment Date |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J0004 | Meter Id |
| J0419 | Meter Location |
| J0375 | Customer Name |
| J1046 | Mailing Address Line 1 |
| J1047 | Mailing Address Line 2 |
| J1048 | Mailing Address Line 3 |
| J1049 | Mailing Address Line 4 |
| J1050 | Mailing Address Line 5 |
| J1051 | Mailing Address Line 6 |
| J1052 | Mailing Address Line 7 |
| J1053 | Mailing Address Line 8 |
| J1054 | Mailing Address Line 9 |
| J1011 | Maximum Power Requirement |
| J0489 | Contact Name |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 255 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0673 | Requested Energisation Status | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
| 256 | Meter Detail per MPAN Core | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1046 | Mailing Address Line 1 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1047 | Mailing Address Line 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1048 | Mailing Address Line 3 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1049 | Mailing Address Line 4 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1050 | Mailing Address Line 5 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1051 | Mailing Address Line 6 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1052 | Mailing Address Line 7 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1053 | Mailing Address Line 8 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1054 | Mailing Address Line 9 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1011 | Maximum Power Requirement | NUM(6) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0489 | Contact Name | CHAR(50) |

| Notes: | Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items. - Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN |
| --- | --- |

| Flow Reference: | D0135 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Asset Condition Report |
| --- | --- |
| Flow Description: | A report to the System Fault Information Centre of a concern with the Service Termination Equipment which does not require emergency attention |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | SFIC | 15.4 |
| AMEM | SFIC | 15.4 |
| CMRC | SFIC | 15.4 |
| HHDC | SFIC | 15.4 |
| MOP | SFIC | 15.4 |
| MRS | NHHDC | 15.4 |
| MRS | SDSA | 15.4 |
| NHHDC | SFIC | 15.4 |
| SDSA | SFIC | 15.4 |
| SIP | SFIC | 15.4 |
| SMEM | SFIC | 15.4 |
| Supplier | SFIC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0489 | Contact Name |
| J0490 | Contact Telephone Number |
| J0084 | Supplier Id |
| J0004 | Meter Id |
| J0419 | Meter Location |
| J0012 | Additional Information |
| J2062 | Smart Meter Installation Visit |
| J1825 | Asset Condition Report Date |
| J1824 | Asset Condition Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 257 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0489 | Contact Name | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0490 | Contact Telephone Number | CHAR(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 258 | Meters per MPAN Core | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 60H | Asset Condition | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2062 | Smart Meter Installation Visit | BOOLEAN(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1825 | Asset Condition Report Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1824 | Asset Condition Code | CHAR(3) |

| Notes: | Assumed that urgent safety issues, ie immediate danger, would be subject to individual telephone call direct to SFIC. Nature of defect to be shown in additional data field.Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items.This flow is only used to report Category B and C asset condition reports to the SFIC. Category A reports will be made by telephone. |
| --- | --- |

| Flow Reference: | D0136 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Report to Supplier of Possible Irregularity |
| --- | --- |
| Flow Description: | A report of the existence of a possible irregularity which may require further investigation by a Revenue Protection Service. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | Supplier | 15.4 |
| AMEM | Supplier | 15.4 |
| CMRC | Supplier | 15.4 |
| Distributor | Supplier | 15.4 |
| HHDC | Supplier | 15.4 |
| MOP | Supplier | 15.4 |
| MRS | NHHDC | 15.4 |
| MRS | SDSA | 15.4 |
| NHHDC | Supplier | 15.4 |
| PPMIP | Supplier | 15.4 |
| SDSA | Supplier | 15.4 |
| SIP | Supplier | 15.4 |
| SMEM | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0375 | Customer Name |
| J0004 | Meter Id |
| J0451 | Tampering Code |
| J0822 | Tampering Report Date |
| J0419 | Meter Location |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 259 | Suspect Metering Points | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
| 260 | Suspect Meters | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0451 | Tampering Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0822 | Tampering Report Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | Tampering Code is a general guide to the nature or symptoms of the suspected irregularity. Additional information should be provided wherever possible.Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items. |
| --- | --- |

| Flow Reference: | D0139 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Confirmation or Rejection of Energisation Status Change |
| --- | --- |
| Flow Description: | This flow confirms that the Energisation Status of a metering point has been changed, or notifies that a change was not possible and gives the reason for failure. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMEM | AMVLP | 15.4 |
| AMEM | Supplier | 15.4 |
| CMRC | Distributor | 15.4 |
| CMRC | Supplier | 15.4 |
| Distributor | AMEM | 15.4 |
| Distributor | MOP | 15.4 |
| Distributor | SMEM | 15.4 |
| Distributor | Supplier | 15.4 |
| MOP | AMVLP | 15.4 |
| MOP | Distributor | 15.4 |
| MOP | HHDC | 15.4 |
| MOP | NHHDC | 15.4 |
| MOP | Supplier | 15.4 |
| SIP | Supplier | 15.4 |
| SMEM | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0080 | Energisation Status |
| J0014 | Date of Action |
| J1253 | Failure to Energise or De-Energise Reason Code |
| J0024 | Site Visit Check Code |
| J0004 | Meter Id |
| J0010 | Meter Register Id |
| J0171 | Reading Type |
| J0040 | Register Reading |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 261 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0014 | Date of Action | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1253 | Failure to Energise or De-Energise Reason Code | NUM(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
| 262 | Meter Detail per MPAN Core | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
| 263 | Register Details per Meter | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0171 | Reading Type | CHAR(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0040 | Register Reading | NUM(9) |

| Notes: | Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN |
| --- | --- |

| Flow Reference: | D0142 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request for Installation or Change to a Metering System Functionality or the Removal of All Meters |
| --- | --- |
| Flow Description: | Request is being made and information provided to allow removal, replacement or installation of a meter. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMVLP | AMEM | 15.4 |
| AMVLP | MOP | 15.4 |
| Supplier | AMEM | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0174 | Appointment Date |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J0098 | Retrieval Method |
| J0386 | Communications Method |
| J0673 | Requested Energisation Status |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0012 | Additional Information |
| J1020 | Remove Metering Point Meters |
| J1267 | Metering System Non Settlement Functionality Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 267 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0098 | Retrieval Method | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0386 | Communications Method | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0673 | Requested Energisation Status | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1020 | Remove Metering Point Meters | BOOLEAN(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1267 | Metering System Non Settlement Functionality Code | CHAR(10) |

| Notes: | Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items.Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0148 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Change to Other Parties |
| --- | --- |
| Flow Description: | Notification to a MOp, MA or DC of any change to relevant Agent appointments and/or terminations for the metering point for the three functional processes: new connection, change of supplier and change of agent(s) |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMVLP | HHDC | 15.4 |
| AMVLP | MOP | 15.4 |
| Supplier | HHDC | 15.4 |
| Supplier | MA | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | NHHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0049 | Effective from Settlement Date {REGI} |
| J0205 | Data Collector Id |
| J0459 | Agent Status |
| J0219 | Effective from Date {DCA} |
| J0399 | Effective to Date {DCA} |
| J0178 | Meter Operator Id |
| J0459 | Agent Status |
| J0210 | Effective from Date {MOA} |
| J0360 | Effective to Date {MOA} |
| J0183 | Data Aggregator Id |
| J0459 | Agent Status |
| J0334 | Effective from Settlement Date {DAA} |
| J0340 | Effective to Settlement Date {DAA} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 270 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
| 271 | Data Collector Appointment or Termination Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0459 | Agent Status | CHAR(1) |
| 272 | Effective from Date | 0-1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0219 | Effective from Date {DCA} | DATE(0) |
| 273 | Effective to Date | 0-1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J0399 | Effective to Date {DCA} | DATE(0) |
| 274 | Meter Operator Appointment or Termination Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0178 | Meter Operator Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0459 | Agent Status | CHAR(1) |
| 275 | Effective from Date | 0-1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0210 | Effective from Date {MOA} | DATE(0) |
| 276 | Effective to Date | 0-1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J0360 | Effective to Date {MOA} | DATE(0) |
| 277 | Data Aggregator Appointment or Termination Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0459 | Agent Status | CHAR(1) |
| 278 | Effective from Date | 0-1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0334 | Effective from Settlement Date {DAA} | DATE(0) |
| 279 | Effective to Date | 0-1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J0340 | Effective to Settlement Date {DAA} | DATE(0) |

| Notes: | The content of this flow will depend on which Agents have changed, and which Agent is the recipient of the information. The D0148 should be used to update and supersede only that information which the agent needs to know and is currently unaware of.For a definition of the content of the flow in the NHH and HH markets see the scenarios contained in Annex C.Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0149 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Mapping Details |
| --- | --- |
| Flow Description: | This flow notifies mapping of physical registers to time pattern regimes. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MOP | Distributor | 15.4 |
| MOP | MOP | 15.4 |
| MOP | NHHDC | 15.4 |
| MOP | SMEM | 15.4 |
| MOP | Supplier | 15.4 |
| SMEM | Distributor | 15.4 |
| SMEM | MOP | 15.4 |
| SMEM | SDSA | 15.4 |
| SMEM | SMEM | 15.4 |
| SMEM | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1254 | Effective from Settlement Date {MSMTD} |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0300 | Effective from Settlement Date {SCON} |
| J0078 | Time Pattern Regime |
| J0004 | Meter Id |
| J0010 | Meter Register Id |
| J0679 | Register Mapping Coefficient |
| J1267 | Metering System Non Settlement Functionality Code |
| J1268 | Effective From Settlement Date {MSNSFC} |
| J0078 | Time Pattern Regime |
| J0004 | Meter Id |
| J0010 | Meter Register Id |
| J0679 | Register Mapping Coefficient |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 280 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1254 | Effective from Settlement Date {MSMTD} | DATE(0) |
| 281 | NHH Mapping Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0300 | Effective from Settlement Date {SCON} | DATE(0) |
| 778 | Time Pattern Regimes | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
| 283 | Meter Details | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0004 | Meter Id | CHAR(10) |
| 284 | Meter Register | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0679 | Register Mapping Coefficient | NUM(1) |
| 23A | Non Settlements Registers | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1267 | Metering System Non Settlement Functionality Code | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1268 | Effective From Settlement Date {MSNSFC} | DATE(0) |
| 24A | Time Pattern Regimes | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
| 25A | Meter Details | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0004 | Meter Id | CHAR(10) |
| 26A | Meter Register | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0679 | Register Mapping Coefficient | NUM(1) |

| Notes: | The Register Mapping Coefficient is required for mapping the difference between 2 or more physical registers' readings to a Settlement Register. |
| --- | --- |

| Flow Reference: | D0150 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Traditional Meter Technical Details |
| --- | --- |
| Flow Description: | Meter Technical Details for Traditional Assets |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | MOP | 15.4 |
| MOP | Distributor | 15.4 |
| MOP | MOP | 15.4 |
| MOP | NHHDC | 15.4 |
| MOP | SMEM | 15.4 |
| MOP | Supplier | 15.4 |
| SMEM | Distributor | 15.4 |
| SMEM | MOP | 15.4 |
| SMEM | SDSA | 15.4 |
| SMEM | SMEM | 15.4 |
| SMEM | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1254 | Effective from Settlement Date {MSMTD} |
| J0082 | Measurement Class Id |
| J0080 | Energisation Status |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0300 | Effective from Settlement Date {SCON} |
| J1267 | Metering System Non Settlement Functionality Code |
| J1268 | Effective From Settlement Date {MSNSFC} |
| J0480 | Maintenance Date |
| J0008 | Nature of Maintenance |
| J0004 | Meter Id |
| J0418 | Meter COP |
| J0461 | Meter COP Dispensation |
| J0501 | Meter Current Rating |
| J0419 | Meter Location |
| J0410 | Manufacturers Make & Type |
| J1677 | Meter Asset Provider Id |
| J0385 | Communications Address |
| J0386 | Communications Method |
| J0464 | Outstation PIN |
| J0465 | Outstation COP |
| J0467 | Outstation COP Dispensation |
| J0468 | Outstation Encryption Key |
| J0469 | Outstation Number of Channels |
| J0470 | Outstation Password Level 1 |
| J0471 | Outstation Type |
| J0455 | VT Ratio |
| J0483 | Meter Type |
| J0848 | Date of Meter Installation |
| J0462 | Certification Date |
| J0463 | Certification Expiry Date |
| J0716 | Timing Device Id (Serial Number) |
| J0134 | Tele-Switch/Clock Indicator |
| J0098 | Retrieval Method |
| J0722 | Retrieval Method Effective Date |
| J0454 | CT Ratio |
| J0010 | Meter Register Id |
| J0474 | Meter Register Type |
| J0103 | Measurement Quantity Id |
| J0475 | Meter Register Multiplier |
| J0408 | Main/Check Indicator |
| J0478 | Number of Register Digits |
| J0476 | Associated Meter Id |
| J0477 | Associated Meter Register Id |
| J0382 | Channel Number |
| J0103 | Measurement Quantity Id |
| J0432 | Pulse Multiplier |
| J0480 | Maintenance Date |
| J0008 | Nature of Maintenance |
| J0004 | Meter Id |
| J1269 | Date of Meter Removal |
| J1677 | Meter Asset Provider Id |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 288 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1254 | Effective from Settlement Date {MSMTD} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
| 289 | SSCs | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0300 | Effective from Settlement Date {SCON} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1267 | Metering System Non Settlement Functionality Code | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1268 | Effective From Settlement Date {MSNSFC} | DATE(0) |
| 762 | Metering Point Maintenance History | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0480 | Maintenance Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0008 | Nature of Maintenance | CHAR(200) |
| 290 | Meter/Retrieval Method Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0418 | Meter COP | CHAR(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0461 | Meter COP Dispensation | NUM(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0501 | Meter Current Rating | NUM(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0410 | Manufacturers Make & Type | CHAR(60) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1677 | Meter Asset Provider Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0385 | Communications Address | CHAR(65) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0386 | Communications Method | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0464 | Outstation PIN | CHAR(12) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0465 | Outstation COP | CHAR(20) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0467 | Outstation COP Dispensation | NUM(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0468 | Outstation Encryption Key | CHAR(20) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0469 | Outstation Number of Channels | NUM(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0470 | Outstation Password Level 1 | CHAR(12) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0471 | Outstation Type | CHAR(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0455 | VT Ratio | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0483 | Meter Type | CHAR(5) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0848 | Date of Meter Installation | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0462 | Certification Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0463 | Certification Expiry Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0716 | Timing Device Id (Serial Number) | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0134 | Tele-Switch/Clock Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0098 | Retrieval Method | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0722 | Retrieval Method Effective Date | DATE(0) |
| 291 | CT Ratio | 0-1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0454 | CT Ratio | CHAR(6) |
| 293 | Meter Register Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0474 | Meter Register Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0475 | Meter Register Multiplier | NUM(9) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0408 | Main/Check Indicator | BOOLEAN(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0478 | Number of Register Digits | NUM(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0476 | Associated Meter Id | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0477 | Associated Meter Register Id | (0) |
| 295 | Meter Channels | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J0382 | Channel Number | CHAR(3) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0432 | Pulse Multiplier | NUM(9) |
| 296 | Metering System Maintenance History | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0480 | Maintenance Date | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0008 | Nature of Maintenance | CHAR(200) |
| 08A | Meters Removed | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1269 | Date of Meter Removal | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1677 | Meter Asset Provider Id | (0) |

| Notes: | Used for all Non Half Hourly Meters for Non-MHHS Metering Points or Traditional Metering Assets for MHHS Metering Points |
| --- | --- |

| Flow Reference: | D0151 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Termination of Appointment or Contract by Supplier |
| --- | --- |
| Flow Description: | This is a notification that an existing appointment or contract is to be terminated by a Supplier, including the situation when there has been an upheld objection to Change of Supplier. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMVLP | HHDC | 15.4 |
| AMVLP | MOP | 15.4 |
| Supplier | HHDA | 15.4 |
| Supplier | HHDC | 15.4 |
| Supplier | MA | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | NHHDA | 15.4 |
| Supplier | NHHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0049 | Effective from Settlement Date {REGI} |
| J0279 | Termination Reason |
| J0012 | Additional Information |
| J0360 | Effective to Date {MOA} |
| J1194 | New Supplier Id |
| J0399 | Effective to Date {DCA} |
| J0340 | Effective to Settlement Date {DAA} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 297 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0279 | Termination Reason | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 298 | Effective to Date | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0360 | Effective to Date {MOA} | DATE(0) |
| 99H | CoS Details | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1194 | New Supplier Id | (0) |
| 299 | Effective toDate | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0399 | Effective to Date {DCA} | DATE(0) |
| 300 | Effective to Date | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0340 | Effective to Settlement Date {DAA} | DATE(0) |

| Notes: | If the Agent requires further information than that provided by the Termination Reason this should be detailed in the Additional Information field.Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0152 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Metering System EAC/AA Historical Data |
| --- | --- |
| Flow Description: | Historical details of the annualised advance and estimated actual consumption calculated by the data collector for a metering system. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| NHHDC | NHHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0087 | Effective from Settlement Date {MACDC} |
| J0088 | Effective to Settlement Date {MACDC} |
| J0078 | Time Pattern Regime |
| J0079 | Annualised Advance |
| J0090 | Effective from Settlement Date {EACDC} |
| J0078 | Time Pattern Regime |
| J0081 | Estimated Annual Consumption |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0091 | Effective from Settlement Date {SCDC} |
| J0084 | Supplier Id |
| J0049 | Effective from Settlement Date {REGI} |
| J0071 | Profile Class Id |
| J0092 | Effective from Settlement Date {MSPCDC} |
| J0066 | GSP Group Id |
| J0093 | Effective from Settlement Date {MSGGDC} |
| J0082 | Measurement Class Id |
| J0094 | Effective from Settlement Date {MSMCDC} |
| J0080 | Energisation Status |
| J0297 | Effective from Settlement Date {MSES} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 301 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
| 302 | Meter Advance Period Settlement Dates | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0087 | Effective from Settlement Date {MACDC} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0088 | Effective to Settlement Date {MACDC} | DATE(0) |
| 303 | Annualised Advances | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0079 | Annualised Advance | NUM(14) |
| 304 | EAC Effective Date | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0090 | Effective from Settlement Date {EACDC} | DATE(0) |
| 305 | EACs | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0081 | Estimated Annual Consumption | NUM(14) |
| 306 | SSC | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0091 | Effective from Settlement Date {SCDC} | DATE(0) |
| 307 | Supplier and Effective Date | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
| 308 | Profile Class | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0092 | Effective from Settlement Date {MSPCDC} | DATE(0) |
| 309 | GSP Group | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0093 | Effective from Settlement Date {MSGGDC} | DATE(0) |
| 310 | Measurement Class | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0094 | Effective from Settlement Date {MSMCDC} | DATE(0) |
| 311 | Energisation Status | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0297 | Effective from Settlement Date {MSES} | DATE(0) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0153 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Data Aggregator Appointment and Terms |
| --- | --- |
| Flow Description: | This is a notification that a data aggregator (HH or NHH) is to be appointed to a metering system and of the contractual terms to be applied. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | HHDA | 15.4 |
| Supplier | NHHDA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0334 | Effective from Settlement Date {DAA} |
| J0049 | Effective from Settlement Date {REGI} |
| J0048 | Contract Reference |
| J0012 | Additional Information |
| J0274 | Service Reference |
| J0275 | Service Level Reference |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 312 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0334 | Effective from Settlement Date {DAA} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0048 | Contract Reference | CHAR(10) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 313 | Agreed Service Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0274 | Service Reference | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0275 | Service Level Reference | CHAR(4) |

| Notes: | This flow supersedes D0027 in Version 1.This flow includes Unmetered Supply Requirements. |
| --- | --- |

| Flow Reference: | D0155 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Meter Operator or Data Collector Appointment and Terms |
| --- | --- |
| Flow Description: | This is a notification of a new or changed appointment to a metering system and of the contractual terms to be applied |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMVLP | HHDC | 15.4 |
| AMVLP | MOP | 15.4 |
| Supplier | HHDC | 15.4 |
| Supplier | MA | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | NHHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0049 | Effective from Settlement Date {REGI} |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0048 | Contract Reference |
| J0098 | Retrieval Method |
| J0066 | GSP Group Id |
| J0277 | Regular Reading Cycle |
| J0696 | Required First Scheduled Read Date |
| J0219 | Effective from Date {DCA} |
| J0210 | Effective from Date {MOA} |
| J0274 | Service Reference |
| J0275 | Service Level Reference |
| J2177 | Smart CoS Process Indicator |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 315 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0048 | Contract Reference | CHAR(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0098 | Retrieval Method | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| 320 | Reading Cycle Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0277 | Regular Reading Cycle | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0696 | Required First Scheduled Read Date | DATE(0) |
| 316 | DC Effective Date | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0219 | Effective from Date {DCA} | DATE(0) |
| 317 | MOP Effective Date | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0210 | Effective from Date {MOA} | DATE(0) |
| 318 | Agreed Service Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0274 | Service Reference | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0275 | Service Level Reference | CHAR(4) |
| 22L | Smart CoS Process | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2177 | Smart CoS Process Indicator | CHAR(1) |

| Notes: | Required First Scheduled Read Date is an optional field to be used where there is a service level agreement between a Supplier and an Agent which allows the Supplier to specify the Scheduled Read Date.This flow includes Unmetered Supply Requirements.Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items. Postcode should only be omitted if the Post Office has not generated one for the premises.The Supplier may use the Smart CoS Process Indicator to request that the NHHDC or NHH MOP should use the Change of Supplier process for smart meters (as introduced by BSC Modification P302). The Smart CoS Process group is optional to allow Suppliers to make alternative bi-lateral arrangements for requesting their agents to use the smart process. For the avoidance of doubt, unless other arrangements have been agreed between a Supplier and their agents, legacy processes will be followed if the Smart CoS Process group is not populated.Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0164 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of New or Changed Interruption of Supply |
| --- | --- |
| Flow Description: | Issue new/revised details of planned interruption(s) of supply or of previous/long term interruption(s) of supply caused by distribution network fault(s). |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | ADSA | 15.4 |
| Distributor | HHDC | 15.4 |
| Distributor | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0617 | Interruption of Supply Status Code |
| J0486 | Interruption of Supply Reference |
| J0485 | Start Date Time |
| J0487 | Interruption of Supply Reason Code |
| J0012 | Additional Information |
| J0488 | End Date Time |
| J0686 | Estimated End Date Time |
| J0714 | Area Affected by Interruption |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 341 | Interruption of Supply Information | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0617 | Interruption of Supply Status Code | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0486 | Interruption of Supply Reference | CHAR(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0485 | Start Date Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0487 | Interruption of Supply Reason Code | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 342 | End Date Time | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0488 | End Date Time | DATETIME(0) |
| 343 | Estimated End Date Time | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0686 | Estimated End Date Time | DATETIME(0) |
| 344 | Area(s) Affected | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0714 | Area Affected by Interruption | CHAR(35) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0166 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Distribution System Enquiry |
| --- | --- |
| Flow Description: | A Supplier sends an enquiry to the SFIC (System Fault Information Centre) of a specified Distributor requesting details or action regarding an outage, safety investigation or voltage complaint. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | SFIC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0705 | Supplier Reference |
| J0007 | Requested Action Code |
| J0688 | Date of Enquiry by Customer |
| J0028 | Date Action Required By |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 345 | Enquiry Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0705 | Supplier Reference | CHAR(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0007 | Requested Action Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0688 | Date of Enquiry by Customer | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0028 | Date Action Required By | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | Only requested action codes 14(outage enquiry), 15(safety investigation) and 16(voltage complaint) are valid for this flow. The date specified for 'Date Action Required By' must not be more onerous than specified under relevant statutory obligations or agreements. |
| --- | --- |

| Flow Reference: | D0167 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Response to Distribution System Enquiry |
| --- | --- |
| Flow Description: | Sent by the SFIC (System Fault Information Centre) of a Distributor in response to an enquiry. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| SFIC | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0705 | Supplier Reference |
| J0014 | Date of Action |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 346 | Enquiry Response Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0705 | Supplier Reference | CHAR(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0014 | Date of Action | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0170 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request for Metering System Related Details |
| --- | --- |
| Flow Description: | On appointment or change of agent appointment, metering system related details are requested to be transferred |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | ADSA | 15.4 |
| ADSA | AMEM | 15.4 |
| AMEM | AMEM | 15.4 |
| AMEM | AMVLP | 15.4 |
| AMEM | Distributor | 15.4 |
| AMEM | MOP | 15.4 |
| AMVLP | AMEM | 15.4 |
| AMVLP | MOP | 15.4 |
| HHDC | HHDC | 15.4 |
| MOP | AMVLP | 15.4 |
| MOP | Distributor | 15.4 |
| MOP | MOP | 15.4 |
| MPAS | HHDC | 15.4 |
| MPAS | MA | 15.4 |
| MPAS | MOP | 15.4 |
| MPAS | NHHDC | 15.4 |
| MPAS | Supplier | 15.4 |
| NHHDC | MOP | 15.4 |
| NHHDC | NHHDC | 15.4 |
| NHHDC | Supplier | 15.4 |
| SDSA | SDSA | 15.4 |
| SDSA | SMEM | 15.4 |
| SDSA | Supplier | 15.4 |
| SMEM | Distributor | 15.4 |
| SMEM | MOP | 15.4 |
| SMEM | SMEM | 15.4 |
| Supplier | ADSA | 15.4 |
| Supplier | HHDC | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | NHHDC | 15.4 |
| Supplier | SDSA | 15.4 |
| Supplier | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0028 | Date Action Required By |
| J0007 | Requested Action Code |
| J0012 | Additional Information |
| J0926 | New Meter Operator Id |
| J0927 | New Data Collector Id |
| J0003 | MPAN Core |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 350 | Request Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0028 | Date Action Required By | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0007 | Requested Action Code | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0926 | New Meter Operator Id | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0927 | New Data Collector Id | (0) |
| 351 | MPAN Cores | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |

| Notes: | Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0171 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Distributor Changes to Metering Point Details |
| --- | --- |
| Flow Description: | MPAS passes the current Supplier and any Supplier having a pending registration information regarding changes to the metering point details made by the Distributor. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MPAS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0723 | Instruction Type |
| J0003 | MPAN Core |
| J0821 | Deemed Received Date |
| J0473 | Disconnection Date |
| J0147 | Line Loss Factor Class Id |
| J0658 | Effective from Settlement Date {MSLLFC} |
| J0066 | GSP Group Id |
| J0306 | Effective from Settlement Date {MSGG} |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J1840 | Metering Point Unique Property Reference Number (UPRN) |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 748 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 352 | Metering Point Change Data | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0723 | Instruction Type | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0821 | Deemed Received Date | DATE(0) |
| 353 | Disconnection Date | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0473 | Disconnection Date | DATE(0) |
| 354 | Details of MP Changes | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0658 | Effective from Settlement Date {MSLLFC} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0306 | Effective from Settlement Date {MSGG} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  |  |  | N |  |  |  |  | J1840 | Metering Point Unique Property Reference Number (UPRN) | (0) |

| Notes: | Each optional data item becomes mandatory if there has been a change to that individual item.Though each address line in this flow is optional, when an address is to be updated using this flow the entire address must be included in the flow. An update to an individual line within an address will require the entire address to be sent. The Metering Point Address Lines 1-9 and Metering Point Postcode will be in Standard Address Format (SAF). |
| --- | --- |

| Flow Reference: | D0172 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Confirmation of Changes |
| --- | --- |
| Flow Description: | Flows received, accepted and/or rejected by MPAS, providing a summary of activity and the result of processing. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MPAS | DCC | 15.4 |
| MPAS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0723 | Instruction Type |
| J0821 | Deemed Received Date |
| J1064 | File Identifier |
| J0522 | Instructions Received by MPAS |
| J0523 | Instructions Accepted by MPAS |
| J0524 | Instructions Rejected by MPAS |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 749 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 357 | Summary of Activity and Result of Processing | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0723 | Instruction Type | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0821 | Deemed Received Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1064 | File Identifier | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0522 | Instructions Received by MPAS | NUM(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0523 | Instructions Accepted by MPAS | NUM(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0524 | Instructions Rejected by MPAS | NUM(5) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0173 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Token Transaction Data |
| --- | --- |
| Flow Description: | Notification of token sales. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| PPMIP | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0525 | PAN Number |
| J0526 | Customer Payment Amount |
| J0527 | Customer Payment Date |
| J0528 | Customer Payment Time |
| J0529 | Payment Location |
| J0530 | Terminal Transaction Number |
| J0532 | Polling Date |
| J0533 | Source of Transaction |
| J0534 | Method of Payment |
| J0003 | MPAN Core |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 358 | PANs Against Which Payments Made | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0525 | PAN Number | CHAR(19) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0526 | Customer Payment Amount | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0527 | Customer Payment Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0528 | Customer Payment Time | TIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0529 | Payment Location | CHAR(9) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0530 | Terminal Transaction Number | NUM(6) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0532 | Polling Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0533 | Source of Transaction | NUM(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0534 | Method of Payment | NUM(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0174 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Issue Identity Card for Token Meter Customer |
| --- | --- |
| Flow Description: | Details are being provided to allow issue of a customer identity card. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | PPMIP | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0525 | PAN Number |
| J0375 | Customer Name |
| J1046 | Mailing Address Line 1 |
| J1047 | Mailing Address Line 2 |
| J1048 | Mailing Address Line 3 |
| J1049 | Mailing Address Line 4 |
| J1050 | Mailing Address Line 5 |
| J1051 | Mailing Address Line 6 |
| J1052 | Mailing Address Line 7 |
| J1053 | Mailing Address Line 8 |
| J1054 | Mailing Address Line 9 |
| J0566 | Mailing Address Postcode |
| J0536 | Embossed Area Data |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0049 | Effective from Settlement Date {REGI} |
| J1701 | Database Update Only |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 359 | Customer Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0525 | PAN Number | CHAR(19) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1046 | Mailing Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1047 | Mailing Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1048 | Mailing Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1049 | Mailing Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1050 | Mailing Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1051 | Mailing Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1052 | Mailing Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1053 | Mailing Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1054 | Mailing Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0566 | Mailing Address Postcode | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0536 | Embossed Area Data | CHAR(200) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1701 | Database Update Only | CHAR(1) |

| Notes: | This flow may also be used as a PPMIP database update facility.The usage of address in this flow is optional, however if an address is to be sent, all known lines must be sent.Where flow is being sent for a CoS event, then EfSD{REGI} should be populated with the Supplier Start Date for that registration as confimed by MPAS.Where flow is being sent for a CoT event, then EfSD{REGI} should be populated with the date that new tenant takes over that property as detailed within relevant Supplier system. |
| --- | --- |

| Flow Reference: | D0179 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Confirmation of Energisation/De-Energisation of Prepayment Meter |
| --- | --- |
| Flow Description: | Confirmation is being given that the energisation status of a prepayment meter has been changed and readings and settings are being provided. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | Supplier | 15.4 |
| MOP | Supplier | 15.4 |
| SMEM | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |
| J0691 | Failure Reason Code |
| J0685 | Tariff Code |
| J0004 | Meter Id |
| J0080 | Energisation Status |
| J1022 | Prepayment Meter Shutdown Status |
| J0173 | Reason for Request |
| J0014 | Date of Action |
| J0537 | Credit Balance |
| J0539 | Total Credit Accepted |
| J0540 | Total Tokens Inserted |
| J0545 | Emergency Credit Status |
| J0544 | Total Debt Outstanding |
| J0547 | Debt Recovery Rate |
| J0543 | Standing Charge |
| J0010 | Meter Register Id |
| J0040 | Register Reading |
| J0542 | Prepayment Unit Rate |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 368 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0691 | Failure Reason Code | CHAR(3) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0685 | Tariff Code | NUM(4) |
| 369 | Meters Details per MPAN Core | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1022 | Prepayment Meter Shutdown Status | BOOLEAN(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0173 | Reason for Request | CHAR(100) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0014 | Date of Action | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0537 | Credit Balance | NUM(5) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0539 | Total Credit Accepted | NUM(7) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0540 | Total Tokens Inserted | NUM(5) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0545 | Emergency Credit Status | BOOLEAN(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0544 | Total Debt Outstanding | NUM(7) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0547 | Debt Recovery Rate | NUM(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0543 | Standing Charge | NUM(5) |
| 370 | Register Detail per Meter | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0542 | Prepayment Unit Rate | NUM(5) |

| Notes: | Though Tariff Code is defined within the structure as being optional it should be included in the Flow when the change of energisation status relates to either a Token Meter or Smart Card Meter. |
| --- | --- |

| Flow Reference: | D0188 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Key Transaction Details |
| --- | --- |
| Flow Description: | Notification of details relating to key charging transactions. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| PPMIP | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0582 | Key Meter Supplier/Customer Id |
| J0583 | Key Charging Machine Number |
| J0530 | Terminal Transaction Number |
| J0527 | Customer Payment Date |
| J0526 | Customer Payment Amount |
| J0004 | Meter Id |
| J0543 | Standing Charge |
| J0547 | Debt Recovery Rate |
| J0584 | Active Credit on Key |
| J0585 | Key Debt |
| J0586 | Key Date Stamp |
| J0016 | Reading Date & Time |
| J0539 | Total Credit Accepted |
| J0537 | Credit Balance |
| J0003 | MPAN Core |
| J0010 | Meter Register Id |
| J0040 | Register Reading |
| J0542 | Prepayment Unit Rate |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 386 | Customer Payment Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0582 | Key Meter Supplier/Customer Id | CHAR(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0583 | Key Charging Machine Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0530 | Terminal Transaction Number | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0527 | Customer Payment Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0526 | Customer Payment Amount | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0543 | Standing Charge | NUM(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0547 | Debt Recovery Rate | NUM(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0584 | Active Credit on Key | NUM(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0585 | Key Debt | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0586 | Key Date Stamp | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0539 | Total Credit Accepted | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0537 | Credit Balance | NUM(5) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
| 387 | Meter Register Detail per Meter | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0040 | Register Reading | NUM(9) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0542 | Prepayment Unit Rate | NUM(5) |

| Notes: | For the data items outlined below, default values should be inputted for new meters on the initial population of the data flow:Ref Default ValueJ0537 0.00J0010 '00'J0016 19500101000000J0040 0.0J0539 0.00 |
| --- | --- |

| Flow Reference: | D0189 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Adjust Key Meter Debt/Recovery Rate at Specific Locations |
| --- | --- |
| Flow Description: | An instruction to place new total debt and debt recovery on a number of selected payment terminals for pick up by specified meter. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | PPMIP | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0084 | Supplier Id |
| J0389 | Customer Reference Number |
| J0004 | Meter Id |
| J0554 | Total Debt |
| J0547 | Debt Recovery Rate |
| J0583 | Key Charging Machine Number |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 388 | Customer Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0389 | Customer Reference Number | CHAR(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0554 | Total Debt | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0547 | Debt Recovery Rate | NUM(5) |
| 389 | Charging Machine Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0583 | Key Charging Machine Number | NUM(7) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0190 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Issue Customer Key |
| --- | --- |
| Flow Description: | Details are being provided to allow the issue of a customer key. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | MOP | 15.4 |
| Supplier | PPMIP | 15.4 |
| Supplier | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0004 | Meter Id |
| J1285 | Key Infrastructure Supplier Id |
| J0389 | Customer Reference Number |
| J0591 | Tariff Setting |
| J0556 | Emergency Credit |
| J0554 | Total Debt |
| J0547 | Debt Recovery Rate |
| J0588 | Initial Key Credit |
| J0590 | Reason Code |
| J0049 | Effective from Settlement Date {REGI} |
| J0375 | Customer Name |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0565 | Mailing Name |
| J1046 | Mailing Address Line 1 |
| J1047 | Mailing Address Line 2 |
| J1048 | Mailing Address Line 3 |
| J1049 | Mailing Address Line 4 |
| J1050 | Mailing Address Line 5 |
| J1051 | Mailing Address Line 6 |
| J1052 | Mailing Address Line 7 |
| J1053 | Mailing Address Line 8 |
| J1054 | Mailing Address Line 9 |
| J0566 | Mailing Address Postcode |
| J0003 | MPAN Core |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 390 | Customer Key Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | O |  |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1285 | Key Infrastructure Supplier Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0389 | Customer Reference Number | CHAR(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0591 | Tariff Setting | NUM(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0556 | Emergency Credit | NUM(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0554 | Total Debt | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0547 | Debt Recovery Rate | NUM(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0588 | Initial Key Credit | NUM(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0590 | Reason Code | CHAR(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0565 | Mailing Name | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1046 | Mailing Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1047 | Mailing Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1048 | Mailing Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1049 | Mailing Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1050 | Mailing Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1051 | Mailing Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1052 | Mailing Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1053 | Mailing Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1054 | Mailing Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0566 | Mailing Address Postcode | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |

| Notes: | Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items. Where flow is being sent for a CoS event, then EfSD{REGI} should be populated with the Supplier Start Date for that registration as confirmed by MPAS. Where flow is being sent for a CoM event, then EfSD{REGI} should be populated with date of meter installation (J0848) taken from relevant D0193 or D0150. Where flow is being sent for a CoT event, then EfSD{REGI} should be populated with the date that new tenant takes over that property as detailed within relevant Supplier system. |
| --- | --- |

| Flow Reference: | D0191 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request Special Visit to Read/Reset Key Meter |
| --- | --- |
| Flow Description: | A request is being made for a non-routine visit to a specified customer to read the key meter and/or adjust the settings. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | MOP | 15.4 |
| Supplier | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0489 | Contact Name |
| J0173 | Reason for Request |
| J0174 | Appointment Date |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J0004 | Meter Id |
| J0419 | Meter Location |
| J0591 | Tariff Setting |
| J0554 | Total Debt |
| J0547 | Debt Recovery Rate |
| J0556 | Emergency Credit |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 391 | Customer Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0489 | Contact Name | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0173 | Reason for Request | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0591 | Tariff Setting | NUM(3) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0554 | Total Debt | NUM(7) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0547 | Debt Recovery Rate | NUM(5) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0556 | Emergency Credit | NUM(5) |

| Notes: | Where 'Reason for Request' is 'Read Meter Only' meter setting details will not be provided. |
| --- | --- |

| Flow Reference: | D0192 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Readings and Settings from a Token or Key Meter |
| --- | --- |
| Flow Description: | Readings and settings from a token or key meter are being provided in response to a request for a special visit or following removal, de-energisation or shutdown of a token or key meter. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MOP | Supplier | 15.4 |
| SMEM | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0045 | Meter Reading Flag |
| J0022 | BSC Validation Status |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |
| J0004 | Meter Id |
| J0080 | Energisation Status |
| J0537 | Credit Balance |
| J0543 | Standing Charge |
| J0539 | Total Credit Accepted |
| J0544 | Total Debt Outstanding |
| J0547 | Debt Recovery Rate |
| J0545 | Emergency Credit Status |
| J0540 | Total Tokens Inserted |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |
| J0010 | Meter Register Id |
| J0016 | Reading Date & Time |
| J0171 | Reading Type |
| J0040 | Register Reading |
| J0542 | Prepayment Unit Rate |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 392 | Customer Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0045 | Meter Reading Flag | BOOLEAN(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0022 | BSC Validation Status | CHAR(1) |
| 22B | Site Visit Information | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 393 | Meter Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0537 | Credit Balance | NUM(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0543 | Standing Charge | NUM(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0539 | Total Credit Accepted | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0544 | Total Debt Outstanding | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0547 | Debt Recovery Rate | NUM(5) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0545 | Emergency Credit Status | BOOLEAN(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0540 | Total Tokens Inserted | NUM(5) |
| 23B | Site Visit Information | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 394 | Meter Register Detail per Meter | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0171 | Reading Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0542 | Prepayment Unit Rate | NUM(5) |
| 24B | Site Visit Information | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0193 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Confirmation of Key Meter Installation |
| --- | --- |
| Flow Description: | Confirmation of key meter installation is being given with details of the meter and settings. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MOP | Supplier | 15.4 |
| SMEM | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0080 | Energisation Status |
| J0375 | Customer Name |
| J0004 | Meter Id |
| J0419 | Meter Location |
| J0410 | Manufacturers Make & Type |
| J0501 | Meter Current Rating |
| J0554 | Total Debt |
| J0547 | Debt Recovery Rate |
| J0848 | Date of Meter Installation |
| J0556 | Emergency Credit |
| J0557 | Initial Credit |
| J0543 | Standing Charge |
| J0010 | Meter Register Id |
| J0474 | Meter Register Type |
| J0478 | Number of Register Digits |
| J0040 | Register Reading |
| J0542 | Prepayment Unit Rate |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 395 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
| 396 | Meter Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0410 | Manufacturers Make & Type | CHAR(60) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0501 | Meter Current Rating | NUM(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0554 | Total Debt | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0547 | Debt Recovery Rate | NUM(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0848 | Date of Meter Installation | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0556 | Emergency Credit | NUM(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0557 | Initial Credit | NUM(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0543 | Standing Charge | NUM(5) |
| 397 | Meter Register Detail per Meter | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0474 | Meter Register Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0478 | Number of Register Digits | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0542 | Prepayment Unit Rate | NUM(5) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0194 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request for Installation of Key Meter |
| --- | --- |
| Flow Description: | Request is being made and information provided to allow installation of key meter. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | MOP | 15.4 |
| Supplier | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0489 | Contact Name |
| J0274 | Service Reference |
| J0275 | Service Level Reference |
| J0174 | Appointment Date |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J0554 | Total Debt |
| J0547 | Debt Recovery Rate |
| J0591 | Tariff Setting |
| J0673 | Requested Energisation Status |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 398 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0489 | Contact Name | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0274 | Service Reference | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0275 | Service Level Reference | CHAR(4) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0554 | Total Debt | NUM(7) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0547 | Debt Recovery Rate | NUM(5) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0591 | Tariff Setting | NUM(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0673 | Requested Energisation Status | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0203 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Rejection of Changes to Metering Point Details |
| --- | --- |
| Flow Description: | Used to reject invalid changes to meter point details and invalid changes to appointment details. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MPAS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0723 | Instruction Type |
| J1017 | Incoming Instruction Number |
| J0003 | MPAN Core |
| J0821 | Deemed Received Date |
| J0049 | Effective from Settlement Date {REGI} |
| J0080 | Energisation Status |
| J0297 | Effective from Settlement Date {MSES} |
| J0082 | Measurement Class Id |
| J0307 | Effective from Settlement Date {MSMC} |
| J0220 | Meter Timeswitch Code |
| J0301 | Meter Timeswitch Code Effective from Date |
| J0071 | Profile Class Id |
| J0308 | Effective from Settlement Date {MSPC} |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0300 | Effective from Settlement Date {SCON} |
| J0183 | Data Aggregator Id |
| J0163 | Data Aggregation Type |
| J0334 | Effective from Settlement Date {DAA} |
| J0205 | Data Collector Id |
| J0218 | Data Collector Type |
| J0219 | Effective from Date {DCA} |
| J0178 | Meter Operator Id |
| J0675 | Meter Operator Type |
| J0210 | Effective from Date {MOA} |
| J1839 | SMETS Version |
| J1837 | Smart Metering System Operator Id |
| J1838 | Effective from Date {SMSO} |
| J1835 | In Home Display (IHD) Install Status |
| J1836 | Effective from Date {IHDI} |
| J0107 | Rejection Reason Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 750 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 430 | Rejection Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0723 | Instruction Type | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1017 | Incoming Instruction Number | NUM(12) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0821 | Deemed Received Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0297 | Effective from Settlement Date {MSES} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0307 | Effective from Settlement Date {MSMC} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0301 | Meter Timeswitch Code Effective from Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0308 | Effective from Settlement Date {MSPC} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0300 | Effective from Settlement Date {SCON} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0334 | Effective from Settlement Date {DAA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0218 | Data Collector Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0219 | Effective from Date {DCA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0178 | Meter Operator Id | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0675 | Meter Operator Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0210 | Effective from Date {MOA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1839 | SMETS Version | CHAR(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1837 | Smart Metering System Operator Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1838 | Effective from Date {SMSO} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1835 | In Home Display (IHD) Install Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1836 | Effective from Date {IHDI} | DATE(8) |
| 439 | Rejection Reason(s) | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0107 | Rejection Reason Code | CHAR(4) |

| Notes: | Each optional data item in the above flow is intended to contain data whenever possible - ie. whenever data could be sensibly extracted from the corresponding item in the original incoming instruction. The Incoming Instruction Number item always allows the rejected instructions to be positively identified within the original incoming file.For more details of the reason for the rejection see the latest version of the MPAS Validation Procedures as defined in MRA Schedule 14. |
| --- | --- |

| Flow Reference: | D0204 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Selective or Full Refresh of MPAS Details |
| --- | --- |
| Flow Description: | The set of data sent to a Supplier following a request for refresh of the details held within MPAS. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MPAS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0723 | Instruction Type |
| J0003 | MPAN Core |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J1840 | Metering Point Unique Property Reference Number (UPRN) |
| J0066 | GSP Group Id |
| J0306 | Effective from Settlement Date {MSGG} |
| J0147 | Line Loss Factor Class Id |
| J0189 | Distributor Id |
| J0658 | Effective from Settlement Date {MSLLFC} |
| J0049 | Effective from Settlement Date {REGI} |
| J0031 | Registration Transaction Number |
| J0117 | Effective to Settlement Date {REGI} |
| J0821 | Deemed Received Date |
| J0821 | Deemed Received Date |
| J0821 | Deemed Received Date |
| J0080 | Energisation Status |
| J0297 | Effective from Settlement Date {MSES} |
| J0220 | Meter Timeswitch Code |
| J0301 | Meter Timeswitch Code Effective from Date |
| J0071 | Profile Class Id |
| J0308 | Effective from Settlement Date {MSPC} |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0300 | Effective from Settlement Date {SCON} |
| J0082 | Measurement Class Id |
| J0307 | Effective from Settlement Date {MSMC} |
| J0183 | Data Aggregator Id |
| J0163 | Data Aggregation Type |
| J0334 | Effective from Settlement Date {DAA} |
| J0205 | Data Collector Id |
| J0218 | Data Collector Type |
| J0219 | Effective from Date {DCA} |
| J0178 | Meter Operator Id |
| J0675 | Meter Operator Type |
| J0210 | Effective from Date {MOA} |
| J1833 | DCC Service Flag |
| J1834 | Effective from Date {DCCF} |
| J1839 | SMETS Version |
| J1837 | Smart Metering System Operator Id |
| J1838 | Effective from Date {SMSO} |
| J1835 | In Home Display (IHD) Install Status |
| J1836 | Effective from Date {IHDI} |
| J2245 | Related MPAN Indicator |
| J2243 | Primary MPAN |
| J2244 | Secondary MPAN |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 751 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 763 | Instruction Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0723 | Instruction Type | CHAR(4) |
| 440 | Current MPAS Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  |  |  | N |  |  |  |  | J1840 | Metering Point Unique Property Reference Number (UPRN) | (0) |
| 451 | GSP Group Settlement Date Detail | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0306 | Effective from Settlement Date {MSGG} | DATE(0) |
| 450 | Line Loss Factor Class/Date Detail | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0658 | Effective from Settlement Date {MSLLFC} | DATE(0) |
| 441 | Registration of Supplier Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  |  | N |  |  |  | J0031 | Registration Transaction Number | NUM(10) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0117 | Effective to Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0821 | Deemed Received Date | DATE(0) |
| 669 | Objection Registration | 0, 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0821 | Deemed Received Date | DATE(0) |
| 670 | Objection Removal | 0, 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0821 | Deemed Received Date | DATE(0) |
| 445 | Energisation Status Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0297 | Effective from Settlement Date {MSES} | DATE(0) |
| 447 | Meter/Timeswitch Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0301 | Meter Timeswitch Code Effective from Date | DATE(0) |
| 448 | Profile Class Settlement Date Detail | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0308 | Effective from Settlement Date {MSPC} | DATE(0) |
| 449 | SSC Detail | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0300 | Effective from Settlement Date {SCON} | DATE(0) |
| 446 | Measurement Class Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0307 | Effective from Settlement Date {MSMC} | DATE(0) |
| 764 | Data Aggregator Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0334 | Effective from Settlement Date {DAA} | DATE(0) |
| 443 | Data Collector Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0218 | Data Collector Type | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0219 | Effective from Date {DCA} | DATE(0) |
| 444 | Meter Operator Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0178 | Meter Operator Id | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0675 | Meter Operator Type | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0210 | Effective from Date {MOA} | DATE(0) |
| 90H | DCC Service Flag | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J1833 | DCC Service Flag | CHAR(1) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1834 | Effective from Date {DCCF} | DATE(8) |
| 91H | SMETS Version | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J1839 | SMETS Version | CHAR(8) |
| 92H | SMSO ID | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J1837 | Smart Metering System Operator Id | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1838 | Effective from Date {SMSO} | DATE(8) |
| 93H | IHD Install Status | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J1835 | In Home Display (IHD) Install Status | CHAR(1) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1836 | Effective from Date {IHDI} | DATE(8) |
| 47M | Related Status | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2245 | Related MPAN Indicator | CHAR(1) |
| 48M | Related MPANs | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2243 | Primary MPAN | INT(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2244 | Secondary MPAN | INT(13) |

| Notes: | Sub-Groups are retained for Objection Registration and Objection Removal to attach meaning to the data item ''''''''Deemed Received Date'''''''' held in these groups.Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The Metering Point Address Lines 1-9 and Metering Point Postcode will be in Standard Address Format (SAF). Metering Point Postcode should only be omitted if the Post Office have not allocated one. |
| --- | --- |

| Flow Reference: | D0205 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Update Registration Details |
| --- | --- |
| Flow Description: | A Supplier initiated update of registration details. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | MPAS | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0723 | Instruction Type |
| J0003 | MPAN Core |
| J0049 | Effective from Settlement Date {REGI} |
| J0080 | Energisation Status |
| J0297 | Effective from Settlement Date {MSES} |
| J0082 | Measurement Class Id |
| J0307 | Effective from Settlement Date {MSMC} |
| J0220 | Meter Timeswitch Code |
| J0301 | Meter Timeswitch Code Effective from Date |
| J0071 | Profile Class Id |
| J0308 | Effective from Settlement Date {MSPC} |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0300 | Effective from Settlement Date {SCON} |
| J0183 | Data Aggregator Id |
| J0163 | Data Aggregation Type |
| J0334 | Effective from Settlement Date {DAA} |
| J0205 | Data Collector Id |
| J0218 | Data Collector Type |
| J0219 | Effective from Date {DCA} |
| J0178 | Meter Operator Id |
| J0675 | Meter Operator Type |
| J0210 | Effective from Date {MOA} |
| J1839 | SMETS Version |
| J1837 | Smart Metering System Operator Id |
| J1838 | Effective from Date {SMSO} |
| J1835 | In Home Display (IHD) Install Status |
| J1836 | Effective from Date {IHDI} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 752 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 452 | Identify Specific Registration and Provide Update Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0723 | Instruction Type | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0297 | Effective from Settlement Date {MSES} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0307 | Effective from Settlement Date {MSMC} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0301 | Meter Timeswitch Code Effective from Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0308 | Effective from Settlement Date {MSPC} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0300 | Effective from Settlement Date {SCON} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0334 | Effective from Settlement Date {DAA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0218 | Data Collector Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0219 | Effective from Date {DCA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0178 | Meter Operator Id | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0675 | Meter Operator Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0210 | Effective from Date {MOA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1839 | SMETS Version | CHAR(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1837 | Smart Metering System Operator Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1838 | Effective from Date {SMSO} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1835 | In Home Display (IHD) Install Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1836 | Effective from Date {IHDI} | DATE(8) |

| Notes: | The rules for including specific data items and the dependency between items are specified within the MRA and MPAS Validation Procedures. |
| --- | --- |

| Flow Reference: | D0209 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Instruction(s) to Non Half Hourly or Half Hourly Data Aggregator |
| --- | --- |
| Flow Description: | Covers appointment details for Data Aggregator/Data Collector and details of Registrations, Measurement Class, Energisation Status, Line Loss Factor Class, GSP Group, and for NHHDA will include Profile Class/Standard Settlement Configuration. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MPAS | HHDA | 15.4 |
| MPAS | NHHDA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J1109 | Type Code |
| J0083 | Metering System Id |
| J1094 | Market Role |
| J1095 | Participant Id |
| J0328 | Significant Date |
| J0083 | Metering System Id |
| J0049 | Effective from Settlement Date {REGI} |
| J0084 | Supplier Id |
| J0049 | Effective from Settlement Date {REGI} |
| J0334 | Effective from Settlement Date {DAA} |
| J0340 | Effective to Settlement Date {DAA} |
| J0049 | Effective from Settlement Date {REGI} |
| J0219 | Effective from Date {DCA} |
| J0205 | Data Collector Id |
| J0049 | Effective from Settlement Date {REGI} |
| J1562 | Effective from Settlement Date {PCSSCR} |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0049 | Effective from Settlement Date {REGI} |
| J1563 | Effective from Settlement Date {MCR} |
| J0082 | Measurement Class Id |
| J0049 | Effective from Settlement Date {REGI} |
| J1564 | Effective from Settlement Date {ESR} |
| J1099 | Energisation Status Id |
| J0658 | Effective from Settlement Date {MSLLFC} |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0306 | Effective from Settlement Date {MSGG} |
| J0066 | GSP Group Id |
| J0109 | Instruction Number |
| J1109 | Type Code |
| J0083 | Metering System Id |
| J1094 | Market Role |
| J1095 | Participant Id |
| J0328 | Significant Date |
| J0049 | Effective from Settlement Date {REGI} |
| J0084 | Supplier Id |
| J0049 | Effective from Settlement Date {REGI} |
| J0334 | Effective from Settlement Date {DAA} |
| J0340 | Effective to Settlement Date {DAA} |
| J0049 | Effective from Settlement Date {REGI} |
| J0219 | Effective from Date {DCA} |
| J0205 | Data Collector Id |
| J0049 | Effective from Settlement Date {REGI} |
| J1562 | Effective from Settlement Date {PCSSCR} |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0049 | Effective from Settlement Date {REGI} |
| J1563 | Effective from Settlement Date {MCR} |
| J0082 | Measurement Class Id |
| J0049 | Effective from Settlement Date {REGI} |
| J1564 | Effective from Settlement Date {ESR} |
| J1099 | Energisation Status Id |
| J0658 | Effective from Settlement Date {MSLLFC} |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0306 | Effective from Settlement Date {MSGG} |
| J0066 | GSP Group Id |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPI | Instruction File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| ZIN | Instruction Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1109 | Type Code | (0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0083 | Metering System Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1094 | Market Role | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1095 | Participant Id | (0) |
| ISD | Significant Date | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0328 | Significant Date | DATE(0) |
| MSH | Metering System Header | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0083 | Metering System Id | (0) |
| SUP | Supplier Registration | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0084 | Supplier Id | (0) |
| DAA | Data Aggregator Appointment | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0334 | Effective from Settlement Date {DAA} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0340 | Effective to Settlement Date {DAA} | DATE(0) |
| DCA | Data Collector Appointment | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0219 | Effective from Date {DCA} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0205 | Data Collector Id | (0) |
| PSS | Profile Class/Standard Settlement Configuration | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1562 | Effective from Settlement Date {PCSSCR} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
| MCL | Measurement Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1563 | Effective from Settlement Date {MCR} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
| EST | Energisation Status | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1564 | Effective from Settlement Date {ESR} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1099 | Energisation Status Id | (0) |
| LLF | Line Loss Factor Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0658 | Effective from Settlement Date {MSLLFC} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
| GGP | GSP Group | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0306 | Effective from Settlement Date {MSGG} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| ZIN | Instruction Number | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1109 | Type Code | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0083 | Metering System Id | (0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1094 | Market Role | (0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1095 | Participant Id | (0) |
| ISD | Significant Date | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0328 | Significant Date | DATE(0) |
| SUP | Supplier Registration | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0084 | Supplier Id | (0) |
| DAA | Data Aggregation Appointment | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0334 | Effective from Settlement Date {DAA} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0340 | Effective to Settlement Date {DAA} | DATE(0) |
| DCA | Data Collector Appointment | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0219 | Effective from Date {DCA} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0205 | Data Collector Id | (0) |
| PSS | Profile Class/Standard Settlement Configuration | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1562 | Effective from Settlement Date {PCSSCR} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
| MCL | Measurement Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1563 | Effective from Settlement Date {MCR} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
| EST | Energisation Status | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1564 | Effective from Settlement Date {ESR} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1099 | Energisation Status Id | (0) |
| LLF | Line Loss Factor Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0658 | Effective from Settlement Date {MSLLFC} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
| GGP | GSP Group | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0306 | Effective from Settlement Date {MSGG} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |

| Notes: | The data set of profile classes/standard settlement configurations must never be included when this flow is sent to a HHDA. |
| --- | --- |

| Flow Reference: | D0213 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Advice from MPAS of Changed Metering Point Details |
| --- | --- |
| Flow Description: | Advise a Supplier with a pending registration of changes to metering point details made by the current Supplier or DCC. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MPAS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0723 | Instruction Type |
| J0003 | MPAN Core |
| J0821 | Deemed Received Date |
| J0049 | Effective from Settlement Date {REGI} |
| J0080 | Energisation Status |
| J0297 | Effective from Settlement Date {MSES} |
| J0082 | Measurement Class Id |
| J0307 | Effective from Settlement Date {MSMC} |
| J0220 | Meter Timeswitch Code |
| J0301 | Meter Timeswitch Code Effective from Date |
| J0071 | Profile Class Id |
| J0308 | Effective from Settlement Date {MSPC} |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0300 | Effective from Settlement Date {SCON} |
| J0183 | Data Aggregator Id |
| J0163 | Data Aggregation Type |
| J0334 | Effective from Settlement Date {DAA} |
| J0205 | Data Collector Id |
| J0218 | Data Collector Type |
| J0219 | Effective from Date {DCA} |
| J0178 | Meter Operator Id |
| J0675 | Meter Operator Type |
| J0210 | Effective from Date {MOA} |
| J1839 | SMETS Version |
| J1837 | Smart Metering System Operator Id |
| J1838 | Effective from Date {SMSO} |
| J1835 | In Home Display (IHD) Install Status |
| J1836 | Effective from Date {IHDI} |
| J1833 | DCC Service Flag |
| J1834 | Effective from Date {DCCF} |
| J2245 | Related MPAN Indicator |
| J2243 | Primary MPAN |
| J2244 | Secondary MPAN |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 753 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 480 | Metering Point Change Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0723 | Instruction Type | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0821 | Deemed Received Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0297 | Effective from Settlement Date {MSES} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0307 | Effective from Settlement Date {MSMC} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0301 | Meter Timeswitch Code Effective from Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0308 | Effective from Settlement Date {MSPC} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0300 | Effective from Settlement Date {SCON} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0334 | Effective from Settlement Date {DAA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0218 | Data Collector Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0219 | Effective from Date {DCA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0178 | Meter Operator Id | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0675 | Meter Operator Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0210 | Effective from Date {MOA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1839 | SMETS Version | CHAR(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1837 | Smart Metering System Operator Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1838 | Effective from Date {SMSO} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1835 | In Home Display (IHD) Install Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1836 | Effective from Date {IHDI} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1833 | DCC Service Flag | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1834 | Effective from Date {DCCF} | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2245 | Related MPAN Indicator | CHAR(1) |
| 57M | Related MPANs | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2243 | Primary MPAN | INT(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2244 | Secondary MPAN | INT(13) |

| Notes: | Each optional data item becomes mandatory if there has been a change to that individual item. |
| --- | --- |

| Flow Reference: | D0214 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Confirmation of Proving Tests |
| --- | --- |
| Flow Description: | Confirmation is being provided that proving tests have been successfully carried out on half hourly metering systems. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMEM | ADSA | 15.4 |
| AMEM | Distributor | 15.4 |
| AMEM | Supplier | 15.4 |
| MOP | Distributor | 15.4 |
| MOP | HHDC | 15.4 |
| MOP | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0014 | Date of Action |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 489 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0014 | Date of Action | DATE(0) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0215 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Provision of Site Technical Details |
| --- | --- |
| Flow Description: | Provision of Site Technical Details required by MOP to install metering. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | AMEM | 15.4 |
| Distributor | MOP | 15.4 |
| Distributor | SMEM | 15.4 |
| Distributor | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0443 | Supply Voltage |
| J0456 | Supply Capacity |
| J0427 | Number of Phases |
| J0454 | CT Ratio |
| J0505 | CT Class |
| J0506 | CT Rating |
| J0455 | VT Ratio |
| J0677 | VT Class |
| J0678 | VT Rating |
| J1025 | Meter Equipment/Service Location |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 490 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0443 | Supply Voltage | NUM(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0456 | Supply Capacity | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0427 | Number of Phases | NUM(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0454 | CT Ratio | CHAR(6) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0505 | CT Class | CHAR(4) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0506 | CT Rating | NUM(6) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0455 | VT Ratio | CHAR(10) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0677 | VT Class | CHAR(4) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0678 | VT Rating | NUM(3) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1025 | Meter Equipment/Service Location | CHAR(30) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0217 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Confirmation of the Registration of a Metering Point |
| --- | --- |
| Flow Description: | Used to notify a New Supplier that their registration has been accepted and includes verification of the registration data |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MPAS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0723 | Instruction Type |
| J0003 | MPAN Core |
| J0821 | Deemed Received Date |
| J0049 | Effective from Settlement Date {REGI} |
| J0031 | Registration Transaction Number |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J1840 | Metering Point Unique Property Reference Number (UPRN) |
| J0147 | Line Loss Factor Class Id |
| J0066 | GSP Group Id |
| J0080 | Energisation Status |
| J0082 | Measurement Class Id |
| J0220 | Meter Timeswitch Code |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0183 | Data Aggregator Id |
| J0163 | Data Aggregation Type |
| J0205 | Data Collector Id |
| J0218 | Data Collector Type |
| J0178 | Meter Operator Id |
| J0675 | Meter Operator Type |
| J1839 | SMETS Version |
| J1837 | Smart Metering System Operator Id |
| J1838 | Effective from Date {SMSO} |
| J1835 | In Home Display (IHD) Install Status |
| J1836 | Effective from Date {IHDI} |
| J1833 | DCC Service Flag |
| J1834 | Effective from Date {DCCF} |
| J2245 | Related MPAN Indicator |
| J2243 | Primary MPAN |
| J2244 | Secondary MPAN |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 754 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 492 | Registration Confirmation Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0723 | Instruction Type | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0821 | Deemed Received Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  | N |  |  |  |  |  | J0031 | Registration Transaction Number | NUM(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  |  | N |  |  |  |  |  | J1840 | Metering Point Unique Property Reference Number (UPRN) | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0218 | Data Collector Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0178 | Meter Operator Id | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0675 | Meter Operator Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1839 | SMETS Version | CHAR(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1837 | Smart Metering System Operator Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1838 | Effective from Date {SMSO} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1835 | In Home Display (IHD) Install Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1836 | Effective from Date {IHDI} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1833 | DCC Service Flag | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1834 | Effective from Date {DCCF} | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2245 | Related MPAN Indicator | CHAR(1) |
| 58M | Related MPANs | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2243 | Primary MPAN | INT(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2244 | Secondary MPAN | INT(13) |

| Notes: | Optional Data Items in this flow are populated by the responsible parties as defined in Schedule 2 of the MRA, as follows, where available:1  Data for which a Distribution Business is responsible will be provided. See note below with respect to provision of Metering Point Address and Metering Point Postcode.2  Data for which a Supply Business is responsible that was provided to MPAS on D0055 (Registration of Supplier to Specified Metering Point) flow will be provided in this flow.3  Data for which a Supply Business is responsible that was not provided on D0055 to MPAS but is currently stored in MPAS for the previous Supply Business registration will be provided in this flow.This flow includes Unmetered Supply Requirements. Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The Metering Point Address Lines 1-9 and Metering Point Postcode will be in Standard Address Format (SAF). Metering Point Postcode should only be omitted if the Post Office have not allocated one. |
| --- | --- |

| Flow Reference: | D0221 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Failure to Install or Energise Metering System |
| --- | --- |
| Flow Description: | Notification that a meter could not be installed or a system energised due to faults or access problems. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMEM | AMVLP | 15.4 |
| AMEM | Supplier | 15.4 |
| MOP | AMVLP | 15.4 |
| MOP | Supplier | 15.4 |
| SMEM | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0174 | Appointment Date |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 504 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items.Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0222 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Change in Customer Details |
| --- | --- |
| Flow Description: | Notification of a change in customer details only. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMEM | Supplier | 15.4 |
| MOP | Supplier | 15.4 |
| MRS | NHHDC | 15.4 |
| MRS | SDSA | 15.4 |
| NHHDC | Supplier | 15.4 |
| SDSA | Supplier | 15.4 |
| SMEM | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0489 | Contact Name |
| J1011 | Maximum Power Requirement |
| J1046 | Mailing Address Line 1 |
| J1047 | Mailing Address Line 2 |
| J1048 | Mailing Address Line 3 |
| J1049 | Mailing Address Line 4 |
| J1050 | Mailing Address Line 5 |
| J1051 | Mailing Address Line 6 |
| J1052 | Mailing Address Line 7 |
| J1053 | Mailing Address Line 8 |
| J1054 | Mailing Address Line 9 |
| J0375 | Customer Name |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 505 | Customer Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0489 | Contact Name | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1011 | Maximum Power Requirement | NUM(6) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1046 | Mailing Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1047 | Mailing Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1048 | Mailing Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1049 | Mailing Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1050 | Mailing Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1051 | Mailing Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1052 | Mailing Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1053 | Mailing Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1054 | Mailing Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |

| Notes: | An update to an individual line within an address will require the entire address to be sent. |
| --- | --- |

| Flow Reference: | D0223 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request to Install Check Meter or Carry Out Accuracy Tests |
| --- | --- |
| Flow Description: | A request for installation of a check meter and to carry out site tests to determine existing meter accuracy. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | AMEM | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0174 | Appointment Date |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J0012 | Additional Information |
| J0004 | Meter Id |
| J0007 | Requested Action Code |
| J0419 | Meter Location |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 506 | Request for Check Meter or Test | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 507 | Meter Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0007 | Requested Action Code | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |

| Notes: | Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items. |
| --- | --- |

| Flow Reference: | D0224 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Programme for Re-Certification Meter Changes |
| --- | --- |
| Flow Description: | The Meter Operator notifies the Supplier of those metering points where he will be changing meters which have reached the end of their certification life. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMEM | Supplier | 15.4 |
| MOP | Supplier | 15.4 |
| SMEM | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0718 | Programme Start Date |
| J0720 | Programme End Date |
| J0003 | MPAN Core |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 508 | Programme Period | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0718 | Programme Start Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0720 | Programme End Date | DATE(0) |
| 509 | MPAN Cores | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0225 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Priority Services Details |
| --- | --- |
| Flow Description: | Exchange of details between relevant trading participants identifying the contact details and reasons for customers or other members of the household requiring priority services. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | Supplier | 15.4 |
| Supplier | ADSA | 15.4 |
| Supplier | AMEM | 15.4 |
| Supplier | Distributor | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | NHHDC | 15.4 |
| Supplier | SDSA | 15.4 |
| Supplier | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1884 | Primary Priority Service Contact Name |
| J1720 | Primary Priority Service Phone Number 1 |
| J1885 | Primary Priority Service Phone Number 2 |
| J1719 | Alternate Priority Service Contact Name |
| J1886 | Alternate Priority Service Phone Number 1 |
| J1887 | Alternate Priority Service Phone Number 2 |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J1874 | Priority Service Contact Address Line 1 |
| J1875 | Priority Service Contact Address Line 2 |
| J1876 | Priority Service Contact Address Line 3 |
| J1877 | Priority Service Contact Address Line 4 |
| J1878 | Priority Service Contact Address Line 5 |
| J1879 | Priority Service Contact Address Line 6 |
| J1880 | Priority Service Contact Address Line 7 |
| J1881 | Priority Service Contact Address Line 8 |
| J1882 | Priority Service Contact Address Line 9 |
| J1883 | Priority Service Contact Postcode |
| J2208 | Lawful basis for sharing |
| J2210 | Delete All PSR Codes |
| J1699 | Priority Services Category |
| J2209 | PSR code expiry date |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 510 | Priority Services contact details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1884 | Primary Priority Service Contact Name | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1720 | Primary Priority Service Phone Number 1 | CHAR(20) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1885 | Primary Priority Service Phone Number 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1719 | Alternate Priority Service Contact Name | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1886 | Alternate Priority Service Phone Number 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1887 | Alternate Priority Service Phone Number 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1874 | Priority Service Contact Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1875 | Priority Service Contact Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1876 | Priority Service Contact Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1877 | Priority Service Contact Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1878 | Priority Service Contact Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1879 | Priority Service Contact Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1880 | Priority Service Contact Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1881 | Priority Service Contact Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1882 | Priority Service Contact Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1883 | Priority Service Contact Postcode | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2208 | Lawful basis for sharing | BOOLEAN(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2210 | Delete All PSR Codes | BOOLEAN(1) |
| 99C | Update Priority Services Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1699 | Priority Services Category | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2209 | PSR code expiry date | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | For guidance on PSR codes please refer to the Energy Networks Association website. |
| --- | --- |

| Flow Reference: | D0227 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | BSCCo Market Domain Data File |
| --- | --- |
| Flow Description: | The set of data which defines the environment of the 1998 Trading Arrangements. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MDDA | NHHDA | 15.4 |
| MDDA | NHHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0075 | Standard Settlement Configuration Desc |
| J0078 | Time Pattern Regime |
| J0071 | Profile Class Id |
| J1096 | Effective from Settlement Date |
| J1097 | Effective to Settlement Date |
| J0066 | GSP Group Id |
| J1096 | Effective from Settlement Date |
| J1097 | Effective to Settlement Date |
| J0133 | Average Fraction of Yearly Consumption |
| J0078 | Time Pattern Regime |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | N |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| SCI | Standard Settlement Configuration Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0075 | Standard Settlement Configuration Desc | CHAR(50) |
| TPR | Measurement Requirement | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
| VSD | Valid Settlement Configuration Profile Class Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1097 | Effective to Settlement Date | DATE(0) |
| ASD | Average Fraction of Yearly Consumption Set Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1097 | Effective to Settlement Date | DATE(0) |
| AFD | Average Fraction of Yearly Consumption Details | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0133 | Average Fraction of Yearly Consumption | NUM(7) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0078 | Time Pattern Regime | (0) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0235 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Half Hourly Aggregation Exception Report |
| --- | --- |
| Flow Description: | Details of exceptions raised by the HHDA on incomplete/inconsistent data received from HHDCs against that received from MPAS. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| HHDA | HHDC | 15.4 |
| HHDA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1087 | Run Number |
| J0003 | MPAN Core |
| J0205 | Data Collector Id |
| J0003 | MPAN Core |
| J0205 | Data Collector Id |
| J0084 | Supplier Id |
| J1250 | Data Collector Id (incorrect) |
| J0003 | MPAN Core |
| J0205 | Data Collector Id |
| J0084 | Supplier Id |
| J0003 | MPAN Core |
| J0205 | Data Collector Id |
| J0084 | Supplier Id |
| J0003 | MPAN Core |
| J0205 | Data Collector Id |
| J0084 | Supplier Id |
| J1251 | Supplier Id (incorrect) |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 605 | Flow Structure Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
| 996 | Consumption data received but not expected | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0205 | Data Collector Id | (0) |
| 997 | Expected consumption data received but from incorrect source | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1250 | Data Collector Id (incorrect) | (0) |
| 998 | Consumption data expected but not received | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 999 | Consumption data received for de-energised meter | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 00A | Consumption data received for incorrect Supplier | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1251 | Supplier Id (incorrect) | (0) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0236 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Revenue Protection Service Statistical Report |
| --- | --- |
| Flow Description: | A report from the Revenue Protection Service in accordance with the Revenue Protection Code of Practice and giving a twelve month rolling figure of investigations and performances. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| RPS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1018 | Report Month |
| J0868 | Number of Supply Points in RPS Area |
| J0824 | Priority A Reports Received |
| J0825 | Priority B Reports Received |
| J0826 | Priority C Reports Received |
| J0827 | Successful Calls Meeting Priority A |
| J0828 | Successful Calls Meeting Priority B |
| J0829 | Successful Calls Meeting Priority C |
| J0867 | Successful Calls Failing to Meet Priority A |
| J0838 | Successful Calls Failing to Meet Priority B |
| J0866 | Successful Calls Failing to Meet Priority C |
| J0830 | Warrant of Entry Numbers |
| J0831 | Interference Suspected Numbers |
| J0832 | Interference Confirmed Numbers |
| J0833 | Billed kWh |
| J0872 | Irregularities Found |
| J0864 | Jobs Not Actioned Due to Incorrect Data |
| J0836 | Jobs Where No Problems Found |
| J0870 | Disconnected (De-energised) Over 24 Hours |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 625 | Report Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1018 | Report Month | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0868 | Number of Supply Points in RPS Area | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0824 | Priority A Reports Received | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0825 | Priority B Reports Received | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0826 | Priority C Reports Received | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0827 | Successful Calls Meeting Priority A | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0828 | Successful Calls Meeting Priority B | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0829 | Successful Calls Meeting Priority C | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0867 | Successful Calls Failing to Meet Priority A | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0838 | Successful Calls Failing to Meet Priority B | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0866 | Successful Calls Failing to Meet Priority C | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0830 | Warrant of Entry Numbers | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0831 | Interference Suspected Numbers | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0832 | Interference Confirmed Numbers | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0833 | Billed kWh | NUM(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0872 | Irregularities Found | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0864 | Jobs Not Actioned Due to Incorrect Data | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0836 | Jobs Where No Problems Found | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0870 | Disconnected (De-energised) Over 24 Hours | NUM(4) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0237 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification by Revenue Protection Service of Possible Irregularity |
| --- | --- |
| Flow Description: | A report from the Revenue Protection Service of possible irregularity from a party other than the Supplier and therefore requires background data in order to carry out a full investigation. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| RPS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0375 | Customer Name |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0451 | Tampering Code |
| J0841 | Tampering Report Source |
| J0822 | Tampering Report Date |
| J0012 | Additional Information |
| J0842 | Revenue Protection Priority Level |
| J0869 | Revenue Protection Service Contact Telephone Number |
| J0871 | Revenue Protection Service Contact Name |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 626 | Report Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | O |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0451 | Tampering Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0841 | Tampering Report Source | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0822 | Tampering Report Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0842 | Revenue Protection Priority Level | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0869 | Revenue Protection Service Contact Telephone Number | CHAR(14) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0871 | Revenue Protection Service Contact Name | CHAR(50) |

| Notes: | The 'Revenue Protection Priority Level' shown in this flow is that priority level which the RPS is suggesting should be applied to the investigation. Completion of this field is not mandatory.Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items. |
| --- | --- |

| Flow Reference: | D0238 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request and Information for Revenue Protection Investigation |
| --- | --- |
| Flow Description: | A request/confirmation that an investigation into a suspected metering tampering case should be carried out by the Revenue Protection Service and provision of background information to assist the investigation. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | RPS | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0178 | Meter Operator Id |
| J0375 | Customer Name |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0693 | Customer Password |
| J0851 | Supplier Contact Name |
| J0852 | Supplier Contact Telephone Number |
| J0842 | Revenue Protection Priority Level |
| J0174 | Appointment Date |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J0451 | Tampering Code |
| J0841 | Tampering Report Source |
| J0822 | Tampering Report Date |
| J0012 | Additional Information |
| J0845 | Associated MPAN |
| J0004 | Meter Id |
| J0410 | Manufacturers Make & Type |
| J0483 | Meter Type |
| J0419 | Meter Location |
| J0716 | Timing Device Id (Serial Number) |
| J0848 | Date of Meter Installation |
| J0862 | Last Reading/Inspected Date |
| J0846 | Date Customer Took Responsibility for Supply |
| J0080 | Energisation Status |
| J0850 | Disconnected for Non-Payment Status |
| J0010 | Meter Register Id |
| J0016 | Reading Date & Time |
| J0040 | Register Reading |
| J0171 | Reading Type |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 627 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0178 | Meter Operator Id | CHAR(4) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0693 | Customer Password | CHAR(10) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0851 | Supplier Contact Name | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0852 | Supplier Contact Telephone Number | CHAR(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0842 | Revenue Protection Priority Level | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0451 | Tampering Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0841 | Tampering Report Source | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0822 | Tampering Report Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 628 | Associated MPANs | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0845 | Associated MPAN | NUM(13) |
| 629 | Meter Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0410 | Manufacturers Make & Type | CHAR(60) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0483 | Meter Type | CHAR(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0716 | Timing Device Id (Serial Number) | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0848 | Date of Meter Installation | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0862 | Last Reading/Inspected Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0846 | Date Customer Took Responsibility for Supply | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0850 | Disconnected for Non-Payment Status | BOOLEAN(0) |
| 630 | Meter Register Details per Meter | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
| 631 | Reading Dates Covering Two Years | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0040 | Register Reading | NUM(9) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0171 | Reading Type | CHAR(1) |

| Notes: | Where a meter change or agent change has occurred during the historical readings period this should be highlighted within the readings through 'type' and 'date and time'.Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items. |
| --- | --- |

| Flow Reference: | D0239 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Revenue Protection Report on Action Taken |
| --- | --- |
| Flow Description: | A report by the Revenue Protection Service on the outcome of an investigation. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| RPS | AMEM | 15.4 |
| RPS | MOP | 15.4 |
| RPS | SMEM | 15.4 |
| RPS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0375 | Customer Name |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0842 | Revenue Protection Priority Level |
| J0004 | Meter Id |
| J0080 | Energisation Status |
| J0932 | Meter Action Code |
| J0860 | Irregularity Confirmed Indicator |
| J0453 | Revenue Recovery Indicator |
| J0010 | Meter Register Id |
| J0016 | Reading Date & Time |
| J0040 | Register Reading |
| J0004 | Meter Id |
| J0080 | Energisation Status |
| J0859 | Meter Operator Informed Indicator |
| J0012 | Additional Information |
| J0010 | Meter Register Id |
| J0016 | Reading Date & Time |
| J0040 | Register Reading |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 632 | Investigation Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0842 | Revenue Protection Priority Level | CHAR(1) |
| 633 | Original Meter Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0932 | Meter Action Code | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0860 | Irregularity Confirmed Indicator | BOOLEAN(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0453 | Revenue Recovery Indicator | BOOLEAN(0) |
| 634 | Meter Register Detail per Meter | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |
| 635 | Changed Meter Details | 0-1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0859 | Meter Operator Informed Indicator | BOOLEAN(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 636 | Meter Register Detail per Meter | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0040 | Register Reading | NUM(9) |

| Notes: | For those investigations where revenue recovery has been pursued, a detailed report will be submitted to the Supplier.Though all of the address data items included in this flow are defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items.Where the Meter Operator is informed via this flow the Meter Operator Informed Indicator should always be set to T (Meter Operator Informed) |
| --- | --- |

| Flow Reference: | D0242 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Supercustomer DUoS Daily Statement |
| --- | --- |
| Flow Description: | Supercustomer DUoS charges calculated from settlements data produced at a summary level for Suppliers to validate their Supercustomer DUoS bills. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0908 | Statement Number |
| J0066 | GSP Group Id |
| J0189 | Distributor Id |
| J0084 | Supplier Id |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0196 | SSR Run Number |
| J0785 | Statement Total MSID Count |
| J0904 | Statement Total MSID Charge |
| J0786 | Statement Total Unit Volume |
| J0909 | Statement Total Unit Charge |
| J0910 | Statement Supercustomer DUoS Charge Amount |
| J0147 | Line Loss Factor Class Id |
| J0071 | Profile Class Id |
| J0078 | Time Pattern Regime |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0791 | Settlement Class MSID Count |
| J0906 | MSID Charge Indicator |
| J0792 | Settlement Class MSID Charge |
| J0794 | Settlement Class Unit Count |
| J0793 | Settlement Class Unit Charge |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 665 | Flow Structure Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0908 | Statement Number | NUM(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0785 | Statement Total MSID Count | NUM(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0904 | Statement Total MSID Charge | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0786 | Statement Total Unit Volume | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0909 | Statement Total Unit Charge | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0910 | Statement Supercustomer DUoS Charge Amount | NUM(14) |
| 666 | Charges by Settlement Class | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0791 | Settlement Class MSID Count | NUM(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0906 | MSID Charge Indicator | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0792 | Settlement Class MSID Charge | NUM(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0794 | Settlement Class Unit Count | NUM(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0793 | Settlement Class Unit Charge | NUM(12) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0260 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Notification from MPAS of Old Supplier Registration Details |
| --- | --- |
| Flow Description: | Advise New Supplier of Old Supplier's Registration Details. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MPAS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0723 | Instruction Type |
| J0003 | MPAN Core |
| J0049 | Effective from Settlement Date {REGI} |
| J0923 | Old Supplier Id |
| J0080 | Energisation Status |
| J0082 | Measurement Class Id |
| J0220 | Meter Timeswitch Code |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0183 | Data Aggregator Id |
| J0163 | Data Aggregation Type |
| J0205 | Data Collector Id |
| J0218 | Data Collector Type |
| J0178 | Meter Operator Id |
| J0675 | Meter Operator Type |
| J1839 | SMETS Version |
| J1837 | Smart Metering System Operator Id |
| J1838 | Effective from Date {SMSO} |
| J1835 | In Home Display (IHD) Install Status |
| J1836 | Effective from Date {IHDI} |
| J2245 | Related MPAN Indicator |
| J2243 | Primary MPAN |
| J2244 | Secondary MPAN |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 757 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 758 | Registration Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0723 | Instruction Type | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0923 | Old Supplier Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0205 | Data Collector Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0218 | Data Collector Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0178 | Meter Operator Id | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0675 | Meter Operator Type | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1839 | SMETS Version | CHAR(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1837 | Smart Metering System Operator Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1838 | Effective from Date {SMSO} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1835 | In Home Display (IHD) Install Status | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1836 | Effective from Date {IHDI} | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2245 | Related MPAN Indicator | CHAR(1) |
| 60M | Related MPANs | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2243 | Primary MPAN | INT(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2244 | Secondary MPAN | INT(13) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0261 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Rejection of Agent Appointment |
| --- | --- |
| Flow Description: | Rejection of appointment and terms of renewal of contractual terms. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| HHDA | Supplier | 15.4 |
| HHDC | AMVLP | 15.4 |
| HHDC | Supplier | 15.4 |
| MA | Supplier | 15.4 |
| MOP | AMVLP | 15.4 |
| MOP | Supplier | 15.4 |
| NHHDA | Supplier | 15.4 |
| NHHDC | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0048 | Contract Reference |
| J0049 | Effective from Settlement Date {REGI} |
| J1016 | Rejection of Agent Appointment Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 761 | Rejection of Contract Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0048 | Contract Reference | CHAR(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1016 | Rejection of Agent Appointment Code | CHAR(1) |

| Notes: | Agents are not required to check all conditions implied by the Rejection of Agent Appointment Codes. The codes merely allow appointment rejection where the Agent(s) has made the check(s) and wishes to reject the appointment. Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0262 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Rejection of Disconnection |
| --- | --- |
| Flow Description: | Where the Distributor has been requested to disconnect and then discovers that circumstances have changed and the work is no longer required, he will inform the participants of the rejection of the request. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0375 | Customer Name |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J1722 | Failure to Disconnect Reason Code |
| J0012 | Additional Information |
| J0004 | Meter Id |
| J0010 | Meter Register Id |
| J0040 | Register Reading |
| J0171 | Reading Type |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 767 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1722 | Failure to Disconnect Reason Code | NUM(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 768 | Meter Details per MPAN Core | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
| 769 | Register Details per Meter | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0040 | Register Reading | NUM(9) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0171 | Reading Type | CHAR(1) |

| Notes: | The usage of address in this flow is optional, however if an address is to be sent, all known lines must be sent. |
| --- | --- |

| Flow Reference: | D0265 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Line Loss Factor Data File |
| --- | --- |
| Flow Description: | Details of line loss factors published by line loss factor class |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| Distributor | HHDA | 15.4 |
| Distributor | Supplier | 15.4 |
| Distributor | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0073 | Settlement Date |
| J0074 | Settlement Period Id |
| J0156 | Line Loss Factor |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DIS | Distributor | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
| LLF | Line Loss Factor Class | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
| SDT | Settlement Date | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
| SPL | Settlement Period Line Loss Factor | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0156 | Line Loss Factor | NUM(5) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0266 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Supplier Settlement Header Report |
| --- | --- |
| Flow Description: | A report summarising the various production run details which were included within a settlement run. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0244 | BSC Trading Party Id |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0196 | SSR Run Number |
| J0195 | SSR Run Date |
| J1210 | SSR Run Type |
| J0882 | Settlement Code Description |
| J1207 | SSR Run Status |
| J1180 | Settlement Run Status Description |
| J0066 | GSP Group Id |
| J1181 | System Market Participant Id |
| J0772 | Profile Production Run Number |
| J0873 | Profile Production Run Date |
| J0874 | Profile Production Run Time |
| J0066 | GSP Group Id |
| J0183 | Data Aggregator Id |
| J0271 | Data Aggregator Name |
| J0217 | Data Aggregator Type |
| J1203 | Data Aggregator Run Number |
| J1204 | Data Aggregator Run Settlement Date |
| J0066 | GSP Group Id |
| J0649 | SAA Settlement Run Number |
| J0652 | SAA Settlement Date |
| J0650 | SAA Settlement Run Type Id |
| J1023 | CDCS Extract Number |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| RDT |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
| SSR |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1210 | SSR Run Type | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1207 | SSR Run Status | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1180 | Settlement Run Status Description | (0) |
| GP1 |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| IDD |  | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1181 | System Market Participant Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0772 | Profile Production Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0873 | Profile Production Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0874 | Profile Production Run Time | TIME(0) |
| GP2 |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| DA |  | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0271 | Data Aggregator Name | CHAR(40) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0217 | Data Aggregator Type | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1203 | Data Aggregator Run Number | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1204 | Data Aggregator Run Settlement Date | DATE(0) |
| GP3 |  | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| SSA |  | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0649 | SAA Settlement Run Number | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0652 | SAA Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0650 | SAA Settlement Run Type Id | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1023 | CDCS Extract Number | NUM(2) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0268 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Advanced Meter Technical Details |
| --- | --- |
| Flow Description: | Advanced Meter Technical Details are transferred when there is a change in equipment, configuration or upon change of Agent |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMEM | ADSA | 15.4 |
| AMEM | AMEM | 15.4 |
| AMEM | AMVLP | 15.4 |
| AMEM | Distributor | 15.4 |
| AMEM | MOP | 15.4 |
| AMEM | Supplier | 15.4 |
| AMVLP | MOP | 15.4 |
| MOP | AMEM | 15.4 |
| MOP | AMVLP | 15.4 |
| MOP | Distributor | 15.4 |
| MOP | HHDC | 15.4 |
| MOP | MOP | 15.4 |
| MOP | Supplier | 15.4 |
| Supplier | MOP | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1254 | Effective from Settlement Date {MSMTD} |
| J0418 | Meter COP |
| J1686 | Meter COP Issue Number |
| J1687 | Complex Site Indicator |
| J1025 | Meter Equipment/Service Location |
| J1255 | System Voltage |
| J0427 | Number of Phases |
| J1689 | Event Indicator |
| J0012 | Additional Information |
| J0428 | Outstation Id |
| J0471 | Outstation Type |
| J1691 | Modem Type |
| J0469 | Outstation Number of Channels |
| J1256 | Outstation Number of Dials |
| J0464 | Outstation PIN |
| J1714 | Outstation Username Level 1 |
| J0470 | Outstation Password Level 1 |
| J1715 | Outstation Username Level 2 |
| J1257 | Outstation Password Level 2 |
| J1716 | Outstation Username Level 3 |
| J1713 | Outstation Password Level 3 |
| J1258 | Reader Password |
| J0386 | Communications Method |
| J2264 | Communications Method B |
| J1690 | Dial In/ Dial Out Indicator |
| J0385 | Communications Address |
| J2263 | Communications Address B |
| J1260 | Baud Rate |
| J1709 | Communications Provider |
| J2265 | SIM Serial Number |
| J1261 | Sequence MPAN Core |
| J1262 | Sequence Outstation Id |
| J0004 | Meter Id |
| J0410 | Manufacturers Make & Type |
| J0848 | Date of Meter Installation |
| J0501 | Meter Current Rating |
| J0455 | VT Ratio |
| J0454 | CT Ratio |
| J2266 | Phase/wire |
| J1684 | Feeder Status |
| J1685 | Feeder Status Effective From Date |
| J1677 | Meter Asset Provider Id |
| J0010 | Meter Register Id |
| J0428 | Outstation Id |
| J0382 | Channel Number |
| J0432 | Pulse Multiplier |
| J0475 | Meter Register Multiplier |
| J1688 | Outstation Multiplier |
| J0103 | Measurement Quantity Id |
| J0478 | Number of Register Digits |
| J0476 | Associated Meter Id |
| J0477 | Associated Meter Register Id |
| J0004 | Meter Id |
| J1269 | Date of Meter Removal |
| J1677 | Meter Asset Provider Id |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01A | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1254 | Effective from Settlement Date {MSMTD} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0418 | Meter COP | CHAR(3) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1686 | Meter COP Issue Number | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1687 | Complex Site Indicator | BOOLEAN(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1025 | Meter Equipment/Service Location | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1255 | System Voltage | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0427 | Number of Phases | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1689 | Event Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 02A | Outstation Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0428 | Outstation Id | CHAR(20) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0471 | Outstation Type | CHAR(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1691 | Modem Type | CHAR(200) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0469 | Outstation Number of Channels | NUM(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1256 | Outstation Number of Dials | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0464 | Outstation PIN | CHAR(12) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1714 | Outstation Username Level 1 | CHAR(12) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0470 | Outstation Password Level 1 | CHAR(12) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1715 | Outstation Username Level 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1257 | Outstation Password Level 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1716 | Outstation Username Level 3 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1713 | Outstation Password Level 3 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1258 | Reader Password | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0386 | Communications Method | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2264 | Communications Method B | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1690 | Dial In/ Dial Out Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0385 | Communications Address | CHAR(65) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2263 | Communications Address B | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1260 | Baud Rate | NUM(5) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1709 | Communications Provider | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2265 | SIM Serial Number | CHAR(25) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1261 | Sequence MPAN Core | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1262 | Sequence Outstation Id | (0) |
| 03A | Meter Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0410 | Manufacturers Make & Type | CHAR(60) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0848 | Date of Meter Installation | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0501 | Meter Current Rating | NUM(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0455 | VT Ratio | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0454 | CT Ratio | CHAR(6) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2266 | Phase/wire | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1684 | Feeder Status | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1685 | Feeder Status Effective From Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1677 | Meter Asset Provider Id | (0) |
| 04A | Meter Register Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0428 | Outstation Id | CHAR(20) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0382 | Channel Number | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0432 | Pulse Multiplier | NUM(9) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0475 | Meter Register Multiplier | NUM(9) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1688 | Outstation Multiplier | NUM(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0478 | Number of Register Digits | NUM(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0476 | Associated Meter Id | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0477 | Associated Meter Register Id | (0) |
| 81C | Meters Removed | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1269 | Date of Meter Removal | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1677 | Meter Asset Provider Id | (0) |

| Notes: | D0268 flow will contain as a minimum six measurement quantity Ids of AI, RI and RE plus three mapped as UN, where RI and RE only increment when the site is actively Importing and the UN channels correspond to the Export measurement quantities. Conversely the D0268 for the Active Export MPAN will also have six measurement quantities of AE, RI and RE plus three mapped as UN, where RI and RE increment only when the site is actively exporting and the UN channels correspond to the Import measurement quantities |
| --- | --- |

| Flow Reference: | D0269 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Market Domain Data Complete Set |
| --- | --- |
| Flow Description: | The complete set of data which defines the environment of the 1998 Trading Arrangements. This comprises the parties, which trade, and the networks, configurations and parameters on which the trading is based. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MDDA | Distributor | 15.4 |
| MDDA | GRS Operator | 15.4 |
| MDDA | HHDA | 15.4 |
| MDDA | HHDC | 15.4 |
| MDDA | MOP | 15.4 |
| MDDA | MPAS Agent | 15.4 |
| MDDA | NHHDA | 15.4 |
| MDDA | NHHDC | 15.4 |
| MDDA | Supplier | 15.4 |
| SVAA | Distributor | 15.4 |
| SVAA | Grid Operator | 15.4 |
| SVAA | HHDA | 15.4 |
| SVAA | HHDC | 15.4 |
| SVAA | MOP | 15.4 |
| SVAA | MPAS Agent | 15.4 |
| SVAA | NHHDA | 15.4 |
| SVAA | NHHDC | 15.4 |
| SVAA | Supplier | 15.4 |
| SVAA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0754 | MDD Version Number |
| J0773 | MDD Publication Date |
| J1287 | Off Tolerance |
| J0774 | Effective from Settlement Date {OT} |
| J0760 | Threshold Parameter |
| J0765 | Effective from Settlement Date {TPAR} |
| J0758 | Smoothing Parameter |
| J0764 | Effective from Settlement Date {SPAR} |
| J0285 | Regression Coefficient Type |
| J1289 | Regression Coefficient Description |
| J0127 | Day Type Id |
| J1290 | Day Type Description |
| J0726 | Day of the Week Id |
| J1291 | Day of the Week Description |
| J0001 | Market Participant Role Code |
| J0753 | Market Role Description |
| J0082 | Measurement Class Id |
| J0311 | Measurement Class Description |
| J0299 | Effective from Settlement Date {MCLA} |
| J0741 | Effective to Settlement Date {MCLA} |
| J0725 | Change Date |
| J0745 | GMT Time |
| J0756 | Post Change Local Time |
| J0080 | Energisation Status |
| J1293 | Energisation Status Description |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0914 | Settlement Sequence Number |
| J0128 | Season Id |
| J0916 | Season Description |
| J1294 | Year |
| J0128 | Season Id |
| J0290 | Start Month |
| J0289 | Start Day |
| J0288 | End Month |
| J0287 | End Day |
| J0073 | Settlement Date |
| J0127 | Day Type Id |
| J0128 | Season Id |
| J0146 | Settlement Code |
| J0073 | Settlement Date |
| J0902 | Payment Date |
| J0747 | SVA Notification Deadline Date |
| J0918 | SAA Notification Deadline Date |
| J0073 | Settlement Date |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J0002 | Market Participant Id |
| J0750 | Market Participant Name |
| J0244 | BSC Trading Party Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J1298 | Effective to Date {MPR} |
| J1310 | Distributor Business Id |
| J0757 | Postcode |
| J1299 | Address Line |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0189 | Distributor Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0728 | Effective from Settlement Date {GGD} |
| J0735 | Effective to Settlement Date {GGD} |
| J0111 | MPAS Agent Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0730 | Effective From Date {PAA} |
| J0737 | Effective to Date {PAA} |
| J0240 | Supplier Volume Allocation Agent Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0729 | Effective From Date {IAA & SVAA} |
| J0736 | Effective to Date {IAA & SVAA} |
| J0189 | Distributor Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0147 | Line Loss Factor Class Id |
| J0776 | Line Loss Factor Class Description |
| J0775 | MS Specific LLF Class Indicator |
| J0733 | Effective from Settlement Date {LLFC} |
| J0740 | Effective to Settlement Date {LLFC} |
| J0071 | Profile Class Id |
| J0122 | Profile Class Description |
| J0123 | Switched Load Profile Class Ind |
| J0777 | Effective from Settlement Date {PCLA} |
| J0778 | Effective to Settlement Date {PCLA} |
| J0074 | Settlement Period Id |
| J0073 | Settlement Date |
| J1301 | Default Period Profile Class Coefficient |
| J0072 | Profile Id |
| J0124 | Profile Description |
| J0878 | Profile Settlement Periods |
| J0125 | Effective from Settlement Date {PROF} |
| J0400 | Effective to Settlement Date {PROF} |
| J0734 | Effective from Settlement Date {PSET} |
| J0766 | Effective to Settlement Date {PSET} |
| J0066 | GSP Group Id |
| J1303 | Group Average Consumption |
| J0127 | Day Type Id |
| J0128 | Season Id |
| J0074 | Settlement Period Id |
| J0433 | Regression Coefficient |
| J0285 | Regression Coefficient Type |
| J0744 | GMT Indicator |
| J1214 | Time Pattern Regime Id |
| J0134 | Tele-Switch/Clock Indicator |
| J0136 | Tele-Switch Group Id |
| J0137 | Tele-Switch Switch Id |
| J0135 | Tele-Switch User Id |
| J0726 | Day of the Week Id |
| J0287 | End Day |
| J0288 | End Month |
| J0143 | End Time |
| J0289 | Start Day |
| J0290 | Start Month |
| J0142 | Start Time |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0075 | Standard Settlement Configuration Desc |
| J0496 | Effective from Settlement Date {SSC} |
| J0401 | Effective to Settlement Date {SSC} |
| J1214 | Time Pattern Regime Id |
| J0071 | Profile Class Id |
| J0398 | Effective from Settlement Date {VSCPC} |
| J0447 | Effective to Settlement Date {VSCPC} |
| J0066 | GSP Group Id |
| J0768 | Researched Average EAC |
| J0763 | Effective from Settlement Date {GGPCAE} |
| J0132 | Switched Load Indicator |
| J1214 | Time Pattern Regime Id |
| J0066 | GSP Group Id |
| J0731 | Effective from Settlement Date {AFOYCS} |
| J0738 | Effective to Settlement Date {AFOYCS} |
| J0133 | Average Fraction of Yearly Consumption |
| J1214 | Time Pattern Regime Id |
| J0103 | Measurement Quantity Id |
| J0727 | Direction of Energy Flow |
| J1306 | Measurement Quantity Description |
| J0160 | Consumption Component Class Id |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0020 | Actual/Estimated Indicator |
| J0161 | AA/EAC Indicator |
| J0162 | Consumption Component Indicator |
| J0732 | Effective from Settlement Date {GGCSF} |
| J0165 | GSP Group Correction Scaling Factor |
| J0739 | Effective to Settlement Date {GGCSF} |
| J1616 | MTC Meter Type Id |
| J1617 | MTC Meter Type Description |
| J1599 | Effective From Settlement Date {MMT} |
| J1606 | Effective To Settlement Date {MMT} |
| J1618 | MTC Payment Type Id |
| J1619 | MTC Payment Type Description |
| J1600 | Effective From Settlement Date {MPT} |
| J1607 | Effective To Settlement Date {MPT} |
| J0220 | Meter Timeswitch Code |
| J1601 | Effective From Settlement Date {MTC} |
| J1614 | MTC Common Code Indicator |
| J1620 | MTC Related Metering System Indicator |
| J1608 | Effective To Settlement Date {MTC} |
| J1616 | MTC Meter Type Id |
| J1618 | MTC Payment Type Id |
| J1613 | Meter Timeswitch Code Description |
| J1615 | MTC Communication Indicator |
| J1622 | MTC Type Indicator |
| J1621 | MTC TPR Count |
| J0189 | Distributor Id |
| J1602 | Effective From Settlement Date {MTCPA} |
| J1609 | Effective To Settlement Date {MTCPA} |
| J1616 | MTC Meter Type Id |
| J1618 | MTC Payment Type Id |
| J1613 | Meter Timeswitch Code Description |
| J1615 | MTC Communication Indicator |
| J1622 | MTC Type Indicator |
| J1621 | MTC TPR Count |
| J0147 | Line Loss Factor Class Id |
| J1603 | Effective From Settlement Date {VMTCLC} |
| J1610 | Effective To Settlement Date {VMTCLC} |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J1605 | Effective From Settlement Date {VMTCSC} |
| J1612 | Effective To Settlement Date {VMTCSC} |
| J0147 | Line Loss Factor Class Id |
| J1604 | Effective From Settlement Date {VMTCLSC} |
| J1611 | Effective To Settlement Date {VMTCLSC} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MDD | Market Domain Data Version | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0754 | MDD Version Number | NUM(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0773 | MDD Publication Date | DATE(0) |
| OFT | Off Tolerance Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1287 | Off Tolerance | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0774 | Effective from Settlement Date {OT} | DATE(0) |
| THP | Threshold Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0760 | Threshold Parameter | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0765 | Effective from Settlement Date {TPAR} | DATE(0) |
| SMP | Smoothing Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0758 | Smoothing Parameter | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0764 | Effective from Settlement Date {SPAR} | DATE(0) |
| RCT | Regression Coefficient Types | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0285 | Regression Coefficient Type | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1289 | Regression Coefficient Description | CHAR(30) |
| DYT | Day Types | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1290 | Day Type Description | CHAR(30) |
| DOW | Day of the Week | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0726 | Day of the Week Id | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1291 | Day of the Week Description | CHAR(30) |
| MRO | Market Roles | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0753 | Market Role Description | CHAR(40) |
| MCD | Measurement Class Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0311 | Measurement Class Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0299 | Effective from Settlement Date {MCLA} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0741 | Effective to Settlement Date {MCLA} | DATE(0) |
| CTC | Clock Time Changes | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0725 | Change Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0745 | GMT Time | TIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0756 | Post Change Local Time | TIME(0) |
| EGS | Energisation Status | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1293 | Energisation Status Description | CHAR(30) |
| STD | Settlement Type Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0914 | Settlement Sequence Number | NUM(2) |
| SED | Season Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0128 | Season Id | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0916 | Season Description | CHAR(50) |
| YEA | Year | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1294 | Year | NUM(4) |
| YSD | Yearly Season Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0128 | Season Id | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0290 | Start Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0289 | Start Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0288 | End Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0287 | End Day | NUM(2) |
| SDT | Settlement Day | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0128 | Season Id | NUM(1) |
| PST | BSC Settlement Timetable Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0902 | Payment Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0747 | SVA Notification Deadline Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0918 | SAA Notification Deadline Date | DATE(0) |
| SET | Settlement Period | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
| MAP | Market Participants | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0002 | Market Participant Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0750 | Market Participant Name | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| MPR | Market Participant Roles | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1298 | Effective to Date {MPR} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1310 | Distributor Business Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0757 | Postcode | CHAR(10) |
| ADL | Address Line | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1299 | Address Line | CHAR(40) |
| GSG | GSP Groups | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| GGD | GSP Group Distributors | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0728 | Effective from Settlement Date {GGD} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0735 | Effective to Settlement Date {GGD} | DATE(0) |
| PAA | MPAS Agent Appointment | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0111 | MPAS Agent Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0730 | Effective From Date {PAA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0737 | Effective to Date {PAA} | DATE(0) |
| IAA | ISR Agent Appointment | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0240 | Supplier Volume Allocation Agent Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0729 | Effective From Date {IAA & SVAA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0736 | Effective to Date {IAA & SVAA} | DATE(0) |
| LLF | Line Loss Factor Classes | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0776 | Line Loss Factor Class Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0775 | MS Specific LLF Class Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0733 | Effective from Settlement Date {LLFC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0740 | Effective to Settlement Date {LLFC} | DATE(0) |
| PFC | Profile Class Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0122 | Profile Class Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0123 | Switched Load Profile Class Ind | BOOLEAN(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0777 | Effective from Settlement Date {PCLA} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0778 | Effective to Settlement Date {PCLA} | DATE(0) |
| DPP | Default Period Profile Class Coefficient | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1301 | Default Period Profile Class Coefficient | NUM(13) |
| PRO | Profile Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0072 | Profile Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0124 | Profile Description | CHAR(50) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0878 | Profile Settlement Periods | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0125 | Effective from Settlement Date {PROF} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0400 | Effective to Settlement Date {PROF} | DATE(0) |
| PFL | Profile Set | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0734 | Effective from Settlement Date {PSET} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0766 | Effective to Settlement Date {PSET} | DATE(0) |
| GSP | GSP Group Average EAC | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1303 | Group Average Consumption | NUM(14) |
| RES | Regression Equation Set | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0128 | Season Id | NUM(1) |
| PER | Period Regression Equation | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0074 | Settlement Period Id | NUM(2) |
| COF | Regression Coefficient | 0-* |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0433 | Regression Coefficient | NUM(12) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0285 | Regression Coefficient Type | NUM(2) |
| TPD | Time Pattern Regime Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0744 | GMT Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0134 | Tele-Switch/Clock Indicator | CHAR(1) |
| TTP | Tele-switch Time Pattern Regime Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0137 | Tele-Switch Switch Id | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
| CKI | Clock Interval | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0726 | Day of the Week Id | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0287 | End Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0288 | End Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0143 | End Time | TIME(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0289 | Start Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0290 | Start Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0142 | Start Time | TIME(0) |
| SCI | Standard Settlement Configuration Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0075 | Standard Settlement Configuration Desc | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0496 | Effective from Settlement Date {SSC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0401 | Effective to Settlement Date {SSC} | DATE(0) |
| TPR | Measurement Requirement | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| VSD | VSCPC Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0398 | Effective from Settlement Date {VSCPC} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0447 | Effective to Settlement Date {VSCPC} | DATE(0) |
| GAE | GSP Group Profile Class Average EACs | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0768 | Researched Average EAC | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0763 | Effective from Settlement Date {GGPCAE} | DATE(0) |
| SLM | Switched Load Measurement Requirement Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0132 | Switched Load Indicator | BOOLEAN(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| ASD | AFYCS Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0731 | Effective from Settlement Date {AFOYCS} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0738 | Effective to Settlement Date {AFOYCS} | DATE(0) |
| AFD | Average Fraction of Yearly Consumption Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0133 | Average Fraction of Yearly Consumption | NUM(7) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| MEQ | Measurements Quantities | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0727 | Direction of Energy Flow | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1306 | Measurement Quantity Description | CHAR(50) |
| CCC | Consumption Component Classes | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
| GCF | GSP Group Correction Scaling Factor | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0732 | Effective from Settlement Date {GGCSF} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0739 | Effective to Settlement Date {GGCSF} | DATE(0) |
| MMT | MTC Meter Type | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1617 | MTC Meter Type Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1599 | Effective From Settlement Date {MMT} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1606 | Effective To Settlement Date {MMT} | DATE(0) |
| MPT | MTC Payment Type | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1619 | MTC Payment Type Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1600 | Effective From Settlement Date {MPT} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1607 | Effective To Settlement Date {MPT} | DATE(0) |
| MTC | Meter Timeswitch Code | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1601 | Effective From Settlement Date {MTC} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1614 | MTC Common Code Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1620 | MTC Related Metering System Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1608 | Effective To Settlement Date {MTC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1613 | Meter Timeswitch Code Description | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1615 | MTC Communication Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1622 | MTC Type Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1621 | MTC TPR Count | NUM(2) |
| MPA | MTC in Distribution Services Area | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1602 | Effective From Settlement Date {MTCPA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1609 | Effective To Settlement Date {MTCPA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1613 | Meter Timeswitch Code Description | CHAR(50) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1615 | MTC Communication Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1622 | MTC Type Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1621 | MTC TPR Count | NUM(2) |
| VML | Valid MTC LLFC Combination | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1603 | Effective From Settlement Date {VMTCLC} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1610 | Effective To Settlement Date {VMTCLC} | DATE(0) |
| VMS | Valid MTC SSC Combination | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1605 | Effective From Settlement Date {VMTCSC} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1612 | Effective To Settlement Date {VMTCSC} | DATE(0) |
| VLS | Valid MTC LLFC SSC Combination | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1604 | Effective From Settlement Date {VMTCLSC} | DATE(0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1611 | Effective To Settlement Date {VMTCLSC} | DATE(0) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0269 |
| --- | --- |
| Flow Version: | 004 | Status: Operational |

| Flow Name: | Market Domain Data Complete Set |
| --- | --- |
| Flow Description: | The complete set of data which defines the environment of the 1998 Trading Arrangements. This comprises the parties, which trade, and the networks, configurations and parameters on which the trading is based. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MDDA | Distributor | 15.4 |
| MDDA | GRS Operator | 15.4 |
| MDDA | HHDA | 15.4 |
| MDDA | HHDC | 15.4 |
| MDDA | MOP | 15.4 |
| MDDA | MPAS Agent | 15.4 |
| MDDA | NHHDA | 15.4 |
| MDDA | NHHDC | 15.4 |
| MDDA | Supplier | 15.4 |
| SVAA | Distributor | 15.4 |
| SVAA | Grid Operator | 15.4 |
| SVAA | HHDA | 15.4 |
| SVAA | HHDC | 15.4 |
| SVAA | MOP | 15.4 |
| SVAA | MPAS Agent | 15.4 |
| SVAA | NHHDA | 15.4 |
| SVAA | NHHDC | 15.4 |
| SVAA | Supplier | 15.4 |
| SVAA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0754 | MDD Version Number |
| J0773 | MDD Publication Date |
| J1287 | Off Tolerance |
| J0774 | Effective from Settlement Date {OT} |
| J0760 | Threshold Parameter |
| J0765 | Effective from Settlement Date {TPAR} |
| J0758 | Smoothing Parameter |
| J0764 | Effective from Settlement Date {SPAR} |
| J0285 | Regression Coefficient Type |
| J1289 | Regression Coefficient Description |
| J0127 | Day Type Id |
| J1290 | Day Type Description |
| J0726 | Day of the Week Id |
| J1291 | Day of the Week Description |
| J0001 | Market Participant Role Code |
| J0753 | Market Role Description |
| J0082 | Measurement Class Id |
| J0311 | Measurement Class Description |
| J0299 | Effective from Settlement Date {MCLA} |
| J0741 | Effective to Settlement Date {MCLA} |
| J0725 | Change Date |
| J0745 | GMT Time |
| J0756 | Post Change Local Time |
| J0080 | Energisation Status |
| J1293 | Energisation Status Description |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0914 | Settlement Sequence Number |
| J0128 | Season Id |
| J0916 | Season Description |
| J1294 | Year |
| J0128 | Season Id |
| J0290 | Start Month |
| J0289 | Start Day |
| J0288 | End Month |
| J0287 | End Day |
| J0073 | Settlement Date |
| J0127 | Day Type Id |
| J0128 | Season Id |
| J0146 | Settlement Code |
| J0073 | Settlement Date |
| J0902 | Payment Date |
| J0747 | SVA Notification Deadline Date |
| J0918 | SAA Notification Deadline Date |
| J0073 | Settlement Date |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J0002 | Market Participant Id |
| J0750 | Market Participant Name |
| J0244 | BSC Trading Party Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J1298 | Effective to Date {MPR} |
| J1310 | Distributor Business Id |
| J0757 | Postcode |
| J1299 | Address Line |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0189 | Distributor Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0728 | Effective from Settlement Date {GGD} |
| J0735 | Effective to Settlement Date {GGD} |
| J0111 | MPAS Agent Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0730 | Effective From Date {PAA} |
| J0737 | Effective to Date {PAA} |
| J0240 | Supplier Volume Allocation Agent Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0729 | Effective From Date {IAA & SVAA} |
| J0736 | Effective to Date {IAA & SVAA} |
| J0189 | Distributor Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0147 | Line Loss Factor Class Id |
| J0776 | Line Loss Factor Class Description |
| J0775 | MS Specific LLF Class Indicator |
| J0733 | Effective from Settlement Date {LLFC} |
| J0740 | Effective to Settlement Date {LLFC} |
| J0071 | Profile Class Id |
| J0122 | Profile Class Description |
| J0123 | Switched Load Profile Class Ind |
| J0777 | Effective from Settlement Date {PCLA} |
| J0778 | Effective to Settlement Date {PCLA} |
| J0074 | Settlement Period Id |
| J0073 | Settlement Date |
| J1301 | Default Period Profile Class Coefficient |
| J0072 | Profile Id |
| J0124 | Profile Description |
| J0878 | Profile Settlement Periods |
| J0125 | Effective from Settlement Date {PROF} |
| J0400 | Effective to Settlement Date {PROF} |
| J0734 | Effective from Settlement Date {PSET} |
| J0766 | Effective to Settlement Date {PSET} |
| J0066 | GSP Group Id |
| J1303 | Group Average Consumption |
| J0127 | Day Type Id |
| J0128 | Season Id |
| J0074 | Settlement Period Id |
| J0433 | Regression Coefficient |
| J0285 | Regression Coefficient Type |
| J0744 | GMT Indicator |
| J1214 | Time Pattern Regime Id |
| J0134 | Tele-Switch/Clock Indicator |
| J0136 | Tele-Switch Group Id |
| J0137 | Tele-Switch Switch Id |
| J0135 | Tele-Switch User Id |
| J0726 | Day of the Week Id |
| J0287 | End Day |
| J0288 | End Month |
| J0143 | End Time |
| J0289 | Start Day |
| J0290 | Start Month |
| J0142 | Start Time |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0075 | Standard Settlement Configuration Desc |
| J0496 | Effective from Settlement Date {SSC} |
| J0401 | Effective to Settlement Date {SSC} |
| J1683 | Standard Settlement Configuration Type |
| J1214 | Time Pattern Regime Id |
| J0071 | Profile Class Id |
| J0398 | Effective from Settlement Date {VSCPC} |
| J0447 | Effective to Settlement Date {VSCPC} |
| J0066 | GSP Group Id |
| J0768 | Researched Average EAC |
| J0763 | Effective from Settlement Date {GGPCAE} |
| J0132 | Switched Load Indicator |
| J1214 | Time Pattern Regime Id |
| J0066 | GSP Group Id |
| J0731 | Effective from Settlement Date {AFOYCS} |
| J0738 | Effective to Settlement Date {AFOYCS} |
| J0133 | Average Fraction of Yearly Consumption |
| J1214 | Time Pattern Regime Id |
| J0103 | Measurement Quantity Id |
| J0727 | Direction of Energy Flow |
| J1306 | Measurement Quantity Description |
| J0160 | Consumption Component Class Id |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0020 | Actual/Estimated Indicator |
| J0161 | AA/EAC Indicator |
| J0162 | Consumption Component Indicator |
| J0732 | Effective from Settlement Date {GGCSF} |
| J0165 | GSP Group Correction Scaling Factor |
| J0739 | Effective to Settlement Date {GGCSF} |
| J1616 | MTC Meter Type Id |
| J1617 | MTC Meter Type Description |
| J1599 | Effective From Settlement Date {MMT} |
| J1606 | Effective To Settlement Date {MMT} |
| J1618 | MTC Payment Type Id |
| J1619 | MTC Payment Type Description |
| J1600 | Effective From Settlement Date {MPT} |
| J1607 | Effective To Settlement Date {MPT} |
| J0220 | Meter Timeswitch Code |
| J1601 | Effective From Settlement Date {MTC} |
| J1614 | MTC Common Code Indicator |
| J1620 | MTC Related Metering System Indicator |
| J1608 | Effective To Settlement Date {MTC} |
| J1616 | MTC Meter Type Id |
| J1618 | MTC Payment Type Id |
| J1613 | Meter Timeswitch Code Description |
| J1615 | MTC Communication Indicator |
| J1622 | MTC Type Indicator |
| J1621 | MTC TPR Count |
| J0189 | Distributor Id |
| J1602 | Effective From Settlement Date {MTCPA} |
| J1609 | Effective To Settlement Date {MTCPA} |
| J1616 | MTC Meter Type Id |
| J1618 | MTC Payment Type Id |
| J1613 | Meter Timeswitch Code Description |
| J1615 | MTC Communication Indicator |
| J1622 | MTC Type Indicator |
| J1621 | MTC TPR Count |
| J0147 | Line Loss Factor Class Id |
| J1603 | Effective From Settlement Date {VMTCLC} |
| J1610 | Effective To Settlement Date {VMTCLC} |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J1605 | Effective From Settlement Date {VMTCSC} |
| J1612 | Effective To Settlement Date {VMTCSC} |
| J0147 | Line Loss Factor Class Id |
| J1604 | Effective From Settlement Date {VMTCLSC} |
| J1611 | Effective To Settlement Date {VMTCLSC} |
| J0071 | Profile Class Id |
| J1706 | Effective From Settlement Date {VMTCLSPC} |
| J1707 | Effective To Settlement Date {VMTCLSPC} |
| J1708 | Preserved Tariff Indicator |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MDD | Market Domain Data Version | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0754 | MDD Version Number | NUM(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0773 | MDD Publication Date | DATE(0) |
| OFT | Off Tolerance Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1287 | Off Tolerance | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0774 | Effective from Settlement Date {OT} | DATE(0) |
| THP | Threshold Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0760 | Threshold Parameter | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0765 | Effective from Settlement Date {TPAR} | DATE(0) |
| SMP | Smoothing Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0758 | Smoothing Parameter | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0764 | Effective from Settlement Date {SPAR} | DATE(0) |
| RCT | Regression Coefficient Types | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0285 | Regression Coefficient Type | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1289 | Regression Coefficient Description | CHAR(30) |
| DYT | Day Types | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1290 | Day Type Description | CHAR(30) |
| DOW | Day of the Week | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0726 | Day of the Week Id | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1291 | Day of the Week Description | CHAR(30) |
| MRO | Market Roles | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0753 | Market Role Description | CHAR(40) |
| MCD | Measurement Class Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0311 | Measurement Class Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0299 | Effective from Settlement Date {MCLA} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0741 | Effective to Settlement Date {MCLA} | DATE(0) |
| CTC | Clock Time Changes | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0725 | Change Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0745 | GMT Time | TIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0756 | Post Change Local Time | TIME(0) |
| EGS | Energisation Status | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1293 | Energisation Status Description | CHAR(30) |
| STD | Settlement Type Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0914 | Settlement Sequence Number | NUM(2) |
| SED | Season Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0128 | Season Id | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0916 | Season Description | CHAR(50) |
| YEA | Year | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1294 | Year | NUM(4) |
| YSD | Yearly Season Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0128 | Season Id | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0290 | Start Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0289 | Start Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0288 | End Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0287 | End Day | NUM(2) |
| SDT | Settlement Day | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0128 | Season Id | NUM(1) |
| PST | BSC Settlement Timetable Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0902 | Payment Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0747 | SVA Notification Deadline Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0918 | SAA Notification Deadline Date | DATE(0) |
| SET | Settlement Period | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
| MAP | Market Participants | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0002 | Market Participant Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0750 | Market Participant Name | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| MPR | Market Participant Roles | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1298 | Effective to Date {MPR} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1310 | Distributor Business Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0757 | Postcode | CHAR(10) |
| ADL | Address Line | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1299 | Address Line | CHAR(40) |
| GSG | GSP Groups | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| GGD | GSP Group Distributors | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0728 | Effective from Settlement Date {GGD} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0735 | Effective to Settlement Date {GGD} | DATE(0) |
| PAA | MPAS Agent Appointment | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0111 | MPAS Agent Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0730 | Effective From Date {PAA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0737 | Effective to Date {PAA} | DATE(0) |
| IAA | ISR Agent Appointment | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0240 | Supplier Volume Allocation Agent Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0729 | Effective From Date {IAA & SVAA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0736 | Effective to Date {IAA & SVAA} | DATE(0) |
| LLF | Line Loss Factor Classes | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0776 | Line Loss Factor Class Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0775 | MS Specific LLF Class Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0733 | Effective from Settlement Date {LLFC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0740 | Effective to Settlement Date {LLFC} | DATE(0) |
| PFC | Profile Class Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0122 | Profile Class Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0123 | Switched Load Profile Class Ind | BOOLEAN(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0777 | Effective from Settlement Date {PCLA} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0778 | Effective to Settlement Date {PCLA} | DATE(0) |
| DPP | Default Period Profile Class Coefficient | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1301 | Default Period Profile Class Coefficient | NUM(13) |
| PRO | Profile Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0072 | Profile Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0124 | Profile Description | CHAR(50) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0878 | Profile Settlement Periods | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0125 | Effective from Settlement Date {PROF} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0400 | Effective to Settlement Date {PROF} | DATE(0) |
| PFL | Profile Set | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0734 | Effective from Settlement Date {PSET} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0766 | Effective to Settlement Date {PSET} | DATE(0) |
| GSP | GSP Group Average EAC | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1303 | Group Average Consumption | NUM(14) |
| RES | Regression Equation Set | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0128 | Season Id | NUM(1) |
| PER | Period Regression Equation | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0074 | Settlement Period Id | NUM(2) |
| COF | Regression Coefficient | 0-* |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0433 | Regression Coefficient | NUM(12) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0285 | Regression Coefficient Type | NUM(2) |
| TPD | Time Pattern Regime Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0744 | GMT Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0134 | Tele-Switch/Clock Indicator | CHAR(1) |
| TTP | Tele-switch Time Pattern Regime Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0137 | Tele-Switch Switch Id | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
| CKI | Clock Interval | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0726 | Day of the Week Id | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0287 | End Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0288 | End Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0143 | End Time | TIME(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0289 | Start Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0290 | Start Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0142 | Start Time | TIME(0) |
| SCE | Standard Settlement Configuration Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0075 | Standard Settlement Configuration Desc | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0496 | Effective from Settlement Date {SSC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0401 | Effective to Settlement Date {SSC} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1683 | Standard Settlement Configuration Type | CHAR(1) |
| TPR | Measurement Requirement | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| VSD | VSCPC Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0398 | Effective from Settlement Date {VSCPC} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0447 | Effective to Settlement Date {VSCPC} | DATE(0) |
| GAE | GSP Group Profile Class Average EACs | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0768 | Researched Average EAC | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0763 | Effective from Settlement Date {GGPCAE} | DATE(0) |
| SLM | Switched Load Measurement Requirement Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0132 | Switched Load Indicator | BOOLEAN(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| ASD | AFYCS Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0731 | Effective from Settlement Date {AFOYCS} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0738 | Effective to Settlement Date {AFOYCS} | DATE(0) |
| AFD | Average Fraction of Yearly Consumption Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0133 | Average Fraction of Yearly Consumption | NUM(7) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| MEQ | Measurements Quantities | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0727 | Direction of Energy Flow | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1306 | Measurement Quantity Description | CHAR(50) |
| CCC | Consumption Component Classes | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
| GCF | GSP Group Correction Scaling Factor | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0732 | Effective from Settlement Date {GGCSF} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0739 | Effective to Settlement Date {GGCSF} | DATE(0) |
| MMT | MTC Meter Type | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1617 | MTC Meter Type Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1599 | Effective From Settlement Date {MMT} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1606 | Effective To Settlement Date {MMT} | DATE(0) |
| MPT | MTC Payment Type | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1619 | MTC Payment Type Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1600 | Effective From Settlement Date {MPT} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1607 | Effective To Settlement Date {MPT} | DATE(0) |
| MTC | Meter Timeswitch Code | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1601 | Effective From Settlement Date {MTC} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1614 | MTC Common Code Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1620 | MTC Related Metering System Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1608 | Effective To Settlement Date {MTC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1613 | Meter Timeswitch Code Description | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1615 | MTC Communication Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1622 | MTC Type Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1621 | MTC TPR Count | NUM(2) |
| MPA | MTC in Distribution Services Area | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1602 | Effective From Settlement Date {MTCPA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1609 | Effective To Settlement Date {MTCPA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1613 | Meter Timeswitch Code Description | CHAR(50) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1615 | MTC Communication Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1622 | MTC Type Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1621 | MTC TPR Count | NUM(2) |
| VML | Valid MTC LLFC Combination | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1603 | Effective From Settlement Date {VMTCLC} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1610 | Effective To Settlement Date {VMTCLC} | DATE(0) |
| VMS | Valid MTC SSC Combination | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1605 | Effective From Settlement Date {VMTCSC} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1612 | Effective To Settlement Date {VMTCSC} | DATE(0) |
| VLS | Valid MTC LLFC SSC Combination | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1604 | Effective From Settlement Date {VMTCLSC} | DATE(0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1611 | Effective To Settlement Date {VMTCLSC} | DATE(0) |
| VLP | Valid MTC LLFC SSC PC Combination | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1706 | Effective From Settlement Date {VMTCLSPC} | DATE(8) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1707 | Effective To Settlement Date {VMTCLSPC} | DATE(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1708 | Preserved Tariff Indicator | CHAR(1) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0270 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Market Domain Data Incremental Set |
| --- | --- |
| Flow Description: | The set of data which defines differences to the published market domain data since the last publication. Market domain data contains the set of data which defines the environment of the 1998 Trading Arrangements. This comprises the parties which trade, and the networks, configurations and parameters on which trading is based. Note this flow contains the minimum amount of data required to describe the differences between the current complete publication of the market domain data and the previous publication of the market domain data. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MDDA | Distributor | 15.4 |
| MDDA | GRS Operator | 15.4 |
| MDDA | HHDA | 15.4 |
| MDDA | HHDC | 15.4 |
| MDDA | MOP | 15.4 |
| MDDA | MPAS Agent | 15.4 |
| MDDA | NHHDA | 15.4 |
| MDDA | NHHDC | 15.4 |
| MDDA | Supplier | 15.4 |
| SVAA | Distributor | 15.4 |
| SVAA | Grid Operator | 15.4 |
| SVAA | HHDA | 15.4 |
| SVAA | HHDC | 15.4 |
| SVAA | MOP | 15.4 |
| SVAA | MPAS Agent | 15.4 |
| SVAA | NHHDA | 15.4 |
| SVAA | NHHDC | 15.4 |
| SVAA | Supplier | 15.4 |
| SVAA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0754 | MDD Version Number |
| J0773 | MDD Publication Date |
| J0754 | MDD Version Number |
| J0773 | MDD Publication Date |
| J1286 | MDD Update Status |
| J1287 | Off Tolerance |
| J0774 | Effective from Settlement Date {OT} |
| J1286 | MDD Update Status |
| J0760 | Threshold Parameter |
| J0765 | Effective from Settlement Date {TPAR} |
| J1286 | MDD Update Status |
| J0758 | Smoothing Parameter |
| J0764 | Effective from Settlement Date {SPAR} |
| J1286 | MDD Update Status |
| J0285 | Regression Coefficient Type |
| J1289 | Regression Coefficient Description |
| J1286 | MDD Update Status |
| J0127 | Day Type Id |
| J1290 | Day Type Description |
| J1286 | MDD Update Status |
| J0726 | Day of the Week Id |
| J1291 | Day of the Week Description |
| J1286 | MDD Update Status |
| J0001 | Market Participant Role Code |
| J0753 | Market Role Description |
| J1286 | MDD Update Status |
| J0082 | Measurement Class Id |
| J0311 | Measurement Class Description |
| J0299 | Effective from Settlement Date {MCLA} |
| J0741 | Effective to Settlement Date {MCLA} |
| J1286 | MDD Update Status |
| J0725 | Change Date |
| J0745 | GMT Time |
| J0756 | Post Change Local Time |
| J1286 | MDD Update Status |
| J0080 | Energisation Status |
| J1293 | Energisation Status Description |
| J1286 | MDD Update Status |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0914 | Settlement Sequence Number |
| J1286 | MDD Update Status |
| J0128 | Season Id |
| J0916 | Season Description |
| J1286 | MDD Update Status |
| J1294 | Year |
| J1286 | MDD Update Status |
| J0128 | Season Id |
| J0290 | Start Month |
| J0289 | Start Day |
| J0288 | End Month |
| J0287 | End Day |
| J1286 | MDD Update Status |
| J0073 | Settlement Date |
| J0127 | Day Type Id |
| J0128 | Season Id |
| J1286 | MDD Update Status |
| J0146 | Settlement Code |
| J0073 | Settlement Date |
| J0902 | Payment Date |
| J0747 | SVA Notification Deadline Date |
| J0918 | SAA Notification Deadline Date |
| J1286 | MDD Update Status |
| J0073 | Settlement Date |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J1286 | MDD Update Status |
| J0002 | Market Participant Id |
| J0750 | Market Participant Name |
| J0244 | BSC Trading Party Id |
| J1286 | MDD Update Status |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J1298 | Effective to Date {MPR} |
| J1310 | Distributor Business Id |
| J0757 | Postcode |
| J1299 | Address Line |
| J1286 | MDD Update Status |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1286 | MDD Update Status |
| J0189 | Distributor Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0728 | Effective from Settlement Date {GGD} |
| J0735 | Effective to Settlement Date {GGD} |
| J1286 | MDD Update Status |
| J0111 | MPAS Agent Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0730 | Effective From Date {PAA} |
| J0737 | Effective to Date {PAA} |
| J1286 | MDD Update Status |
| J0240 | Supplier Volume Allocation Agent Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0729 | Effective From Date {IAA & SVAA} |
| J0736 | Effective to Date {IAA & SVAA} |
| J1286 | MDD Update Status |
| J0189 | Distributor Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0147 | Line Loss Factor Class Id |
| J0776 | Line Loss Factor Class Description |
| J0775 | MS Specific LLF Class Indicator |
| J0733 | Effective from Settlement Date {LLFC} |
| J0740 | Effective to Settlement Date {LLFC} |
| J1286 | MDD Update Status |
| J0071 | Profile Class Id |
| J0122 | Profile Class Description |
| J0123 | Switched Load Profile Class Ind |
| J0777 | Effective from Settlement Date {PCLA} |
| J0778 | Effective to Settlement Date {PCLA} |
| J1286 | MDD Update Status |
| J0074 | Settlement Period Id |
| J0073 | Settlement Date |
| J1301 | Default Period Profile Class Coefficient |
| J1286 | MDD Update Status |
| J0072 | Profile Id |
| J0124 | Profile Description |
| J0878 | Profile Settlement Periods |
| J0125 | Effective from Settlement Date {PROF} |
| J0400 | Effective to Settlement Date {PROF} |
| J1286 | MDD Update Status |
| J0734 | Effective from Settlement Date {PSET} |
| J0766 | Effective to Settlement Date {PSET} |
| J1286 | MDD Update Status |
| J0066 | GSP Group Id |
| J1303 | Group Average Consumption |
| J1286 | MDD Update Status |
| J0127 | Day Type Id |
| J0128 | Season Id |
| J1286 | MDD Update Status |
| J0074 | Settlement Period Id |
| J1286 | MDD Update Status |
| J0433 | Regression Coefficient |
| J0285 | Regression Coefficient Type |
| J1286 | MDD Update Status |
| J0744 | GMT Indicator |
| J1214 | Time Pattern Regime Id |
| J0134 | Tele-Switch/Clock Indicator |
| J1286 | MDD Update Status |
| J0136 | Tele-Switch Group Id |
| J0137 | Tele-Switch Switch Id |
| J0135 | Tele-Switch User Id |
| J1286 | MDD Update Status |
| J0726 | Day of the Week Id |
| J0287 | End Day |
| J0288 | End Month |
| J0143 | End Time |
| J0289 | Start Day |
| J0290 | Start Month |
| J0142 | Start Time |
| J1286 | MDD Update Status |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0075 | Standard Settlement Configuration Desc |
| J0496 | Effective from Settlement Date {SSC} |
| J0401 | Effective to Settlement Date {SSC} |
| J1286 | MDD Update Status |
| J1214 | Time Pattern Regime Id |
| J1286 | MDD Update Status |
| J0071 | Profile Class Id |
| J0398 | Effective from Settlement Date {VSCPC} |
| J0447 | Effective to Settlement Date {VSCPC} |
| J1286 | MDD Update Status |
| J0066 | GSP Group Id |
| J0768 | Researched Average EAC |
| J0763 | Effective from Settlement Date {GGPCAE} |
| J1286 | MDD Update Status |
| J0132 | Switched Load Indicator |
| J1214 | Time Pattern Regime Id |
| J1286 | MDD Update Status |
| J0066 | GSP Group Id |
| J0731 | Effective from Settlement Date {AFOYCS} |
| J0738 | Effective to Settlement Date {AFOYCS} |
| J1286 | MDD Update Status |
| J0133 | Average Fraction of Yearly Consumption |
| J1214 | Time Pattern Regime Id |
| J1286 | MDD Update Status |
| J0103 | Measurement Quantity Id |
| J0727 | Direction of Energy Flow |
| J1306 | Measurement Quantity Description |
| J1286 | MDD Update Status |
| J0160 | Consumption Component Class Id |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0020 | Actual/Estimated Indicator |
| J0161 | AA/EAC Indicator |
| J0162 | Consumption Component Indicator |
| J1286 | MDD Update Status |
| J0732 | Effective from Settlement Date {GGCSF} |
| J0165 | GSP Group Correction Scaling Factor |
| J0739 | Effective to Settlement Date {GGCSF} |
| J1286 | MDD Update Status |
| J1616 | MTC Meter Type Id |
| J1617 | MTC Meter Type Description |
| J1599 | Effective From Settlement Date {MMT} |
| J1606 | Effective To Settlement Date {MMT} |
| J1286 | MDD Update Status |
| J1618 | MTC Payment Type Id |
| J1619 | MTC Payment Type Description |
| J1600 | Effective From Settlement Date {MPT} |
| J1607 | Effective To Settlement Date {MPT} |
| J1286 | MDD Update Status |
| J0220 | Meter Timeswitch Code |
| J1601 | Effective From Settlement Date {MTC} |
| J1614 | MTC Common Code Indicator |
| J1620 | MTC Related Metering System Indicator |
| J1608 | Effective To Settlement Date {MTC} |
| J1616 | MTC Meter Type Id |
| J1618 | MTC Payment Type Id |
| J1613 | Meter Timeswitch Code Description |
| J1615 | MTC Communication Indicator |
| J1622 | MTC Type Indicator |
| J1621 | MTC TPR Count |
| J1286 | MDD Update Status |
| J0189 | Distributor Id |
| J1602 | Effective From Settlement Date {MTCPA} |
| J1609 | Effective To Settlement Date {MTCPA} |
| J1616 | MTC Meter Type Id |
| J1618 | MTC Payment Type Id |
| J1613 | Meter Timeswitch Code Description |
| J1615 | MTC Communication Indicator |
| J1622 | MTC Type Indicator |
| J1621 | MTC TPR Count |
| J1286 | MDD Update Status |
| J0147 | Line Loss Factor Class Id |
| J1603 | Effective From Settlement Date {VMTCLC} |
| J1610 | Effective To Settlement Date {VMTCLC} |
| J1286 | MDD Update Status |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J1605 | Effective From Settlement Date {VMTCSC} |
| J1612 | Effective To Settlement Date {VMTCSC} |
| J1286 | MDD Update Status |
| J0147 | Line Loss Factor Class Id |
| J1604 | Effective From Settlement Date {VMTCLSC} |
| J1611 | Effective To Settlement Date {VMTCLSC} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MDD | Market Domain Data Version | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0754 | MDD Version Number | NUM(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0773 | MDD Publication Date | DATE(0) |
| MDP | Market Domain Data Previous version | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0754 | MDD Version Number | NUM(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0773 | MDD Publication Date | DATE(0) |
| OFT | Off Tolerance Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1287 | Off Tolerance | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0774 | Effective from Settlement Date {OT} | DATE(0) |
| THP | Threshold Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0760 | Threshold Parameter | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0765 | Effective from Settlement Date {TPAR} | DATE(0) |
| SMP | Smoothing Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0758 | Smoothing Parameter | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0764 | Effective from Settlement Date {SPAR} | DATE(0) |
| RCT | Regression Coefficient Types | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0285 | Regression Coefficient Type | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1289 | Regression Coefficient Description | CHAR(30) |
| DYT | Day Types | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1290 | Day Type Description | CHAR(30) |
| DOW | Day of the Week | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0726 | Day of the Week Id | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1291 | Day of the Week Description | CHAR(30) |
| MRO | Market Roles | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0753 | Market Role Description | CHAR(40) |
| MCD | Measurement Class Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0311 | Measurement Class Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0299 | Effective from Settlement Date {MCLA} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0741 | Effective to Settlement Date {MCLA} | DATE(0) |
| CTC | Clock Time Changes | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0725 | Change Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0745 | GMT Time | TIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0756 | Post Change Local Time | TIME(0) |
| EGS | Energisation Status | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1293 | Energisation Status Description | CHAR(30) |
| STD | Settlement Type Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0914 | Settlement Sequence Number | NUM(2) |
| SED | Season Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0128 | Season Id | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0916 | Season Description | CHAR(50) |
| YEA | Year | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1294 | Year | NUM(4) |
| YSD | Yearly Season Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0128 | Season Id | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0290 | Start Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0289 | Start Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0288 | End Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0287 | End Day | NUM(2) |
| SDT | Settlement Day | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0128 | Season Id | NUM(1) |
| PST | BSC Settlement Timetable Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0902 | Payment Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0747 | SVA Notification Deadline Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0918 | SAA Notification Deadline Date | DATE(0) |
| SET | Settlement Period | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
| MAP | Market Participants | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0002 | Market Participant Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0750 | Market Participant Name | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| MPR | Market Participant Roles | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1298 | Effective to Date {MPR} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1310 | Distributor Business Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0757 | Postcode | CHAR(10) |
| ADL | Address Line | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1299 | Address Line | CHAR(40) |
| GSG | GSP Groups | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| GGD | GSP Group Distributors | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0728 | Effective from Settlement Date {GGD} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0735 | Effective to Settlement Date {GGD} | DATE(0) |
| PAA | MPAS Agent Appointment | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0111 | MPAS Agent Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0730 | Effective From Date {PAA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0737 | Effective to Date {PAA} | DATE(0) |
| IAA | ISR Agent Appointment | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0240 | Supplier Volume Allocation Agent Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0729 | Effective From Date {IAA & SVAA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0736 | Effective to Date {IAA & SVAA} | DATE(0) |
| LLF | Line Loss Factor Classes | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0776 | Line Loss Factor Class Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0775 | MS Specific LLF Class Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0733 | Effective from Settlement Date {LLFC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0740 | Effective to Settlement Date {LLFC} | DATE(0) |
| PFC | Profile Class Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0122 | Profile Class Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0123 | Switched Load Profile Class Ind | BOOLEAN(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0777 | Effective from Settlement Date {PCLA} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0778 | Effective to Settlement Date {PCLA} | DATE(0) |
| DPP | Default Period Profile Class Coefficient | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1301 | Default Period Profile Class Coefficient | NUM(13) |
| PRO | Profile Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0072 | Profile Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0124 | Profile Description | CHAR(50) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0878 | Profile Settlement Periods | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0125 | Effective from Settlement Date {PROF} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0400 | Effective to Settlement Date {PROF} | DATE(0) |
| PFL | Profile Set | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0734 | Effective from Settlement Date {PSET} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0766 | Effective to Settlement Date {PSET} | DATE(0) |
| GSP | GSP Group Average EAC | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1303 | Group Average Consumption | NUM(14) |
| RES | Regression Equation Set | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0128 | Season Id | NUM(1) |
| PER | Period Regression Equation | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0074 | Settlement Period Id | NUM(2) |
| COF | Regression Coefficient | 0-* |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0433 | Regression Coefficient | NUM(12) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0285 | Regression Coefficient Type | NUM(2) |
| TPD | Time Pattern Regime Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0744 | GMT Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0134 | Tele-Switch/Clock Indicator | CHAR(1) |
| TTP | Tele-switch Time Pattern Regime Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0137 | Tele-Switch Switch Id | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
| CKI | Clock Interval | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0726 | Day of the Week Id | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0287 | End Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0288 | End Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0143 | End Time | TIME(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0289 | Start Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0290 | Start Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0142 | Start Time | TIME(0) |
| SCI | Standard Settlement Configuration Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0075 | Standard Settlement Configuration Desc | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0496 | Effective from Settlement Date {SSC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0401 | Effective to Settlement Date {SSC} | DATE(0) |
| TPR | Measurement Requirement | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| VSD | VSCPC Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0398 | Effective from Settlement Date {VSCPC} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0447 | Effective to Settlement Date {VSCPC} | DATE(0) |
| GAE | GSP Group Profile Class Average EACs | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0768 | Researched Average EAC | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0763 | Effective from Settlement Date {GGPCAE} | DATE(0) |
| SLM | Switched Load Measurement Requirement Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0132 | Switched Load Indicator | BOOLEAN(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| ASD | AFYCS Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0731 | Effective from Settlement Date {AFOYCS} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0738 | Effective to Settlement Date {AFOYCS} | DATE(0) |
| AFD | Average Fraction of Yearly Consumption Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0133 | Average Fraction of Yearly Consumption | NUM(7) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| MEQ | Measurements Quantities | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0727 | Direction of Energy Flow | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1306 | Measurement Quantity Description | CHAR(50) |
| CCC | Consumption Component Classes | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
| GCF | GSP Group Correction Scaling Factor | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0732 | Effective from Settlement Date {GGCSF} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0739 | Effective to Settlement Date {GGCSF} | DATE(0) |
| MMT | MTC Meter Type | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1617 | MTC Meter Type Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1599 | Effective From Settlement Date {MMT} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1606 | Effective To Settlement Date {MMT} | DATE(0) |
| MPT | MTC Payment Type | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1619 | MTC Payment Type Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1600 | Effective From Settlement Date {MPT} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1607 | Effective To Settlement Date {MPT} | DATE(0) |
| MTC | Meter Timeswitch Code | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1601 | Effective From Settlement Date {MTC} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1614 | MTC Common Code Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1620 | MTC Related Metering System Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1608 | Effective To Settlement Date {MTC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1613 | Meter Timeswitch Code Description | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1615 | MTC Communication Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1622 | MTC Type Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1621 | MTC TPR Count | NUM(2) |
| MPA | MTC In Distribution Services Area | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1602 | Effective From Settlement Date {MTCPA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1609 | Effective To Settlement Date {MTCPA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1613 | Meter Timeswitch Code Description | CHAR(50) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1615 | MTC Communication Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1622 | MTC Type Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1621 | MTC TPR Count | NUM(2) |
| VML | Valid MTC LLFC Combination | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1603 | Effective From Settlement Date {VMTCLC} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1610 | Effective To Settlement Date {VMTCLC} | DATE(0) |
| VMS | Valid MTC SSC Combination | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1605 | Effective From Settlement Date {VMTCSC} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1612 | Effective To Settlement Date {VMTCSC} | DATE(0) |
| VLS | Valid MTC LLFC SSC Combination | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1604 | Effective From Settlement Date {VMTCLSC} | DATE(0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1611 | Effective To Settlement Date {VMTCLSC} | DATE(0) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0270 |
| --- | --- |
| Flow Version: | 004 | Status: Operational |

| Flow Name: | Market Domain Data Incremental Set |
| --- | --- |
| Flow Description: | The set of data which defines differences to the published market domain data since the last publication. Market domain data contains the set of data which defines the environment of the 1998 Trading Arrangements. This comprises the parties which trade, and the networks, configurations and parameters on which trading is based. Note this flow contains the minimum amount of data required to describe the differences between the current complete publication of the market domain data and the previous publication of the market domain data. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MDDA | Distributor | 15.4 |
| MDDA | GRS Operator | 15.4 |
| MDDA | HHDA | 15.4 |
| MDDA | HHDC | 15.4 |
| MDDA | MOP | 15.4 |
| MDDA | MPAS Agent | 15.4 |
| MDDA | NHHDA | 15.4 |
| MDDA | NHHDC | 15.4 |
| MDDA | Supplier | 15.4 |
| SVAA | Distributor | 15.4 |
| SVAA | Grid Operator | 15.4 |
| SVAA | HHDA | 15.4 |
| SVAA | HHDC | 15.4 |
| SVAA | MOP | 15.4 |
| SVAA | MPAS Agent | 15.4 |
| SVAA | NHHDA | 15.4 |
| SVAA | NHHDC | 15.4 |
| SVAA | Supplier | 15.4 |
| SVAA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0754 | MDD Version Number |
| J0773 | MDD Publication Date |
| J0754 | MDD Version Number |
| J0773 | MDD Publication Date |
| J1286 | MDD Update Status |
| J1287 | Off Tolerance |
| J0774 | Effective from Settlement Date {OT} |
| J1286 | MDD Update Status |
| J0760 | Threshold Parameter |
| J0765 | Effective from Settlement Date {TPAR} |
| J1286 | MDD Update Status |
| J0758 | Smoothing Parameter |
| J0764 | Effective from Settlement Date {SPAR} |
| J1286 | MDD Update Status |
| J0285 | Regression Coefficient Type |
| J1289 | Regression Coefficient Description |
| J1286 | MDD Update Status |
| J0127 | Day Type Id |
| J1290 | Day Type Description |
| J1286 | MDD Update Status |
| J0726 | Day of the Week Id |
| J1291 | Day of the Week Description |
| J1286 | MDD Update Status |
| J0001 | Market Participant Role Code |
| J0753 | Market Role Description |
| J1286 | MDD Update Status |
| J0082 | Measurement Class Id |
| J0311 | Measurement Class Description |
| J0299 | Effective from Settlement Date {MCLA} |
| J0741 | Effective to Settlement Date {MCLA} |
| J1286 | MDD Update Status |
| J0725 | Change Date |
| J0745 | GMT Time |
| J0756 | Post Change Local Time |
| J1286 | MDD Update Status |
| J0080 | Energisation Status |
| J1293 | Energisation Status Description |
| J1286 | MDD Update Status |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0914 | Settlement Sequence Number |
| J1286 | MDD Update Status |
| J0128 | Season Id |
| J0916 | Season Description |
| J1286 | MDD Update Status |
| J1294 | Year |
| J1286 | MDD Update Status |
| J0128 | Season Id |
| J0290 | Start Month |
| J0289 | Start Day |
| J0288 | End Month |
| J0287 | End Day |
| J1286 | MDD Update Status |
| J0073 | Settlement Date |
| J0127 | Day Type Id |
| J0128 | Season Id |
| J1286 | MDD Update Status |
| J0146 | Settlement Code |
| J0073 | Settlement Date |
| J0902 | Payment Date |
| J0747 | SVA Notification Deadline Date |
| J0918 | SAA Notification Deadline Date |
| J1286 | MDD Update Status |
| J0073 | Settlement Date |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J1286 | MDD Update Status |
| J0002 | Market Participant Id |
| J0750 | Market Participant Name |
| J0244 | BSC Trading Party Id |
| J1286 | MDD Update Status |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J1298 | Effective to Date {MPR} |
| J1310 | Distributor Business Id |
| J0757 | Postcode |
| J1299 | Address Line |
| J1286 | MDD Update Status |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1286 | MDD Update Status |
| J0189 | Distributor Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0728 | Effective from Settlement Date {GGD} |
| J0735 | Effective to Settlement Date {GGD} |
| J1286 | MDD Update Status |
| J0111 | MPAS Agent Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0730 | Effective From Date {PAA} |
| J0737 | Effective to Date {PAA} |
| J1286 | MDD Update Status |
| J0240 | Supplier Volume Allocation Agent Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0729 | Effective From Date {IAA & SVAA} |
| J0736 | Effective to Date {IAA & SVAA} |
| J1286 | MDD Update Status |
| J0189 | Distributor Id |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J0147 | Line Loss Factor Class Id |
| J0776 | Line Loss Factor Class Description |
| J0775 | MS Specific LLF Class Indicator |
| J0733 | Effective from Settlement Date {LLFC} |
| J0740 | Effective to Settlement Date {LLFC} |
| J1286 | MDD Update Status |
| J0071 | Profile Class Id |
| J0122 | Profile Class Description |
| J0123 | Switched Load Profile Class Ind |
| J0777 | Effective from Settlement Date {PCLA} |
| J0778 | Effective to Settlement Date {PCLA} |
| J1286 | MDD Update Status |
| J0074 | Settlement Period Id |
| J0073 | Settlement Date |
| J1301 | Default Period Profile Class Coefficient |
| J1286 | MDD Update Status |
| J0072 | Profile Id |
| J0124 | Profile Description |
| J0878 | Profile Settlement Periods |
| J0125 | Effective from Settlement Date {PROF} |
| J0400 | Effective to Settlement Date {PROF} |
| J1286 | MDD Update Status |
| J0734 | Effective from Settlement Date {PSET} |
| J0766 | Effective to Settlement Date {PSET} |
| J1286 | MDD Update Status |
| J0066 | GSP Group Id |
| J1303 | Group Average Consumption |
| J1286 | MDD Update Status |
| J0127 | Day Type Id |
| J0128 | Season Id |
| J1286 | MDD Update Status |
| J0074 | Settlement Period Id |
| J1286 | MDD Update Status |
| J0433 | Regression Coefficient |
| J0285 | Regression Coefficient Type |
| J1286 | MDD Update Status |
| J0744 | GMT Indicator |
| J1214 | Time Pattern Regime Id |
| J0134 | Tele-Switch/Clock Indicator |
| J1286 | MDD Update Status |
| J0136 | Tele-Switch Group Id |
| J0137 | Tele-Switch Switch Id |
| J0135 | Tele-Switch User Id |
| J1286 | MDD Update Status |
| J0726 | Day of the Week Id |
| J0287 | End Day |
| J0288 | End Month |
| J0143 | End Time |
| J0289 | Start Day |
| J0290 | Start Month |
| J0142 | Start Time |
| J1286 | MDD Update Status |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0075 | Standard Settlement Configuration Desc |
| J0496 | Effective from Settlement Date {SSC} |
| J0401 | Effective to Settlement Date {SSC} |
| J1683 | Standard Settlement Configuration Type |
| J1286 | MDD Update Status |
| J1214 | Time Pattern Regime Id |
| J1286 | MDD Update Status |
| J0071 | Profile Class Id |
| J0398 | Effective from Settlement Date {VSCPC} |
| J0447 | Effective to Settlement Date {VSCPC} |
| J1286 | MDD Update Status |
| J0066 | GSP Group Id |
| J0768 | Researched Average EAC |
| J0763 | Effective from Settlement Date {GGPCAE} |
| J1286 | MDD Update Status |
| J0132 | Switched Load Indicator |
| J1214 | Time Pattern Regime Id |
| J1286 | MDD Update Status |
| J0066 | GSP Group Id |
| J0731 | Effective from Settlement Date {AFOYCS} |
| J0738 | Effective to Settlement Date {AFOYCS} |
| J1286 | MDD Update Status |
| J0133 | Average Fraction of Yearly Consumption |
| J1214 | Time Pattern Regime Id |
| J1286 | MDD Update Status |
| J0103 | Measurement Quantity Id |
| J0727 | Direction of Energy Flow |
| J1306 | Measurement Quantity Description |
| J1286 | MDD Update Status |
| J0160 | Consumption Component Class Id |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0020 | Actual/Estimated Indicator |
| J0161 | AA/EAC Indicator |
| J0162 | Consumption Component Indicator |
| J1286 | MDD Update Status |
| J0732 | Effective from Settlement Date {GGCSF} |
| J0165 | GSP Group Correction Scaling Factor |
| J0739 | Effective to Settlement Date {GGCSF} |
| J1286 | MDD Update Status |
| J1616 | MTC Meter Type Id |
| J1617 | MTC Meter Type Description |
| J1599 | Effective From Settlement Date {MMT} |
| J1606 | Effective To Settlement Date {MMT} |
| J1286 | MDD Update Status |
| J1618 | MTC Payment Type Id |
| J1619 | MTC Payment Type Description |
| J1600 | Effective From Settlement Date {MPT} |
| J1607 | Effective To Settlement Date {MPT} |
| J1286 | MDD Update Status |
| J0220 | Meter Timeswitch Code |
| J1601 | Effective From Settlement Date {MTC} |
| J1614 | MTC Common Code Indicator |
| J1620 | MTC Related Metering System Indicator |
| J1608 | Effective To Settlement Date {MTC} |
| J1616 | MTC Meter Type Id |
| J1618 | MTC Payment Type Id |
| J1613 | Meter Timeswitch Code Description |
| J1615 | MTC Communication Indicator |
| J1622 | MTC Type Indicator |
| J1621 | MTC TPR Count |
| J1286 | MDD Update Status |
| J0189 | Distributor Id |
| J1602 | Effective From Settlement Date {MTCPA} |
| J1609 | Effective To Settlement Date {MTCPA} |
| J1616 | MTC Meter Type Id |
| J1618 | MTC Payment Type Id |
| J1613 | Meter Timeswitch Code Description |
| J1615 | MTC Communication Indicator |
| J1622 | MTC Type Indicator |
| J1621 | MTC TPR Count |
| J1286 | MDD Update Status |
| J0147 | Line Loss Factor Class Id |
| J1603 | Effective From Settlement Date {VMTCLC} |
| J1610 | Effective To Settlement Date {VMTCLC} |
| J1286 | MDD Update Status |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J1605 | Effective From Settlement Date {VMTCSC} |
| J1612 | Effective To Settlement Date {VMTCSC} |
| J1286 | MDD Update Status |
| J0147 | Line Loss Factor Class Id |
| J1604 | Effective From Settlement Date {VMTCLSC} |
| J1611 | Effective To Settlement Date {VMTCLSC} |
| J1286 | MDD Update Status |
| J0071 | Profile Class Id |
| J1706 | Effective From Settlement Date {VMTCLSPC} |
| J1707 | Effective To Settlement Date {VMTCLSPC} |
| J1708 | Preserved Tariff Indicator |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MDD | Market Domain Data Version | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0754 | MDD Version Number | NUM(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0773 | MDD Publication Date | DATE(0) |
| MDP | Market Domain Data Previous version | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0754 | MDD Version Number | NUM(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0773 | MDD Publication Date | DATE(0) |
| OFT | Off Tolerance Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1287 | Off Tolerance | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0774 | Effective from Settlement Date {OT} | DATE(0) |
| THP | Threshold Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0760 | Threshold Parameter | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0765 | Effective from Settlement Date {TPAR} | DATE(0) |
| SMP | Smoothing Parameters | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0758 | Smoothing Parameter | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0764 | Effective from Settlement Date {SPAR} | DATE(0) |
| RCT | Regression Coefficient Types | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0285 | Regression Coefficient Type | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1289 | Regression Coefficient Description | CHAR(30) |
| DYT | Day Types | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1290 | Day Type Description | CHAR(30) |
| DOW | Day of the Week | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0726 | Day of the Week Id | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1291 | Day of the Week Description | CHAR(30) |
| MRO | Market Roles | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0753 | Market Role Description | CHAR(40) |
| MCD | Measurement Class Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0311 | Measurement Class Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0299 | Effective from Settlement Date {MCLA} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0741 | Effective to Settlement Date {MCLA} | DATE(0) |
| CTC | Clock Time Changes | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0725 | Change Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0745 | GMT Time | TIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0756 | Post Change Local Time | TIME(0) |
| EGS | Energisation Status | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1293 | Energisation Status Description | CHAR(30) |
| STD | Settlement Type Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0914 | Settlement Sequence Number | NUM(2) |
| SED | Season Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0128 | Season Id | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0916 | Season Description | CHAR(50) |
| YEA | Year | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1294 | Year | NUM(4) |
| YSD | Yearly Season Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0128 | Season Id | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0290 | Start Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0289 | Start Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0288 | End Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0287 | End Day | NUM(2) |
| SDT | Settlement Day | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0128 | Season Id | NUM(1) |
| PST | BSC Settlement Timetable Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0902 | Payment Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0747 | SVA Notification Deadline Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0918 | SAA Notification Deadline Date | DATE(0) |
| SET | Settlement Period | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
| MAP | Market Participants | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0002 | Market Participant Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0750 | Market Participant Name | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| MPR | Market Participant Roles | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1298 | Effective to Date {MPR} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1310 | Distributor Business Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0757 | Postcode | CHAR(10) |
| ADL | Address Line | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1299 | Address Line | CHAR(40) |
| GSG | GSP Groups | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| GGD | GSP Group Distributors | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0728 | Effective from Settlement Date {GGD} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0735 | Effective to Settlement Date {GGD} | DATE(0) |
| PAA | MPAS Agent Appointment | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0111 | MPAS Agent Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0730 | Effective From Date {PAA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0737 | Effective to Date {PAA} | DATE(0) |
| IAA | ISR Agent Appointment | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0240 | Supplier Volume Allocation Agent Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0729 | Effective From Date {IAA & SVAA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0736 | Effective to Date {IAA & SVAA} | DATE(0) |
| LLF | Line Loss Factor Classes | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0776 | Line Loss Factor Class Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0775 | MS Specific LLF Class Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0733 | Effective from Settlement Date {LLFC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0740 | Effective to Settlement Date {LLFC} | DATE(0) |
| PFC | Profile Class Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0122 | Profile Class Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0123 | Switched Load Profile Class Ind | BOOLEAN(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0777 | Effective from Settlement Date {PCLA} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0778 | Effective to Settlement Date {PCLA} | DATE(0) |
| DPP | Default Period Profile Class Coefficient | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1301 | Default Period Profile Class Coefficient | NUM(13) |
| PRO | Profile Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0072 | Profile Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0124 | Profile Description | CHAR(50) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0878 | Profile Settlement Periods | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0125 | Effective from Settlement Date {PROF} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0400 | Effective to Settlement Date {PROF} | DATE(0) |
| PFL | Profile Set | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0734 | Effective from Settlement Date {PSET} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0766 | Effective to Settlement Date {PSET} | DATE(0) |
| GSP | GSP Group Average EAC | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1303 | Group Average Consumption | NUM(14) |
| RES | Regression Equation Set | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0127 | Day Type Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0128 | Season Id | NUM(1) |
| PER | Period Regression Equation | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0074 | Settlement Period Id | NUM(2) |
| COF | Regression Coefficient | 0-* |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0433 | Regression Coefficient | NUM(12) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0285 | Regression Coefficient Type | NUM(2) |
| TPD | Time Pattern Regime Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0744 | GMT Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0134 | Tele-Switch/Clock Indicator | CHAR(1) |
| TTP | Tele-switch Time Pattern Regime Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0137 | Tele-Switch Switch Id | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
| CKI | Clock Interval | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0726 | Day of the Week Id | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0287 | End Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0288 | End Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0143 | End Time | TIME(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0289 | Start Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0290 | Start Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0142 | Start Time | TIME(0) |
| SCE | Standard Settlement Configuration Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0075 | Standard Settlement Configuration Desc | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0496 | Effective from Settlement Date {SSC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0401 | Effective to Settlement Date {SSC} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1683 | Standard Settlement Configuration Type | CHAR(1) |
| TPR | Measurement Requirement | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| VSD | VSCPC Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0398 | Effective from Settlement Date {VSCPC} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0447 | Effective to Settlement Date {VSCPC} | DATE(0) |
| GAE | GSP Group Profile Class Average EACs | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0768 | Researched Average EAC | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0763 | Effective from Settlement Date {GGPCAE} | DATE(0) |
| SLM | Switched Load Measurement Requirement Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0132 | Switched Load Indicator | BOOLEAN(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| ASD | AFYCS Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0731 | Effective from Settlement Date {AFOYCS} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0738 | Effective to Settlement Date {AFOYCS} | DATE(0) |
| AFD | Average Fraction of Yearly Consumption Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0133 | Average Fraction of Yearly Consumption | NUM(7) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| MEQ | Measurements Quantities | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0727 | Direction of Energy Flow | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1306 | Measurement Quantity Description | CHAR(50) |
| CCC | Consumption Component Classes | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
| GCF | GSP Group Correction Scaling Factor | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0732 | Effective from Settlement Date {GGCSF} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0739 | Effective to Settlement Date {GGCSF} | DATE(0) |
| MMT | MTC Meter Type | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1617 | MTC Meter Type Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1599 | Effective From Settlement Date {MMT} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1606 | Effective To Settlement Date {MMT} | DATE(0) |
| MPT | MTC Payment Type | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1619 | MTC Payment Type Description | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1600 | Effective From Settlement Date {MPT} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1607 | Effective To Settlement Date {MPT} | DATE(0) |
| MTC | Meter Timeswitch Code | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1601 | Effective From Settlement Date {MTC} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1614 | MTC Common Code Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1620 | MTC Related Metering System Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1608 | Effective To Settlement Date {MTC} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1613 | Meter Timeswitch Code Description | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1615 | MTC Communication Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1622 | MTC Type Indicator | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1621 | MTC TPR Count | NUM(2) |
| MPA | MTC In Distribution Services Area | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1602 | Effective From Settlement Date {MTCPA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1609 | Effective To Settlement Date {MTCPA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1616 | MTC Meter Type Id | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1618 | MTC Payment Type Id | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1613 | Meter Timeswitch Code Description | CHAR(50) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1615 | MTC Communication Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1622 | MTC Type Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1621 | MTC TPR Count | NUM(2) |
| VML | Valid MTC LLFC Combination | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1603 | Effective From Settlement Date {VMTCLC} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1610 | Effective To Settlement Date {VMTCLC} | DATE(0) |
| VMS | Valid MTC SSC Combination | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1605 | Effective From Settlement Date {VMTCSC} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1612 | Effective To Settlement Date {VMTCSC} | DATE(0) |
| VLS | Valid MTC LLFC SSC Combination | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1604 | Effective From Settlement Date {VMTCLSC} | DATE(0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1611 | Effective To Settlement Date {VMTCLSC} | DATE(0) |
| VLP | Valid MTC LLFC SSC PC Combination | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1286 | MDD Update Status | NUM(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1706 | Effective From Settlement Date {VMTCLSPC} | DATE(8) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1707 | Effective To Settlement Date {VMTCLSPC} | DATE(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1708 | Preserved Tariff Indicator | CHAR(1) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0275 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Validated Half Hourly Advances |
| --- | --- |
| Flow Description: | Half Hourly consumption values for use in Supplier and Distributor billing where the HH periods are specified in UTC. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | Supplier | 15.4 |
| HHDC | Distributor | 15.4 |
| HHDC | ESNA | 15.4 |
| HHDC | Supplier | 15.4 |
| SDSA | Supplier | 15.4 |
| Supplier | ADSA | 15.4 |
| Supplier | ESNA | 15.4 |
| Supplier | SDSA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0103 | Measurement Quantity Id |
| J0084 | Supplier Id |
| J0018 | Date (Midnight to Midnight UTC) |
| J0020 | Actual/Estimated Indicator |
| J0177 | Period Metered Consumption |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 25B | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 26B | Date | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0018 | Date (Midnight to Midnight UTC) | DATE(0) |
| 27B | HH Periods in UTC | 48 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0177 | Period Metered Consumption | NUM(7) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0276 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | GSP Group Consumption Totals Report |
| --- | --- |
| Flow Description: | Report of consumption component class totals for each GSP group |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J0066 | GSP Group Id |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0160 | Consumption Component Class Id |
| J0165 | GSP Group Correction Scaling Factor |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J1565 | Total CCC Aggregated Supplier Consumption |
| J1566 | Total CCC Aggregated Supplier Line Loss |
| J1567 | Total CCC Corrected Supplier Consumption |
| J1568 | Total CCC Corrected Supplier Line Loss |
| J1705 | Total CCC MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| HDR | Report Data | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
| GSP | GSP Group | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| CCC | Consumption Component Class | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| SPX | Settlement Period | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1565 | Total CCC Aggregated Supplier Consumption | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1566 | Total CCC Aggregated Supplier Line Loss | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1567 | Total CCC Corrected Supplier Consumption | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1568 | Total CCC Corrected Supplier Line Loss | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1705 | Total CCC MSID Count | NUM(8) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0277 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Teleswitch Contact Interval Data File |
| --- | --- |
| Flow Description: | Daily details of teleswitch contact switching times. Each file relates to a single day. It must include data for all Tele-switch Groups which are related to Standard Settlement Configurations defined in MDD for that day, and may optionally include data for other Tele-switch Groups (which ISRA will ignore). It is anticipated that Teleswitch Agent will meet this requirement by including all Tele-switch Groups in the file. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| Teleswitch Agent | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0018 | Date (Midnight to Midnight UTC) |
| J0135 | Tele-Switch User Id |
| J0136 | Tele-Switch Group Id |
| J1570 | Tele-Switch Contact Code |
| J1571 | Start of Day Tele-Switch on Indicator |
| J1572 | Effective Time (UTC) |
| J1573 | Tele-Switch On Indicator |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TSD | Teleswitch Date | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0018 | Date (Midnight to Midnight UTC) | DATE(0) |
| TSU | Teleswitch User | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
| TSG | Teleswitch Group | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
| TSC | Teleswitch Contact | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1570 | Tele-Switch Contact Code | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1571 | Start of Day Tele-Switch on Indicator | CHAR(1) |
| TCI | Teleswitch Contact Interval | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1572 | Effective Time (UTC) | TIME(0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1573 | Tele-Switch On Indicator | CHAR(1) |

| Notes: | The file should be ordered by Tele-Switch User Id, Tele-Switch Group Id, Tele-Switch Contact Code and Effective Time (UTC). |
| --- | --- |

| Flow Reference: | D0278 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Teleswitch Market Domain Data File |
| --- | --- |
| Flow Description: | Details of the market domain data required for teleswitched metering systems. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MDDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J0066 | GSP Group Id |
| J0744 | GMT Indicator |
| J1214 | Time Pattern Regime Id |
| J0134 | Tele-Switch/Clock Indicator |
| J0135 | Tele-Switch User Id |
| J0136 | Tele-Switch Group Id |
| J1574 | Tele-Switch Register Rule Id |
| J1570 | Tele-Switch Contact Code |
| J1575 | Tele-Switch Contact Rule |
| J0726 | Day of the Week Id |
| J0287 | End Day |
| J0288 | End Month |
| J0143 | End Time |
| J0289 | Start Day |
| J0290 | Start Month |
| J0142 | Start Time |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0075 | Standard Settlement Configuration Desc |
| J0135 | Tele-Switch User Id |
| J0136 | Tele-Switch Group Id |
| J1214 | Time Pattern Regime Id |
| J0071 | Profile Class Id |
| J1096 | Effective from Settlement Date |
| J1097 | Effective to Settlement Date |
| J0132 | Switched Load Indicator |
| J1214 | Time Pattern Regime Id |
| J0066 | GSP Group Id |
| J1096 | Effective from Settlement Date |
| J1097 | Effective to Settlement Date |
| J0133 | Average Fraction of Yearly Consumption |
| J1214 | Time Pattern Regime Id |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | N |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| TPD | Time Pattern Regime Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0744 | GMT Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0134 | Tele-Switch/Clock Indicator | CHAR(1) |
| TTP | Tele-Switch Time Pattern Regime Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
| TCR | Tele-Switch Contact Rule | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1574 | Tele-Switch Register Rule Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1570 | Tele-Switch Contact Code | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1575 | Tele-Switch Contact Rule | CHAR(1) |
| CKI | Clock Interval | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0726 | Day of the Week Id | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0287 | End Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0288 | End Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0143 | End Time | TIME(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0289 | Start Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0290 | Start Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0142 | Start Time | TIME(0) |
| SCI | Standard Settlement Configuration Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0075 | Standard Settlement Configuration Desc | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
| TPR | Measurement Requirement | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| VSD | VSCPC Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1097 | Effective to Settlement Date | DATE(0) |
| SLM | Switched Load Measurement Requirement Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0132 | Switched Load Indicator | BOOLEAN(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| ASD | AFYCS Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1097 | Effective to Settlement Date | DATE(0) |
| AFD | Average Fraction of Yearly Consumption Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0133 | Average Fraction of Yearly Consumption | NUM(7) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0278 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Teleswitch Market Domain Data File |
| --- | --- |
| Flow Description: | Details of the market domain data required for teleswitched metering systems. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MDDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J0066 | GSP Group Id |
| J0744 | GMT Indicator |
| J1214 | Time Pattern Regime Id |
| J0134 | Tele-Switch/Clock Indicator |
| J0135 | Tele-Switch User Id |
| J0136 | Tele-Switch Group Id |
| J1574 | Tele-Switch Register Rule Id |
| J1570 | Tele-Switch Contact Code |
| J1575 | Tele-Switch Contact Rule |
| J0726 | Day of the Week Id |
| J0287 | End Day |
| J0288 | End Month |
| J0143 | End Time |
| J0289 | Start Day |
| J0290 | Start Month |
| J0142 | Start Time |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0075 | Standard Settlement Configuration Desc |
| J0135 | Tele-Switch User Id |
| J0136 | Tele-Switch Group Id |
| J1683 | Standard Settlement Configuration Type |
| J1214 | Time Pattern Regime Id |
| J0071 | Profile Class Id |
| J1096 | Effective from Settlement Date |
| J1097 | Effective to Settlement Date |
| J0132 | Switched Load Indicator |
| J1214 | Time Pattern Regime Id |
| J0066 | GSP Group Id |
| J1096 | Effective from Settlement Date |
| J1097 | Effective to Settlement Date |
| J0133 | Average Fraction of Yearly Consumption |
| J1214 | Time Pattern Regime Id |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | N |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| TPD | Time Pattern Regime Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0744 | GMT Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0134 | Tele-Switch/Clock Indicator | CHAR(1) |
| TTP | Tele-Switch Time Pattern Regime Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
| TCR | Tele-Switch Contact Rule | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1574 | Tele-Switch Register Rule Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1570 | Tele-Switch Contact Code | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1575 | Tele-Switch Contact Rule | CHAR(1) |
| CKI | Clock Interval | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0726 | Day of the Week Id | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0287 | End Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0288 | End Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0143 | End Time | TIME(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0289 | Start Day | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0290 | Start Month | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0142 | Start Time | TIME(0) |
| SCE | Standard Settlement Configuration Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0075 | Standard Settlement Configuration Desc | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1683 | Standard Settlement Configuration Type | CHAR(1) |
| TPR | Measurement Requirement | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| VSD | VSCPC Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1097 | Effective to Settlement Date | DATE(0) |
| SLM | Switched Load Measurement Requirement Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0132 | Switched Load Indicator | BOOLEAN(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
| ASD | AFYCS Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1097 | Effective to Settlement Date | DATE(0) |
| AFD | Average Fraction of Yearly Consumption Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0133 | Average Fraction of Yearly Consumption | NUM(7) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0279 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Teleswitch Contact Interval Data Report File |
| --- | --- |
| Flow Description: | Details of the switching times for teleswitch contacts. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J0066 | GSP Group Id |
| J1089 | User Name |
| J1090 | Report Parameters |
| J1090 | Report Parameters |
| J0873 | Profile Production Run Date |
| J0874 | Profile Production Run Time |
| J1576 | Tele-Switch Date |
| J0135 | Tele-Switch User Id |
| J0136 | Tele-Switch Group Id |
| J1570 | Tele-Switch Contact Code |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J1579 | Tele-Switch Contact State |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| RDT | Report Parameters | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR | Teleswitch Contact Interval Data Report Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0873 | Profile Production Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0874 | Profile Production Run Time | TIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1576 | Tele-Switch Date | DATE(0) |
| TSU | Teleswitch User | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
| TSG | Teleswitch Group | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
| TSC | Teleswitch Contact | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1570 | Tele-Switch Contact Code | CHAR(1) |
| TCI | Teleswitch Contact Interval | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1578 | End Date and Time | DATETIME(0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1579 | Tele-Switch Contact State | BOOLEAN(0) |

| Notes: | The file should be ordered by Tele-Switch User Id, Tele-Switch Group Id, Tele-Switch Contact Code and Start Date and Time. |
| --- | --- |

| Flow Reference: | D0280 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Teleswitch Contact to Register Mapping File |
| --- | --- |
| Flow Description: | Details of the mapping between time pattern regimes and teleswitch contacts. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MDDA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1214 | Time Pattern Regime Id |
| J0135 | Tele-Switch User Id |
| J0136 | Tele-Switch Group Id |
| J1574 | Tele-Switch Register Rule Id |
| J1570 | Tele-Switch Contact Code |
| J1575 | Tele-Switch Contact Rule |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TTP | Tele-Switch Time Pattern Regime Details | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0135 | Tele-Switch User Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0136 | Tele-Switch Group Id | NUM(4) |
| TCR | Tele-Switch Contact Rules | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1574 | Tele-Switch Register Rule Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1570 | Tele-Switch Contact Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1575 | Tele-Switch Contact Rule | CHAR(1) |

| Notes: | The file should be ordered by Time Pattern Regime Id, Tele-Switch Register Rule Id and Tele-Switch Contact Code. |
| --- | --- |

| Flow Reference: | D0286 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Data Aggregation and Settlements Timetable File |
| --- | --- |
| Flow Description: | The timetable of certain settlement activities related to payment dates for a range of payment dates. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MDDA | NHHDA | 15.4 |
| MDDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1584 | First Payment Date |
| J1585 | Last Payment Date |
| J0146 | Settlement Code |
| J0073 | Settlement Date |
| J0902 | Payment Date |
| J0747 | SVA Notification Deadline Date |
| J1586 | Planned Data Aggregation Run Date |
| J1587 | Planned SSR Run Date |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TTH | Timetable Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1584 | First Payment Date | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1585 | Last Payment Date | (0) |
| PST | Timetable Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0902 | Payment Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0747 | SVA Notification Deadline Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1586 | Planned Data Aggregation Run Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1587 | Planned SSR Run Date | DATE(0) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0287 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Annually Recalculated Researched Consumption |
| --- | --- |
| Flow Description: | Details of the recalculated Average Fraction of Yearly Consumption (AFYC), GSP Group Profile Class Average EACs and GSP Group Profile Class Default EACs. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | MDDA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0066 | GSP Group Id |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J1214 | Time Pattern Regime Id |
| J0133 | Average Fraction of Yearly Consumption |
| J0731 | Effective from Settlement Date {AFOYCS} |
| J0738 | Effective to Settlement Date {AFOYCS} |
| J0768 | Researched Average EAC |
| J0763 | Effective from Settlement Date {GGPCAE} |
| J1593 | Researched Default EAC |
| J1592 | Effective from Settlement Date {GGPCDE} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GSP | GSP Groups | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| PFC | Profile Class | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
| SSC | VSCPC Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
| AFC | AFYC Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1214 | Time Pattern Regime Id | CHAR(5) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0133 | Average Fraction of Yearly Consumption | NUM(7) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0731 | Effective from Settlement Date {AFOYCS} | DATE(0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0738 | Effective to Settlement Date {AFOYCS} | DATE(0) |
| GAE | GSPG PC Average EACs | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0768 | Researched Average EAC | NUM(12) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0763 | Effective from Settlement Date {GGPCAE} | DATE(0) |
| GDE | GSPG PC Default EACs | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1593 | Researched Default EAC | NUM(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1592 | Effective from Settlement Date {GGPCDE} | DATE(0) |

| Notes: | The use of the term "recalculated" is deliberate. This data flow will only be used for details where an existing value has been recalculated. New AFYCs, Average and Default EACs will be handled through the normal channels for MDD. |
| --- | --- |

| Flow Reference: | D0289 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Notification of MC/EAC/PC |
| --- | --- |
| Flow Description: | Establishes the Measurement Class for Half Hourly metered or unmetered supply. It also provides a Profile Class and EAC to allow the estimation of consumption. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | HHDC | 15.4 |
| Supplier | MOP | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0049 | Effective from Settlement Date {REGI} |
| J0082 | Measurement Class Id |
| J0094 | Effective from Settlement Date {MSMCDC} |
| J0081 | Estimated Annual Consumption |
| J0090 | Effective from Settlement Date {EACDC} |
| J0071 | Profile Class Id |
| J0092 | Effective from Settlement Date {MSPCDC} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 82B | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
| 83B | Measurement Class Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0094 | Effective from Settlement Date {MSMCDC} | DATE(0) |
| 84B | EAC Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0081 | Estimated Annual Consumption | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0090 | Effective from Settlement Date {EACDC} | DATE(0) |
| 85B | Profile Class Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0092 | Effective from Settlement Date {MSPCDC} | DATE(0) |

| Notes: | EAC Details and Profile Class details must be populated on change of Measurement Class Details where recipient is the HHDC.Effective dates can not be earlier than the REGI date.It is anticipated this data flow would arrive at a similar time to the D0148 & the D0131 in the appointment life cycle.Where this flow is sent to the Meter Operator, only the Supplier and Measurement Class details should be populated (Groups 82B and 83B). |
| --- | --- |

| Flow Reference: | D0290 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Instruction to Read Meter |
| --- | --- |
| Flow Description: | The Data Processor will inform the Meter Reader of the required Customer, Site, Meter, and Reading details in order for a meter reading site visit to be arranged. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| NHHDC | MRS | 15.4 |
| SDSA | MRS | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0084 | Supplier Id |
| J0080 | Energisation Status |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0375 | Customer Name |
| J0693 | Customer Password |
| J0692 | Special Access |
| J0489 | Contact Name |
| J0490 | Contact Telephone Number |
| J0012 | Additional Information |
| J0277 | Regular Reading Cycle |
| J1595 | Target Read Date |
| J0173 | Reason for Request |
| J0174 | Appointment Date |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J0173 | Reason for Request |
| J0004 | Meter Id |
| J0419 | Meter Location |
| J0098 | Retrieval Method |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0078 | Time Pattern Regime |
| J0010 | Meter Register Id |
| J0679 | Register Mapping Coefficient |
| J0474 | Meter Register Type |
| J0103 | Measurement Quantity Id |
| J0478 | Number of Register Digits |
| J1598 | Expected Register Reading |
| J1596 | High Tolerance Reading |
| J1597 | Low Tolerance Reading |
| J1267 | Metering System Non Settlement Functionality Code |
| J0078 | Time Pattern Regime |
| J0010 | Meter Register Id |
| J0679 | Register Mapping Coefficient |
| J0474 | Meter Register Type |
| J0103 | Measurement Quantity Id |
| J0478 | Number of Register Digits |
| J1598 | Expected Register Reading |
| J1596 | High Tolerance Reading |
| J1597 | Low Tolerance Reading |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 86B | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0693 | Customer Password | CHAR(10) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0692 | Special Access | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0489 | Contact Name | CHAR(50) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0490 | Contact Telephone Number | CHAR(14) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 87B | Reading Window Details | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J0277 | Regular Reading Cycle | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1595 | Target Read Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0173 | Reason for Request | CHAR(100) |
| 88B | Appointment Details | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0174 | Appointment Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0173 | Reason for Request | CHAR(100) |
| 89B | Meter Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0098 | Retrieval Method | CHAR(1) |
| 90B | Settlement Registers | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
| 91B | Time Pattern Regime | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0078 | Time Pattern Regime | (0) |
| 92B | Expected Register Readings | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0679 | Register Mapping Coefficient | NUM(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0474 | Meter Register Type | CHAR(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0478 | Number of Register Digits | NUM(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1598 | Expected Register Reading | NUM(9) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1596 | High Tolerance Reading | NUM(9) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1597 | Low Tolerance Reading | NUM(9) |
| 93B | Non Settlement Registers | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1267 | Metering System Non Settlement Functionality Code | CHAR(10) |
| 94B | Time Pattern Regimes | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0078 | Time Pattern Regime | (0) |
| 95B | Expected Register Readings | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0679 | Register Mapping Coefficient | NUM(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0474 | Meter Register Type | CHAR(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0478 | Number of Register Digits | NUM(1) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1598 | Expected Register Reading | NUM(9) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1596 | High Tolerance Reading | NUM(9) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1597 | Low Tolerance Reading | NUM(9) |

| Notes: | See Annex C for Flow Notes |
| --- | --- |

| Flow Reference: | D0291 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Register Readings on Change of Measurement Class coincident with Change of Supplier |
| --- | --- |
| Flow Description: | HHMO notifies the NHHMO of the register readings on a change of measurement class from NHH to HH. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MOP | MOP | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1626 | CoS and Coincident CoMC Indicator |
| J0924 | Effective from Settlement Date {REGI} for New Supplier |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0014 | Date of Action |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |
| J0004 | Meter Id |
| J1269 | Date of Meter Removal |
| J0024 | Site Visit Check Code |
| J0012 | Additional Information |
| J1627 | Register Description |
| J0040 | Register Reading |
| J0016 | Reading Date & Time |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10C | Non Half Hourly Metering System | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1626 | CoS and Coincident CoMC Indicator | BOOLEAN(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0924 | Effective from Settlement Date {REGI} for New Supplier | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0014 | Date of Action | DATE(0) |
| 11C | Non Half Hourly Meter not present | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 12C | Non Half Hourly Meter details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1269 | Date of Meter Removal | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0024 | Site Visit Check Code | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 13C | Non Half Hourly Meter Registers | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1627 | Register Description | CHAR(255) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |

| Notes: | The HH Meter Operator may remove or reconfigure the NHH Metering System on a change of measurement class, however, they may not be aware of the various register mappings that need to be applied. The HHMO is therefore required to pass any/all of the register readings along with register details to the NHHMO to enable them to translate the values given into readings that may be used by the NHHDC. Where the NHH meter is not present, or final readings were not obtained the HHMO needs to provide this information to the NHHMO. |
| --- | --- |

| Flow Reference: | D0294 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Confirmation of BM Unit Allocation |
| --- | --- |
| Flow Description: | Used to notify a Supplier that their BM Unit allocation has been accepted and include verification of the allocation. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| HHDA | Supplier | 15.4 |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J1017 | Incoming Instruction Number |
| J0003 | MPAN Core |
| J1628 | BM Unit Id |
| J1647 | Effective from Settlement Date {MSBMU} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 21C | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 22C | Confirmed Allocations | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1017 | Incoming Instruction Number | NUM(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1647 | Effective from Settlement Date {MSBMU} | DATE(0) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0295 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Rejection of BM Unit Allocation |
| --- | --- |
| Flow Description: | Notification to the Supplier that the BM Unit allocation has been rejected and giving the reason for rejection. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| HHDA | Supplier | 15.4 |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J1017 | Incoming Instruction Number |
| J0003 | MPAN Core |
| J1628 | BM Unit Id |
| J1647 | Effective from Settlement Date {MSBMU} |
| J1646 | BM Unit Allocation Rejection Reason Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 23C | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 24C | Rejected Allocations | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J1017 | Incoming Instruction Number | NUM(12) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1647 | Effective from Settlement Date {MSBMU} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1646 | BM Unit Allocation Rejection Reason Code | CHAR(2) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0296 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Supplier BM Unit Report |
| --- | --- |
| Flow Description: | Report for each Supplier containing details of the Suppliers valid BM Units, GSP Group/BM Unit/Profile Class/Standard Settlement Configuration mappings and consumption/generation by BM Unit and Consumption Component Class. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1628 | BM Unit Id |
| J1631 | Default BM Unit Flag |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J1628 | BM Unit Id |
| J1631 | Default BM Unit Flag |
| J0160 | Consumption Component Class Id |
| J0165 | GSP Group Correction Scaling Factor |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J1629 | Aggregated BM Unit Energy |
| J1630 | Aggregated BM Unit Line Losses |
| J1638 | Corrected BM Unit Energy |
| J1639 | Corrected BM Unit Line Losses |
| J1642 | Daily Aggregated BM Unit Energy |
| J1643 | Daily Aggregated BM Unit Line Losses |
| J1644 | Daily Corrected BM Unit Energy |
| J1645 | Daily Corrected BM Unit Line Losses |
| J1628 | BM Unit Id |
| J1631 | Default BM Unit Flag |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J1636 | Uncorrected Period BM Unit Total Allocated Volume |
| J1637 | Period BM Unit Total Allocated Volume |
| J1640 | Daily Uncorrected Period BM Unit Total Allocated Volume |
| J1641 | Daily Period BM Unit Total Allocated Volume |
| J0183 | Data Aggregator Id |
| J0271 | Data Aggregator Name |
| J1628 | BM Unit Id |
| J1634 | SSR Run BM Unit Id |
| J1635 | Default BM Unit Reason Code |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0160 | Consumption Component Class Id |
| J0162 | Consumption Component Indicator |
| J0163 | Data Aggregation Type |
| J0103 | Measurement Quantity Id |
| J0164 | Metered/Unmetered Indicator |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J1629 | Aggregated BM Unit Energy |
| J1630 | Aggregated BM Unit Line Losses |
| J0241 | Data Aggregator HH MSID Count |
| J1642 | Daily Aggregated BM Unit Energy |
| J1643 | Daily Aggregated BM Unit Line Losses |
| J1120 | Daily DA HH MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| RDT | Report Parameters | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR | Additional Header Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
| GSP | GSP Group | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| BM1 | BM Unit Standing Data | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1631 | Default BM Unit Flag | BOOLEAN(0) |
| PCL | Profile Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
| SSC | Standard Settlement Configuration | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
| BM2 | BM Unit Half Hourly and Non-Half Hourly Energy by CCC and Settlement Period | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1631 | Default BM Unit Flag | BOOLEAN(0) |
| CCC | Consumption Component Class Half Hourly and Non-Half Hourly Energy | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| SE1 | Settlement Period Half Hourly and Non-Half Hourly Energy | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1629 | Aggregated BM Unit Energy | NUM(14) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1630 | Aggregated BM Unit Line Losses | NUM(14) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1638 | Corrected BM Unit Energy | NUM(14) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1639 | Corrected BM Unit Line Losses | NUM(14) |
| TL1 | Daily Total 1 BM Unit Half Hourly and Non-Half Hourly Energy | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J1642 | Daily Aggregated BM Unit Energy | NUM(14) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1643 | Daily Aggregated BM Unit Line Losses | NUM(14) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1644 | Daily Corrected BM Unit Energy | NUM(14) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1645 | Daily Corrected BM Unit Line Losses | NUM(14) |
| BM3 | BM Unit Half Hourly and Non-Half Hourly Energy by Settlement Period | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1631 | Default BM Unit Flag | BOOLEAN(0) |
| BMV | Period BM Unit Total Allocated Volume | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1636 | Uncorrected Period BM Unit Total Allocated Volume | NUM(14) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1637 | Period BM Unit Total Allocated Volume | NUM(14) |
| TL2 | Daily Total 2 BM Unit Half Hourly and Non-Half Hourly Energy | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1640 | Daily Uncorrected Period BM Unit Total Allocated Volume | NUM(14) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1641 | Daily Period BM Unit Total Allocated Volume | NUM(14) |
| DA2 | Data Aggregator | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0271 | Data Aggregator Name | CHAR(40) |
| BM4 | BM Unit Half Hourly Energy | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1634 | SSR Run BM Unit Id | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1635 | Default BM Unit Reason Code | CHAR(2) |
| CC2 | Consumption Component Class Half Hourly Energy | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
| SE2 | Settlement Period Half Hourly Energy | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1629 | Aggregated BM Unit Energy | NUM(14) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1630 | Aggregated BM Unit Line Losses | NUM(14) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0241 | Data Aggregator HH MSID Count | NUM(10) |
| TL3 | Daily Total BM Unit Half Hourly Energy | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | O |  |  | J1642 | Daily Aggregated BM Unit Energy | NUM(14) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1643 | Daily Aggregated BM Unit Line Losses | NUM(14) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1120 | Daily DA HH MSID Count | NUM(10) |

| Notes: | The Supplier BM Unit Report is output in ascending order by GSP Group Id. The sort order of the repeating groups is specified as follows:BM1 BM Unit Id, Profile Class Id, Standard Settlement Configuration IdBM2 BM Unit Id, Consumption Component Class Id, Settlement Period IdBM3 BM Unit Id, Settlement Period IdDA2 Data Aggregator Id, BM Unit Id, Consumption Component Class Id, Settlement Period IdThe BM1 group will include all BM Units effective in the GSP Group on the Settlement Day for the Supplier. This includes BM Units for which no energy was allocated by the SSR Run;Profile Class/Standard Settlement Configuration mappings (PCL group) are included only where they have been notified to the SVAA by the Supplier;The BM2 and BM3 groups will include only those BM Units for which energy volumes have been allocated by the SSR Run; andThe BM Unit Id field in the BM4 group will be populated with the BM Unit Id supplied by the HHDA. If the HHDA provides D0040 files (without BMU) then this field will be null. |
| --- | --- |

| Flow Reference: | D0297 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of BM Unit Allocation |
| --- | --- |
| Flow Description: | Supplier notification to HHDA or SVAA of the BM Unit for an MPAN. To be used for both initial allocation (where the Supplier doesnt want to use the default BM Unit) and for updates. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | HHDA | 15.4 |
| Supplier | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0003 | MPAN Core |
| J1628 | BM Unit Id |
| J1647 | Effective from Settlement Date {MSBMU} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 44C | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 45C | BM Unit Allocation | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1647 | Effective from Settlement Date {MSBMU} | DATE(0) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0298 |
| --- | --- |
| Flow Version: | 003 | Status: Operational |

| Flow Name: | BM Unit Aggregated Half Hour Data File |
| --- | --- |
| Flow Description: | Aggregated line loss adjusted HH consumption/generation figures in a GSP Group by Supplier and BM Unit. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDA | Supplier | 15.4 |
| HHDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J0084 | Supplier Id |
| J1628 | BM Unit Id |
| J0160 | Consumption Component Class Id |
| J0074 | Settlement Period Id |
| J0241 | Data Aggregator HH MSID Count |
| J1629 | Aggregated BM Unit Energy |
| J1630 | Aggregated BM Unit Line Losses |
| J0084 | Supplier Id |
| J1628 | BM Unit Id |
| J0160 | Consumption Component Class Id |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0074 | Settlement Period Id |
| J0241 | Data Aggregator HH MSID Count |
| J1629 | Aggregated BM Unit Energy |
| J1630 | Aggregated BM Unit Line Losses |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| SUP | Supplier | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| BMU | BM Unit | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
| CCC | Consumption Component Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
| SET | Settlement Period / Data Aggregator HH MSID Count | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0241 | Data Aggregator HH MSID Count | NUM(10) |
| ABE | Aggregated BM Unit Energy | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1629 | Aggregated BM Unit Energy | NUM(14) |
| ABL | Aggregated BM Unit Line Losses | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1630 | Aggregated BM Unit Line Losses | NUM(14) |
| 37J | Supplier ID | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 38J | BM Unit | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
| 39J | Consumption Component Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
| 40J | Line Loss Factor Class | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
| 41J | Settlement Period / Data Aggregator HH MSID Count | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0241 | Data Aggregator HH MSID Count | NUM(10) |
| 42J | Aggregated BM Unit Energy | 1 |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J1629 | Aggregated BM Unit Energy | NUM(14) |
| 43J | Aggregated BM Unit Line Losses | 1 |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J1630 | Aggregated BM Unit Line Losses | NUM(14) |

| Notes: | Where this flow is being sent to the Supplier, the flow will contain data for that Supplier only.The BM Unit Aggregated Half Hour Data File is output in ascending order by Supplier Id, BM Unit Id, Consumption Component Class Id and Settlement Period Id. |
| --- | --- |

| Flow Reference: | D0299 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Stage 2 BM Unit Registration Data File |
| --- | --- |
| Flow Description: | The file of Stage 2 BM Units and their associations to Suppliers and GSP Groups. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MDDA | HHDA | 15.4 |
| MDDA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0754 | MDD Version Number |
| J0773 | MDD Publication Date |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0084 | Supplier Id |
| J1628 | BM Unit Id |
| J1632 | Effective from Settlement Date {BMUIGG} |
| J1633 | Effective to Settlement Date {BMUIGG} |
| J1631 | Default BM Unit Flag |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MDD | Market Domain Data Version | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0754 | MDD Version Number | NUM(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0773 | MDD Publication Date | DATE(0) |
| GSG | GSP Groups | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| SUP | Supplier | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
| BMR | BM Unit Registration | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1632 | Effective from Settlement Date {BMUIGG} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1633 | Effective to Settlement Date {BMUIGG} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1631 | Default BM Unit Flag | BOOLEAN(0) |

| Notes: | The Stage 2 BM Unit Registration Data File is output in ascending order by GSP Group Id, Supplier Id and BM Unit Id;The Stage 2 BM Unit Registration Data File contains all Stage 2 BM Units registered in MDD at the time that the file is generated. It does not include logically deleted BM Units; andIn order to ensure that a BM Unit is available for any consumption received by the SVAA, a Default BM Unit will be defined for each Supplier for every GSP Group in England and Wales. |
| --- | --- |

| Flow Reference: | D0300 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Disputed Readings or Missing Readings on Change of Supplier |
| --- | --- |
| Flow Description: | Notification of a disputed/missing Meter Readings on Change of Supplier and the associated details. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| NHHDC | Supplier | 15.4 |
| Supplier | NHHDC | 15.4 |
| Supplier | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1703 | MPAN Core Process |
| J0924 | Effective from Settlement Date {REGI} for New Supplier |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0012 | Additional Information |
| J1663 | Record Rejection Reason Indicator |
| J0004 | Meter Id |
| J1704 | Initiating Flow Indicator |
| J0010 | Meter Register Id |
| J0040 | Register Reading |
| J0171 | Reading Type |
| J1265 | Change of Supplier Reading Rejection Code |
| J1659 | Proposed Register Reading |
| J1660 | Status of Proposed Reading(s) |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 58C | MPAN Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1703 | MPAN Core Process | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0924 | Effective from Settlement Date {REGI} for New Supplier | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1663 | Record Rejection Reason Indicator | CHAR(2) |
| 59C | Meter Id | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1704 | Initiating Flow Indicator | NUM(1) |
| 60C | Meter Register Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0040 | Register Reading | NUM(9) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0171 | Reading Type | CHAR(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1265 | Change of Supplier Reading Rejection Code | CHAR(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1659 | Proposed Register Reading | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1660 | Status of Proposed Reading(s) | CHAR(1) |

| Notes: | Although each address line in this flow is optional, the address itself is mandatory and must be included in the flow in Standard Address Format (SAF) |
| --- | --- |

| Flow Reference: | D0301 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Erroneous Transfer Communication |
| --- | --- |
| Flow Description: | Notification / Update of an Erroneous Registration / Transfer |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0924 | Effective from Settlement Date {REGI} for New Supplier |
| J1669 | Initial Customer Contact Date |
| J1657 | Initiating Supplier Id |
| J1650 | Associated Supplier Id |
| J0375 | Customer Name |
| J1668 | Customer Telephone Number |
| J1670 | Customer Requests No Contact |
| J1671 | Reason for Return |
| J1672 | Status of Erroneous Transfer |
| J0012 | Additional Information |
| J1671 | Reason for Return |
| J1672 | Status of Erroneous Transfer |
| J0012 | Additional Information |
| J0004 | Meter Id |
| J0171 | Reading Type |
| J0010 | Meter Register Id |
| J0016 | Reading Date & Time |
| J0040 | Register Reading |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 63C | Metering Point / Customer Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0924 | Effective from Settlement Date {REGI} for New Supplier | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1669 | Initial Customer Contact Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1657 | Initiating Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1650 | Associated Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1668 | Customer Telephone Number | CHAR(14) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1670 | Customer Requests No Contact | CHAR(1) |
| 64C | Erroneous Registration / Transfer Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1671 | Reason for Return | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1672 | Status of Erroneous Transfer | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 65C | Erroneous Registration / Transfer Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J1671 | Reason for Return | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1672 | Status of Erroneous Transfer | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 66C | Meter / Reading Types | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0171 | Reading Type | CHAR(1) |
| 67C | ET Readings | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |

| Notes: | See Annex C for flow notesJ0012 (Additional Information) is mandatory if J1672 (Status of Erroneous Transfer) is populated with C or F. |
| --- | --- |

| Flow Reference: | D0302 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Notification of Customer Details |
| --- | --- |
| Flow Description: | The Supplier will inform the participants of customer contact address and mailing address details. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMVLP | ADSA | 15.4 |
| AMVLP | AMEM | 15.4 |
| AMVLP | HHDC | 15.4 |
| AMVLP | MOP | 15.4 |
| Supplier | ADSA | 15.4 |
| Supplier | AMEM | 15.4 |
| Supplier | Distributor | 15.4 |
| Supplier | HHDC | 15.4 |
| Supplier | MOP | 15.4 |
| Supplier | NHHDC | 15.4 |
| Supplier | SDSA | 15.4 |
| Supplier | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0049 | Effective from Settlement Date {REGI} |
| J0375 | Customer Name |
| J0012 | Additional Information |
| J0693 | Customer Password |
| J0694 | Customer Password Effective from Date |
| J0692 | Special Access |
| J1011 | Maximum Power Requirement |
| J0489 | Contact Name |
| J1845 | Customer Preferred Contact Method |
| J0490 | Contact Telephone Number |
| J0491 | Contact Fax Number |
| J2060 | Contact Email |
| J1674 | Delete Mailing Address Data Held |
| J1046 | Mailing Address Line 1 |
| J1047 | Mailing Address Line 2 |
| J1048 | Mailing Address Line 3 |
| J1049 | Mailing Address Line 4 |
| J1050 | Mailing Address Line 5 |
| J1051 | Mailing Address Line 6 |
| J1052 | Mailing Address Line 7 |
| J1053 | Mailing Address Line 8 |
| J1054 | Mailing Address Line 9 |
| J0566 | Mailing Address Postcode |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 68C | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
| 69C | Customer Details | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0375 | Customer Name | CHAR(100) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0693 | Customer Password | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0694 | Customer Password Effective from Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0692 | Special Access | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1011 | Maximum Power Requirement | NUM(6) |
| 15J | Contact Name | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0489 | Contact Name | CHAR(50) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1845 | Customer Preferred Contact Method | CHAR(1) |
| 16J | Contact Telephone | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0490 | Contact Telephone Number | CHAR(14) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0491 | Contact Fax Number | CHAR(14) |
| 17J | Contact Email | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2060 | Contact Email | CHAR(100) |
| 70C | Mailing Address | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J1674 | Delete Mailing Address Data Held | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1046 | Mailing Address Line 1 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1047 | Mailing Address Line 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1048 | Mailing Address Line 3 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1049 | Mailing Address Line 4 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1050 | Mailing Address Line 5 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1051 | Mailing Address Line 6 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1052 | Mailing Address Line 7 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1053 | Mailing Address Line 8 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1054 | Mailing Address Line 9 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0566 | Mailing Address Postcode | (0) |

| Notes: | This flow must be sent whenever there is a new or changed value for any data item contained within Groups 69C, 15J, 16J, 17J.The address should only be populated where there is a new or changed mailing address. Though each address line in this flow is optional, when an address is to be updated using this flow the entire address must be included in the flow. An update to an individual line within an address will require the entire address to be sent.Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0303 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Notification of Meter Operator, Supplier and Metering Assets installed / removed by the MOP to the MAP |
| --- | --- |
| Flow Description: | Notification to the MAP of any change to relevant MOP appointments, Supplier registration and Meter Assets. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| AMEM | MAP | 15.4 |
| MOP | MAP | 15.4 |
| SMEM | MAP | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0178 | Meter Operator Id |
| J0003 | MPAN Core |
| J0210 | Effective from Date {MOA} |
| J0360 | Effective to Date {MOA} |
| J1680 | Date of Installation / Removal of Timing Device / Associated Equipment |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J0012 | Additional Information |
| J0084 | Supplier Id |
| J0049 | Effective from Settlement Date {REGI} |
| J1681 | MAP Contract Reference |
| J0274 | Service Reference |
| J0275 | Service Level Reference |
| J1194 | New Supplier Id |
| J0004 | Meter Id |
| J0410 | Manufacturers Make & Type |
| J0848 | Date of Meter Installation |
| J0716 | Timing Device Id (Serial Number) |
| J1678 | Associated Equipment Type |
| J1679 | Associated Equipment Serial Number |
| J1269 | Date of Meter Removal |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 72C | Meter Operator Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0178 | Meter Operator Id | CHAR(4) |
| 73C | MPAN Cores | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0210 | Effective from Date {MOA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0360 | Effective to Date {MOA} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1680 | Date of Installation / Removal of Timing Device / Associated Equipment | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1681 | MAP Contract Reference | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0274 | Service Reference | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0275 | Service Level Reference | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1194 | New Supplier Id | (0) |
| 74C | Meter Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0410 | Manufacturers Make & Type | CHAR(60) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0848 | Date of Meter Installation | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0716 | Timing Device Id (Serial Number) | CHAR(10) |
| 75C | Associated Equipment Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1678 | Associated Equipment Type | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1679 | Associated Equipment Serial Number | CHAR(16) |
| 76C | Removal Date | 0-1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1269 | Date of Meter Removal | DATE(0) |

| Notes: | The optionality of the MPAN Address and MAP contract details will be determined by the MAP in the bilateral agreement between the MAP and MOP or the agreement between the MAP and the Supplier as appropriate in the circumstances.In addition to the mandatory scenarios when this flow must be sent, it may also be used by bilateral agreement when the MPAN Address and / or MAP contract details have changed. |
| --- | --- |

| Flow Reference: | D0304 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Meter Asset Provider |
| --- | --- |
| Flow Description: | This is a notification sent to inform Parties the identity of the New MAP for particular metering equipment. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MAP | AMEM | 15.4 |
| MAP | MOP | 15.4 |
| MAP | SMEM | 15.4 |
| MOP | Distributor | 15.4 |
| MOP | MPAS | 15.4 |
| MOP | Supplier | 15.4 |
| MPAS | MOP | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1677 | Meter Asset Provider Id |
| J1682 | Effective from Date {MAPA} |
| J0003 | MPAN Core |
| J0012 | Additional Information |
| J0048 | Contract Reference |
| J0274 | Service Reference |
| J0275 | Service Level Reference |
| J0004 | Meter Id |
| J0410 | Manufacturers Make & Type |
| J0716 | Timing Device Id (Serial Number) |
| J1678 | Associated Equipment Type |
| J1679 | Associated Equipment Serial Number |
| J2255 | MPAS D0304 Response Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 77C | New MAP Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1677 | Meter Asset Provider Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1682 | Effective from Date {MAPA} | DATE(0) |
| 78C | MPAN Cores | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0048 | Contract Reference | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0274 | Service Reference | CHAR(4) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0275 | Service Level Reference | CHAR(4) |
| 79C | Meter Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0410 | Manufacturers Make & Type | CHAR(60) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0716 | Timing Device Id (Serial Number) | CHAR(10) |
| 80C | Associated Equipment Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1678 | Associated Equipment Type | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1679 | Associated Equipment Serial Number | CHAR(16) |
| 72M | MPAS Response | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2255 | MPAS D0304 Response Code | CHAR(1) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0306 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Request for Debt Information |
| --- | --- |
| Flow Description: | Request for debt information upon agreement from Customer |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J2248 | Customer Title |
| J2246 | Customer Forename |
| J2247 | Customer Surname |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J2249 | DAP Rejection Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 87C | Metering Point / Customer Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J2248 | Customer Title | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J2246 | Customer Forename | CHAR(100) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2247 | Customer Surname | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
| 61M | Rejection Reason | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2249 | DAP Rejection Code | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0307 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Debt Information |
| --- | --- |
| Flow Description: | Estimate of Debt Held on Meter |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1694 | Complex Debt Indicator |
| J0012 | Additional Information |
| J0547 | Debt Recovery Rate |
| J1695 | Estimated Total Debt Outstanding |
| J2249 | DAP Rejection Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 90C | Customer Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1694 | Complex Debt Indicator | BOOLEAN(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 91C | Debt Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0547 | Debt Recovery Rate | NUM(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1695 | Estimated Total Debt Outstanding | NUM(7) |
| 62M | Rejection Reason | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2249 | DAP Rejection Code | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0308 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Confirmation of Customer Debt Transfer |
| --- | --- |
| Flow Description: | Confirmation that a transfer of customer debt has been accepted |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1696 | Earliest Resubmission Date |
| J0012 | Additional Information |
| J2248 | Customer Title |
| J2246 | Customer Forename |
| J2247 | Customer Surname |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J2249 | DAP Rejection Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 93C | Customer Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1696 | Earliest Resubmission Date | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
|  |  |  |  |  | O |  |  |  |  |  |  | J2248 | Customer Title | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J2246 | Customer Forename | CHAR(100) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2247 | Customer Surname | CHAR(100) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
| 63M | Rejection Reason | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2249 | DAP Rejection Code | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0309 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Confirmation of Debt Assigned |
| --- | --- |
| Flow Description: | Confirmation of the amount of debt to be assigned |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0547 | Debt Recovery Rate |
| J1695 | Estimated Total Debt Outstanding |
| J0544 | Total Debt Outstanding |
| J1698 | Amount of VAT |
| J1697 | Factored Total Payment |
| J2250 | DAP Response Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 96C | Customer Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
| 97C | Final Debt Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0547 | Debt Recovery Rate | NUM(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1695 | Estimated Total Debt Outstanding | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0544 | Total Debt Outstanding | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1698 | Amount of VAT | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1697 | Factored Total Payment | NUM(7) |
| 64M | Response Code | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2250 | DAP Response Code | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0310 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Failure to load or receive Metering System Settlement Details |
| --- | --- |
| Flow Description: | Provides details of any failure to load or receive Metering System Settlement Details by an NHHDC. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| NHHDC | Supplier | 15.4 |
| NHHDC | UMSO | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0300 | Effective from Settlement Date {SCON} |
| J1702 | Settlement Details Failure Reason Code |
| J0012 | Additional Information |
| J0003 | MPAN Core |
| J0049 | Effective from Settlement Date {REGI} |
| J0071 | Profile Class Id |
| J0092 | Effective from Settlement Date {MSPCDC} |
| J0082 | Measurement Class Id |
| J0094 | Effective from Settlement Date {MSMCDC} |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0300 | Effective from Settlement Date {SCON} |
| J0066 | GSP Group Id |
| J0093 | Effective from Settlement Date {MSGGDC} |
| J0078 | Time Pattern Regime |
| J0081 | Estimated Annual Consumption |
| J0090 | Effective from Settlement Date {EACDC} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 00D | MPAN Details with NHHDC received Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0300 | Effective from Settlement Date {SCON} | DATE(0) |
| 01D | Error Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1702 | Settlement Details Failure Reason Code | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 02D | MPAN Cores with Settlement Dates from D0052 | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0092 | Effective from Settlement Date {MSPCDC} | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0082 | Measurement Class Id | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0094 | Effective from Settlement Date {MSMCDC} | DATE(0) |
| 03D | Settlement Details from D0052 | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0300 | Effective from Settlement Date {SCON} | DATE(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0093 | Effective from Settlement Date {MSGGDC} | DATE(0) |
| 04D | Time Pattern Regime from D0052 | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0081 | Estimated Annual Consumption | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0090 | Effective from Settlement Date {EACDC} | DATE(0) |

| Notes: | This flow includes unmetered supply requirements.See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0311 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Notification of Old Supplier Information |
| --- | --- |
| Flow Description: | Old Supplier notifies New Supplier of existing billing information. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | NHHDC | 15.4 |
| Supplier | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0928 | Effective to Settlement Date {REGI} for Old Supplier |
| J0080 | Energisation Status |
| J0071 | Profile Class Id |
| J0220 | Meter Timeswitch Code |
| J0147 | Line Loss Factor Class Id |
| J1026 | Address Line 1 |
| J1027 | Address Line 2 |
| J1028 | Address Line 3 |
| J1029 | Address Line 4 |
| J1030 | Address Line 5 |
| J1031 | Address Line 6 |
| J1032 | Address Line 7 |
| J1033 | Address Line 8 |
| J1034 | Address Line 9 |
| J0757 | Postcode |
| J0004 | Meter Id |
| J0483 | Meter Type |
| J2239 | Last Inspection Date |
| J0010 | Meter Register Id |
| J0016 | Reading Date & Time |
| J0040 | Register Reading |
| J0171 | Reading Type |
| J0078 | Time Pattern Regime |
| J0010 | Meter Register Id |
| J0040 | Register Reading |
| J1096 | Effective from Settlement Date |
| J0078 | Time Pattern Regime |
| J0081 | Estimated Annual Consumption |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 05D | MPAN | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0928 | Effective to Settlement Date {REGI} for Old Supplier | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0080 | Energisation Status | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0220 | Meter Timeswitch Code | NUM(3) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1026 | Address Line 1 | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1027 | Address Line 2 | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1028 | Address Line 3 | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1029 | Address Line 4 | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1030 | Address Line 5 | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1031 | Address Line 6 | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1032 | Address Line 7 | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1033 | Address Line 8 | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1034 | Address Line 9 | CHAR(40) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0757 | Postcode | CHAR(10) |
| 06D | Meter Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0483 | Meter Type | CHAR(5) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2239 | Last Inspection Date | DATE(8) |
| 07D | Last Actual or Customer Register Readings | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0016 | Reading Date & Time | DATETIME(0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0171 | Reading Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
| 08D | Old Supplier Estimated CoS Readings | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0040 | Register Reading | NUM(9) |
| 09D | Old Supplier's Last EAC Header | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1096 | Effective from Settlement Date | DATE(0) |
| 10D | Old Supplier's Last EAC Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0081 | Estimated Annual Consumption | NUM(14) |

| Notes: | The Flow is sent in order for the New Supplier to have early visibility of key information and may be used at the New Suppliers discretion as an aid to identify potential problems when data is compared to that from other sources. It does not supersede industry process flow data. Address details in this flow (Address Lines 1-9 and Postcode) should refer to the Site Address held within the billing system, rather than the Billing/ Contact Address. Groups 09D and 10D refer to Estimated Annual Consumption and should be completed with information received from the NHHDC for Non-MHHS Metering Points only, e.g. groups EAH and EAD from D0019. All other fields should be populated with the Old Suppliers view of the data items from their billing processes. For example, Meter Type should be populated with the Meter Type that the customer is being billed to rather than the latest view of Meter Type from the MOp. This is to enable the New Supplier to identify potential mismatches between historic customer billing and the MPAS/ Agent view. The Old Supplier Estimated CoS Reading should be populated with an Estimated Reading produced from the Old Supplier Billing system only where the Customer has been billed at least once by that Supplier. The receiving Supplier should assume that the Reading Type for Old Suppliers Estimated CoS Reading is "O" The Last Inspection Date shall be provided by the Losing Supplier, if known and by a person qualified to do so, by obtaining the most recent of the following:  Meter installation date  Last date that the meter was inspected either by by the Losing Supplier or previous supplier  Where no meter is installed, the 06D Group would not be included (so no Last Inspection Date is required) for example maybe on a New Connection  The Last Inspection Date is only used on the Supplier to Supplier instance of the Data Flow |
| --- | --- |

| Flow Reference: | D0312 |
| --- | --- |
| Flow Version: | 003 | Status: Operational |

| Flow Name: | Notification of Meter Information to MPAS |
| --- | --- |
| Flow Description: | Update MPAS with change to non-MPAS sourced data and the response |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MOP | MPAS | 15.4 |
| MPAS | MOP | 15.4 |
| MPAS | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0004 | Meter Id |
| J0483 | Meter Type |
| J1677 | Meter Asset Provider Id |
| J0848 | Date of Meter Installation |
| J0419 | Meter Location |
| J2312 | Electricity Smart Meter Equipment (ESME ID) |
| J2313 | Number of Displayed Register Digits |
| J0004 | Meter Id |
| J1269 | Date of Meter Removal |
| J1677 | Meter Asset Provider Id |
| J2312 | Electricity Smart Meter Equipment (ESME ID) |
| J0178 | Meter Operator Id |
| J2256 | MOP Flow Response Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11D | MPAN Core | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
| 12D | Meter Info Group | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0483 | Meter Type | CHAR(5) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1677 | Meter Asset Provider Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0848 | Date of Meter Installation | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2312 | Electricity Smart Meter Equipment (ESME ID) | CHAR(23) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2313 | Number of Displayed Register Digits | INT(1) |
| 13D | Meters Removed | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1269 | Date of Meter Removal | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1677 | Meter Asset Provider Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2312 | Electricity Smart Meter Equipment (ESME ID) | CHAR(23) |
| 76M | Sending Meter Operator | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0178 | Meter Operator Id | CHAR(4) |
| 77M | Response | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2256 | MOP Flow Response Code | CHAR(2) |

| Notes: | See Annex C for Flow Notes |
| --- | --- |

| Flow Reference: | D0313 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Auxiliary Meter Technical Details |
| --- | --- |
| Flow Description: | Communications and security information to accompany NHH Meter Technical Details for AMR Meter Types |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MOP | Distributor | 15.4 |
| MOP | MOP | 15.4 |
| MOP | NHHDC | 15.4 |
| MOP | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1254 | Effective from Settlement Date {MSMTD} |
| J0418 | Meter COP |
| J1686 | Meter COP Issue Number |
| J1689 | Event Indicator |
| J1717 | Remote Disable/Enable Capability |
| J0428 | Outstation Id |
| J0471 | Outstation Type |
| J0469 | Outstation Number of Channels |
| J1256 | Outstation Number of Dials |
| J0464 | Outstation PIN |
| J1688 | Outstation Multiplier |
| J1714 | Outstation Username Level 1 |
| J0470 | Outstation Password Level 1 |
| J1715 | Outstation Username Level 2 |
| J1257 | Outstation Password Level 2 |
| J1716 | Outstation Username Level 3 |
| J1713 | Outstation Password Level 3 |
| J0386 | Communications Method |
| J0385 | Communications Address |
| J1690 | Dial In/ Dial Out Indicator |
| J1260 | Baud Rate |
| J1709 | Communications Provider |
| J0382 | Channel Number |
| J0432 | Pulse Multiplier |
| J0103 | Measurement Quantity Id |
| J0004 | Meter Id |
| J1711 | Meter Memory Location Type |
| J1718 | Timestamp Meter Memory Location |
| J0010 | Meter Register Id |
| J1710 | Meter Memory Location |
| J1712 | Meter Register Description |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 02G | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1254 | Effective from Settlement Date {MSMTD} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0418 | Meter COP | CHAR(3) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1686 | Meter COP Issue Number | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1689 | Event Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1717 | Remote Disable/Enable Capability | BOOLEAN(1) |
| 03G | Outstation Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0428 | Outstation Id | CHAR(20) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0471 | Outstation Type | CHAR(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0469 | Outstation Number of Channels | NUM(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1256 | Outstation Number of Dials | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0464 | Outstation PIN | CHAR(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1688 | Outstation Multiplier | NUM(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1714 | Outstation Username Level 1 | CHAR(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0470 | Outstation Password Level 1 | CHAR(12) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1715 | Outstation Username Level 2 | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1257 | Outstation Password Level 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1716 | Outstation Username Level 3 | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1713 | Outstation Password Level 3 | (0) |
| 04G | Communications Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0386 | Communications Method | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0385 | Communications Address | CHAR(65) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1690 | Dial In/ Dial Out Indicator | CHAR(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1260 | Baud Rate | NUM(5) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1709 | Communications Provider | CHAR(4) |
| 05G | Channel Number | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0382 | Channel Number | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0432 | Pulse Multiplier | NUM(9) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| 06G | Meter Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0004 | Meter Id | CHAR(10) |
| 07G | Meter Memory Details | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1711 | Meter Memory Location Type | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1718 | Timestamp Meter Memory Location | CHAR(32) |
| 08G | Meter Register Information | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1710 | Meter Memory Location | CHAR(32) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1712 | Meter Register Description | CHAR(16) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0314 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Non Half Hourly Embedded Network DUoS Report |
| --- | --- |
| Flow Description: | A report of profiled SPM data by settlement class for Metering Points on embedded networks, summed over Data Aggregator and Supplier. This report is sent to Host LDSOs (as defined in BSC Procedure BSCP128), and includes data for all embedded networks within their distribution services area. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Distributor | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J1724 | Embedded Distributor Id |
| J1741 | Embedded Distributor Name |
| J0244 | BSC Trading Party Id |
| J0189 | Distributor Id |
| J0323 | Distributor Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1103 | Profile Class |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J1724 | Embedded Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0078 | Time Pattern Regime |
| J1296 | SPM Total All EACs |
| J1195 | SPM Total Annualised Advance Report Value |
| J0150 | SPM Total EAC MSID Count |
| J0153 | SPM Total AA MSID Count |
| J0190 | SPM Default EAC MSID Count |
| J1292 | Profiled SPM Consumption (Settlement Period 01) |
| J1312 | Profiled SPM Consumption (Settlement Period 02) |
| J1313 | Profiled SPM Consumption (Settlement Period 03) |
| J1314 | Profiled SPM Consumption (Settlement Period 04) |
| J1315 | Profiled SPM Consumption (Settlement Period 05) |
| J1316 | Profiled SPM Consumption (Settlement Period 06) |
| J1317 | Profiled SPM Consumption (Settlement Period 07) |
| J1318 | Profiled SPM Consumption (Settlement Period 08) |
| J1319 | Profiled SPM Consumption (Settlement Period 09) |
| J1320 | Profiled SPM Consumption (Settlement Period 10) |
| J1321 | Profiled SPM Consumption (Settlement Period 11) |
| J1322 | Profiled SPM Consumption (Settlement Period 12) |
| J1323 | Profiled SPM Consumption (Settlement Period 13) |
| J1324 | Profiled SPM Consumption (Settlement Period 14) |
| J1325 | Profiled SPM Consumption (Settlement Period 15) |
| J1326 | Profiled SPM Consumption (Settlement Period 16) |
| J1327 | Profiled SPM Consumption (Settlement Period 17) |
| J1328 | Profiled SPM Consumption (Settlement Period 18) |
| J1329 | Profiled SPM Consumption (Settlement Period 19) |
| J1330 | Profiled SPM Consumption (Settlement Period 20) |
| J1331 | Profiled SPM Consumption (Settlement Period 21) |
| J1332 | Profiled SPM Consumption (Settlement Period 22) |
| J1333 | Profiled SPM Consumption (Settlement Period 23) |
| J1334 | Profiled SPM Consumption (Settlement Period 24) |
| J1335 | Profiled SPM Consumption (Settlement Period 25) |
| J1336 | Profiled SPM Consumption (Settlement Period 26) |
| J1337 | Profiled SPM Consumption (Settlement Period 27) |
| J1338 | Profiled SPM Consumption (Settlement Period 28) |
| J1339 | Profiled SPM Consumption (Settlement Period 29) |
| J1340 | Profiled SPM Consumption (Settlement Period 30) |
| J1341 | Profiled SPM Consumption (Settlement Period 31) |
| J1342 | Profiled SPM Consumption (Settlement Period 32) |
| J1343 | Profiled SPM Consumption (Settlement Period 33) |
| J1344 | Profiled SPM Consumption (Settlement Period 34) |
| J1345 | Profiled SPM Consumption (Settlement Period 35) |
| J1346 | Profiled SPM Consumption (Settlement Period 36) |
| J1347 | Profiled SPM Consumption (Settlement Period 37) |
| J1348 | Profiled SPM Consumption (Settlement Period 38) |
| J1349 | Profiled SPM Consumption (Settlement Period 39) |
| J1350 | Profiled SPM Consumption (Settlement Period 40) |
| J1351 | Profiled SPM Consumption (Settlement Period 41) |
| J1352 | Profiled SPM Consumption (Settlement Period 42) |
| J1353 | Profiled SPM Consumption (Settlement Period 43) |
| J1354 | Profiled SPM Consumption (Settlement Period 44) |
| J1355 | Profiled SPM Consumption (Settlement Period 45) |
| J1356 | Profiled SPM Consumption (Settlement Period 46) |
| J1357 | Profiled SPM Consumption (Settlement Period 47) |
| J1358 | Profiled SPM Consumption (Settlement Period 48) |
| J1359 | Profiled SPM Consumption (Settlement Period 49) |
| J1360 | Profiled SPM Consumption (Settlement Period 50) |
| J0885 | Daily Profiled SPM Total EAC |
| J0884 | Daily Profiled SPM Total Annualised Advance |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| RDT | Report Parameters | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR | Settlement Information 1 | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| 84G | Embeded Distributor | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1724 | Embedded Distributor Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1741 | Embedded Distributor Name | (0) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| DIS | Distributor | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0323 | Distributor Name | CHAR(40) |
| GP1 | GSP Group | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 85G | SPM Information | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1103 | Profile Class | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1724 | Embedded Distributor Id | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1296 | SPM Total All EACs | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1195 | SPM Total Annualised Advance Report Value | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0150 | SPM Total EAC MSID Count | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0153 | SPM Total AA MSID Count | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0190 | SPM Default EAC MSID Count | NUM(8) |
| SPX | Settlement Periods | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1292 | Profiled SPM Consumption (Settlement Period 01) | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1312 | Profiled SPM Consumption (Settlement Period 02) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1313 | Profiled SPM Consumption (Settlement Period 03) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1314 | Profiled SPM Consumption (Settlement Period 04) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1315 | Profiled SPM Consumption (Settlement Period 05) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1316 | Profiled SPM Consumption (Settlement Period 06) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1317 | Profiled SPM Consumption (Settlement Period 07) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1318 | Profiled SPM Consumption (Settlement Period 08) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1319 | Profiled SPM Consumption (Settlement Period 09) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1320 | Profiled SPM Consumption (Settlement Period 10) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1321 | Profiled SPM Consumption (Settlement Period 11) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1322 | Profiled SPM Consumption (Settlement Period 12) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1323 | Profiled SPM Consumption (Settlement Period 13) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1324 | Profiled SPM Consumption (Settlement Period 14) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1325 | Profiled SPM Consumption (Settlement Period 15) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1326 | Profiled SPM Consumption (Settlement Period 16) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1327 | Profiled SPM Consumption (Settlement Period 17) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1328 | Profiled SPM Consumption (Settlement Period 18) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1329 | Profiled SPM Consumption (Settlement Period 19) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1330 | Profiled SPM Consumption (Settlement Period 20) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1331 | Profiled SPM Consumption (Settlement Period 21) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1332 | Profiled SPM Consumption (Settlement Period 22) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1333 | Profiled SPM Consumption (Settlement Period 23) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1334 | Profiled SPM Consumption (Settlement Period 24) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1335 | Profiled SPM Consumption (Settlement Period 25) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1336 | Profiled SPM Consumption (Settlement Period 26) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1337 | Profiled SPM Consumption (Settlement Period 27) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1338 | Profiled SPM Consumption (Settlement Period 28) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1339 | Profiled SPM Consumption (Settlement Period 29) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1340 | Profiled SPM Consumption (Settlement Period 30) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1341 | Profiled SPM Consumption (Settlement Period 31) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1342 | Profiled SPM Consumption (Settlement Period 32) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1343 | Profiled SPM Consumption (Settlement Period 33) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1344 | Profiled SPM Consumption (Settlement Period 34) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1345 | Profiled SPM Consumption (Settlement Period 35) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1346 | Profiled SPM Consumption (Settlement Period 36) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1347 | Profiled SPM Consumption (Settlement Period 37) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1348 | Profiled SPM Consumption (Settlement Period 38) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1349 | Profiled SPM Consumption (Settlement Period 39) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1350 | Profiled SPM Consumption (Settlement Period 40) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1351 | Profiled SPM Consumption (Settlement Period 41) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1352 | Profiled SPM Consumption (Settlement Period 42) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1353 | Profiled SPM Consumption (Settlement Period 43) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1354 | Profiled SPM Consumption (Settlement Period 44) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1355 | Profiled SPM Consumption (Settlement Period 45) | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1356 | Profiled SPM Consumption (Settlement Period 46) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1357 | Profiled SPM Consumption (Settlement Period 47) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1358 | Profiled SPM Consumption (Settlement Period 48) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1359 | Profiled SPM Consumption (Settlement Period 49) | (0) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1360 | Profiled SPM Consumption (Settlement Period 50) | (0) |
| TOT | Daily SPM | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0885 | Daily Profiled SPM Total EAC | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0884 | Daily Profiled SPM Total Annualised Advance | NUM(13) |
| HD2 | Settlement Information 2 | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |

| Notes: | The references to Embedded Distributor Id in Group 84G should be populated with the Distributor identified as operating the relevant sub-network i.e. having the relationship with the Supplier for the Metering Point(s).In all other instances, the Distributor should be populated as that operating as the Host LDSO (as defined in the BSC Procedure BSCP128). |
| --- | --- |

| Flow Reference: | D0315 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Embedded Network Supercustomer DUoS Daily Statement |
| --- | --- |
| Flow Description: | Supercustomer DUoS charges calculated from settlements data, produced at a summary level, for Distributors with embedded networks, to validate their DUoS bills, received from Distributors operating at the GSP Group level of the network. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | Distributor | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0908 | Statement Number |
| J0066 | GSP Group Id |
| J0189 | Distributor Id |
| J1724 | Embedded Distributor Id |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0196 | SSR Run Number |
| J0785 | Statement Total MSID Count |
| J0904 | Statement Total MSID Charge |
| J0786 | Statement Total Unit Volume |
| J0909 | Statement Total Unit Charge |
| J0910 | Statement Supercustomer DUoS Charge Amount |
| J1723 | DUoS Mapping Code Id |
| J0071 | Profile Class Id |
| J0078 | Time Pattern Regime |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0791 | Settlement Class MSID Count |
| J0906 | MSID Charge Indicator |
| J0792 | Settlement Class MSID Charge |
| J0794 | Settlement Class Unit Count |
| J0793 | Settlement Class Unit Charge |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12G | Flow Structure Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0908 | Statement Number | NUM(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1724 | Embedded Distributor Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0785 | Statement Total MSID Count | NUM(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0904 | Statement Total MSID Charge | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0786 | Statement Total Unit Volume | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0909 | Statement Total Unit Charge | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0910 | Statement Supercustomer DUoS Charge Amount | NUM(14) |
| 13G | Charges by Settlement Class | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1723 | DUoS Mapping Code Id | CHAR(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0791 | Settlement Class MSID Count | NUM(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0906 | MSID Charge Indicator | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0792 | Settlement Class MSID Charge | NUM(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0794 | Settlement Class Unit Count | NUM(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0793 | Settlement Class Unit Charge | NUM(12) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0317 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Create New Green Deal Plan |
| --- | --- |
| Flow Description: | Request for Green Deal Plan Id to be created. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Provider | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1818 | Party Instruction Number |
| J1753 | EPC Register Indicator |
| J1751 | EPC Domestic or Non-Domestic Indicator |
| J1752 | EPC Property Reference Number |
| J1754 | EPC Report Reference |
| J0757 | Postcode |
| J1750 | Electricity Account Number |
| J1777 | GD Customer Site Reference |
| J1831 | Green Deal Provider Registration Reference |
| J1832 | GD Provider Plan Creator |
| J0003 | MPAN Core |
| J1821 | Subsidiary EPC Property Reference |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 86G | Initial Plan Information | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1753 | EPC Register Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1751 | EPC Domestic or Non-Domestic Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1752 | EPC Property Reference Number | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1754 | EPC Report Reference | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0757 | Postcode | CHAR(10) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1750 | Electricity Account Number | CHAR(20) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1777 | GD Customer Site Reference | CHAR(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1831 | Green Deal Provider Registration Reference | CHAR(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1832 | GD Provider Plan Creator | CHAR(1) |
| 87G | MPAN Core(s) | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
| 88G | Subsidiary PRNS | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1821 | Subsidiary EPC Property Reference | CHAR(20) |

| Notes: | Any information entered in Group 88G will not be stored by the GDCC as subsidiary EPC Property References are no longer requried.Where the request to create a new Green Deal Plan is generated by the Green Deal Provider the GD Provider Plan Creator Code should be set to P, where this request is generated by a GDAA Finance Party the GD Provider Plan Creator Code should be set to A.The Green Deal Provider Registration Reference for the Green Deal Provider must be provided in all cases, including where the GD Provider is also a Green Deal Provider (as distinct from being a GDAA Finance Party). |
| --- | --- |

| Flow Reference: | D0318 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Response from GDCC to Distributor |
| --- | --- |
| Flow Description: | Response flow from the GDCC, including reason codes to indicate acceptance or reason for rejection of an update. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | Distributor | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1818 | Party Instruction Number |
| J1813 | Green Deal MPAN Core |
| J1811 | GDCC Response Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 89G | Party Green Deal MPAN Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
| 90G | GDCC Response Codes | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1811 | GDCC Response Code | CHAR(3) |

| Notes: | The Party Instruction Number is the value received on the inbound flow to which the GDCC Response Codes relate.All appropriate GDCC Response Codes are to be included in the flow. |
| --- | --- |

| Flow Reference: | D0319 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request for Initial Green Deal Licensee Validation |
| --- | --- |
| Flow Description: | GDCC passes information to the Green Deal Licensee to allow the initial account validation checks to take place. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | GD Licensee | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1809 | GDCC Instruction Number |
| J1813 | Green Deal MPAN Core |
| J1792 | GD Plan ID |
| J1750 | Electricity Account Number |
| J1777 | GD Customer Site Reference |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 91G | GDCC Green Deal Plan Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1750 | Electricity Account Number | CHAR(20) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1777 | GD Customer Site Reference | CHAR(20) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0320 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | GD Provider Response to GDCC |
| --- | --- |
| Flow Description: | Response flow to the GDCC, including reason codes to indicate acceptance or reason for rejection of an update. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Provider | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1809 | GDCC Instruction Number |
| J1792 | GD Plan ID |
| J1812 | GD Party Response Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 92G | GDCC Provider Green Deal Plan Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
| 93G | GD Party Response Codes | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1812 | GD Party Response Code | (0) |

| Notes: | The GDCC Instruction Number is the value received on the inbound flow to which the GDCC Response Codes relateAll relevant response codes will be included in Group 93G |
| --- | --- |

| Flow Reference: | D0321 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | GD Provider Update to Plan Information |
| --- | --- |
| Flow Description: | GD Provider sends updates to the GDCC to update plan data which do not directly impact on charges. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Provider | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1792 | GD Plan ID |
| J1818 | Party Instruction Number |
| J1801 | GD Provider Update Reason Code |
| J1749 | Default Bill Payer Name |
| J1746 | Company Registration Number |
| J1026 | Address Line 1 |
| J1027 | Address Line 2 |
| J1028 | Address Line 3 |
| J1029 | Address Line 4 |
| J1030 | Address Line 5 |
| J1031 | Address Line 6 |
| J1032 | Address Line 7 |
| J1033 | Address Line 8 |
| J1034 | Address Line 9 |
| J0757 | Postcode |
| J1748 | Default Bill Payer Contact Telephone Number |
| J1817 | Overseas Address Indicator |
| J1779 | GD Default Bill Payer  EFD |
| J1754 | EPC Report Reference |
| J1804 | GD Savings - Electricity |
| J1805 | GD Savings - Gas |
| J1806 | GD Savings  Other Fuels |
| J1750 | Electricity Account Number |
| J1777 | GD Customer Site Reference |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 94G | GD Provider Update References | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1801 | GD Provider Update Reason Code | CHAR(1) |
| 95G | Default Bill Payer Information | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1749 | Default Bill Payer Name | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1746 | Company Registration Number | CHAR(20) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1026 | Address Line 1 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1027 | Address Line 2 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1028 | Address Line 3 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1029 | Address Line 4 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1030 | Address Line 5 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1031 | Address Line 6 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1032 | Address Line 7 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1033 | Address Line 8 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1034 | Address Line 9 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0757 | Postcode | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1748 | Default Bill Payer Contact Telephone Number | CHAR(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1817 | Overseas Address Indicator | BOOLEAN(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1779 | GD Default Bill Payer  EFD | DATE(8) |
| 96G | EPC and Savings Data | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1754 | EPC Report Reference | CHAR(30) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1804 | GD Savings - Electricity | NUM(9) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1805 | GD Savings - Gas | NUM(9) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1806 | GD Savings  Other Fuels | NUM(9) |
| 97G | Customer Account Information | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1750 | Electricity Account Number | CHAR(20) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1777 | GD Customer Site Reference | CHAR(20) |

| Notes: | On Initial (I) Green Deal Plan set up and subject to rules regarding the population of addresses, all items are required with the exception of data items J1804, J1805, and J1806.On Update (U) Groups only to be included where data is being sent for items in that Group.If request is to Cancel (C) plan, Groups 95G, 96G and 97G should be omitted.Though each address line is optional, when an address is to be updated using this flow the entire address must be included in the flow. An update to an individual line within an address will require the entire address to be sent. |
| --- | --- |

| Flow Reference: | D0322 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | GD Provider Update to Charging Information |
| --- | --- |
| Flow Description: | GD Provider sends data which impacts on the charging information for the Green Deal Plan including changes to the End Date. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Provider | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1792 | GD Plan ID |
| J1818 | Party Instruction Number |
| J1801 | GD Provider Update Reason Code |
| J1776 | GD Charge Start Date |
| J1775 | GD Charge End Date |
| J1778 | GD Daily Charge |
| J1791 | GD Plan Actual End Date |
| J1803 | GD Remittance Processor MPID |
| J1802 | GD Remittance Processor EFD |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 98G | GD Provider Update References | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1801 | GD Provider Update Reason Code | CHAR(1) |
| 99G | GD Charge Information | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1776 | GD Charge Start Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1775 | GD Charge End Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1778 | GD Daily Charge | NUM(8) |
| 00H | GD Plan End Date | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1791 | GD Plan Actual End Date | DATE(8) |
| 01H | GD Remittance Processor Information | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1803 | GD Remittance Processor MPID | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1802 | GD Remittance Processor EFD | DATE(8) |

| Notes: | On Initial (I) provision of charging information, all groups must be populated.On Ending (E) of a Green Deal Plan where MPAS has been updated with GD MPAN EFD and GD ETD, but the Bill Payer has not yet been notified of pending Green Deal Charges, Groups 99G and 01H should not be present. If the Bill Payer has been notified of the pending Green Deal charges this reason code should not be used.On Update (U) groups 00H, 99G, and 01H are optional, where any of these groups are present, all data items within that group are mandatory.The GD Charge End Date cannot be greater than the existing GD Plan Actual End Date held in the GDCC database.Where the GD Charge End Date provided is greater than the existing GD Plan Actual End Date held on the GDCC, an amended value should be provided in Group 00H. |
| --- | --- |

| Flow Reference: | D0323 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | GD Provider Advice of Pending Green Deal |
| --- | --- |
| Flow Description: | A request that the Green Deal Licensee generates the initial notification to the Bill Payer regarding a proposed Green Deal Plan |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Provider | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1792 | GD Plan ID |
| J1818 | Party Instruction Number |
| J1793 | GD Plan Proposed End Date |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 02H | Pending GD Plan Information | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1793 | GD Plan Proposed End Date | DATE(8) |

| Notes: | The GD Plan Proposed End Date should be populated only where this differs to that previously provided |
| --- | --- |

| Flow Reference: | D0324 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Advise Green Deal Active at MPAN |
| --- | --- |
| Flow Description: | Transaction to inform MPAS of a request to ''flag'' MPANs as having an active GD Plan associated with them between specific dates. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | MPAS | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1813 | Green Deal MPAN Core |
| J1809 | GDCC Instruction Number |
| J1787 | GD MPAN EFD |
| J1788 | GD MPAN ETD |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 03H | Green Deal MPAN Instruction | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
| 04H | GD MPAN Dates | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J1787 | GD MPAN EFD | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1788 | GD MPAN ETD | DATE(8) |

| Notes: | The GD Plan MPAN Effective From Date must always be in the futureThe GD Plan MPAN Effective To Date cannot be earlier than the GD Plan Effective From Date.Data Items in Group 04H should all be populated on the first notification to MPAS, on subsequent notifications, these should only be populated where they differ from the values held, but at least one must be present. |
| --- | --- |

| Flow Reference: | D0325 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Green Deal Plan Information for Green Deal Licensee |
| --- | --- |
| Flow Description: | Provides new or updated information regarding a Green Deal Plan to the Green Deal Licensee, including charging information. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | GD Licensee | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1813 | Green Deal MPAN Core |
| J1792 | GD Plan ID |
| J1809 | GDCC Instruction Number |
| J1810 | GDCC Instruction Type |
| J1749 | Default Bill Payer Name |
| J1746 | Company Registration Number |
| J1026 | Address Line 1 |
| J1027 | Address Line 2 |
| J1028 | Address Line 3 |
| J1029 | Address Line 4 |
| J1030 | Address Line 5 |
| J1031 | Address Line 6 |
| J1032 | Address Line 7 |
| J1033 | Address Line 8 |
| J1034 | Address Line 9 |
| J0757 | Postcode |
| J1748 | Default Bill Payer Contact Telephone Number |
| J1817 | Overseas Address Indicator |
| J1779 | GD Default Bill Payer  EFD |
| J1804 | GD Savings - Electricity |
| J1805 | GD Savings - Gas |
| J1806 | GD Savings  Other Fuels |
| J1750 | Electricity Account Number |
| J1777 | GD Customer Site Reference |
| J1776 | GD Charge Start Date |
| J1775 | GD Charge End Date |
| J1778 | GD Daily Charge |
| J1803 | GD Remittance Processor MPID |
| J1802 | GD Remittance Processor EFD |
| J1791 | GD Plan Actual End Date |
| J1831 | Green Deal Provider Registration Reference |
| J1829 | Green Deal Provider Name |
| J1828 | Green Deal Provider EFD |
| J1800 | GD Provider MPID |
| J0750 | Market Participant Name |
| J1827 | GD Provider EFD |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 05H | Green Deal Plan Instruction | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1810 | GDCC Instruction Type | CHAR(1) |
| 06H | Default Bill Payer Information | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J1749 | Default Bill Payer Name | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1746 | Company Registration Number | CHAR(20) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1026 | Address Line 1 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1027 | Address Line 2 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1028 | Address Line 3 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1029 | Address Line 4 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1030 | Address Line 5 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1031 | Address Line 6 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1032 | Address Line 7 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1033 | Address Line 8 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1034 | Address Line 9 | CHAR(40) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0757 | Postcode | CHAR(10) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1748 | Default Bill Payer Contact Telephone Number | CHAR(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1817 | Overseas Address Indicator | BOOLEAN(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1779 | GD Default Bill Payer  EFD | DATE(8) |
| 07H | GD Savings Data | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1804 | GD Savings - Electricity | NUM(9) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1805 | GD Savings - Gas | NUM(9) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1806 | GD Savings  Other Fuels | NUM(9) |
| 08H | Customer Account Information | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1750 | Electricity Account Number | CHAR(20) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1777 | GD Customer Site Reference | CHAR(20) |
| 09H | GD Charge Information | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1776 | GD Charge Start Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1775 | GD Charge End Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1778 | GD Daily Charge | NUM(8) |
| 10H | GD Remittance Processor Information | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1803 | GD Remittance Processor MPID | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1802 | GD Remittance Processor EFD | DATE(8) |
| 59H | Green Deal Plan Actual End Date | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1791 | GD Plan Actual End Date | DATE(8) |
| 66H | Green Deal Provider Information | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1831 | Green Deal Provider Registration Reference | CHAR(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1829 | Green Deal Provider Name | CHAR(40) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1828 | Green Deal Provider EFD | DATE(8) |
| 67H | GD Provider Information | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1800 | GD Provider MPID | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0750 | Market Participant Name | CHAR(40) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1827 | GD Provider EFD | DATE(8) |

| Notes: | GDCC Instruction Type refers to the original trigger for the update i.e. (I) initial data, (U) update, (P) Remittance Processor update to previous Supplier, (R) Refresh, (C) Change of Supply event, (E) Change of Supply following an Erroneous Registration, (T) Provision of revised charging information to Erroneously Registered Supplier, or (D) Default Bill Payer only.Though each address line is optional, when an address is to be updated using this flow the entire address must be included in the flow, an update to an individual line within an address will require the entire address to be sent.Where an D0325 is received by the GD Licensee, an D0341 response should always be generated. |
| --- | --- |

| Flow Reference: | D0326 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Green Deal Licensee Update to Bill Payer Details |
| --- | --- |
| Flow Description: | Provides updated Bill Payer Details for Green Deal Plans to GD Providers via the GDCC. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Licensee | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1813 | Green Deal MPAN Core |
| J1818 | Party Instruction Number |
| J1742 | Bill Payer Details EFD |
| J1745 | Change of Account Indicator |
| J1743 | Bill Payer Name |
| J1744 | Bill Payer Telephone Number |
| J1746 | Company Registration Number |
| J1674 | Delete Mailing Address Data Held |
| J1046 | Mailing Address Line 1 |
| J1047 | Mailing Address Line 2 |
| J1048 | Mailing Address Line 3 |
| J1049 | Mailing Address Line 4 |
| J1050 | Mailing Address Line 5 |
| J1051 | Mailing Address Line 6 |
| J1052 | Mailing Address Line 7 |
| J1053 | Mailing Address Line 8 |
| J1054 | Mailing Address Line 9 |
| J0566 | Mailing Address Postcode |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11H | GD Bill Payer Update | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1742 | Bill Payer Details EFD | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1745 | Change of Account Indicator | CHAR(1) |
| 12H | GD Bill Payer Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1743 | Bill Payer Name | CHAR(100) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1744 | Bill Payer Telephone Number | CHAR(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1746 | Company Registration Number | CHAR(20) |
| 13H | Mailing Address Information | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J1674 | Delete Mailing Address Data Held | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1046 | Mailing Address Line 1 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1047 | Mailing Address Line 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1048 | Mailing Address Line 3 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1049 | Mailing Address Line 4 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1050 | Mailing Address Line 5 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1051 | Mailing Address Line 6 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1052 | Mailing Address Line 7 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1053 | Mailing Address Line 8 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1054 | Mailing Address Line 9 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0566 | Mailing Address Postcode | (0) |

| Notes: | This flow must be sent whenever there is a changed or new value for any data item contained within the GD Bill Payer Name or Mailing address Information groups and following a Change of Supplier.Where the flow is sent following a Change of Supplier, the value of data item J1742 should be the same as the New Suppliers Registration Effective From Date.The address should only be populated where there is a new or changed mailing address.Though each address line is optional, when an address is to be updated using this flow the entire address must be included in the flow. An update to an individual line within an address will require the entire address to be sent.The Bill Payer Telephone Number is provided solely for use in CCA statements. |
| --- | --- |

| Flow Reference: | D0327 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request Green Deal Plan End Date Amendment |
| --- | --- |
| Flow Description: | A request from the Distribution Business to amend the end date of a Green Deal Plan where the meter point is to be (or has been) disconnected. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1813 | Green Deal MPAN Core |
| J1818 | Party Instruction Number |
| J1819 | Requested New GD Plan End Date |
| J1820 | Requested New GD Plan End Date Reason Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 14H | GD Plan End Date Request | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1819 | Requested New GD Plan End Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1820 | Requested New GD Plan End Date Reason Code | CHAR(1) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0328 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Provide Remittance Details |
| --- | --- |
| Flow Description: | The details of monies remitted between Green Deal Licensees and Remittance Processors. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Licensee | GDCC | 15.4 |
| GDCC | GD Remittance Processor | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1797 | GD Payment Transaction Remittance Reference |
| J1803 | GD Remittance Processor MPID |
| J1783 | GD Licensee MPID |
| J1792 | GD Plan ID |
| J1795 | GD Payment Transaction Reason Code |
| J1781 | GD Energy Payment Method |
| J1780 | GD Energy Payment Frequency |
| J1789 | GD Payment Period End Date |
| J1774 | GD Charge Net Payments Paid for Period |
| J1790 | GD Payment Receipt Date |
| J1808 | GD Total Charges Remitted |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 15H | GD Remittance Reference Data | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1797 | GD Payment Transaction Remittance Reference | CHAR(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1803 | GD Remittance Processor MPID | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1783 | GD Licensee MPID | CHAR(4) |
| 16H | GD Plan ID | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
| 17H | GD Charges Remitted | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1795 | GD Payment Transaction Reason Code | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1781 | GD Energy Payment Method | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1780 | GD Energy Payment Frequency | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1789 | GD Payment Period End Date | DATE(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1774 | GD Charge Net Payments Paid for Period | NUM(7) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1790 | GD Payment Receipt Date | DATE(8) |
| 18H | Total GD Charges Remitted | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1808 | GD Total Charges Remitted | NUM(13) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0329 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Response to Green Deal Remittance Details |
| --- | --- |
| Flow Description: | Acknowledgement of receipt of the provided Remittance Details flow. Also used to inform of any errors in the incoming file. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Remittance Processor | GDCC | 15.4 |
| GDCC | GD Licensee | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1797 | GD Payment Transaction Remittance Reference |
| J1803 | GD Remittance Processor MPID |
| J1783 | GD Licensee MPID |
| J1799 | GD Payment Transaction Response Code |
| J1796 | GD Payment Transaction Records Rejected |
| J1792 | GD Plan ID |
| J1798 | GD Payment Transaction Remittance Rejection Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 19H | Payment Transaction Remittance Reference Data | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1797 | GD Payment Transaction Remittance Reference | CHAR(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1803 | GD Remittance Processor MPID | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1783 | GD Licensee MPID | CHAR(4) |
| 20H | Payment Transaction Response Codes | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1799 | GD Payment Transaction Response Code | CHAR(3) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1796 | GD Payment Transaction Records Rejected | INT(7) |
| 21H | Remittance Lines Rejected | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1798 | GD Payment Transaction Remittance Rejection Code | CHAR(3) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0331 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Update Green Deal Market Data |
| --- | --- |
| Flow Description: | Provides updates to standing data used in operation of the processes relating to the GDCC |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | GD Licensee | 15.4 |
| GDCC | GD Provider | 15.4 |
| GDCC | GD Remittance Processor | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1784 | GD Market Data File Type |
| J1786 | GD Market Data Version Number |
| J1785 | GD Market Data Publication Date |
| J0754 | MDD Version Number |
| J0001 | Market Participant Role Code |
| J0753 | Market Role Description |
| J0002 | Market Participant Id |
| J0750 | Market Participant Name |
| J0001 | Market Participant Role Code |
| J1297 | Effective from Date {MPR} |
| J1298 | Effective to Date {MPR} |
| J1771 | GD Bank Account Purpose |
| J1772 | GD Bank Account Sort Code |
| J1770 | GD Bank Account Number |
| J1769 | GD Bank Account Name |
| J1767 | GD Bank Account EFD |
| J1768 | GD Bank Account ETD |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 25H | GD Market Data Version Data | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1784 | GD Market Data File Type | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1786 | GD Market Data Version Number | INT(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1785 | GD Market Data Publication Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0754 | MDD Version Number | NUM(8) |
| 26H | GD Market Roles | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0753 | Market Role Description | CHAR(40) |
| 27H | GD Market Participants | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0002 | Market Participant Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0750 | Market Participant Name | CHAR(40) |
| 28H | GD Market Participant Roles | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1297 | Effective from Date {MPR} | DATE(0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1298 | Effective to Date {MPR} | DATE(0) |
| 29H | GD Bank Information | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1771 | GD Bank Account Purpose | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1772 | GD Bank Account Sort Code | CHAR(6) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1770 | GD Bank Account Number | CHAR(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1769 | GD Bank Account Name | CHAR(100) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1767 | GD Bank Account EFD | DATE(8) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1768 | GD Bank Account ETD | DATE(8) |

| Notes: | These updates will be released at the same time schedule as the BSC MDD release. |
| --- | --- |

| Flow Reference: | D0332 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Green Deal Licensee Request for Information |
| --- | --- |
| Flow Description: | Used by the Green Deal Licensee to request information from the GDCC, including Default Bill Payer details. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Licensee | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1818 | Party Instruction Number |
| J1813 | Green Deal MPAN Core |
| J1792 | GD Plan ID |
| J1782 | GD Information Request Reason Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 30H | GD Information Request | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1782 | GD Information Request Reason Code | CHAR(1) |

| Notes: | Can be used to request Default Bill Payer information or a refresh of a Green Deal Plan Data.Where the request passes validation a D0325 will be returned, in other circumstances a D0343 will be returned with appropriate response codes. |
| --- | --- |

| Flow Reference: | D0333 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Change of Green Deal Provider |
| --- | --- |
| Flow Description: | Used to inform the GDCC where responsibility for a Green Deal Plan changes from one Green Deal Provider or GDAA Finance Party to another. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Provider | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1818 | Party Instruction Number |
| J1800 | GD Provider MPID |
| J1794 | GD Plan Transfer Date |
| J1792 | GD Plan ID |
| J1830 | GD Provider Reassignment Type |
| J1831 | Green Deal Provider Registration Reference |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 31H | GD Transfer Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1800 | GD Provider MPID | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1794 | GD Plan Transfer Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1830 | GD Provider Reassignment Type | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1831 | Green Deal Provider Registration Reference | CHAR(7) |

| Notes: | The GD Provider who takes on responsibility for the Green Deal Plan will send a D0322 to update the Remittance Processor details as required.Where a Green Deal Provider is issuing the data flow, they should use the GD Provider Reassignment Type of N or T.Where a GDAA Finance Party is issuing the data flow, they should use the GD Provider Reassignment Type of A or R.The Green Deal Provider Registration Reference of the Green Deal Provider who will be responsible for the Green Deal Plan following the transfer should be provided, whether the same as the existing value or a new one. |
| --- | --- |

| Flow Reference: | D0334 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request for New Green Deal MPAN Core |
| --- | --- |
| Flow Description: | Request to the Green Deal Licensee to provide an alternative Green Deal MPAN Core in the event of service alterations or for the correction of errors. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | GD Licensee | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1809 | GDCC Instruction Number |
| J1813 | Green Deal MPAN Core |
| J1816 | New GD MPAN Core Reason Request Code |
| J1815 | New GD MPAN Core EFD |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 33H | New Green Deal MPAN Request Information | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1816 | New GD MPAN Core Reason Request Code | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1815 | New GD MPAN Core EFD | DATE(8) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0335 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | New Green Deal Plan MPAN Core |
| --- | --- |
| Flow Description: | The Green Deal Licensee will use this transaction to provide an alternative Green Deal MPAN Core to facilitate ongoing charging against Green Deal Plan(s). |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Licensee | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1813 | Green Deal MPAN Core |
| J1816 | New GD MPAN Core Reason Request Code |
| J1818 | Party Instruction Number |
| J1809 | GDCC Instruction Number |
| J1814 | New GD MPAN Core |
| J1815 | New GD MPAN Core EFD |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 34H | New Green Deal MPAN Core Information | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1816 | New GD MPAN Core Reason Request Code | CHAR(1) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1814 | New GD MPAN Core | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1815 | New GD MPAN Core EFD | DATE(8) |

| Notes: | Where the Green Deal Licensee is initiating the request, the Party Instruction Number should be populated, where this is a response to an D0334 Request for New Green Deal MPAN data flow received the GDCC instruction number should be returned. |
| --- | --- |

| Flow Reference: | D0336 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Request to Advise Bill Payer of Pending Green Deal |
| --- | --- |
| Flow Description: | Request that the Green Deal Licensee generates the initial notification to the Bill Payer regarding a pending Green Deal Plan |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | GD Licensee | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1809 | GDCC Instruction Number |
| J1813 | Green Deal MPAN Core |
| J1792 | GD Plan ID |
| J1750 | Electricity Account Number |
| J1777 | GD Customer Site Reference |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35H | GD Plan Notification Request | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1750 | Electricity Account Number | CHAR(20) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1777 | GD Customer Site Reference | CHAR(20) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0337 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Green Deal End Date Amendment Request to GD Provider |
| --- | --- |
| Flow Description: | A request from the GDCC to amend the end date of a Green Deal Plan where the meter point is to be (or has been) disconnected. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | GD Provider | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1809 | GDCC Instruction Number |
| J1792 | GD Plan ID |
| J1819 | Requested New GD Plan End Date |
| J1820 | Requested New GD Plan End Date Reason Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 36H | GD Plan End Date Request | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1819 | Requested New GD Plan End Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1820 | Requested New GD Plan End Date Reason Code | CHAR(1) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0338 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | Update to Bill Payer Details |
| --- | --- |
| Flow Description: | GDCC provides updated Bill Payer Details for Green Deal Plans to GD Providers |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | GD Provider | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1792 | GD Plan ID |
| J1809 | GDCC Instruction Number |
| J1742 | Bill Payer Details EFD |
| J1745 | Change of Account Indicator |
| J1783 | GD Licensee MPID |
| J2214 | Current GD Licensee EFD |
| J2213 | Previous GD Licensee MPID |
| J1743 | Bill Payer Name |
| J1744 | Bill Payer Telephone Number |
| J1746 | Company Registration Number |
| J1674 | Delete Mailing Address Data Held |
| J1046 | Mailing Address Line 1 |
| J1047 | Mailing Address Line 2 |
| J1048 | Mailing Address Line 3 |
| J1049 | Mailing Address Line 4 |
| J1050 | Mailing Address Line 5 |
| J1051 | Mailing Address Line 6 |
| J1052 | Mailing Address Line 7 |
| J1053 | Mailing Address Line 8 |
| J1054 | Mailing Address Line 9 |
| J0566 | Mailing Address Postcode |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 37H | Update GD Bill Payer | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1742 | Bill Payer Details EFD | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1745 | Change of Account Indicator | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1783 | GD Licensee MPID | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2214 | Current GD Licensee EFD | DATE(8) |
|  |  |  |  |  | O |  |  |  |  |  |  | J2213 | Previous GD Licensee MPID | CHAR(4) |
| 38H | GD Bill Payer Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1743 | Bill Payer Name | CHAR(100) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1744 | Bill Payer Telephone Number | CHAR(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1746 | Company Registration Number | CHAR(20) |
| 39H | Mailing Address Information | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J1674 | Delete Mailing Address Data Held | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1046 | Mailing Address Line 1 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1047 | Mailing Address Line 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1048 | Mailing Address Line 3 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1049 | Mailing Address Line 4 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1050 | Mailing Address Line 5 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1051 | Mailing Address Line 6 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1052 | Mailing Address Line 7 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1053 | Mailing Address Line 8 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1054 | Mailing Address Line 9 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0566 | Mailing Address Postcode | (0) |

| Notes: | This flow must be sent whenever there is a changed or new value for any data item contained within the GD Bill Payer Name or Mailing address Information groups and following a Change of Supplier.The address should only be populated where there is a new or changed mailing address.Though each address line is optional, when an address is to be updated using this flow the entire address must be included in the flow. An update to an individual line within an address will require the entire address to be sent.Bill Payer Telephone number is provided solely for use in CCA statements. |
| --- | --- |

| Flow Reference: | D0339 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Reject Initial Plan Request |
| --- | --- |
| Flow Description: | Response flow from the GDCC rejecting initial request from GD Provider to create GD Plan |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | GD Provider | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1818 | Party Instruction Number |
| J1811 | GDCC Response Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 40H | GD Party Instruction Number | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
| 41H | GDCC Response Codes | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1811 | GDCC Response Code | CHAR(3) |

| Notes: | The Party Instruction Number is the value received on the inbound flow to which the GDCC Response Codes relate.This flow is only to be used to reject a D0317 where no Green Deal Plan Id has been created. |
| --- | --- |

| Flow Reference: | D0340 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | MPAS Response to GDCC |
| --- | --- |
| Flow Description: | Response flow to the GDCC, including reason codes to indicate acceptance or reason for rejection of an update. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MPAS | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1809 | GDCC Instruction Number |
| J1813 | Green Deal MPAN Core |
| J1812 | GD Party Response Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 42H | GDCC MPAN Green Deal Plan Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
| 43H | GD Party Response Codes | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1812 | GD Party Response Code | (0) |

| Notes: | The GDCC Instruction Number is the value received on the inbound flow to which the GDCC Response Codes relate.All relevant response codes will be included in Group 43H. |
| --- | --- |

| Flow Reference: | D0341 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | GD Licensee Response to GDCC |
| --- | --- |
| Flow Description: | Response flow to the GDCC, including reason codes to indicate acceptance or reason for rejection of an update. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Licensee | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1809 | GDCC Instruction Number |
| J1813 | Green Deal MPAN Core |
| J1812 | GD Party Response Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 42H | GDCC MPAN Green Deal Plan Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
| 43H | GD Party Response Codes | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1812 | GD Party Response Code | (0) |

| Notes: | The GDCC Instruction Number is the value received on the inbound flow to which the GDCC Response Codes relateAll relevant response codes will be included in Group 43H. |
| --- | --- |

| Flow Reference: | D0342 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notice of Collection Cessation |
| --- | --- |
| Flow Description: | The details and reason for cessation of attempts to collect Green Deal monies by the GD Licensee on behalf of the GD Provider. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Licensee | GDCC | 15.4 |
| GDCC | GD Remittance Processor | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1803 | GD Remittance Processor MPID |
| J1783 | GD Licensee MPID |
| J1792 | GD Plan ID |
| J1789 | GD Payment Period End Date |
| J1807 | GD Total Charges Not Collected |
| J1773 | GD Cease Collection Reason Code |
| J1744 | Bill Payer Telephone Number |
| J1046 | Mailing Address Line 1 |
| J1047 | Mailing Address Line 2 |
| J1048 | Mailing Address Line 3 |
| J1049 | Mailing Address Line 4 |
| J1050 | Mailing Address Line 5 |
| J1051 | Mailing Address Line 6 |
| J1052 | Mailing Address Line 7 |
| J1053 | Mailing Address Line 8 |
| J1054 | Mailing Address Line 9 |
| J0566 | Mailing Address Postcode |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 46H | GD Remittance Party Information | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1803 | GD Remittance Processor MPID | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1783 | GD Licensee MPID | CHAR(4) |
| 47H | GD Cessation Information | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1789 | GD Payment Period End Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1807 | GD Total Charges Not Collected | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1773 | GD Cease Collection Reason Code | CHAR(3) |
| 48H | Last Mailing Address Information | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J1744 | Bill Payer Telephone Number | CHAR(14) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1046 | Mailing Address Line 1 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1047 | Mailing Address Line 2 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1048 | Mailing Address Line 3 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1049 | Mailing Address Line 4 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1050 | Mailing Address Line 5 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1051 | Mailing Address Line 6 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1052 | Mailing Address Line 7 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1053 | Mailing Address Line 8 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1054 | Mailing Address Line 9 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0566 | Mailing Address Postcode | (0) |

| Notes: | Though each address line is optional, when an address is to be updated using this flow, the entire address must be included in the flow. |
| --- | --- |

| Flow Reference: | D0343 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Response from GDCC to GD Licensee |
| --- | --- |
| Flow Description: | Response flow from the GDCC, including reason codes to indicate acceptance or reason for rejection of an update. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | GD Licensee | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1818 | Party Instruction Number |
| J1813 | Green Deal MPAN Core |
| J1811 | GDCC Response Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 89G | Party Green Deal MPAN Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
| 90G | GDCC Response Codes | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1811 | GDCC Response Code | CHAR(3) |

| Notes: | The Party Instruction Number is the value received on the inbound flow to which the GDCC Response Codes relate.All appropriate GDCC Response Codes are to be included in the flow. |
| --- | --- |

| Flow Reference: | D0344 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Response from GDCC to GD Provider |
| --- | --- |
| Flow Description: | Response flow from the GDCC, including reason codes to indicate acceptance or reason for rejection of an update. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | GD Provider | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1818 | Party Instruction Number |
| J1792 | GD Plan ID |
| J1811 | GDCC Response Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 52H | Party Green Deal Plan Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
| 90G | GDCC Response Codes | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1811 | GDCC Response Code | CHAR(3) |

| Notes: | The Party Instruction Number is the value received on the inbound flow to which the GDCC Response Codes relate.All appropriate GDCC Response Codes are to be included in the flow. |
| --- | --- |

| Flow Reference: | D0345 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Green Deal Licensee Notification of Erroneous Registration |
| --- | --- |
| Flow Description: | Used by the erroneously registered Green Deal Licensee to notify the GDCC that an Erroneous Registration has been confirmed for a Green Deal MPAN Core |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Licensee | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1818 | Party Instruction Number |
| J1813 | Green Deal MPAN Core |
| J0049 | Effective from Settlement Date {REGI} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 62H | GD Erroneous Registration Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1818 | Party Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1813 | Green Deal MPAN Core | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |

| Notes: | The Effective from Settlement Date {REGI} should be populated with the value associated with the start of the Erroneous Registration period. |
| --- | --- |

| Flow Reference: | D0346 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Erroneous Registration Status |
| --- | --- |
| Flow Description: | GDCC notifies the GD Provider and Remittance Processor of the status of an Erroneous Registration related to the Green Deal MPAN Core with which the Green Deal Plan is associated |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GDCC | GD Provider | 15.4 |
| GDCC | GD Remittance Processor | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1809 | GDCC Instruction Number |
| J1792 | GD Plan ID |
| J1826 | Erroneous Registration Status |
| J0049 | Effective from Settlement Date {REGI} |
| J0117 | Effective to Settlement Date {REGI} |
| J1791 | GD Plan Actual End Date |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 63H | GD Erroneous Registration Status | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1826 | Erroneous Registration Status | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0049 | Effective from Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0117 | Effective to Settlement Date {REGI} | DATE(0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1791 | GD Plan Actual End Date | DATE(8) |

| Notes: | The Effective to Settlement Date {REGI} is only be populated when the Erroneous Registration Status is set to a status of R (Resolved).The GD Plan actual end Date is only be populated when the Erroneous Registration Status is set to a status of E (Green Deal Plan ended during period of Erroneous Registration). |
| --- | --- |

| Flow Reference: | D0347 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | GD Remittance Processor Response to GDCC |
| --- | --- |
| Flow Description: | Response flow to the GDCC, including reason codes to indicate acceptance or reason for rejection of an update |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| GD Remittance Processor | GDCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1809 | GDCC Instruction Number |
| J1792 | GD Plan ID |
| J1812 | GD Party Response Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 64H | GDCC RP Green Deal Plan Data | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1809 | GDCC Instruction Number | INT(20) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1792 | GD Plan ID | CHAR(12) |
| 65H | GD Party Response Codes | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1812 | GD Party Response Code | (0) |

| Notes: | The GDCC Instruction Number is the value received on the inbound flow to which the GDCC Response Codes relate. All relevant response codes will be included in Group 65H. |
| --- | --- |

| Flow Reference: | D0350 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of DCC Services at Metering Point |
| --- | --- |
| Flow Description: | DCC notifies MPAS that it is providing communications services to a metering point and provides any data updates required for MPAS. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| DCC | MPAS | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0723 | Instruction Type |
| J0003 | MPAN Core |
| J1833 | DCC Service Flag |
| J1834 | Effective from Date {DCCF} |
| J0084 | Supplier Id |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 81H | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 82H | DCC data for MPAS | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0723 | Instruction Type | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1833 | DCC Service Flag | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1834 | Effective from Date {DCCF} | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |

| Notes: | The notifying Supplier ID will inform MPAS which supplier requested the DCC flag update. |
| --- | --- |

| Flow Reference: | D0351 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Rejection of Update to DCC Service Flag |
| --- | --- |
| Flow Description: | Used to reject invalid changes to the DCC Service Flag. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MPAS | DCC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0723 | Instruction Type |
| J1017 | Incoming Instruction Number |
| J0003 | MPAN Core |
| J0821 | Deemed Received Date |
| J1833 | DCC Service Flag |
| J1834 | Effective from Date {DCCF} |
| J0084 | Supplier Id |
| J0107 | Rejection Reason Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 83H | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 84H | Rejection Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0723 | Instruction Type | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1017 | Incoming Instruction Number | NUM(12) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0821 | Deemed Received Date | DATE(0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1833 | DCC Service Flag | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1834 | Effective from Date {DCCF} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 85H | Rejection Reason(s) | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0107 | Rejection Reason Code | CHAR(4) |

| Notes: | Each optional data item in the above flow is intended to contain data whenever possible  i.e. whenever data could be sensibly extracted from the corresponding item in the original incoming instruction. The Incoming Instruction Number item always allows the rejected instructions to be positively identified within the original incoming file. |
| --- | --- |

| Flow Reference: | D0352 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Physical Disconnections |
| --- | --- |
| Flow Description: | The Distribution Business notifies a Supplier of one or more metering points which require Physical Disconnection and for which the Supplier is Registered. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1846 | Distribution Business Unique Reference |
| J1860 | Requestor Contact Name |
| J1861 | Requestor Telephone Number |
| J1850 | Requestor Address Line 1 |
| J1851 | Requestor Address Line 2 |
| J1852 | Requestor Address Line 3 |
| J1853 | Requestor Address Line 4 |
| J1854 | Requestor Address Line 5 |
| J1855 | Requestor Address Line 6 |
| J1856 | Requestor Address Line 7 |
| J1857 | Requestor Address Line 8 |
| J1858 | Requestor Address Line 9 |
| J1859 | Requestor Address Postcode |
| J0012 | Additional Information |
| J1848 | Evidence of Site Ownership |
| J0489 | Contact Name |
| J0490 | Contact Telephone Number |
| J0012 | Additional Information |
| J0489 | Contact Name |
| J0490 | Contact Telephone Number |
| J0012 | Additional Information |
| J0003 | MPAN Core |
| J1847 | Disconnection Type Indicator |
| J0004 | Meter Id |
| J1849 | Earliest Planned Disconnection Date |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01I | Programme Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1846 | Distribution Business Unique Reference | CHAR(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1860 | Requestor Contact Name | CHAR(50) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1861 | Requestor Telephone Number | CHAR(14) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1850 | Requestor Address Line 1 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1851 | Requestor Address Line 2 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1852 | Requestor Address Line 3 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1853 | Requestor Address Line 4 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1854 | Requestor Address Line 5 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1855 | Requestor Address Line 6 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1856 | Requestor Address Line 7 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1857 | Requestor Address Line 8 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1858 | Requestor Address Line 9 | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1859 | Requestor Address Postcode | (0) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1848 | Evidence of Site Ownership | BOOLEAN(1) |
| 02I | Primary Site Contact Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0489 | Contact Name | CHAR(50) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0490 | Contact Telephone Number | CHAR(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 03I | Secondary Site Contact Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0489 | Contact Name | CHAR(50) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0490 | Contact Telephone Number | CHAR(14) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 04I | MPAN Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1847 | Disconnection Type Indicator | CHAR(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1849 | Earliest Planned Disconnection Date | DATE(8) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0263 | Metering Point Postcode | (0) |

| Notes: | Though all of the address data items included in this flow is defined within the structure as being optional, the address itself is mandatory and must be included in the flow. The use of any individual address item cannot be made mandatory as, in the absence of an agreed address structure for all flows, an address may be constructed from any combination of the Address Line and Postcode items. |
| --- | --- |

| Flow Reference: | D0354 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Metering System Reporting Notification |
| --- | --- |
| Flow Description: | Supplier notification to HHDA of Metering Systems to be reported to the Supplier in relation to EMR or SVAA notification to HHDA of Metering Systems to be reported to SVAA. To be used for both initial notification and for updates. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| Supplier | HHDA | 15.4 |
| Supplier | SVAA | 15.4 |
| SVAA | HHDA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0003 | MPAN Core |
| J1869 | Effective from Settlement Date {MSCM} |
| J1870 | Effective to Settlement Date {MSCM} |
| J0048 | Contract Reference |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13I | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 14I | Metering System Reporting Notifications | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1869 | Effective from Settlement Date {MSCM} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1870 | Effective to Settlement Date {MSCM} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0048 | Contract Reference | CHAR(10) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0355 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Metering System Reporting Confirmation |
| --- | --- |
| Flow Description: | Used to notify a Supplier or the SVAA that their Metering System Reporting Notification has been accepted, including verification of the notification. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDA | CFD Settlement Services Provider | 15.4 |
| HHDA | CM Settlement Services Provider | 15.4 |
| HHDA | Supplier | 15.4 |
| HHDA | SVAA | 15.4 |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J1017 | Incoming Instruction Number |
| J0003 | MPAN Core |
| J1869 | Effective from Settlement Date {MSCM} |
| J1870 | Effective to Settlement Date {MSCM} |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 15I | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | O |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 16I | Confirmed Metering System Reporting Notifications | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1017 | Incoming Instruction Number | NUM(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1869 | Effective from Settlement Date {MSCM} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1870 | Effective to Settlement Date {MSCM} | DATE(8) |

| Notes: | Sent in response to a D0354 (Metering System Reporting Notification). When the SVAA has sent a D0354, the HHDA must only respond to the SVAA. Where the sender of the D0354 is a Supplier, the HHDA should only respond to the relevant Supplier and additionally copy the D0355 to the CFD Settlement Services Provider and CM Settlement Services Provider |
| --- | --- |

| Flow Reference: | D0356 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Metering System Reporting Rejection |
| --- | --- |
| Flow Description: | Notification to the Supplier or the SVAA that the Metering System Reporting Notification has been rejected, giving the reason for rejection |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDA | Supplier | 15.4 |
| HHDA | SVAA | 15.4 |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J1017 | Incoming Instruction Number |
| J0003 | MPAN Core |
| J1869 | Effective from Settlement Date {MSCM} |
| J1870 | Effective to Settlement Date {MSCM} |
| J1871 | Metering System Reporting Notification Rejection Reason Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 17I | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 18I | Rejected Metering System Reporting Notifications | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1017 | Incoming Instruction Number | NUM(12) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1869 | Effective from Settlement Date {MSCM} | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1870 | Effective to Settlement Date {MSCM} | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1871 | Metering System Reporting Notification Rejection Reason Code | CHAR(2) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0357 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Half Hourly Metered Data for EMR |
| --- | --- |
| Flow Description: | Half Hourly metered data for use by the CM Settlement Services Provider in calculating CM data, and/ or by the CFD Settlement Services provider in calculating CFD data. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDA | CFD Settlement Services Provider | 15.4 |
| HHDA | CM Settlement Services Provider | 15.4 |
| HHDA | Supplier | 15.4 |
| SVAA | CFD Settlement Services Provider | 15.4 |
| SVAA | CM Settlement Services Provider | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J0084 | Supplier Id |
| J0003 | MPAN Core |
| J0103 | Measurement Quantity Id |
| J0020 | Actual/Estimated Indicator |
| J0074 | Settlement Period Id |
| J1872 | Period Metering System Metered Data |
| J1873 | Period EMR Line Loss |
| J0084 | Supplier Id |
| J0003 | MPAN Core |
| J0103 | Measurement Quantity Id |
| J0020 | Actual/Estimated Indicator |
| J0074 | Settlement Period Id |
| J1872 | Period Metering System Metered Data |
| J1873 | Period EMR Line Loss |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 19I | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| 20I | Supplier | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 21I | EMR MPAN Cores | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
| 22I | Settlement Period EMR Metered Data | 46,48,50 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1872 | Period Metering System Metered Data | NUM(9) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1873 | Period EMR Line Loss | NUM(9) |
| 23I | Supplier | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 24I | EMR MPAN Cores | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
| 25I | Settlement Period EMR Metered Data | 46,48,50 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1872 | Period Metering System Metered Data | NUM(9) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1873 | Period EMR Line Loss | NUM(9) |

| Notes: | When constructing this flow, the HHDA or the SVAA will not necessarily know which MPAN Cores are relevant to the CM Settlement Services Provider, and which to the CFD Settlement Services Provider. The HHDA or SVAA should therefore send the data flow to one or the other (and rely upon arrangements put in place between the CFD and CM Settlement Services Providers to ensure that data is used for the correct purposes). In practice, this means populating the flow header with the Market Participant Id of either Settlement Service Provider (or with their shared Market Participant Id, if they have not been allocated separate Market Participant Ids). |
| --- | --- |

| Flow Reference: | D0362 |
| --- | --- |
| Flow Version: | 003 | Status: Operational |

| Flow Name: | CFD Supplier Invoice Backing Data |
| --- | --- |
| Flow Description: | Calculation details for CFD payments from (or to) a Supplier. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| CFD Settlement Services Provider | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1889 | EMR Party Id |
| J1950 | EMR Invoice Number |
| J1949 | EMR Invoice Date |
| J1951 | EMR Invoice Payment Date |
| J1952 | EMR Invoice Total |
| J1909 | CFD Levy Payment Type |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1910 | CFD Levy Rate |
| J1904 | CFD Daily Supplier Chargeable Demand |
| J1905 | CFD Daily Supplier EII Excluded Demand |
| J1908 | CFD Levy Payment |
| J1907 | CFD Levy Net Payment |
| J0074 | Settlement Period Id |
| J1911 | CFD Period Supplier Chargeable Demand |
| J1912 | CFD Period Supplier EII Excluded Demand |
| J1973 | Obligation Period |
| J2042 | Total Reserve Amount |
| J2014 | Supplier Reserve Amount |
| J1994 | Reference Period Supplier Chargeable Demand |
| J1997 | Reference Period Total Chargeable Demand |
| J1995 | Reference Period Supplier EII Excluded Demand |
| J1998 | Reference Period Total EII Excluded Demand |
| J1993 | Reference Period Start Date |
| J1992 | Reference Period End Date |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1904 | CFD Daily Supplier Chargeable Demand |
| J2023 | Total Daily Chargeable Demand |
| J1905 | CFD Daily Supplier EII Excluded Demand |
| J2026 | Total Daily EII Excluded Demand |
| J1973 | Obligation Period |
| J2024 | Total Daily Contribution |
| J2025 | Total Daily Contribution Reconciliation Adjustment |
| J1913 | CFD Quarterly Contribution |
| J2286 | Net Quarterly Interest Contribution |
| J2012 | Supplier Quarterly Chargeable Demand |
| J2039 | Total Quarterly Chargeable Demand |
| J2013 | Supplier Quarterly EII Excluded Demand |
| J2040 | Total Quarterly EII Excluded Demand |
| J2065 | Supplier Quarterly Green Excluded Demand |
| J2066 | Total Quarterly Green Excluded Demand |
| J2047 | Total Net Quarterly Non-Generation Payments |
| J2032 | Total Net Quarterly Interest |
| J1914 | CFD Quarterly Contribution Reconciliation Adjustment |
| J2285 | Net Quarterly Interest Contribution Adjustment |
| J1988 | Previous Reserve Payment |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1904 | CFD Daily Supplier Chargeable Demand |
| J2023 | Total Daily Chargeable Demand |
| J1905 | CFD Daily Supplier EII Excluded Demand |
| J2026 | Total Daily EII Excluded Demand |
| J2063 | CFD Daily Supplier Green Excluded Demand |
| J2064 | Total Daily Green Excluded Demand |
| J1936 | Daily Net Generator Payments |
| J1991 | Reconciled Levy Rate |
| J2006 | Supplier Daily Contribution |
| J2007 | Supplier Daily Contribution Reconciliation Adjustment |
| J0074 | Settlement Period Id |
| J2010 | Supplier Period Chargeable Demand |
| J2036 | Total Period Chargeable Demand |
| J2011 | Supplier Period EII Excluded Demand |
| J2037 | Total Period EII Excluded Demand |
| J2067 | Supplier Period Green Excluded Demand |
| J2068 | Total Period Green Excluded Demand |
| J1983 | Period Net Generator Payments |
| J1906 | CFD Id |
| J1935 | Daily CFD Net Payment |
| J2284 | Daily Net Generator Compensatory Interest |
| J0074 | Settlement Period Id |
| J2000 | Reference Price |
| J2005 | Strike Price |
| J1967 | Metered Volume |
| J1983 | Period Net Generator Payments |
| J1893 | Amount in Default |
| J1941 | Defaulted Amount Due Date |
| J1940 | Defaulted Amount Details |
| J2056 | CFD Mutualisation Type |
| J1994 | Reference Period Supplier Chargeable Demand |
| J1997 | Reference Period Total Chargeable Demand |
| J1995 | Reference Period Supplier EII Excluded Demand |
| J1998 | Reference Period Total EII Excluded Demand |
| J1993 | Reference Period Start Date |
| J1992 | Reference Period End Date |
| J2008 | Supplier Mutualisation Amount |
| J1950 | EMR Invoice Number |
| J1949 | EMR Invoice Date |
| J1893 | Amount in Default |
| J1955 | Interest Payment From Date |
| J1956 | Interest Payment To Date |
| J1954 | Interest Amount |
| J1958 | Interest Rate Effective Date |
| J1957 | Interest Rate |
| J1893 | Amount in Default |
| J1941 | Defaulted Amount Due Date |
| J2008 | Supplier Mutualisation Amount |
| J2070 | Mutualisation Payment Date |
| J2069 | Amount Recovered |
| J2071 | Supplier Mutualisation Repayment |
| J2281 | CFD Fiscal Year |
| J2283 | CFD Operational Cost Levy Total Refund Amount |
| J1994 | Reference Period Supplier Chargeable Demand |
| J1997 | Reference Period Total Chargeable Demand |
| J1995 | Reference Period Supplier EII Excluded Demand |
| J1998 | Reference Period Total EII Excluded Demand |
| J2282 | CFD Operational Cost Levy Supplier Refund Amount |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 55I | EMR Invoice Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1889 | EMR Party Id | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1950 | EMR Invoice Number | INT(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1949 | EMR Invoice Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1951 | EMR Invoice Payment Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1952 | EMR Invoice Total | NUM(14) |
| 56I | CFD Levy Payment | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1909 | CFD Levy Payment Type | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1910 | CFD Levy Rate | NUM(11) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1904 | CFD Daily Supplier Chargeable Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1905 | CFD Daily Supplier EII Excluded Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1908 | CFD Levy Payment | NUM(14) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1907 | CFD Levy Net Payment | NUM(14) |
| 57I | CFD Period Gross Demand | 46, 48, 50 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1911 | CFD Period Supplier Chargeable Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1912 | CFD Period Supplier EII Excluded Demand | NUM(13) |
| 58I | CFD Reserve Payment | 0-1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1973 | Obligation Period | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2042 | Total Reserve Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2014 | Supplier Reserve Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1994 | Reference Period Supplier Chargeable Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1997 | Reference Period Total Chargeable Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1995 | Reference Period Supplier EII Excluded Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1998 | Reference Period Total EII Excluded Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1993 | Reference Period Start Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1992 | Reference Period End Date | DATE(8) |
| 59I | CFD Reserve Payment Reference Day | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1904 | CFD Daily Supplier Chargeable Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2023 | Total Daily Chargeable Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1905 | CFD Daily Supplier EII Excluded Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2026 | Total Daily EII Excluded Demand | NUM(13) |
| 60I | CFD Quarterly Reconciliation Payment | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1973 | Obligation Period | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2024 | Total Daily Contribution | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2025 | Total Daily Contribution Reconciliation Adjustment | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1913 | CFD Quarterly Contribution | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2286 | Net Quarterly Interest Contribution | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2012 | Supplier Quarterly Chargeable Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2039 | Total Quarterly Chargeable Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2013 | Supplier Quarterly EII Excluded Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2040 | Total Quarterly EII Excluded Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2065 | Supplier Quarterly Green Excluded Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2066 | Total Quarterly Green Excluded Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2047 | Total Net Quarterly Non-Generation Payments | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2032 | Total Net Quarterly Interest | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1914 | CFD Quarterly Contribution Reconciliation Adjustment | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2285 | Net Quarterly Interest Contribution Adjustment | NUM(14) |
|  |  |  |  |  | O |  |  |  |  |  |  | J1988 | Previous Reserve Payment | NUM(14) |
| 61I | CFD Quarterly Reconciliation Day | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1904 | CFD Daily Supplier Chargeable Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2023 | Total Daily Chargeable Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1905 | CFD Daily Supplier EII Excluded Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2026 | Total Daily EII Excluded Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2063 | CFD Daily Supplier Green Excluded Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2064 | Total Daily Green Excluded Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1936 | Daily Net Generator Payments | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1991 | Reconciled Levy Rate | NUM(11) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2006 | Supplier Daily Contribution | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2007 | Supplier Daily Contribution Reconciliation Adjustment | NUM(14) |
| 62I | CFD Quarterly Reconciliation Period | 46, 48, 50 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2010 | Supplier Period Chargeable Demand | NUM(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2036 | Total Period Chargeable Demand | NUM(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2011 | Supplier Period EII Excluded Demand | NUM(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2037 | Total Period EII Excluded Demand | NUM(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2067 | Supplier Period Green Excluded Demand | NUM(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2068 | Total Period Green Excluded Demand | NUM(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1983 | Period Net Generator Payments | NUM(14) |
| 63I | Daily Net Generator Payment | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1906 | CFD Id | CHAR(16) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1935 | Daily CFD Net Payment | NUM(14) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2284 | Daily Net Generator Compensatory Interest | NUM(14) |
| 64I | Generator Reconciliation Period | 46, 48, 50 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2000 | Reference Price | NUM(11) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2005 | Strike Price | NUM(11) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1967 | Metered Volume | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1983 | Period Net Generator Payments | NUM(14) |
| 65I | CFD Mutualisation Payment | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1893 | Amount in Default | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1941 | Defaulted Amount Due Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1940 | Defaulted Amount Details | CHAR(120) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2056 | CFD Mutualisation Type | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1994 | Reference Period Supplier Chargeable Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1997 | Reference Period Total Chargeable Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1995 | Reference Period Supplier EII Excluded Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1998 | Reference Period Total EII Excluded Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1993 | Reference Period Start Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1992 | Reference Period End Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2008 | Supplier Mutualisation Amount | NUM(14) |
| 66I | CFD Interest Payment | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1950 | EMR Invoice Number | INT(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1949 | EMR Invoice Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1893 | Amount in Default | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1955 | Interest Payment From Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1956 | Interest Payment To Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1954 | Interest Amount | NUM(14) |
| 67I | CFD Interest Rate | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1958 | Interest Rate Effective Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1957 | Interest Rate | NUM(8) |
| 76J | CFD Mutualisation Repayment | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1893 | Amount in Default | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1941 | Defaulted Amount Due Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2008 | Supplier Mutualisation Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2070 | Mutualisation Payment Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2069 | Amount Recovered | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2071 | Supplier Mutualisation Repayment | NUM(14) |
| COC | CFD Operational Cost Refund | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2281 | CFD Fiscal Year | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2283 | CFD Operational Cost Levy Total Refund Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1994 | Reference Period Supplier Chargeable Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1997 | Reference Period Total Chargeable Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1995 | Reference Period Supplier EII Excluded Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1998 | Reference Period Total EII Excluded Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2282 | CFD Operational Cost Levy Supplier Refund Amount | NUM(14) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0363 |
| --- | --- |
| Flow Version: | 002 | Status: Operational |

| Flow Name: | CFD Supplier Credit Cover Report |
| --- | --- |
| Flow Description: | Daily report of CFD credit cover posted by a Supplier. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| CFD Settlement Services Provider | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1889 | EMR Party Id |
| J2048 | Supplier Credit Cover Report Date |
| J2022 | Total Credit Cover |
| J2021 | Total Cash Credit Cover |
| J2028 | Total Letters of Credit |
| J1968 | Minimum Credit Cover |
| J2016 | Surplus Credit Cover |
| J1993 | Reference Period Start Date |
| J1992 | Reference Period End Date |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1959 | Interim Levy Payment |
| J1910 | CFD Levy Rate |
| J1904 | CFD Daily Supplier Chargeable Demand |
| J1905 | CFD Daily Supplier EII Excluded Demand |
| J1963 | LoC Id |
| J1962 | LoC Amount |
| J1964 | LoC Valid |
| J2057 | LoC Expiry Date |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 68I | CFD Credit Cover | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1889 | EMR Party Id | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2048 | Supplier Credit Cover Report Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2022 | Total Credit Cover | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2021 | Total Cash Credit Cover | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2028 | Total Letters of Credit | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1968 | Minimum Credit Cover | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2016 | Surplus Credit Cover | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1993 | Reference Period Start Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1992 | Reference Period End Date | DATE(8) |
| 69I | Minimum Credit Cover Detail | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1959 | Interim Levy Payment | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1910 | CFD Levy Rate | NUM(11) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1904 | CFD Daily Supplier Chargeable Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1905 | CFD Daily Supplier EII Excluded Demand | NUM(13) |
| 70I | Letter of Credit | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1963 | LoC Id | CHAR(60) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1962 | LoC Amount | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1964 | LoC Valid | BOOLEAN(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2057 | LoC Expiry Date | DATE(8) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0364 |
| --- | --- |
| Flow Version: | 004 | Status: Operational |

| Flow Name: | CM Supplier Invoice Backing Data |
| --- | --- |
| Flow Description: | Calculation details for Capacity Market payments from (or to) a Supplier. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| CM Settlement Services Provider | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1889 | EMR Party Id |
| J1950 | EMR Invoice Number |
| J1949 | EMR Invoice Date |
| J1951 | EMR Invoice Payment Date |
| J1952 | EMR Invoice Total |
| J1923 | CM Month Id |
| J2043 | Total Settlement Cost |
| J1996 | Reference Period Supplier Demand for Periods of High Demand |
| J1999 | Reference Period Total Demand for Periods of High Demand |
| J1993 | Reference Period Start Date |
| J1992 | Reference Period End Date |
| J2015 | Supplier Settlement Cost Levy Amount |
| J1972 | Net Payment |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1937 | Daily Supplier Demand for Periods of High Demand |
| J1938 | Daily Total Demand for Periods of High Demand |
| J0074 | Settlement Period Id |
| J1984 | Period Supplier Demand for Periods of High Demand |
| J1985 | Period Total Demand for Periods of High Demand |
| J1923 | CM Month Id |
| J2029 | Total Monthly Capacity Payments |
| J2009 | Supplier Demand for Periods of High Demand |
| J2031 | Total Demand for Periods of High Demand |
| J1993 | Reference Period Start Date |
| J1992 | Reference Period End Date |
| J1901 | Capacity Market Supplier Charge |
| J1972 | Net Payment |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1937 | Daily Supplier Demand for Periods of High Demand |
| J1938 | Daily Total Demand for Periods of High Demand |
| J0074 | Settlement Period Id |
| J1984 | Period Supplier Demand for Periods of High Demand |
| J1985 | Period Total Demand for Periods of High Demand |
| J1923 | CM Month Id |
| J2184 | Supplier Demand Forecast |
| J2185 | Total Supplier Demand Forecast |
| J1942 | Delivery Year |
| J2061 | Total Over-delivery Payments |
| J2044 | Total Under-delivery Payments |
| J2035 | Total Penalty Residual Supplier Amount |
| J2186 | Supplier Yearly Capacity Market Charge Paid |
| J2187 | Total Supplier Yearly Capacity Market Charge Paid |
| J1980 | Penalty Residual Supplier Amount |
| J1972 | Net Payment |
| J1893 | Amount in Default |
| J1941 | Defaulted Amount Due Date |
| J1996 | Reference Period Supplier Demand for Periods of High Demand |
| J1999 | Reference Period Total Demand for Periods of High Demand |
| J1993 | Reference Period Start Date |
| J1992 | Reference Period End Date |
| J2008 | Supplier Mutualisation Amount |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1937 | Daily Supplier Demand for Periods of High Demand |
| J1938 | Daily Total Demand for Periods of High Demand |
| J0074 | Settlement Period Id |
| J1984 | Period Supplier Demand for Periods of High Demand |
| J1985 | Period Total Demand for Periods of High Demand |
| J1923 | CM Month Id |
| J2184 | Supplier Demand Forecast |
| J2185 | Total Supplier Demand Forecast |
| J1923 | CM Month Id |
| J2188 | Total Mutualisation Credit Amount |
| J2189 | Supplier Mutualisation Amount Paid |
| J2190 | Total Supplier Mutualisation Amount Paid |
| J2191 | Supplier Mutualisation Credit Amount |
| J1972 | Net Payment |
| J1950 | EMR Invoice Number |
| J1949 | EMR Invoice Date |
| J1893 | Amount in Default |
| J1955 | Interest Payment From Date |
| J1956 | Interest Payment To Date |
| J1954 | Interest Amount |
| J1958 | Interest Rate Effective Date |
| J1957 | Interest Rate |
| J2073 | CM Year |
| J2074 | CM Settlement Costs Levy Total Refund Amount |
| J2076 | CM Settlement Costs Levy Supplier Yearly Payment |
| J2075 | CM Settlement Costs Levy Total Yearly Payment |
| J2072 | CM Settlement Costs Levy Supplier Refund Amount |
| J2280 | Total Amount Invoiced To Suppliers |
| J2192 | Total Amount Received from Suppliers |
| J2193 | Total Amount Payable to Suppliers |
| J2194 | Original EMR Invoice Total |
| J2195 | Reduction to EMR Invoice Total |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 71I | EMR Invoice Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1889 | EMR Party Id | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1950 | EMR Invoice Number | INT(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1949 | EMR Invoice Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1951 | EMR Invoice Payment Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1952 | EMR Invoice Total | NUM(14) |
| 72I | CM Settlement Costs Levy | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1923 | CM Month Id | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2043 | Total Settlement Cost | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1996 | Reference Period Supplier Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1999 | Reference Period Total Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1993 | Reference Period Start Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1992 | Reference Period End Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2015 | Supplier Settlement Cost Levy Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1972 | Net Payment | NUM(14) |
| 73I | CM Demand Daily Detail | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1937 | Daily Supplier Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1938 | Daily Total Demand for Periods of High Demand | NUM(13) |
| 74I | CM Demand Period Detail | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1984 | Period Supplier Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1985 | Period Total Demand for Periods of High Demand | NUM(13) |
| 75I | CM Supplier Charge Payment | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1923 | CM Month Id | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2029 | Total Monthly Capacity Payments | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2009 | Supplier Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2031 | Total Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1993 | Reference Period Start Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1992 | Reference Period End Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1901 | Capacity Market Supplier Charge | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1972 | Net Payment | NUM(14) |
| 76I | CM Demand Daily Detail | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1937 | Daily Supplier Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1938 | Daily Total Demand for Periods of High Demand | NUM(13) |
| 77I | CM Demand Period Detail | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1984 | Period Supplier Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1985 | Period Total Demand for Periods of High Demand | NUM(13) |
| 46L | CM Net Demand Forecast Detail | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1923 | CM Month Id | NUM(6) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2184 | Supplier Demand Forecast | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2185 | Total Supplier Demand Forecast | NUM(13) |
| 78I | CM Penalty Residual Supplier Amount | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1942 | Delivery Year | NUM(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2061 | Total Over-delivery Payments | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2044 | Total Under-delivery Payments | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2035 | Total Penalty Residual Supplier Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2186 | Supplier Yearly Capacity Market Charge Paid | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2187 | Total Supplier Yearly Capacity Market Charge Paid | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1980 | Penalty Residual Supplier Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1972 | Net Payment | NUM(14) |
| 81I | CM Mutualisation Payment | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1893 | Amount in Default | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1941 | Defaulted Amount Due Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1996 | Reference Period Supplier Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1999 | Reference Period Total Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1993 | Reference Period Start Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1992 | Reference Period End Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2008 | Supplier Mutualisation Amount | NUM(14) |
| 82I | CM Demand Daily Detail | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1937 | Daily Supplier Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1938 | Daily Total Demand for Periods of High Demand | NUM(13) |
| 83I | CM Demand Period Detail | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1984 | Period Supplier Demand for Periods of High Demand | NUM(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1985 | Period Total Demand for Periods of High Demand | NUM(13) |
| 47L | CM Demand Forecast Detail | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1923 | CM Month Id | NUM(6) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2184 | Supplier Demand Forecast | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2185 | Total Supplier Demand Forecast | NUM(13) |
| 48L | CM Mutualisation Credit | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1923 | CM Month Id | NUM(6) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2188 | Total Mutualisation Credit Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2189 | Supplier Mutualisation Amount Paid | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2190 | Total Supplier Mutualisation Amount Paid | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2191 | Supplier Mutualisation Credit Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1972 | Net Payment | NUM(14) |
| 84I | CM Interest Payment | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1950 | EMR Invoice Number | INT(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1949 | EMR Invoice Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1893 | Amount in Default | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1955 | Interest Payment From Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1956 | Interest Payment To Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1954 | Interest Amount | NUM(14) |
| 85I | CM Interest Rate | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1958 | Interest Rate Effective Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1957 | Interest Rate | NUM(8) |
| 75J | CM Settlement Costs Levy Refund | 0-1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2073 | CM Year | INT(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2074 | CM Settlement Costs Levy Total Refund Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2076 | CM Settlement Costs Levy Supplier Yearly Payment | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2075 | CM Settlement Costs Levy Total Yearly Payment | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2072 | CM Settlement Costs Levy Supplier Refund Amount | NUM(14) |
| 49L | Supplier Recalculation of Credit Amounts | 0-1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2280 | Total Amount Invoiced To Suppliers | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2192 | Total Amount Received from Suppliers | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2193 | Total Amount Payable to Suppliers | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2194 | Original EMR Invoice Total | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2195 | Reduction to EMR Invoice Total | NUM(14) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0365 |
| --- | --- |
| Flow Version: | 003 | Status: Operational |

| Flow Name: | CFD Generator Invoice Backing Data |
| --- | --- |
| Flow Description: | Calculation details for CFD payments to (or from) a CFD Generator. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| CFD Settlement Services Provider | CFD Generator | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1889 | EMR Party Id |
| J1950 | EMR Invoice Number |
| J1949 | EMR Invoice Date |
| J1951 | EMR Invoice Payment Date |
| J1952 | EMR Invoice Total |
| J1906 | CFD Id |
| J1932 | Contract Type |
| J2019 | Total Aggregate Difference |
| J2041 | Total Reconciliation Amount |
| J2027 | Total Interest |
| J1971 | Net Payable Amount |
| J2178 | Total Ad Hoc Payment |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1891 | Aggregate Difference Amount |
| J1990 | Reconciliation Amount |
| J1931 | Compensatory Interest |
| J2290 | Phase Multiplier |
| J2291 | Phase Total Installed Capacity |
| J2292 | Project Total Installed Capacity |
| J2004 | Settlement Unit Id |
| J1967 | Metered Volume |
| J1947 | DSF Unit Metered Volume |
| J1945 | DSF Station Load |
| J1946 | DSF Station Load Proportion |
| J0252 | Transmission Loss Multiplier |
| J2000 | Reference Price |
| J2293 | Rolling Negative Price Period |
| J2005 | Strike Price |
| J2287 | Maximum Contract Capacity |
| J2001 | Renewable Qualifying Multiplier |
| J2002 | Renewable Qualifying Multiplier Type |
| J1915 | CHP Qualifying Multiplier |
| J1943 | Difference |
| J1944 | Difference Amount |
| J2288 | Metered Entity Id |
| J2289 | Metered Entity Metered Volume |
| J0252 | Transmission Loss Multiplier |
| J0156 | Line Loss Factor |
| J1950 | EMR Invoice Number |
| J1949 | EMR Invoice Date |
| J1893 | Amount in Default |
| J1955 | Interest Payment From Date |
| J1956 | Interest Payment To Date |
| J1954 | Interest Amount |
| J1958 | Interest Rate Effective Date |
| J1957 | Interest Rate |
| J2179 | CFD Ad Hoc Payment Description |
| J1934 | Curtailment Compensation Amount |
| J2018 | Termination Amount |
| J1989 | Qualifying Change in Law Amount |
| J1953 | Generation Tax Amount |
| J2180 | Sustainability Change in Law Amount |
| J2181 | Other CFD Ad Hoc Payment |
| J1931 | Compensatory Interest |
| J2182 | Compensatory Interest From Date |
| J2183 | Compensatory Interest To Date |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 86I | EMR Invoice Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1889 | EMR Party Id | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1950 | EMR Invoice Number | INT(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1949 | EMR Invoice Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1951 | EMR Invoice Payment Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1952 | EMR Invoice Total | NUM(14) |
| 87I | Contract for Difference | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1906 | CFD Id | CHAR(16) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1932 | Contract Type | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2019 | Total Aggregate Difference | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2041 | Total Reconciliation Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2027 | Total Interest | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1971 | Net Payable Amount | NUM(14) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2178 | Total Ad Hoc Payment | NUM(14) |
| 88I | CFD Billing Period | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1891 | Aggregate Difference Amount | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1990 | Reconciliation Amount | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1931 | Compensatory Interest | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2290 | Phase Multiplier | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2291 | Phase Total Installed Capacity | NUM(13) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2292 | Project Total Installed Capacity | NUM(13) |
| 89I | CFD Settlement Unit | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2004 | Settlement Unit Id | INT(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1967 | Metered Volume | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1947 | DSF Unit Metered Volume | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1945 | DSF Station Load | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1946 | DSF Station Load Proportion | NUM(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0252 | Transmission Loss Multiplier | NUM(10) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2000 | Reference Price | NUM(11) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2293 | Rolling Negative Price Period | BOOLEAN(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2005 | Strike Price | NUM(11) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2287 | Maximum Contract Capacity | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J2001 | Renewable Qualifying Multiplier | NUM(8) |
|  |  |  |  |  |  |  | O |  |  |  |  | J2002 | Renewable Qualifying Multiplier Type | CHAR(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1915 | CHP Qualifying Multiplier | NUM(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1943 | Difference | NUM(11) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1944 | Difference Amount | NUM(14) |
| CME | CFD Metered Entity Settlement Unit | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2288 | Metered Entity Id | CHAR(25) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2289 | Metered Entity Metered Volume | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0252 | Transmission Loss Multiplier | NUM(10) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0156 | Line Loss Factor | NUM(5) |
| 90I | CFD Default Interest | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1950 | EMR Invoice Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1949 | EMR Invoice Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1893 | Amount in Default | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1955 | Interest Payment From Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1956 | Interest Payment To Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1954 | Interest Amount | NUM(14) |
| 91I | CFD Default Interest Rate | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1958 | Interest Rate Effective Date | DATE(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1957 | Interest Rate | NUM(8) |
| 92I | CFD Ad Hoc Payment | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J2179 | CFD Ad Hoc Payment Description | CHAR(250) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1934 | Curtailment Compensation Amount | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2018 | Termination Amount | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1989 | Qualifying Change in Law Amount | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1953 | Generation Tax Amount | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2180 | Sustainability Change in Law Amount | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2181 | Other CFD Ad Hoc Payment | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1931 | Compensatory Interest | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2182 | Compensatory Interest From Date | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2183 | Compensatory Interest To Date | DATE(8) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0366 |
| --- | --- |
| Flow Version: | 003 | Status: Operational |

| Flow Name: | CM Capacity Provider Invoice Backing Data |
| --- | --- |
| Flow Description: | Calculation details for Capacity Market payments to (or from) a Capacity Provider. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| CM Settlement Services Provider | Capacity Provider | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J1889 | EMR Party Id |
| J1950 | EMR Invoice Number |
| J1949 | EMR Invoice Date |
| J1951 | EMR Invoice Payment Date |
| J1952 | EMR Invoice Total |
| J1923 | CM Month Id |
| J2192 | Total Amount Received from Suppliers |
| J2205 | Total Amount Payable to Capacity Providers |
| J1930 | CMU Id |
| J2201 | Capacity Payment Suspension Start Date |
| J2200 | Capacity Payment Suspension End Date |
| J2294 | Capacity Agreement |
| J1895 | Auction Acquired Capacity Obligation |
| J2198 | Auction Acquired Capacity Obligation Start Date |
| J2197 | Auction Acquired Capacity Obligation End Date |
| J2196 | Auction Acquired Capacity Obligation Effective Date |
| J1896 | Auction Identifier |
| J1903 | Capacity Price |
| J1900 | Capacity Cleared Price |
| J1918 | CM Base CPI |
| J1919 | CM CPI |
| J1922 | CM Monthly Weighting Factor |
| J1969 | Monthly Capacity Payment Due |
| J2299 | Monthly Capacity Payment Payable |
| J2055 | Capacity Payment Suspension Flag |
| J1930 | CMU Id |
| J2295 | Capacity Trade ID |
| J1986 | Physically Traded Capacity Obligation |
| J2203 | Physically Traded Capacity Obligation Start Date |
| J2202 | Physically Traded Capacity Obligation End Date |
| J1896 | Auction Identifier |
| J1903 | Capacity Price |
| J1900 | Capacity Cleared Price |
| J1918 | CM Base CPI |
| J1919 | CM CPI |
| J1922 | CM Monthly Weighting Factor |
| J1969 | Monthly Capacity Payment Due |
| J2299 | Monthly Capacity Payment Payable |
| J2055 | Capacity Payment Suspension Flag |
| J2304 | Relevant Expenditure |
| J2303 | Relevant Benefit |
| J2299 | Monthly Capacity Payment Payable |
| J2301 | Recovery Period Start Date |
| J2302 | Recovery Period End Date |
| J2304 | Relevant Expenditure |
| J2303 | Relevant Benefit |
| J2294 | Capacity Agreement |
| J2297 | CM Agreement Termination Reason |
| J2306 | Termination Fee Rate |
| J2296 | CM Agreement Termination Date |
| J1895 | Auction Acquired Capacity Obligation |
| J1986 | Physically Traded Capacity Obligation |
| J2305 | Termination Fee Due |
| J2298 | Credit Cover Drawdown |
| J2300 | Net Termination Fee Payable |
| J1950 | EMR Invoice Number |
| J1949 | EMR Invoice Date |
| J1893 | Amount in Default |
| J1955 | Interest Payment From Date |
| J1956 | Interest Payment To Date |
| J1954 | Interest Amount |
| J1958 | Interest Rate Effective Date |
| J1957 | Interest Rate |
| J2192 | Total Amount Received from Suppliers |
| J2205 | Total Amount Payable to Capacity Providers |
| J2194 | Original EMR Invoice Total |
| J2195 | Reduction to EMR Invoice Total |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 93I | EMR Invoice Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1889 | EMR Party Id | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1950 | EMR Invoice Number | INT(12) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1949 | EMR Invoice Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1951 | EMR Invoice Payment Date | DATE(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1952 | EMR Invoice Total | NUM(14) |
| CPM | Capacity Payment Month | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1923 | CM Month Id | NUM(6) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2192 | Total Amount Received from Suppliers | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2205 | Total Amount Payable to Capacity Providers | NUM(14) |
| CPC | Capacity Payment CMU | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1930 | CMU Id | CHAR(23) |
|  |  |  |  |  |  |  | O |  |  |  |  | J2201 | Capacity Payment Suspension Start Date | DATE(8) |
|  |  |  |  |  |  |  | O |  |  |  |  | J2200 | Capacity Payment Suspension End Date | DATE(8) |
| 95I | CM Capacity Payment | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2294 | Capacity Agreement | CHAR(19) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1895 | Auction Acquired Capacity Obligation | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2198 | Auction Acquired Capacity Obligation Start Date | DATE(8) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2197 | Auction Acquired Capacity Obligation End Date | DATE(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2196 | Auction Acquired Capacity Obligation Effective Date | DATE(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1896 | Auction Identifier | CHAR(10) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1903 | Capacity Price | NUM(11) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1900 | Capacity Cleared Price | NUM(11) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1918 | CM Base CPI | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1919 | CM CPI | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1922 | CM Monthly Weighting Factor | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1969 | Monthly Capacity Payment Due | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2299 | Monthly Capacity Payment Payable | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2055 | Capacity Payment Suspension Flag | BOOLEAN(1) |
| 96I | Physically Traded Capacity Obligation | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1930 | CMU Id | CHAR(23) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2295 | Capacity Trade ID | CHAR(24) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1986 | Physically Traded Capacity Obligation | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2203 | Physically Traded Capacity Obligation Start Date | DATE(8) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2202 | Physically Traded Capacity Obligation End Date | DATE(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1896 | Auction Identifier | CHAR(10) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1903 | Capacity Price | NUM(11) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1900 | Capacity Cleared Price | NUM(11) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1918 | CM Base CPI | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1919 | CM CPI | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1922 | CM Monthly Weighting Factor | NUM(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J1969 | Monthly Capacity Payment Due | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2299 | Monthly Capacity Payment Payable | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2055 | Capacity Payment Suspension Flag | BOOLEAN(1) |
| CR1 | CMU Cumulation Recovered | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J2304 | Relevant Expenditure | NUM(14) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2303 | Relevant Benefit | NUM(14) |
| RCP | Recovery of Capacity Payments | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2299 | Monthly Capacity Payment Payable | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2301 | Recovery Period Start Date | DATE(8) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2302 | Recovery Period End Date | DATE(8) |
| CR2 | CMU Cumulation Reinstated | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J2304 | Relevant Expenditure | NUM(14) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2303 | Relevant Benefit | NUM(14) |
| CAT | Capacity Agreement Termination | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2294 | Capacity Agreement | CHAR(19) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2297 | CM Agreement Termination Reason | CHAR(200) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2306 | Termination Fee Rate | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2296 | CM Agreement Termination Date | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1895 | Auction Acquired Capacity Obligation | NUM(13) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1986 | Physically Traded Capacity Obligation | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2305 | Termination Fee Due | NUM(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2298 | Credit Cover Drawdown | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2300 | Net Termination Fee Payable | NUM(14) |
| 59L | CM Interest Payment | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1950 | EMR Invoice Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1949 | EMR Invoice Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1893 | Amount in Default | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1955 | Interest Payment From Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1956 | Interest Payment To Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1954 | Interest Amount | NUM(14) |
| 60L | CM Interest Rate | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1958 | Interest Rate Effective Date | DATE(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1957 | Interest Rate | NUM(8) |
| 61L | Capacity Provider Recalculation of Credit Amount | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2192 | Total Amount Received from Suppliers | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2205 | Total Amount Payable to Capacity Providers | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2194 | Original EMR Invoice Total | NUM(14) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2195 | Reduction to EMR Invoice Total | NUM(14) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0367 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Smart Meter Configuration Details |
| --- | --- |
| Flow Description: | Notifies how a smart meter is configured |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Supplier | MOP | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J1254 | Effective from Settlement Date {MSMTD} |
| J0098 | Retrieval Method |
| J0722 | Retrieval Method Effective Date |
| J0483 | Meter Type |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0300 | Effective from Settlement Date {SCON} |
| J0078 | Time Pattern Regime |
| J0004 | Meter Id |
| J0010 | Meter Register Id |
| J1712 | Meter Register Description |
| J0679 | Register Mapping Coefficient |
| J0474 | Meter Register Type |
| J0103 | Measurement Quantity Id |
| J0475 | Meter Register Multiplier |
| J0478 | Number of Register Digits |
| J1267 | Metering System Non Settlement Functionality Code |
| J1268 | Effective From Settlement Date {MSNSFC} |
| J0004 | Meter Id |
| J0010 | Meter Register Id |
| J1712 | Meter Register Description |
| J0474 | Meter Register Type |
| J0103 | Measurement Quantity Id |
| J0475 | Meter Register Multiplier |
| J0478 | Number of Register Digits |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01J | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1254 | Effective from Settlement Date {MSMTD} | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0098 | Retrieval Method | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0722 | Retrieval Method Effective Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0483 | Meter Type | CHAR(5) |
| 02J | NHH Mapping Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0300 | Effective from Settlement Date {SCON} | DATE(0) |
| 03J | Time Pattern Regimes | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
| 04J | Meter Details | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0004 | Meter Id | CHAR(10) |
| 05J | Meter Register | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1712 | Meter Register Description | CHAR(16) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0679 | Register Mapping Coefficient | NUM(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0474 | Meter Register Type | CHAR(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0475 | Meter Register Multiplier | NUM(9) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0478 | Number of Register Digits | NUM(1) |
| 06J | Non Settlements Registers | 0-1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1267 | Metering System Non Settlement Functionality Code | CHAR(10) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1268 | Effective From Settlement Date {MSNSFC} | DATE(0) |
| 07J | Meter Details | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0004 | Meter Id | CHAR(10) |
| 08J | Meter Register | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0010 | Meter Register Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | O |  |  | J1712 | Meter Register Description | CHAR(16) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0474 | Meter Register Type | CHAR(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0475 | Meter Register Multiplier | NUM(9) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0478 | Number of Register Digits | NUM(1) |

| Notes: | The Register Mapping Coefficient is required for mapping the difference between two or more physical registers' readings to a Settlement Register.This flow is for all SMETS meters.Agnostic of SMSO (not all will be serviced via DCC). |
| --- | --- |

| Flow Reference: | D0368 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Agreed or Cancelled Appointment With Customer |
| --- | --- |
| Flow Description: | The Distribution Business notifies a Supplier and Meter Operator of a new, changed or cancelled customer appointment to fix any category B network fault or defect that is preventing a Supplier installing or changing a meter. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| SFIC | AMEM | 15.4 |
| SFIC | MOP | 15.4 |
| SFIC | SMEM | 15.4 |
| SFIC | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J2050 | Customer Agreed Appointment Date |
| J2051 | Customer Agreed Appointment Time Band |
| J2052 | Appointment Type |
| J0292 | Earliest Appointment Time |
| J0293 | Latest Appointment Time |
| J2053 | Customer Cancelled Appointment |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 09J | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
| 10J | Customer Agreed Appointment Details | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2050 | Customer Agreed Appointment Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2051 | Customer Agreed Appointment Time Band | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2052 | Appointment Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0292 | Earliest Appointment Time | TIME(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0293 | Latest Appointment Time | TIME(0) |
| 11J | Customer Cancelled Appointment | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2053 | Customer Cancelled Appointment | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | The use of R is to be restricted to existing appointments that are re-booked after the initial D0368 has been sent, for a new date or same day and new time in both instances. |
| --- | --- |

| Flow Reference: | D0369 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Aggregated Disconnected DUoS Report |
| --- | --- |
| Flow Description: | A report of profiled DPM data by settlement class summed over Data Aggregator and Distributor. The Distributor will receive one report per Supplier. The report also includes domain data. In part one where the information is sent to the Distributor it will contain all Suppliers, whereas where the information is sent to the Supplier it will only contain data pertaining to that Supplier |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Distributor | 15.4 |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0244 | BSC Trading Party Id |
| J0189 | Distributor Id |
| J0323 | Distributor Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1103 | Profile Class |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0078 | Time Pattern Regime |
| J2082 | DPM Total All EACs |
| J2083 | DPM Total Annualised Advance Report Value |
| J2084 | DPM Total EAC MSID Count |
| J2081 | DPM Total AA MSID Count |
| J2080 | DPM Default EAC MSID Count |
| J2085 | Profiled DPM Consumption (Settlement Period 01) |
| J2086 | Profiled DPM Consumption (Settlement Period 02) |
| J2087 | Profiled DPM Consumption (Settlement Period 03) |
| J2088 | Profiled DPM Consumption (Settlement Period 04) |
| J2089 | Profiled DPM Consumption (Settlement Period 05) |
| J2090 | Profiled DPM Consumption (Settlement Period 06) |
| J2091 | Profiled DPM Consumption (Settlement Period 07) |
| J2092 | Profiled DPM Consumption (Settlement Period 08) |
| J2093 | Profiled DPM Consumption (Settlement Period 09) |
| J2094 | Profiled DPM Consumption (Settlement Period 10) |
| J2095 | Profiled DPM Consumption (Settlement Period 11) |
| J2096 | Profiled DPM Consumption (Settlement Period 12) |
| J2097 | Profiled DPM Consumption (Settlement Period 13) |
| J2098 | Profiled DPM Consumption (Settlement Period 14) |
| J2099 | Profiled DPM Consumption (Settlement Period 15) |
| J2100 | Profiled DPM Consumption (Settlement Period 16) |
| J2101 | Profiled DPM Consumption (Settlement Period 17) |
| J2102 | Profiled DPM Consumption (Settlement Period 18) |
| J2103 | Profiled DPM Consumption (Settlement Period 19) |
| J2104 | Profiled DPM Consumption (Settlement Period 20) |
| J2105 | Profiled DPM Consumption (Settlement Period 21) |
| J2106 | Profiled DPM Consumption (Settlement Period 22) |
| J2107 | Profiled DPM Consumption (Settlement Period 23) |
| J2108 | Profiled DPM Consumption (Settlement Period 24) |
| J2109 | Profiled DPM Consumption (Settlement Period 25) |
| J2110 | Profiled DPM Consumption (Settlement Period 26) |
| J2111 | Profiled DPM Consumption (Settlement Period 27) |
| J2112 | Profiled DPM Consumption (Settlement Period 28) |
| J2113 | Profiled DPM Consumption (Settlement Period 29) |
| J2114 | Profiled DPM Consumption (Settlement Period 30) |
| J2115 | Profiled DPM Consumption (Settlement Period 31) |
| J2116 | Profiled DPM Consumption (Settlement Period 32) |
| J2117 | Profiled DPM Consumption (Settlement Period 33) |
| J2118 | Profiled DPM Consumption (Settlement Period 34) |
| J2119 | Profiled DPM Consumption (Settlement Period 35) |
| J2120 | Profiled DPM Consumption (Settlement Period 36) |
| J2121 | Profiled DPM Consumption (Settlement Period 37) |
| J2122 | Profiled DPM Consumption (Settlement Period 38) |
| J2123 | Profiled DPM Consumption (Settlement Period 39) |
| J2124 | Profiled DPM Consumption (Settlement Period 40) |
| J2125 | Profiled DPM Consumption (Settlement Period 41) |
| J2126 | Profiled DPM Consumption (Settlement Period 42) |
| J2127 | Profiled DPM Consumption (Settlement Period 43) |
| J2128 | Profiled DPM Consumption (Settlement Period 44) |
| J2129 | Profiled DPM Consumption (Settlement Period 45) |
| J2130 | Profiled DPM Consumption (Settlement Period 46) |
| J2131 | Profiled DPM Consumption (Settlement Period 47) |
| J2132 | Profiled DPM Consumption (Settlement Period 48) |
| J2133 | Profiled DPM Consumption (Settlement Period 49) |
| J2134 | Profiled DPM Consumption (Settlement Period 50) |
| J2078 | Daily Profiled DPM Total EAC |
| J2077 | Daily Profiled DPM Total Annualised Advance |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0244 | BSC Trading Party Id |
| J0189 | Distributor Id |
| J0323 | Distributor Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1103 | Profile Class |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0078 | Time Pattern Regime |
| J2082 | DPM Total All EACs |
| J2083 | DPM Total Annualised Advance Report Value |
| J2084 | DPM Total EAC MSID Count |
| J2081 | DPM Total AA MSID Count |
| J2080 | DPM Default EAC MSID Count |
| J2085 | Profiled DPM Consumption (Settlement Period 01) |
| J2086 | Profiled DPM Consumption (Settlement Period 02) |
| J2087 | Profiled DPM Consumption (Settlement Period 03) |
| J2088 | Profiled DPM Consumption (Settlement Period 04) |
| J2089 | Profiled DPM Consumption (Settlement Period 05) |
| J2090 | Profiled DPM Consumption (Settlement Period 06) |
| J2091 | Profiled DPM Consumption (Settlement Period 07) |
| J2092 | Profiled DPM Consumption (Settlement Period 08) |
| J2093 | Profiled DPM Consumption (Settlement Period 09) |
| J2094 | Profiled DPM Consumption (Settlement Period 10) |
| J2095 | Profiled DPM Consumption (Settlement Period 11) |
| J2096 | Profiled DPM Consumption (Settlement Period 12) |
| J2097 | Profiled DPM Consumption (Settlement Period 13) |
| J2098 | Profiled DPM Consumption (Settlement Period 14) |
| J2099 | Profiled DPM Consumption (Settlement Period 15) |
| J2100 | Profiled DPM Consumption (Settlement Period 16) |
| J2101 | Profiled DPM Consumption (Settlement Period 17) |
| J2102 | Profiled DPM Consumption (Settlement Period 18) |
| J2103 | Profiled DPM Consumption (Settlement Period 19) |
| J2104 | Profiled DPM Consumption (Settlement Period 20) |
| J2105 | Profiled DPM Consumption (Settlement Period 21) |
| J2106 | Profiled DPM Consumption (Settlement Period 22) |
| J2107 | Profiled DPM Consumption (Settlement Period 23) |
| J2108 | Profiled DPM Consumption (Settlement Period 24) |
| J2109 | Profiled DPM Consumption (Settlement Period 25) |
| J2110 | Profiled DPM Consumption (Settlement Period 26) |
| J2111 | Profiled DPM Consumption (Settlement Period 27) |
| J2112 | Profiled DPM Consumption (Settlement Period 28) |
| J2113 | Profiled DPM Consumption (Settlement Period 29) |
| J2114 | Profiled DPM Consumption (Settlement Period 30) |
| J2115 | Profiled DPM Consumption (Settlement Period 31) |
| J2116 | Profiled DPM Consumption (Settlement Period 32) |
| J2117 | Profiled DPM Consumption (Settlement Period 33) |
| J2118 | Profiled DPM Consumption (Settlement Period 34) |
| J2119 | Profiled DPM Consumption (Settlement Period 35) |
| J2120 | Profiled DPM Consumption (Settlement Period 36) |
| J2121 | Profiled DPM Consumption (Settlement Period 37) |
| J2122 | Profiled DPM Consumption (Settlement Period 38) |
| J2123 | Profiled DPM Consumption (Settlement Period 39) |
| J2124 | Profiled DPM Consumption (Settlement Period 40) |
| J2125 | Profiled DPM Consumption (Settlement Period 41) |
| J2126 | Profiled DPM Consumption (Settlement Period 42) |
| J2127 | Profiled DPM Consumption (Settlement Period 43) |
| J2128 | Profiled DPM Consumption (Settlement Period 44) |
| J2129 | Profiled DPM Consumption (Settlement Period 45) |
| J2130 | Profiled DPM Consumption (Settlement Period 46) |
| J2131 | Profiled DPM Consumption (Settlement Period 47) |
| J2132 | Profiled DPM Consumption (Settlement Period 48) |
| J2133 | Profiled DPM Consumption (Settlement Period 49) |
| J2134 | Profiled DPM Consumption (Settlement Period 50) |
| J2078 | Daily Profiled DPM Total EAC |
| J2077 | Daily Profiled DPM Total Annualised Advance |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0160 | Consumption Component Class Id |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0165 | GSP Group Correction Scaling Factor |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J0166 | GSP Group Correction Factor |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0244 | BSC Trading Party Id |
| J0160 | Consumption Component Class Id |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0165 | GSP Group Correction Scaling Factor |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J0166 | GSP Group Correction Factor |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 77J | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| 78J | Report Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| 79J | Demand Control Event Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 80J | Header | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| 81J | Supplier Details (Supplier) | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| 82J | Distributor Details (Supplier) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0323 | Distributor Name | CHAR(40) |
| 83J | GSP Group Details (Supplier) | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 84J | DPM Details (Supplier) | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1103 | Profile Class | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2082 | DPM Total All EACs | NUM(14) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2083 | DPM Total Annualised Advance Report Value | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2084 | DPM Total EAC MSID Count | INT(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2081 | DPM Total AA MSID Count | INT(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2080 | DPM Default EAC MSID Count | INT(8) |
| 85J | Profiled DPM Consumption (Supplier) | 1 |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2085 | Profiled DPM Consumption (Settlement Period 01) | NUM(13) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2086 | Profiled DPM Consumption (Settlement Period 02) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2087 | Profiled DPM Consumption (Settlement Period 03) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2088 | Profiled DPM Consumption (Settlement Period 04) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2089 | Profiled DPM Consumption (Settlement Period 05) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2090 | Profiled DPM Consumption (Settlement Period 06) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2091 | Profiled DPM Consumption (Settlement Period 07) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2092 | Profiled DPM Consumption (Settlement Period 08) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2093 | Profiled DPM Consumption (Settlement Period 09) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2094 | Profiled DPM Consumption (Settlement Period 10) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2095 | Profiled DPM Consumption (Settlement Period 11) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2096 | Profiled DPM Consumption (Settlement Period 12) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2097 | Profiled DPM Consumption (Settlement Period 13) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2098 | Profiled DPM Consumption (Settlement Period 14) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2099 | Profiled DPM Consumption (Settlement Period 15) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2100 | Profiled DPM Consumption (Settlement Period 16) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2101 | Profiled DPM Consumption (Settlement Period 17) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2102 | Profiled DPM Consumption (Settlement Period 18) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2103 | Profiled DPM Consumption (Settlement Period 19) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2104 | Profiled DPM Consumption (Settlement Period 20) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2105 | Profiled DPM Consumption (Settlement Period 21) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2106 | Profiled DPM Consumption (Settlement Period 22) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2107 | Profiled DPM Consumption (Settlement Period 23) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2108 | Profiled DPM Consumption (Settlement Period 24) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2109 | Profiled DPM Consumption (Settlement Period 25) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2110 | Profiled DPM Consumption (Settlement Period 26) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2111 | Profiled DPM Consumption (Settlement Period 27) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2112 | Profiled DPM Consumption (Settlement Period 28) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2113 | Profiled DPM Consumption (Settlement Period 29) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2114 | Profiled DPM Consumption (Settlement Period 30) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2115 | Profiled DPM Consumption (Settlement Period 31) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2116 | Profiled DPM Consumption (Settlement Period 32) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2117 | Profiled DPM Consumption (Settlement Period 33) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2118 | Profiled DPM Consumption (Settlement Period 34) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2119 | Profiled DPM Consumption (Settlement Period 35) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2120 | Profiled DPM Consumption (Settlement Period 36) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2121 | Profiled DPM Consumption (Settlement Period 37) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2122 | Profiled DPM Consumption (Settlement Period 38) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2123 | Profiled DPM Consumption (Settlement Period 39) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2124 | Profiled DPM Consumption (Settlement Period 40) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2125 | Profiled DPM Consumption (Settlement Period 41) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2126 | Profiled DPM Consumption (Settlement Period 42) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2127 | Profiled DPM Consumption (Settlement Period 43) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2128 | Profiled DPM Consumption (Settlement Period 44) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2129 | Profiled DPM Consumption (Settlement Period 45) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2130 | Profiled DPM Consumption (Settlement Period 46) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2131 | Profiled DPM Consumption (Settlement Period 47) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2132 | Profiled DPM Consumption (Settlement Period 48) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2133 | Profiled DPM Consumption (Settlement Period 49) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2134 | Profiled DPM Consumption (Settlement Period 50) | (0) |
| 86J | Daily Profiled DPM Totals (Supplier) | 1 |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2078 | Daily Profiled DPM Total EAC | NUM(13) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2077 | Daily Profiled DPM Total Annualised Advance | NUM(13) |
| 87J | Supplier Details (Distributor) | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| 88J | Distributor Details (Distributor) | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0323 | Distributor Name | CHAR(40) |
| 89J | GSP Group Details (Distributor) | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 90J | DPM Details (Distributor) | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1103 | Profile Class | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2082 | DPM Total All EACs | NUM(14) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2083 | DPM Total Annualised Advance Report Value | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2084 | DPM Total EAC MSID Count | INT(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2081 | DPM Total AA MSID Count | INT(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2080 | DPM Default EAC MSID Count | INT(8) |
| 84K | Profiled DPM Consumption (Distributor) | 1 |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2085 | Profiled DPM Consumption (Settlement Period 01) | NUM(13) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2086 | Profiled DPM Consumption (Settlement Period 02) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2087 | Profiled DPM Consumption (Settlement Period 03) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2088 | Profiled DPM Consumption (Settlement Period 04) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2089 | Profiled DPM Consumption (Settlement Period 05) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2090 | Profiled DPM Consumption (Settlement Period 06) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2091 | Profiled DPM Consumption (Settlement Period 07) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2092 | Profiled DPM Consumption (Settlement Period 08) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2093 | Profiled DPM Consumption (Settlement Period 09) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2094 | Profiled DPM Consumption (Settlement Period 10) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2095 | Profiled DPM Consumption (Settlement Period 11) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2096 | Profiled DPM Consumption (Settlement Period 12) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2097 | Profiled DPM Consumption (Settlement Period 13) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2098 | Profiled DPM Consumption (Settlement Period 14) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2099 | Profiled DPM Consumption (Settlement Period 15) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2100 | Profiled DPM Consumption (Settlement Period 16) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2101 | Profiled DPM Consumption (Settlement Period 17) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2102 | Profiled DPM Consumption (Settlement Period 18) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2103 | Profiled DPM Consumption (Settlement Period 19) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2104 | Profiled DPM Consumption (Settlement Period 20) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2105 | Profiled DPM Consumption (Settlement Period 21) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2106 | Profiled DPM Consumption (Settlement Period 22) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2107 | Profiled DPM Consumption (Settlement Period 23) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2108 | Profiled DPM Consumption (Settlement Period 24) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2109 | Profiled DPM Consumption (Settlement Period 25) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2110 | Profiled DPM Consumption (Settlement Period 26) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2111 | Profiled DPM Consumption (Settlement Period 27) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2112 | Profiled DPM Consumption (Settlement Period 28) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2113 | Profiled DPM Consumption (Settlement Period 29) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2114 | Profiled DPM Consumption (Settlement Period 30) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2115 | Profiled DPM Consumption (Settlement Period 31) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2116 | Profiled DPM Consumption (Settlement Period 32) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2117 | Profiled DPM Consumption (Settlement Period 33) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2118 | Profiled DPM Consumption (Settlement Period 34) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2119 | Profiled DPM Consumption (Settlement Period 35) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2120 | Profiled DPM Consumption (Settlement Period 36) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2121 | Profiled DPM Consumption (Settlement Period 37) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2122 | Profiled DPM Consumption (Settlement Period 38) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2123 | Profiled DPM Consumption (Settlement Period 39) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2124 | Profiled DPM Consumption (Settlement Period 40) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2125 | Profiled DPM Consumption (Settlement Period 41) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2126 | Profiled DPM Consumption (Settlement Period 42) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2127 | Profiled DPM Consumption (Settlement Period 43) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2128 | Profiled DPM Consumption (Settlement Period 44) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2129 | Profiled DPM Consumption (Settlement Period 45) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2130 | Profiled DPM Consumption (Settlement Period 46) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2131 | Profiled DPM Consumption (Settlement Period 47) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2132 | Profiled DPM Consumption (Settlement Period 48) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2133 | Profiled DPM Consumption (Settlement Period 49) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2134 | Profiled DPM Consumption (Settlement Period 50) | (0) |
| 85K | Daily Profiled DPM Totals (Distributor) | 1 |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2078 | Daily Profiled DPM Total EAC | NUM(13) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2077 | Daily Profiled DPM Total Annualised Advance | NUM(13) |
| 94J | Header 2 | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| 95J | Supplier Details 2 (Supplier) | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
| 96J | CCC Details (Supplier) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
| 97J | GSPGCF (Supplier) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0166 | GSP Group Correction Factor | NUM(18) |
| 98J | Supplier Details 2 (Distributor) | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| 99J | CCC Details (Distributor) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
| 00K | GSPGCF (Distributor) | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0166 | GSP Group Correction Factor | NUM(18) |

| Notes: | See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0370 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Supplier Half Hourly Demand Disconnection Report |
| --- | --- |
| Flow Description: | Report for each Supplier containing details of all the half hourly demand disconnection for a Supplier by Consumption Component Class. This will include the profiled and actual demand disconnection. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0160 | Consumption Component Class Id |
| J0165 | GSP Group Correction Scaling Factor |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J2136 | Aggregated Supplier Demand Disconnection Report Value |
| J2135 | Aggregated Supplier Demand Disconnection Line Loss Report Value |
| J2138 | Corrected Supplier Demand Disconnection |
| J2139 | Corrected Supplier Demand Disconnection Line Loss |
| J2142 | Daily CCC Aggregated Supplier Demand Disconnection |
| J2143 | Daily CCC Aggregated Supplier Demand Disconnection Line Loss |
| J2144 | Daily CCC Corrected Supplier Demand Disconnection |
| J2145 | Daily CCC Corrected Supplier Demand Disconnection Line Loss |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0183 | Data Aggregator Id |
| J0271 | Data Aggregator Name |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0160 | Consumption Component Class Id |
| J0162 | Consumption Component Indicator |
| J0163 | Data Aggregation Type |
| J0103 | Measurement Quantity Id |
| J0164 | Metered/Unmetered Indicator |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J2136 | Aggregated Supplier Demand Disconnection Report Value |
| J2135 | Aggregated Supplier Demand Disconnection Line Loss Report Value |
| J2153 | Data Aggregator Disconnected HH MSID Count |
| J2148 | Daily DA Aggregated Supplier Demand Disconnection |
| J2149 | Daily DA Aggregated Supplier Demand Disconnection Line Loss |
| J2176 | Daily DA HH Disconnected MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01K | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| 02K | Report Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| 04K | Demand Control Event Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 05K | Header | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
| 06K | GSP Group Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 07K | CCC Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| 08K | Period Disconnection Values | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2136 | Aggregated Supplier Demand Disconnection Report Value | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2135 | Aggregated Supplier Demand Disconnection Line Loss Report Value | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2138 | Corrected Supplier Demand Disconnection | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2139 | Corrected Supplier Demand Disconnection Line Loss | NUM(13) |
| 09K | Daily Disconnection Values | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J2142 | Daily CCC Aggregated Supplier Demand Disconnection | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2143 | Daily CCC Aggregated Supplier Demand Disconnection Line Loss | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2144 | Daily CCC Corrected Supplier Demand Disconnection | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2145 | Daily CCC Corrected Supplier Demand Disconnection Line Loss | NUM(13) |
| 10K | Supplier Details | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
| 11K | GSP Group Details 2 | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 12K | Data Aggregator Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0271 | Data Aggregator Name | CHAR(40) |
| 13K | CCC Details 2 | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
| 14K | Period Disconnection Values 2 | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2136 | Aggregated Supplier Demand Disconnection Report Value | NUM(13) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2135 | Aggregated Supplier Demand Disconnection Line Loss Report Value | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2153 | Data Aggregator Disconnected HH MSID Count | INT(10) |
| 15K | Daily Disconnection Values 2 | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J2148 | Daily DA Aggregated Supplier Demand Disconnection | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2149 | Daily DA Aggregated Supplier Demand Disconnection Line Loss | NUM(13) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2176 | Daily DA HH Disconnected MSID Count | NUM(10) |

| Notes: | See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0371 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Supplier - Supplier Disconnection Matrix Report |
| --- | --- |
| Flow Description: | A report for each Supplier per GSP Group containing the details of the Disconnection Purchase Matrix rows used in the calculation of a settlement run |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0183 | Data Aggregator Id |
| J0271 | Data Aggregator Name |
| J0163 | Data Aggregation Type |
| J0259 | Data Aggregation Run Number |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0147 | Line Loss Factor Class Id |
| J0189 | Distributor Id |
| J0078 | Time Pattern Regime |
| J2155 | DPM Total EAC Report Value |
| J2084 | DPM Total EAC MSID Count |
| J2083 | DPM Total Annualised Advance Report Value |
| J2081 | DPM Total AA MSID Count |
| J2156 | DPM Total Unmetered Consumption Report Value |
| J2157 | DPM Total Unmetered MSID Count |
| J2080 | DPM Default EAC MSID Count |
| J2154 | DPM Default Unmetered MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 16K | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| 17K | Report Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| 18K | Demand Control Event Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 19K | Header | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| 20K | Supplier Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
| 21K | GSP Group Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 22K | Data Aggregator Details | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0271 | Data Aggregator Name | CHAR(40) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0259 | Data Aggregation Run Number | NUM(7) |
| 23K | DPM Details | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0071 | Profile Class Id | NUM(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2155 | DPM Total EAC Report Value | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2084 | DPM Total EAC MSID Count | INT(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2083 | DPM Total Annualised Advance Report Value | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2081 | DPM Total AA MSID Count | INT(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2156 | DPM Total Unmetered Consumption Report Value | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2157 | DPM Total Unmetered MSID Count | INT(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2080 | DPM Default EAC MSID Count | INT(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2154 | DPM Default Unmetered MSID Count | INT(8) |

| Notes: | See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0372 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Aggregated Embedded Network Disconnected DUoS Report |
| --- | --- |
| Flow Description: | A report of profiled DPM data by settlement class for Metering Points on embedded networks, summed over Data Aggregator and Supplier. This report is sent to Host LDSOs (as defined in BSC Procedure BSCP128), and includes data for all embedded networks within their distribution services area |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Distributor | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J1724 | Embedded Distributor Id |
| J1741 | Embedded Distributor Name |
| J0244 | BSC Trading Party Id |
| J0189 | Distributor Id |
| J0323 | Distributor Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1103 | Profile Class |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J1724 | Embedded Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0078 | Time Pattern Regime |
| J2082 | DPM Total All EACs |
| J2083 | DPM Total Annualised Advance Report Value |
| J2084 | DPM Total EAC MSID Count |
| J2081 | DPM Total AA MSID Count |
| J2080 | DPM Default EAC MSID Count |
| J2085 | Profiled DPM Consumption (Settlement Period 01) |
| J2086 | Profiled DPM Consumption (Settlement Period 02) |
| J2087 | Profiled DPM Consumption (Settlement Period 03) |
| J2088 | Profiled DPM Consumption (Settlement Period 04) |
| J2089 | Profiled DPM Consumption (Settlement Period 05) |
| J2090 | Profiled DPM Consumption (Settlement Period 06) |
| J2091 | Profiled DPM Consumption (Settlement Period 07) |
| J2092 | Profiled DPM Consumption (Settlement Period 08) |
| J2093 | Profiled DPM Consumption (Settlement Period 09) |
| J2094 | Profiled DPM Consumption (Settlement Period 10) |
| J2095 | Profiled DPM Consumption (Settlement Period 11) |
| J2096 | Profiled DPM Consumption (Settlement Period 12) |
| J2097 | Profiled DPM Consumption (Settlement Period 13) |
| J2098 | Profiled DPM Consumption (Settlement Period 14) |
| J2099 | Profiled DPM Consumption (Settlement Period 15) |
| J2100 | Profiled DPM Consumption (Settlement Period 16) |
| J2101 | Profiled DPM Consumption (Settlement Period 17) |
| J2102 | Profiled DPM Consumption (Settlement Period 18) |
| J2103 | Profiled DPM Consumption (Settlement Period 19) |
| J2104 | Profiled DPM Consumption (Settlement Period 20) |
| J2105 | Profiled DPM Consumption (Settlement Period 21) |
| J2106 | Profiled DPM Consumption (Settlement Period 22) |
| J2107 | Profiled DPM Consumption (Settlement Period 23) |
| J2108 | Profiled DPM Consumption (Settlement Period 24) |
| J2109 | Profiled DPM Consumption (Settlement Period 25) |
| J2110 | Profiled DPM Consumption (Settlement Period 26) |
| J2111 | Profiled DPM Consumption (Settlement Period 27) |
| J2112 | Profiled DPM Consumption (Settlement Period 28) |
| J2113 | Profiled DPM Consumption (Settlement Period 29) |
| J2114 | Profiled DPM Consumption (Settlement Period 30) |
| J2115 | Profiled DPM Consumption (Settlement Period 31) |
| J2116 | Profiled DPM Consumption (Settlement Period 32) |
| J2117 | Profiled DPM Consumption (Settlement Period 33) |
| J2118 | Profiled DPM Consumption (Settlement Period 34) |
| J2119 | Profiled DPM Consumption (Settlement Period 35) |
| J2120 | Profiled DPM Consumption (Settlement Period 36) |
| J2121 | Profiled DPM Consumption (Settlement Period 37) |
| J2122 | Profiled DPM Consumption (Settlement Period 38) |
| J2123 | Profiled DPM Consumption (Settlement Period 39) |
| J2124 | Profiled DPM Consumption (Settlement Period 40) |
| J2125 | Profiled DPM Consumption (Settlement Period 41) |
| J2126 | Profiled DPM Consumption (Settlement Period 42) |
| J2127 | Profiled DPM Consumption (Settlement Period 43) |
| J2128 | Profiled DPM Consumption (Settlement Period 44) |
| J2129 | Profiled DPM Consumption (Settlement Period 45) |
| J2130 | Profiled DPM Consumption (Settlement Period 46) |
| J2131 | Profiled DPM Consumption (Settlement Period 47) |
| J2132 | Profiled DPM Consumption (Settlement Period 48) |
| J2133 | Profiled DPM Consumption (Settlement Period 49) |
| J2134 | Profiled DPM Consumption (Settlement Period 50) |
| J2078 | Daily Profiled DPM Total EAC |
| J2077 | Daily Profiled DPM Total Annualised Advance |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 24K | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| 27K | Report Parameters | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| 25K | Demand Control Event Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 26K | Settlement Information 1 | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| 28K | Embeded Distributor | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1724 | Embedded Distributor Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1741 | Embedded Distributor Name | (0) |
|  |  |  |  |  |  | N |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| 29K | Distributor | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0323 | Distributor Name | CHAR(40) |
| 30K | GSP Group | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 31K | DPM Information | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1103 | Profile Class | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J1724 | Embedded Distributor Id | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2082 | DPM Total All EACs | NUM(14) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2083 | DPM Total Annualised Advance Report Value | NUM(13) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2084 | DPM Total EAC MSID Count | INT(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2081 | DPM Total AA MSID Count | INT(8) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2080 | DPM Default EAC MSID Count | INT(8) |
| 32K | Settlement Periods | 1 |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2085 | Profiled DPM Consumption (Settlement Period 01) | NUM(13) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2086 | Profiled DPM Consumption (Settlement Period 02) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2087 | Profiled DPM Consumption (Settlement Period 03) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2088 | Profiled DPM Consumption (Settlement Period 04) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2089 | Profiled DPM Consumption (Settlement Period 05) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2090 | Profiled DPM Consumption (Settlement Period 06) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2091 | Profiled DPM Consumption (Settlement Period 07) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2092 | Profiled DPM Consumption (Settlement Period 08) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2093 | Profiled DPM Consumption (Settlement Period 09) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2094 | Profiled DPM Consumption (Settlement Period 10) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2095 | Profiled DPM Consumption (Settlement Period 11) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2096 | Profiled DPM Consumption (Settlement Period 12) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2097 | Profiled DPM Consumption (Settlement Period 13) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2098 | Profiled DPM Consumption (Settlement Period 14) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2099 | Profiled DPM Consumption (Settlement Period 15) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2100 | Profiled DPM Consumption (Settlement Period 16) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2101 | Profiled DPM Consumption (Settlement Period 17) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2102 | Profiled DPM Consumption (Settlement Period 18) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2103 | Profiled DPM Consumption (Settlement Period 19) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2104 | Profiled DPM Consumption (Settlement Period 20) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2105 | Profiled DPM Consumption (Settlement Period 21) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2106 | Profiled DPM Consumption (Settlement Period 22) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2107 | Profiled DPM Consumption (Settlement Period 23) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2108 | Profiled DPM Consumption (Settlement Period 24) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2109 | Profiled DPM Consumption (Settlement Period 25) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2110 | Profiled DPM Consumption (Settlement Period 26) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2111 | Profiled DPM Consumption (Settlement Period 27) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2112 | Profiled DPM Consumption (Settlement Period 28) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2113 | Profiled DPM Consumption (Settlement Period 29) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2114 | Profiled DPM Consumption (Settlement Period 30) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2115 | Profiled DPM Consumption (Settlement Period 31) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2116 | Profiled DPM Consumption (Settlement Period 32) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2117 | Profiled DPM Consumption (Settlement Period 33) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2118 | Profiled DPM Consumption (Settlement Period 34) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2119 | Profiled DPM Consumption (Settlement Period 35) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2120 | Profiled DPM Consumption (Settlement Period 36) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2121 | Profiled DPM Consumption (Settlement Period 37) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2122 | Profiled DPM Consumption (Settlement Period 38) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2123 | Profiled DPM Consumption (Settlement Period 39) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2124 | Profiled DPM Consumption (Settlement Period 40) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2125 | Profiled DPM Consumption (Settlement Period 41) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2126 | Profiled DPM Consumption (Settlement Period 42) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2127 | Profiled DPM Consumption (Settlement Period 43) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2128 | Profiled DPM Consumption (Settlement Period 44) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2129 | Profiled DPM Consumption (Settlement Period 45) | (0) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2130 | Profiled DPM Consumption (Settlement Period 46) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2131 | Profiled DPM Consumption (Settlement Period 47) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2132 | Profiled DPM Consumption (Settlement Period 48) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2133 | Profiled DPM Consumption (Settlement Period 49) | (0) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2134 | Profiled DPM Consumption (Settlement Period 50) | (0) |
| 33K | Daily DPM | 1 |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2078 | Daily Profiled DPM Total EAC | NUM(13) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2077 | Daily Profiled DPM Total Annualised Advance | NUM(13) |
| 34K | Settlement Information 2 | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |

| Notes: | See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0373 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | GSP Group Demand Disconnection Totals Report |
| --- | --- |
| Flow Description: | Report of consumption component class Demand Disconnection totals for each GSP group. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J0066 | GSP Group Id |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0160 | Consumption Component Class Id |
| J0165 | GSP Group Correction Scaling Factor |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J2159 | Total CCC Aggregated Supplier Demand Disconnection |
| J2160 | Total CCC Aggregated Supplier Demand Disconnection Line Loss |
| J2161 | Total CCC Corrected Supplier Demand Disconnection |
| J2162 | Total CCC Corrected Supplier Demand Disconnection Line Loss |
| J2163 | Total CCC Disconnected MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35K | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| 36K | Demand Control Event Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 37K | Report Data | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
| 38K | GSP Group | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 39K | Consumption Component Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| 40K | Settlement Period | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2159 | Total CCC Aggregated Supplier Demand Disconnection | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2160 | Total CCC Aggregated Supplier Demand Disconnection Line Loss | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2161 | Total CCC Corrected Supplier Demand Disconnection | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2162 | Total CCC Corrected Supplier Demand Disconnection Line Loss | NUM(13) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2163 | Total CCC Disconnected MSID Count | INT(8) |

| Notes: | See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0374 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Supplier BM Unit Demand Disconnection Report |
| --- | --- |
| Flow Description: | Report for each Supplier containing details of the Suppliers valid BM Units, GSP Group/BM Unit/Profile Class/Standard Settlement Configuration mappings and Demand Disconnection by BM Unit and Consumption Component Class |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J1089 | User Name |
| J1090 | Report Parameters |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1628 | BM Unit Id |
| J1631 | Default BM Unit Flag |
| J0071 | Profile Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J1628 | BM Unit Id |
| J1631 | Default BM Unit Flag |
| J0160 | Consumption Component Class Id |
| J0165 | GSP Group Correction Scaling Factor |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0163 | Data Aggregation Type |
| J0164 | Metered/Unmetered Indicator |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J2167 | Aggregated BM Unit Demand Disconnection Energy |
| J2166 | Aggregated BM Unit Demand Disconnection Line Losses |
| J2137 | Corrected BM Unit Demand Disconnection Energy |
| J2165 | Corrected BM Unit Demand Disconnection Line Losses |
| J2172 | Daily Aggregated BM Unit Demand Disconnection Energy |
| J2173 | Daily Aggregated BM Unit Demand Disconnection Line Losses |
| J2146 | Daily Corrected BM Unit Demand Disconnection Energy |
| J2147 | Daily Corrected BM Unit Demand Disconnection Line Losses |
| J1628 | BM Unit Id |
| J1631 | Default BM Unit Flag |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J2164 | Uncorrected Period BM Unit Total Allocated Demand Disconnection Volume |
| J2158 | Period BM Unit Total Allocated Demand Disconnection Volume |
| J2152 | Daily Uncorrected Period BM Unit Total Allocated Demand Disconnection Volume |
| J2151 | Daily Period BM Unit Total Allocated Demand Disconnection Volume |
| J0183 | Data Aggregator Id |
| J0271 | Data Aggregator Name |
| J1628 | BM Unit Id |
| J1634 | SSR Run BM Unit Id |
| J1635 | Default BM Unit Reason Code |
| J0161 | AA/EAC Indicator |
| J0020 | Actual/Estimated Indicator |
| J0160 | Consumption Component Class Id |
| J0162 | Consumption Component Indicator |
| J0163 | Data Aggregation Type |
| J0103 | Measurement Quantity Id |
| J0164 | Metered/Unmetered Indicator |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J2167 | Aggregated BM Unit Demand Disconnection Energy |
| J2166 | Aggregated BM Unit Demand Disconnection Line Losses |
| J2153 | Data Aggregator Disconnected HH MSID Count |
| J2172 | Daily Aggregated BM Unit Demand Disconnection Energy |
| J2173 | Daily Aggregated BM Unit Demand Disconnection Line Losses |
| J1120 | Daily DA HH MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41K | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| 42K | Report Parameters | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| 43K | Demand Control Event Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 44K | Additional Header Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
| 45K | GSP Group | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 46K | BM Unit Standing Data | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1631 | Default BM Unit Flag | BOOLEAN(0) |
| 47K | Profile Class | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0071 | Profile Class Id | NUM(2) |
| 48K | Standard Settlement Configuration | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
| 49K | BM Unit Half Hourly and Non-Half Hourly Energy by CCC and Settlement Period | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1631 | Default BM Unit Flag | BOOLEAN(0) |
| 50K | Consumption Component Class Half Hourly and Non-Half Hourly Energy | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0165 | GSP Group Correction Scaling Factor | NUM(4) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | O |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| 51K | Settlement Period Half Hourly and Non-Half Hourly Energy | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2167 | Aggregated BM Unit Demand Disconnection Energy | NUM(14) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2166 | Aggregated BM Unit Demand Disconnection Line Losses | NUM(14) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2137 | Corrected BM Unit Demand Disconnection Energy | NUM(14) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2165 | Corrected BM Unit Demand Disconnection Line Losses | NUM(14) |
| 52K | Daily Total 1 BM Unit Half Hourly and Non-Half Hourly Energy | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | O |  |  | J2172 | Daily Aggregated BM Unit Demand Disconnection Energy | NUM(14) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2173 | Daily Aggregated BM Unit Demand Disconnection Line Losses | NUM(14) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2146 | Daily Corrected BM Unit Demand Disconnection Energy | NUM(14) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2147 | Daily Corrected BM Unit Demand Disconnection Line Losses | NUM(14) |
| 53K | BM Unit Half Hourly and Non-Half Hourly Energy by Settlement Period | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1631 | Default BM Unit Flag | BOOLEAN(0) |
| 54K | Period BM Unit Total Allocated Volume | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2164 | Uncorrected Period BM Unit Total Allocated Demand Disconnection Volume | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2158 | Period BM Unit Total Allocated Demand Disconnection Volume | NUM(14) |
| 55K | Daily Total 2 BM Unit Half Hourly and Non-Half Hourly Energy | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2152 | Daily Uncorrected Period BM Unit Total Allocated Demand Disconnection Volume | NUM(14) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2151 | Daily Period BM Unit Total Allocated Demand Disconnection Volume | NUM(14) |
| 56K | Data Aggregator | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0183 | Data Aggregator Id | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0271 | Data Aggregator Name | CHAR(40) |
| 57K | BM Unit Half Hourly Energy | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1634 | SSR Run BM Unit Id | (0) |
|  |  |  |  |  |  |  |  | O |  |  |  | J1635 | Default BM Unit Reason Code | CHAR(2) |
| 58K | Consumption Component Class Half Hourly Energy | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | O |  |  | J0161 | AA/EAC Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  |  | O |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0163 | Data Aggregation Type | CHAR(1) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0164 | Metered/Unmetered Indicator | CHAR(1) |
| 59K | Settlement Period Half Hourly Energy | 0-* |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2167 | Aggregated BM Unit Demand Disconnection Energy | NUM(14) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2166 | Aggregated BM Unit Demand Disconnection Line Losses | NUM(14) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2153 | Data Aggregator Disconnected HH MSID Count | INT(10) |
| 60K | Daily Total BM Unit Half Hourly Energy | 1 |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | O |  | J2172 | Daily Aggregated BM Unit Demand Disconnection Energy | NUM(14) |
|  |  |  |  |  |  |  |  |  |  | O |  | J2173 | Daily Aggregated BM Unit Demand Disconnection Line Losses | NUM(14) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J1120 | Daily DA HH MSID Count | NUM(10) |

| Notes: | See Annex C for flow notes |
| --- | --- |

| Flow Reference: | D0375 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Disconnected MSIDs and Estimated Half Hourly Demand Disconnection Volumes |
| --- | --- |
| Flow Description: | Communication of MSIDs and Estimates of Half Hourly disconnection values for use in estimating the effects of Demand Control Events. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDC | Distributor | 15.4 |
| HHDC | HHDA | 15.4 |
| HHDC | Supplier | 15.4 |
| SVAA | HHDA | 15.4 |
| SVAA | HHDC | 15.4 |
| SVAA | NHHDA | 15.4 |
| SVAA | NHHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0083 | Metering System Id |
| J0103 | Measurement Quantity Id |
| J0084 | Supplier Id |
| J0073 | Settlement Date |
| J2175 | Estimated HH Demand Disconnection Volume |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 61K | Demand Control Event Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 62K | Metering Systems | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0083 | Metering System Id | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 63K | Settlement Date | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0073 | Settlement Date | DATE(0) |
| 64K | HH Periods | 46, 48, 50 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2175 | Estimated HH Demand Disconnection Volume | NUM(7) |

| Notes: | See Annex C for flow notes.This flow is used to fulfil two different functions:1. the communication of Estimated Half Hourly Demand Disconnection Volumes for all HH Metering Systems disconnected by a Distributor, for Inclusion in Suppliers Demand Disconnection Volume, and2. the communication of MSIDs the Transmission Company believes may have provided it with voluntary demand side actions (i.e. non-BM STOR and DSBR) and the anticipated volumes delivered. |
| --- | --- |

| Flow Reference: | D0376 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Suppliers Demand Disconnection Volume Data File |
| --- | --- |
| Flow Description: | Aggregated line loss adjusted HH demand disconnection volumes by Supplier and GSP Group. Where this flow is intended for the Supplier, the set of Suppliers will be limited to that Supplier only. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDA | Supplier | 15.4 |
| HHDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0084 | Supplier Id |
| J0160 | Consumption Component Class Id |
| J0074 | Settlement Period Id |
| J2153 | Data Aggregator Disconnected HH MSID Count |
| J2174 | Suppliers Demand Disconnection Volume |
| J2168 | Suppliers Demand Disconnection Volume (Losses) |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 65K | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| 66K | Demand Control Event Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 67K | Supplier | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 68K | Consumption Component Class | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
| 69K | Settlement Period/Data Aggregator Disconnected HH MSID Count | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2153 | Data Aggregator Disconnected HH MSID Count | INT(10) |
| 70K | Aggregated Supplier Disconnection Volume | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2174 | Suppliers Demand Disconnection Volume | NUM(14) |
| 71K | Aggregated Supplier Disconnection Line Loss | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2168 | Suppliers Demand Disconnection Volume (Losses) | NUM(14) |

| Notes: | See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0377 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Disconnection Purchase Matrix Data File |
| --- | --- |
| Flow Description: | Details of NHH Disconnection volumes per Supplier aggregated per GSP Group by line loss factor class and measurement requirement. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| NHHDA | Supplier | 15.4 |
| NHHDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0084 | Supplier Id |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0076 | Standard Settlement Configuration (SSC) Id |
| J0078 | Time Pattern Regime |
| J2080 | DPM Default EAC MSID Count |
| J2154 | DPM Default Unmetered MSID Count |
| J2081 | DPM Total AA MSID Count |
| J2169 | DPM Total Annualised Advance |
| J2170 | DPM Total EAC |
| J2084 | DPM Total EAC MSID Count |
| J2171 | DPM Total Unmetered Consumption |
| J2157 | DPM Total Unmetered MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 72K | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| 73K | Demand Control Event Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 74K | Supplier Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 75K | Disconnection Purchase Matrix Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0076 | Standard Settlement Configuration (SSC) Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0078 | Time Pattern Regime | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2080 | DPM Default EAC MSID Count | INT(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2154 | DPM Default Unmetered MSID Count | INT(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2081 | DPM Total AA MSID Count | INT(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2169 | DPM Total Annualised Advance | NUM(14) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2170 | DPM Total EAC | NUM(14) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2084 | DPM Total EAC MSID Count | INT(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2171 | DPM Total Unmetered Consumption | NUM(14) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2157 | DPM Total Unmetered MSID Count | INT(8) |

| Notes: | See Annex C for flow notes. |
| --- | --- |

| Flow Reference: | D0378 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | BM Unit Aggregated Half Hour Demand Disconnection Data File |
| --- | --- |
| Flow Description: | Aggregated line loss adjusted HH disconnection volumes in a GSP Group by Supplier and BM Unit. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDA | Supplier | 15.4 |
| HHDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0084 | Supplier Id |
| J1628 | BM Unit Id |
| J0160 | Consumption Component Class Id |
| J0074 | Settlement Period Id |
| J2153 | Data Aggregator Disconnected HH MSID Count |
| J2167 | Aggregated BM Unit Demand Disconnection Energy |
| J2166 | Aggregated BM Unit Demand Disconnection Line Losses |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 76K | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| 77K | Demand Control Event Details | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 78K | Supplier | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 79K | BM Unit | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
| 80K | Consumption Component Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |
| 81K | Settlement Period / Data Aggregator HH MSID Count | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2153 | Data Aggregator Disconnected HH MSID Count | INT(10) |
| 82K | Aggregated BM Unit Demand Disconnection Energy | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2167 | Aggregated BM Unit Demand Disconnection Energy | NUM(14) |
| 83K | Aggregated BM Unit Demand Disconnection Line Losses | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2166 | Aggregated BM Unit Demand Disconnection Line Losses | NUM(14) |

| Notes: | Where this flow is being sent to the Supplier, the flow will contain data for that Supplier only.The BM Unit Aggregated Half Hour Data File is output in ascending order by Supplier Id, BM Unit Id, Consumption Component Class Id and Settlement Period Id.This flow is sent alongside the D0298 but only for Settlement Dates which include Settlement Period/s affected by a Demand Control Event.The flow is only required in relation to Suppliers that have Metering Systems affected by a Demand Control Event. The Start Date and Time and End Date and Time represent the beginning and end of a Demand Control Event instructed by the Transmission Company. |
| --- | --- |

| Flow Reference: | D0379 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Half Hourly Advances UTC |
| --- | --- |
| Flow Description: | Half Hourly consumption values from smart meters and UMS specified in UTC |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| ADSA | Supplier | 15.4 |
| HHDC | Supplier | 15.4 |
| MA | HHDC | 15.4 |
| SDSA | Supplier | 15.4 |
| Supplier | ADSA | 15.4 |
| Supplier | HHDC | 15.4 |
| Supplier | SDSA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0103 | Measurement Quantity Id |
| J0084 | Supplier Id |
| J0018 | Date (Midnight to Midnight UTC) |
| J0020 | Actual/Estimated Indicator |
| J2207 | Smart Metered Period Consumption |
| J2206 | Supplier Validated Flag |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 25B | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 26B | Date | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0018 | Date (Midnight to Midnight UTC) | DATE(0) |
| 66L | Half Hour Periods in UTC | 48 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2207 | Smart Metered Period Consumption | NUM(9) |
| 64L | Validation Flag | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2206 | Supplier Validated Flag | BOOLEAN(1) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0380 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Half Hourly Advances for Inclusion in Aggregated Supplier Matrix |
| --- | --- |
| Flow Description: | Half Hourly consumption values from smart meters for submission to HHDC and HHDA for use in Settlement |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| HHDC | HHDA | 15.4 |
| HHDC | Supplier | 15.4 |
| Supplier | HHDC | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0103 | Measurement Quantity Id |
| J0084 | Supplier Id |
| J0073 | Settlement Date |
| J0020 | Actual/Estimated Indicator |
| J2207 | Smart Metered Period Consumption |
| J2206 | Supplier Validated Flag |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 101 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 102 | Settlement Date | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
| 65L | Half Hour Periods | 46,48,50 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2207 | Smart Metered Period Consumption | NUM(9) |
| 64L | Validation Flag | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2206 | Supplier Validated Flag | BOOLEAN(1) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0381 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Metering Point Address Update |
| --- | --- |
| Flow Description: | Notification of request to update a Metering Point Address and the subsequent response. |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| Distributor | Supplier | 15.4 |
| Supplier | Distributor | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0012 | Additional Information |
| J1860 | Requestor Contact Name |
| J1861 | Requestor Telephone Number |
| J2211 | Requestor Contact Email |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J1675 | Unique Property Reference Number |
| J1026 | Address Line 1 |
| J1027 | Address Line 2 |
| J1028 | Address Line 3 |
| J1029 | Address Line 4 |
| J1030 | Address Line 5 |
| J1031 | Address Line 6 |
| J1032 | Address Line 7 |
| J1033 | Address Line 8 |
| J1034 | Address Line 9 |
| J0757 | Postcode |
| J2212 | Response Code |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 69L | MPAN Core | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | O |  |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |
| 70L | Contact Details | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J1860 | Requestor Contact Name | CHAR(50) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1861 | Requestor Telephone Number | CHAR(14) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2211 | Requestor Contact Email | CHAR(100) |
| 71L | Current Metering Point Address | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0263 | Metering Point Postcode | (0) |
|  |  |  |  |  |  | N |  |  |  |  |  | J1675 | Unique Property Reference Number | CHAR(12) |
| 72L | Proposed Metering Point Address | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J1026 | Address Line 1 | CHAR(40) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1027 | Address Line 2 | CHAR(40) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1028 | Address Line 3 | CHAR(40) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1029 | Address Line 4 | CHAR(40) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1030 | Address Line 5 | CHAR(40) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1031 | Address Line 6 | CHAR(40) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1032 | Address Line 7 | CHAR(40) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1033 | Address Line 8 | CHAR(40) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1034 | Address Line 9 | CHAR(40) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0757 | Postcode | CHAR(10) |
| 73L | Response | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2212 | Response Code | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | See Annex C |
| --- | --- |

| Flow Reference: | D0382 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Rejection Response for Request to LDSO for Site Technical Details |
| --- | --- |
| Flow Description: | The rejection of a D0170 request sent with Action Code 21 (Provide Site Technical Details) when sent from a MOP to a Distributor. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| Distributor | AMEM | 15.4 |
| Distributor | MOP | 15.4 |
| Distributor | SMEM | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J2215 | D0170 Rejection Description |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 94L | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2215 | D0170 Rejection Description | CHAR(2) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0383 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Commissioning Information |
| --- | --- |
| Flow Description: | Half Hourly notification of Commissioning information which is transferred when there is a new connection, change in equipment, configuration or upon Change of Agent. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| AMEM | AMEM | 15.4 |
| AMEM | MOP | 15.4 |
| AMVLP | AMEM | 15.4 |
| AMVLP | MOP | 15.4 |
| Distributor | AMEM | 15.4 |
| Distributor | MOP | 15.4 |
| MOP | AMEM | 15.4 |
| MOP | MOP | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J2216 | Number of Feeders |
| J2217 | Feeder Id |
| J1684 | Feeder Status |
| J2218 | Measurement Transformers Located at Defined Metering Point |
| J0427 | Number of Phases |
| J2219 | CT Commissioning Information Available |
| J2220 | VT Commissioning Information Available |
| J2221 | Meter Commissioning Information Available |
| J2222 | Phase Id |
| J2223 | Commissioning Date |
| J0001 | Market Participant Role Code |
| J2224 | Commissioning Agent MPID |
| J2225 | CT Serial Number |
| J0505 | CT Class |
| J0506 | CT Rating |
| J0454 | CT Ratio |
| J2226 | Burden on CT |
| J2227 | Overall Burden on CT (VA) |
| J2222 | Phase Id |
| J2223 | Commissioning Date |
| J0001 | Market Participant Role Code |
| J2224 | Commissioning Agent MPID |
| J2228 | VT Serial Number |
| J0677 | VT Class |
| J0678 | VT Rating |
| J0455 | VT Ratio |
| J2229 | Burden on VT |
| J2230 | Overall Burden on VT (VA) |
| J2223 | Commissioning Date |
| J2224 | Commissioning Agent MPID |
| J0004 | Meter Id |
| J2231 | Meter Accuracy Class |
| J0454 | CT Ratio |
| J0455 | VT Ratio |
| J2232 | Compensation Applied to Meter |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 95L | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2216 | Number of Feeders | INT(2) |
| 96L | Feeder Information | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2217 | Feeder Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1684 | Feeder Status | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2218 | Measurement Transformers Located at Defined Metering Point | BOOLEAN(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0427 | Number of Phases | NUM(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2219 | CT Commissioning Information Available | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2220 | VT Commissioning Information Available | CHAR(15) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2221 | Meter Commissioning Information Available | CHAR(15) |
| 97L | CT Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2222 | Phase Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2223 | Commissioning Date | DATE(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2224 | Commissioning Agent MPID | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2225 | CT Serial Number | CHAR(20) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0505 | CT Class | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0506 | CT Rating | NUM(6) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0454 | CT Ratio | CHAR(6) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2226 | Burden on CT | NUM(6) |
|  |  |  |  |  |  |  | O |  |  |  |  | J2227 | Overall Burden on CT (VA) | NUM(6) |
| 98L | VT Details | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2222 | Phase Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2223 | Commissioning Date | DATE(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0001 | Market Participant Role Code | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2224 | Commissioning Agent MPID | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2228 | VT Serial Number | CHAR(20) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0677 | VT Class | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0678 | VT Rating | NUM(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0455 | VT Ratio | CHAR(10) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2229 | Burden on VT | NUM(6) |
|  |  |  |  |  |  |  | O |  |  |  |  | J2230 | Overall Burden on VT (VA) | NUM(6) |
| 99L | Meter Details | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2223 | Commissioning Date | DATE(8) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2224 | Commissioning Agent MPID | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2231 | Meter Accuracy Class | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0454 | CT Ratio | CHAR(6) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0455 | VT Ratio | CHAR(10) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2232 | Compensation Applied to Meter | BOOLEAN(1) |

| Notes: | Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0384 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of Commissioning Status |
| --- | --- |
| Flow Description: | Half Hourly notification of Commissioning status when there is a new connection, change in equipment, configuration or upon Change of Agent. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| AMEM | AMEM | 15.4 |
| AMEM | AMVLP | 15.4 |
| AMEM | MOP | 15.4 |
| AMEM | Supplier | 15.4 |
| AMVLP | AMEM | 15.4 |
| AMVLP | MOP | 15.4 |
| Distributor | Supplier | 15.4 |
| MOP | AMEM | 15.4 |
| MOP | AMVLP | 15.4 |
| MOP | MOP | 15.4 |
| MOP | Supplier | 15.4 |
| Supplier | AMEM | 15.4 |
| Supplier | Distributor | 15.4 |
| Supplier | MOP | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J2233 | Measurement Transformer Commissioning Completed |
| J2234 | MOA Commissioning Completed |
| J2235 | Overall Accuracy of Metering System within Limit(s) Defined within the Relevant BSC CoP. |
| J2236 | Defect/Omission Reason |
| J2215 | D0170 Rejection Description |
| J2237 | Risk to Settlement |
| J2238 | Defect/Omission Resolution Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 00M | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2233 | Measurement Transformer Commissioning Completed | BOOLEAN(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2234 | MOA Commissioning Completed | BOOLEAN(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2235 | Overall Accuracy of Metering System within Limit(s) Defined within the Relevant BSC CoP. | BOOLEAN(1) |
| 01M | Feeder Information | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2236 | Defect/Omission Reason | CHAR(2) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2215 | D0170 Rejection Description | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2237 | Risk to Settlement | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2238 | Defect/Omission Resolution Information | (0) |

| Notes: | Where an AMVLP (Asset Metering Virtual Lead Party) is involved, the MPAN Core must contain an AMSID (Asset Metering System Identifier) and not an MPAN. |
| --- | --- |

| Flow Reference: | D0385 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Metering System Half Hourly Metered Data |
| --- | --- |
| Flow Description: | Metering System Half Hourly metered data for use by the SVAA |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J0084 | Supplier Id |
| J0003 | MPAN Core |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J1628 | BM Unit Id |
| J0074 | Settlement Period Id |
| J1872 | Period Metering System Metered Data |
| J0160 | Consumption Component Class Id |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 19I | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| 20I | Supplier | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 04M | MPAN Cores | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
| 05M | Settlement Period Metering System Metered Data | 46,48,50 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1872 | Period Metering System Metered Data | NUM(9) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0160 | Consumption Component Class Id | NUM(2) |

| Notes: | The HHDA must only send this data to the SVAA where the HHDA has accepted a D0354 (Metering System Reporting Notification) received from the SVAA by issuing a D0355. The HHDA must not sent this flow to Suppliers in response to a D0354 (they should send a D0357 instead). |
| --- | --- |

| Flow Reference: | D0386 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Manage Metering Point Relationships |
| --- | --- |
| Flow Description: | Used to initiate a change to a metering point relationship |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| MPAS | Supplier | 15.4 |
| Supplier | MPAS | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J2243 | Primary MPAN |
| J2241 | Relationship Action |
| J0109 | Instruction Number |
| J2244 | Secondary MPAN |
| J2242 | MPAN Action |
| J2240 | Related MPAN Response Code |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 18M | Relationship Action | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2243 | Primary MPAN | INT(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2241 | Relationship Action | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
| 19M | Secondary MPANs | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2244 | Secondary MPAN | INT(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2242 | MPAN Action | CHAR(1) |
| 20M | MPAS Response | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2240 | Related MPAN Response Code | CHAR(1) |

| Notes: | See Annex C for Flow Rules |
| --- | --- |

| Flow Reference: | D0387 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Metering System Half Hourly Volume Adjustments |
| --- | --- |
| Flow Description: | Adjustments to a Suppliers Energy Imbalance Position calculated by BSC Systems in relation to an SVA Metering System |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1104 | GSP Group |
| J0084 | Supplier Id |
| J1628 | BM Unit Id |
| J0003 | MPAN Core |
| J0066 | GSP Group Id |
| J0189 | Distributor Id |
| J0147 | Line Loss Factor Class Id |
| J0074 | Settlement Period Id |
| J0160 | Consumption Component Class Id |
| J2260 | Secondary Half Hourly Delivered Volumes (Non-Losses) |
| J2258 | MPAN Applicable Balancing Services Volume Data (Non-Losses) |
| J2259 | Secondary Half Hourly Delivered Volumes (Losses) |
| J2257 | MPAN Applicable Balancing Services Volume Data (Losses) |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J1104 | GSP Group | (0) |
| 20I | Supplier | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| BMU | BM Unit | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
| 78M | MPAN Cores | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0147 | Line Loss Factor Class Id | CHAR(3) |
| 79M | Settlement Period | 46,48,50 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
| 80M | Metering System Half Hourly Volume Adjustments | 2 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0160 | Consumption Component Class Id | NUM(2) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2260 | Secondary Half Hourly Delivered Volumes (Non-Losses) | NUM(14) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2258 | MPAN Applicable Balancing Services Volume Data (Non-Losses) | NUM(14) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2259 | Secondary Half Hourly Delivered Volumes (Losses) | NUM(14) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2257 | MPAN Applicable Balancing Services Volume Data (Losses) | NUM(14) |

| Notes: | MPAN Applicable Balancing Services Volume Data relates to BSC Modification P354 Use of ABSVD for non-BM Balancing Services at the metered (MPAN) level and Secondary Half Hourly Delivered Volumes relates to BSC Modification P344 Project TERRE implementation into GB market arrangements |
| --- | --- |

| Flow Reference: | D0388 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | UMS Inventory |
| --- | --- |
| Flow Description: | Unmetered inventory data |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| UMSO | MA | 15.4 |
| UMSO | UMSDSA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J2267 | Inventory Sequence Number |
| J2279 | Effective from Date {UMS} |
| J2271 | UMS Sub-Meter |
| J2277 | CMS Indicator |
| J2272 | Switch Regime |
| J2276 | Charge Code |
| J2268 | Number of Items |
| J2278 | CMS Unit Reference |
| J2272 | Switch Regime |
| J2276 | Charge Code |
| J2268 | Number of Items |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GP1 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2267 | Inventory Sequence Number | INT(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2279 | Effective from Date {UMS} | DATE(8) |
| GP2 | UMS Sub-Meter | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2271 | UMS Sub-Meter | CHAR(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2277 | CMS Indicator | BOOLEAN(1) |
| GP3 | Non-CMS | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2272 | Switch Regime | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2276 | Charge Code | CHAR(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2268 | Number of Items | INT(6) |
| GP4 | CMS | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2278 | CMS Unit Reference | CHAR(12) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2272 | Switch Regime | CHAR(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2276 | Charge Code | CHAR(13) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2268 | Number of Items | INT(6) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0389 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | UMS Response |
| --- | --- |
| Flow Description: | Unmetered inventory response flow |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| MA | UMSO | 15.4 |
| UMSDSA | UMSO | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J2267 | Inventory Sequence Number |
| J2269 | Response Reason Code |
| J2270 | UMS Error Code |
| J2272 | Switch Regime |
| J2276 | Charge Code |
| J2278 | CMS Unit Reference |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RP1 | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2267 | Inventory Sequence Number | INT(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2269 | Response Reason Code | CHAR(1) |
| RP2 | Invalid Charge Code | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2270 | UMS Error Code | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2272 | Switch Regime | CHAR(3) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2276 | Charge Code | CHAR(13) |
|  |  |  |  |  |  | O |  |  |  |  |  | J2278 | CMS Unit Reference | CHAR(12) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0390 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Asset Metering System Half Hourly Metered Data |
| --- | --- |
| Flow Description: | Asset Metering System Half Hourly Metered Data |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDC | AMVLP | 15.4 |
| HHDC | Supplier | 15.4 |
| HHDC | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0103 | Measurement Quantity Id |
| J0066 | GSP Group Id |
| J0073 | Settlement Date |
| J0074 | Settlement Period Id |
| J0020 | Actual/Estimated Indicator |
| J2273 | Period Asset Metering System Metered Data |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 18A | MPAN Core | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| 18B | Settlement Date | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
| 18C | Settlement Period Metering System Metered Data | 46,48,50 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0020 | Actual/Estimated Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2273 | Period Asset Metering System Metered Data | NUM(9) |

| Notes: | The J0003 'MPAN Core' Data Item in this Data Flow will only report 'AMSID' values, as defined by the J2274 'AMSID Core' Data Item, which is an Alias of the J0003. |
| --- | --- |

| Flow Reference: | D0391 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Metered Volume History Request |
| --- | --- |
| Flow Description: | A request from the SVAA for a HHDA to send historic Metered Volume data for an MPAN from a specified date to the day before the HHDA started sending Metred Volumes in response to a D0354 |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | HHDA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0003 | MPAN Core |
| J2307 | Metered Volume History From Date |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 733 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 81M | Metering System Notification | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2307 | Metered Volume History From Date | DATE(8) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0392 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Invalid Metered Volume History Request |
| --- | --- |
| Flow Description: | A negative response to the D0391 from the SVAA for a HHDA to send Historic Metered Volume data for an MPAN |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0003 | MPAN Core |
| J2308 | Invalid Metered Volume History Request Reason |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 733 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 82M | Invalid Metered Volume History Request Details | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | O |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2308 | Invalid Metered Volume History Request Reason | CHAR(100) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0393 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Metered Volume History Acceptance |
| --- | --- |
| Flow Description: | The acceptance from a HHDA to SVAA to send historic Metered Volume data for an MPAN in response to a D0391, plus the requested data |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| HHDA | SVAA | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0330 | File Sequence Number |
| J0109 | Instruction Number |
| J0003 | MPAN Core |
| J0073 | Settlement Date |
| J0074 | Settlement Period Id |
| J2309 | Historic Metered Volume |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 733 | File Sequence Number | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0330 | File Sequence Number | INT(12) |
| 83M | Acceptance Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0109 | Instruction Number | INT(12) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
| 84M | History Days | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0073 | Settlement Date | DATE(0) |
| 85M | Settlement Period Metered Volume Data | 46,48,50 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2309 | Historic Metered Volume | NUM(9) |

| Notes: | If the HHDA has no historic data for the specified period for a MPAN, they should not include a History Days group for that MPAN. |
| --- | --- |

| Flow Reference: | D0394 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Notification of agreed or cancelled appointment to move a customer electricity meter during a service alteration |
| --- | --- |
| Flow Description: | Notification of a new, changed or cancelled customer appointment to move an electricity meter as part of a service alteration. |
| Flow Ownership: | DCUSA |

| From | To | Version |
| --- | --- | --- |
| Distributor | AMEM | 15.4 |
| Distributor | MOP | 15.4 |
| Distributor | SMEM | 15.4 |
| Distributor | Supplier | 15.4 |
| Supplier | Distributor | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0004 | Meter Id |
| J2050 | Customer Agreed Appointment Date |
| J2052 | Appointment Type |
| J2311 | Electricity Distributor intention to move meter [yes/no] |
| J2053 | Customer Cancelled Appointment |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 86M | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
| 87M | Meter Id (Serial Number) | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
| 88M | Customer Agreed Appointment Details | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2050 | Customer Agreed Appointment Date | DATE(8) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2052 | Appointment Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2311 | Electricity Distributor intention to move meter [yes/no] | CHAR(1) |
| 89M | Customer Cancelled Appointment | 0-1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2053 | Customer Cancelled Appointment | CHAR(1) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | The flow will be used to notify the Electricity Supplier and the Meter Operator of an Electricity Distributor intention to move an electricity meter during a service alteration and the appointment date. It can also be used to notify the Electricity Supplier of a Distributor service alteration even if they do not intend to move the electricity meter, ' although this is not mandatory. Where the Supplier objects, the flow will be used to notify the Electricity Distributor of their objection to the Distributor proposed meter move. The 'Additional Information' field within the '89M' Group should always be completed to provide the reason(s) for the objection The DCUSA Secretariat maintains a register detailing which electricity Suppliers have given their consent for Distributors to move their meters. For access to this register, please contact the DCUSA Secretariat at dcusa@electralink.co.uk. NB: This flow is not mandatory unless the meter is being relocated |
| --- | --- |

| Flow Reference: | D0395 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | Confirmation that an electricity meter has been moved during a service alteration |
| --- | --- |
| Flow Description: | Confirmation to an Electricity Supplier and Meter Operator from the Electricity Distributor that an electricity meter has been moved as part of a service alteration. |
| Flow Ownership: | DCUSA |

| From | To | Version |
| --- | --- | --- |
| Distributor | AMEM | 15.4 |
| Distributor | MOP | 15.4 |
| Distributor | SMEM | 15.4 |
| Distributor | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0003 | MPAN Core |
| J0004 | Meter Id |
| J0419 | Meter Location |
| J2310 | Work Completed Date |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 90M | MPAN Cores | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
| 91M | New Meter Location | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0004 | Meter Id | CHAR(10) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0419 | Meter Location | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2310 | Work Completed Date | DATE(8) |
|  |  |  |  |  |  | O |  |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: | The flow will be used to inform the Electricity Supplier and the Meter Operator that the electricity meter has been moved during the service alteration and the works have been completed. The meter location will indicate the new position that the electricity meter has been moved to. |
| --- | --- |

| Flow Reference: | D0396 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | SIP Event Completed |
| --- | --- |
| Flow Description: | This Market Message is for the SIP to confirm the outcome of work undertaken on a site visit |
| Flow Ownership: | MRA |

| From | To | Version |
| --- | --- | --- |
| SIP | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J2320 | SIP ID |
| J0084 | Supplier Id |
| J0003 | MPAN Core |
| J0014 | Date of Action |
| J1036 | Metering Point Address Line 1 |
| J1037 | Metering Point Address Line 2 |
| J1038 | Metering Point Address Line 3 |
| J1039 | Metering Point Address Line 4 |
| J1040 | Metering Point Address Line 5 |
| J1041 | Metering Point Address Line 6 |
| J1042 | Metering Point Address Line 7 |
| J1043 | Metering Point Address Line 8 |
| J1044 | Metering Point Address Line 9 |
| J0263 | Metering Point Postcode |
| J2321 | SIP ANI  Medical Dependency on Electricity |
| J2322 | SIP ANI  Third Party Presence Required |
| J0012 | Additional Information |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 92M | SIP Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2320 | SIP ID | CHAR(4) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
| 93M | MPAN Cores | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0003 | MPAN Core | NUM(13) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0014 | Date of Action | DATE(0) |
| 94M | Metering Point Address | 1 |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J1036 | Metering Point Address Line 1 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1037 | Metering Point Address Line 2 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1038 | Metering Point Address Line 3 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1039 | Metering Point Address Line 4 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1040 | Metering Point Address Line 5 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1041 | Metering Point Address Line 6 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1042 | Metering Point Address Line 7 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1043 | Metering Point Address Line 8 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1044 | Metering Point Address Line 9 | (0) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0263 | Metering Point Postcode | (0) |
| 95M | SIP Additional Needs Information | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2321 | SIP ANI  Medical Dependency on Electricity | BOOLEAN(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2322 | SIP ANI  Third Party Presence Required | BOOLEAN(1) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0012 | Additional Information | CHAR(200) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0397 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | MHHS - Supplier Half Hourly Demand Report |
| --- | --- |
| Flow Description: | Report for each Supplier containing details of all the half hourly demand for a Supplier by Consumption Component Class. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J0066 | GSP Group Id |
| J1090 | Report Parameters |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J2326 | MHHS Consumption Component Class ID |
| J2327 | GSP Group Correction Scaling Weight |
| J2329 | Market Segment Indicator |
| J2314 | Connection Type |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J1200 | Aggregated Supplier Consumption Report Value |
| J1201 | Aggregated Supplier Line Loss Report Value |
| J0193 | Corrected Supplier Consumption |
| J0256 | Corrected Supplier Line Loss |
| J0894 | Daily CCC Aggregated Supplier Consumption |
| J0895 | Daily CCC Aggregated Supplier Line Loss |
| J0896 | Daily CCC Corrected Supplier Consumption |
| J0897 | Daily CCC Corrected Supplier Line Loss |
| J2323 | Daily Supplier MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| RDD | Report Parameters | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR | Report Data | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| SUP | Supplier Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
| GSP | GSP Group | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| MCC | MHHS Consumption Component Class | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2326 | MHHS Consumption Component Class ID | NUM(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2327 | GSP Group Correction Scaling Weight | NUM(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2329 | Market Segment Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2314 | Connection Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| 01Z | Supplier Uncorrected and Corrected Consumption and Losses | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1200 | Aggregated Supplier Consumption Report Value | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1201 | Aggregated Supplier Line Loss Report Value | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0193 | Corrected Supplier Consumption | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0256 | Corrected Supplier Line Loss | NUM(13) |
| 02Z | Daily Totals Per Supplier | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | O |  |  |  |  | J0894 | Daily CCC Aggregated Supplier Consumption | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0895 | Daily CCC Aggregated Supplier Line Loss | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0896 | Daily CCC Corrected Supplier Consumption | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J0897 | Daily CCC Corrected Supplier Line Loss | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J2323 | Daily Supplier MSID Count | NUM(10) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0398 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | MHHS - Supplier Settlement Header Report |
| --- | --- |
| Flow Description: | A report summarising the various production run details which were included within a settlement run. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J0066 | GSP Group Id |
| J1090 | Report Parameters |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0244 | BSC Trading Party Id |
| J2325 | MDS Run Number |
| J2324 | MDS Run Date |
| J0196 | SSR Run Number |
| J0195 | SSR Run Date |
| J0197 | SSR Run Type Id |
| J1207 | SSR Run Status |
| J1180 | Settlement Run Status Description |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1181 | System Market Participant Id |
| J0649 | SAA Settlement Run Number |
| J0652 | SAA Settlement Date |
| J0650 | SAA Settlement Run Type Id |
| J1023 | CDCS Extract Number |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| RDD | Report Parameters | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR | Report Data | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
| SUT | Supplier Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| MDS | MDS Run Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2325 | MDS Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2324 | MDS Run Date | DATE(8) |
| SSR | Settlement Run Execution | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1207 | SSR Run Status | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1180 | Settlement Run Status Description | (0) |
| GSP | GSP Group | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| IDS | System Market Participant Id | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1181 | System Market Participant Id | (0) |
| SAA | SAA | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0649 | SAA Settlement Run Number | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0652 | SAA Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0650 | SAA Settlement Run Type Id | CHAR(1) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1023 | CDCS Extract Number | NUM(2) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0399 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | MHHS - GSP Group Consumption Totals Report |
| --- | --- |
| Flow Description: | Report of consumption component class totals for each GSP group. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J0066 | GSP Group Id |
| J1090 | Report Parameters |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J2326 | MHHS Consumption Component Class ID |
| J2327 | GSP Group Correction Scaling Weight |
| J2329 | Market Segment Indicator |
| J2314 | Connection Type |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J1565 | Total CCC Aggregated Supplier Consumption |
| J1566 | Total CCC Aggregated Supplier Line Loss |
| J1567 | Total CCC Corrected Supplier Consumption |
| J1568 | Total CCC Corrected Supplier Line Loss |
| J2338 | MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| RDD | Report Parameters | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR | Report Data | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| SUP | Supplier Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
| GSP | GSP Group | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| MCC | MHHS Consumption Component Class | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2326 | MHHS Consumption Component Class ID | NUM(3) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2327 | GSP Group Correction Scaling Weight | NUM(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2329 | Market Segment Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J2314 | Connection Type | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| SPX | Settlement Period | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1565 | Total CCC Aggregated Supplier Consumption | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1566 | Total CCC Aggregated Supplier Line Loss | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1567 | Total CCC Corrected Supplier Consumption | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J1568 | Total CCC Corrected Supplier Line Loss | NUM(13) |
|  |  |  |  |  |  |  | O |  |  |  |  | J2338 | MSID Count | NUM(10) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0400 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | MHHS - Supplier BM Unit Report |
| --- | --- |
| Flow Description: | Report for each Supplier containing details of the Suppliers valid BM Units, GSP Group/BM Unit/ and consumption/generation by BM Unit and Consumption Component Class. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J0066 | GSP Group Id |
| J1089 | User Name |
| J1090 | Report Parameters |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1628 | BM Unit Id |
| J1631 | Default BM Unit Flag |
| J2326 | MHHS Consumption Component Class ID |
| J2327 | GSP Group Correction Scaling Weight |
| J2329 | Market Segment Indicator |
| J2314 | Connection Type |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J2331 | Uncorrected BM Unit Period Level Consumption |
| J2332 | Uncorrected BM Unit Period Level Consumption Losses |
| J2333 | Corrected Component Consumption |
| J2330 | Corrected Component Losses |
| J2334 | Daily Uncorrected BM Unit Period Level Consumption |
| J2335 | Daily Uncorrected BM Unit Period Level Consumption Losses |
| J2336 | Daily Corrected Component |
| J2337 | Daily Corrected Component Losses |
| J1628 | BM Unit Id |
| J1631 | Default BM Unit Flag |
| J0074 | Settlement Period Id |
| J0167 | Settlement Period Label |
| J2380 | Uncorrected Period BM Unit Total Allocated Volume |
| J2381 | Period BM Unit Total Allocated Volume |
| J2382 | Daily Uncorrected Period BM Unit Total Allocated Volume |
| J2383 | Daily Period BM Unit Total Allocated Volume |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ZPD | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| RDT | Report Parameters | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| HDR | Additional Header Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| SUP | Supplier Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0248 | Supplier Name | (0) |
| GSP | GSP Group | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| BM1 | BM Unit Energy by CCC and Settlement Period | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1631 | Default BM Unit Flag | BOOLEAN(0) |
| MCC | MHHS Consumption Component Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2326 | MHHS Consumption Component Class ID | NUM(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2327 | GSP Group Correction Scaling Weight | NUM(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2329 | Market Segment Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2314 | Connection Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| SEZ | Settlement Period Energy | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2331 | Uncorrected BM Unit Period Level Consumption | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2332 | Uncorrected BM Unit Period Level Consumption Losses | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2333 | Corrected Component Consumption | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2330 | Corrected Component Losses | NUM(16) |
| TLD | Daily BM Unit Energy | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J2334 | Daily Uncorrected BM Unit Period Level Consumption | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2335 | Daily Uncorrected BM Unit Period Level Consumption Losses | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2336 | Daily Corrected Component | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2337 | Daily Corrected Component Losses | NUM(16) |
| BM2 | BM Unit Energy by Settlement Period | 1-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J1631 | Default BM Unit Flag | BOOLEAN(0) |
| 07Z | Period BM Unit | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0167 | Settlement Period Label | CHAR(6) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2380 | Uncorrected Period BM Unit Total Allocated Volume | NUM(16) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2381 | Period BM Unit Total Allocated Volume | NUM(16) |
| 03Z | Daily Total BM Unit Energy | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2382 | Daily Uncorrected Period BM Unit Total Allocated Volume | NUM(16) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2383 | Daily Period BM Unit Total Allocated Volume | NUM(16) |

| Notes: | The Supplier BM Unit Report is output in ascending order by GSP Group Id. The sort order of the repeating groups is specified as follows: BM1 BM Unit Id, Consumption Component Class Id, Settlement Period Id BM2 BM Unit Id, Settlement Period Id The BM1 group will include all BM Units effective in the GSP Group on the Settlement Day for the Supplier. This includes BM Units for which no energy was allocated by the SSR Run. The BM2 group will include only those BM Units for which energy volumes have been allocated by the SSR Run. |
| --- | --- |

| Flow Reference: | D0401 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | MHHS - Aggregated Disconnected DUoS Report |
| --- | --- |
| Flow Description: | A report of Disconnected Volumes by Distributor. Where the report is sent to the Distributor it will contain data for all Suppliers impacted by the Demand Control Event, whereas where it is sent to the Supplier it will only contain data pertaining to that Supplier. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Distributor | 15.4 |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1089 | User Name |
| J1090 | Report Parameters |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0244 | BSC Trading Party Id |
| J0189 | Distributor Id |
| J0323 | Distributor Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J2348 | DUoS Tariff ID |
| J0074 | Settlement Period Id |
| J2377 | MSID Count - Actuals |
| J2378 | MSID Count - Estimates |
| J2379 | MSID Count - Defaults |
| J2339 | DUoS Advanced Demand Disconnection Volume |
| J2340 | DUoS Advanced Demand Disconnection Volume Losses |
| J2376 | DUoS Smart and Unmetered Demand Disconnection Volume |
| J2342 | DUoS Smart and Unmetered Demand Disconnection Volume Losses |
| J2341 | DUoS Daily Advanced Demand Disconnection Volume |
| J2343 | DUoS Daily Advanced Demand Disconnection Volume Losses |
| J2344 | DUoS Daily Smart and Unmetered Demand Disconnection Volume |
| J2345 | DUoS Daily Smart and Unmetered Demand Disconnection Volume Losses |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0074 | Settlement Period Id |
| J2346 | GSP Group Correction Factor Import |
| J2347 | GSP Group Correction Factor Export |
| J0189 | Distributor Id |
| J0323 | Distributor Name |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0244 | BSC Trading Party Id |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J2348 | DUoS Tariff ID |
| J0074 | Settlement Period Id |
| J2377 | MSID Count - Actuals |
| J2378 | MSID Count - Estimates |
| J2379 | MSID Count - Defaults |
| J2339 | DUoS Advanced Demand Disconnection Volume |
| J2340 | DUoS Advanced Demand Disconnection Volume Losses |
| J2376 | DUoS Smart and Unmetered Demand Disconnection Volume |
| J2342 | DUoS Smart and Unmetered Demand Disconnection Volume Losses |
| J2341 | DUoS Daily Advanced Demand Disconnection Volume |
| J2343 | DUoS Daily Advanced Demand Disconnection Volume Losses |
| J2344 | DUoS Daily Smart and Unmetered Demand Disconnection Volume |
| J2345 | DUoS Daily Smart and Unmetered Demand Disconnection Volume Losses |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J0074 | Settlement Period Id |
| J2346 | GSP Group Correction Factor Import |
| J2347 | GSP Group Correction Factor Export |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 08Z | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
| 78J | Report Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| 79J | Demand Control Event Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 80J | Header | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
| 81J | Supplier Details (Supplier) | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| 82J | Distributor Details (Supplier) | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0323 | Distributor Name | CHAR(40) |
| 83J | GSP Group Details (Supplier) | 1-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 09Z | DUoS Tariff | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2348 | DUoS Tariff ID | CHAR(3) |
| 10Z | Period Counts and Volumes | 1-* |  |  |  |  |  |  | G |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2377 | MSID Count - Actuals | NUM(10) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2378 | MSID Count - Estimates | NUM(10) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2379 | MSID Count - Defaults | NUM(10) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2339 | DUoS Advanced Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2340 | DUoS Advanced Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2376 | DUoS Smart and Unmetered Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  |  | 1 |  | J2342 | DUoS Smart and Unmetered Demand Disconnection Volume Losses | NUM(16) |
| 11Z | Daily DUoS Totals | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2341 | DUoS Daily Advanced Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2343 | DUoS Daily Advanced Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2344 | DUoS Daily Smart and Unmetered Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2345 | DUoS Daily Smart and Unmetered Demand Disconnection Volume Losses | NUM(16) |
| 13Z | GSP Group Correction Factors | 1-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2346 | GSP Group Correction Factor Import | NUM(18) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2347 | GSP Group Correction Factor Export | NUM(18) |
| 88J | Distributor Details (Distributor) | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0189 | Distributor Id | CHAR(4) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0323 | Distributor Name | CHAR(40) |
| 87J | Supplier Details (Distributor) | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0248 | Supplier Name | (0) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0244 | BSC Trading Party Id | CHAR(4) |
| 89J | GSP Group Details (Distributor) | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 09Z | DUoS Tariff | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2348 | DUoS Tariff ID | CHAR(3) |
| 10Z | Period Counts and Volumes | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2377 | MSID Count - Actuals | NUM(10) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2378 | MSID Count - Estimates | NUM(10) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2379 | MSID Count - Defaults | NUM(10) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2339 | DUoS Advanced Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2340 | DUoS Advanced Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2376 | DUoS Smart and Unmetered Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2342 | DUoS Smart and Unmetered Demand Disconnection Volume Losses | NUM(16) |
| 11Z | Daily DUoS Totals | 1-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2341 | DUoS Daily Advanced Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2343 | DUoS Daily Advanced Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2344 | DUoS Daily Smart and Unmetered Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J2345 | DUoS Daily Smart and Unmetered Demand Disconnection Volume Losses | NUM(16) |
| 16Z | GSP Group Correction Factors | 0-* |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2346 | GSP Group Correction Factor Import | NUM(18) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2347 | GSP Group Correction Factor Export | NUM(18) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0402 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | MHHS - Supplier Half Hourly Demand Disconnection Report |
| --- | --- |
| Flow Description: | Report for each Supplier containing details of all the half hourly demand disconnection for a Supplier by MHHS Consumption Component Class. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J1089 | User Name |
| J1090 | Report Parameters |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0882 | Settlement Code Description |
| J0195 | SSR Run Date |
| J0196 | SSR Run Number |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J2326 | MHHS Consumption Component Class ID |
| J2327 | GSP Group Correction Scaling Weight |
| J2329 | Market Segment Indicator |
| J2314 | Connection Type |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J2349 | Supplier Advanced Demand Disconnection Volume |
| J2350 | Supplier Advanced Demand Disconnection Volume Losses |
| J2351 | Supplier Smart and Unmetered Demand Disconnection Volume |
| J2352 | Supplier Smart and Unmetered Demand Disconnection Volume Losses |
| J2353 | Corrected Disconnection Component |
| J2354 | Corrected Disconnection Component Losses |
| J2374 | Daily Supplier Advanced Demand Disconnection Volume |
| J2375 | Daily Supplier Advanced Demand Disconnection Volume Losses |
| J2357 | Daily Supplier Smart and Unmetered Demand Disconnection Volume |
| J2358 | Daily Supplier Smart and Unmetered Demand Disconnection Volume Losses |
| J2359 | Daily Supplier Corrected Disconnection Volume |
| J2360 | Daily Supplier Corrected Disconnection Volume Losses |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 17Z | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
| 02K | Report Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| 04K | Demand Control Event Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 05K | Header | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0882 | Settlement Code Description | CHAR(30) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0196 | SSR Run Number | NUM(7) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
| 06K | GSP Group Details | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| MCC | MHHS Consumption Component Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2326 | MHHS Consumption Component Class ID | NUM(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2327 | GSP Group Correction Scaling Weight | NUM(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2329 | Market Segment Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2314 | Connection Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| 19Z | Period Disconnection Values | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2349 | Supplier Advanced Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2350 | Supplier Advanced Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2351 | Supplier Smart and Unmetered Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2352 | Supplier Smart and Unmetered Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2353 | Corrected Disconnection Component | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2354 | Corrected Disconnection Component Losses | NUM(16) |
| 20Z | Daily Disconnection Values | 1 |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | O |  |  |  | J2374 | Daily Supplier Advanced Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2375 | Daily Supplier Advanced Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2357 | Daily Supplier Smart and Unmetered Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2358 | Daily Supplier Smart and Unmetered Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2359 | Daily Supplier Corrected Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2360 | Daily Supplier Corrected Disconnection Volume Losses | NUM(16) |

| Notes: |  |
| --- | --- |

| Flow Reference: | D0403 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | MHHS - GSP Group Demand Disconnection Totals Report |
| --- | --- |
| Flow Description: | Report of MHHS Consumption Component Class Demand Disconnection totals for each GSP Group. |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J0066 | GSP Group Id |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0195 | SSR Run Date |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J2326 | MHHS Consumption Component Class ID |
| J2327 | GSP Group Correction Scaling Weight |
| J2329 | Market Segment Indicator |
| J2314 | Connection Type |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J2361 | Total CCC Aggregated Supplier Demand Disconnection |
| J2362 | Total CCC Aggregated Supplier Demand Disconnection Line Loss |
| J2363 | Total CCC Corrected Supplier Demand Disconnection |
| J2364 | Total CCC Corrected Supplier Demand Disconnection Line Loss |
| J2163 | Total CCC Disconnected MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35K | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| 36K | Demand Control Event Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 21Z | Report Data | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
| 38K | GSP Group | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| MCC | MHHS Consumption Component Class | 0-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2326 | MHHS Consumption Component Class ID | NUM(3) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2327 | GSP Group Correction Scaling Weight | NUM(4) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2329 | Market Segment Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J2314 | Connection Type | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| 23Z | MHHS Settlement Period | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2361 | Total CCC Aggregated Supplier Demand Disconnection | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2362 | Total CCC Aggregated Supplier Demand Disconnection Line Loss | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2363 | Total CCC Corrected Supplier Demand Disconnection | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2364 | Total CCC Corrected Supplier Demand Disconnection Line Loss | NUM(16) |
|  |  |  |  |  |  |  |  | O |  |  |  | J2163 | Total CCC Disconnected MSID Count | INT(8) |

| Notes: | The Report will covers data for all Suppliers within a GSP Group even if their data does not contribute to the GSP Group Totals. |
| --- | --- |

| Flow Reference: | D0404 |
| --- | --- |
| Flow Version: | 001 | Status: Operational |

| Flow Name: | MHHS - Supplier BM Unit Demand Disconnection Report |
| --- | --- |
| Flow Description: | Report for each Supplier containing details of the Suppliers valid BM Units, GSP Group/BM Unit/ and Demand Disconnection by BM Unit and MHHS Consumption Component Class |
| Flow Ownership: | BSC |

| From | To | Version |
| --- | --- | --- |
| SVAA | Supplier | 15.4 |

Data Items:

| Reference | Item Name |
| --- | --- |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J1086 | Run Type Code |
| J1087 | Run Number |
| J0066 | GSP Group Id |
| J1089 | User Name |
| J1090 | Report Parameters |
| J2079 | Demand Control Event ID |
| J1577 | Start Date and Time |
| J1578 | End Date and Time |
| J0073 | Settlement Date |
| J0146 | Settlement Code |
| J0195 | SSR Run Date |
| J0197 | SSR Run Type Id |
| J0084 | Supplier Id |
| J0248 | Supplier Name |
| J0066 | GSP Group Id |
| J0269 | GSP Group Name |
| J1628 | BM Unit Id |
| J1631 | Default BM Unit Flag |
| J2326 | MHHS Consumption Component Class ID |
| J2327 | GSP Group Correction Scaling Weight |
| J2329 | Market Segment Indicator |
| J2314 | Connection Type |
| J0162 | Consumption Component Indicator |
| J0103 | Measurement Quantity Id |
| J0074 | Settlement Period Id |
| J2370 | Advanced Demand Disconnection Volume |
| J2371 | Advanced Demand Disconnection Volume Losses |
| J2365 | BM Unit Demand Disconnection Volume |
| J2366 | BM Unit Allocated Demand Disconnection Volume Losses |
| J2353 | Corrected Disconnection Component |
| J2354 | Corrected Disconnection Component Losses |
| J2355 | Daily Advanced Demand Disconnection Volume |
| J2356 | Daily Advanced Demand Disconnection Volume Losses |
| J2367 | Daily BM Unit Demand Disconnection Volume |
| J2368 | Daily BM Unit Demand Disconnection Volume Losses |
| J2372 | Daily Corrected Disconnection Volume |
| J2373 | Daily Corrected Disconnection Volume Losses |
| J2369 | Daily BM Unit MSID Count |

Flow Structure:

| Group | Group Description | Range | Condition | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | Item Reference | Item Name | Format |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 41K | Data File Additional Header | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1086 | Run Type Code | CHAR(2) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1087 | Run Number | NUM(7) |
|  |  |  |  |  | N |  |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
| 42K | Report Parameters | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1089 | User Name | CHAR(8) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1090 | Report Parameters | CHAR(30) |
| 43K | Demand Control Event Details | 1 |  | G |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J2079 | Demand Control Event ID | CHAR(30) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1577 | Start Date and Time | DATETIME(0) |
|  |  |  |  |  | 1 |  |  |  |  |  |  | J1578 | End Date and Time | DATETIME(0) |
| 24Z | Additional Header Details | 1 |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0073 | Settlement Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0146 | Settlement Code | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0195 | SSR Run Date | DATE(0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0197 | SSR Run Type Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0084 | Supplier Id | (0) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0248 | Supplier Name | (0) |
| 45K | GSP Group | 0-* |  |  | G |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0066 | GSP Group Id | CHAR(2) |
|  |  |  |  |  |  | 1 |  |  |  |  |  | J0269 | GSP Group Name | CHAR(30) |
| 46K | BM Unit Standing Data | 1-* |  |  |  | G |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1628 | BM Unit Id | CHAR(11) |
|  |  |  |  |  |  |  | 1 |  |  |  |  | J1631 | Default BM Unit Flag | BOOLEAN(0) |
| MCC | MHHS Consumption Component Class | 0-* |  |  |  |  | G |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2326 | MHHS Consumption Component Class ID | NUM(3) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2327 | GSP Group Correction Scaling Weight | NUM(4) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2329 | Market Segment Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J2314 | Connection Type | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0162 | Consumption Component Indicator | CHAR(1) |
|  |  |  |  |  |  |  |  | 1 |  |  |  | J0103 | Measurement Quantity Id | CHAR(2) |
| 26Z | Settlement Period | 0-* |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | 1 |  |  | J0074 | Settlement Period Id | NUM(2) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2370 | Advanced Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2371 | Advanced Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2365 | BM Unit Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2366 | BM Unit Allocated Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2353 | Corrected Disconnection Component | NUM(16) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2354 | Corrected Disconnection Component Losses | NUM(16) |
| 27Z | Daily Total 1 BM Unit Half Hourly | 1 |  |  |  |  |  | G |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | O |  |  | J2355 | Daily Advanced Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2356 | Daily Advanced Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2367 | Daily BM Unit Demand Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2368 | Daily BM Unit Demand Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2372 | Daily Corrected Disconnection Volume | NUM(16) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2373 | Daily Corrected Disconnection Volume Losses | NUM(16) |
|  |  |  |  |  |  |  |  |  | O |  |  | J2369 | Daily BM Unit MSID Count | NUM(10) |

| Notes: |  |
| --- | --- |